## Sheet1
SLNO | ItemCode | ItemName | Brand | Model | UOM | Qty | UnitPriceAED | UnitPrice | Margin | Amount | Unitweight | Optional | COO | DeliveryStatus | CRMProductId | CRMProduct
1 |  | ELECTRIC ROOM 1 AT BASEMENT FLOOR |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | NULL
1.1 |  | 30 Kg CO2 Cylinder filled complete with Manual lever & Solenoid actuator, Head Valve, Bracket and Trimming | NAFFCO | NCS-30M | Nos | 1 | 490 | 490 | 0 | 490 | 0 | FALSE |  |  | NULL
1.2 |  | Flexible Hose (Discharge) w/ Check Valve | NAFFCO | NHC 18 | Nos | 1 | 114 | 114 | 0 | 114 | 0 | FALSE |  |  | NULL
1.3 |  | Check Valve | NAFFCO | B04600008 | Nos | 1 | 82 | 82 | 0 | 82 | 0 | FALSE |  |  | NULL
1.4 |  | Rack Assembly for 1 Cylinders | NAFFCO | NFCO2-RA01-001F | Nos | 1 | 196 | 196 | 0 | 196 | 0 | FALSE |  |  | NULL
1.5 |  | Discharge Nozzle | NAFFCO | - | Nos | 1 | 98 | 98 | 0 | 98 | 0 | FALSE |  |  | NULL
1.6 |  | Discharge Pressure Switch | NAFFCO | 028250050 - NF | Nos | 1 | 281 | 281 | 0 | 281 | 0 | FALSE |  |  | NULL
1.7 |  | Extinguishing Control Panel (Shield - AXT) - (2) Detection zone. - (1) release area. - 24VDC back-up Battery | Shield | AXT | Nos | 1 | 981 | 981 | 0 | 981 | 0 | FALSE |  |  | NULL
1.8 |  | Optical Smoke Detector With Base - S-C2011 | Shield | S-C2011 | Nos | 2 | 15 | 15 | 0 | 30 | 0 | FALSE |  |  | NULL
1.9 |  | Manual Release W/Back Box - 10-1638 |  | 10-1638 | Nos | 1 | 123 | 123 | 0 | 123 | 0 | FALSE |  |  | NULL
1.11 |  | Ball 6" with Back Box - FB1000C6 |  | FB1000C6 | Nos | 1 | 33 | 33 | 0 | 33 | 0 | FALSE |  |  | NULL
1.12 |  | Strobe Horn with Back Box – SH-HSIR |  | SH-HSIR | Nos | 1 | 56 | 56 | 0 | 56 | 0 | FALSE |  |  | NULL
1.13 |  | Xenon/Strobe Light with Back Box - SH-STIR |  | SH-STIR | Nos | 1 | 46 | 46 | 0 | 46 | 0 | FALSE |  |  | NULL
1.14 |  | Warning Sign |  | NF-CO2-SW-01 | Nos | 1 | 59 | 59 | 0 | 59 | 0 | FALSE |  |  | NULL
2 |  | ELECTRIC ROOM 2 AT BASEMENT FLOOR |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | NULL
2.1 |  | 30 Kg CO2 Cylinder filled complete with Manual lever & Solenoid actuator, Head Valve, Bracket and Trimming | NAFFCO | NCS-30M | Nos | 1 | 490 | 490 | 0 | 490 | 0 | FALSE |  |  | NULL
2.2 |  | Flexible Hose (Discharge) w/ Check Valve | NAFFCO | NHC 18 | Nos | 1 | 114 | 114 | 0 | 114 | 0 | FALSE |  |  | NULL
2.3 |  | Check Valve | NAFFCO | B04600008 | Nos | 1 | 82 | 82 | 0 | 82 | 0 | FALSE |  |  | NULL
2.4 |  | Rack Assembly for 1 Cylinders | NAFFCO | NFCO2-RA01-001F | Nos | 1 | 196 | 196 | 0 | 196 | 0 | FALSE |  |  | NULL
2.5 |  | Discharge Nozzle | NAFFCO | - | Nos | 1 | 98 | 98 | 0 | 98 | 0 | FALSE |  |  | NULL
2.6 |  | Discharge Pressure Switch | NAFFCO | 028250050 - NF | Nos | 1 | 281 | 281 | 0 | 281 | 0 | FALSE |  |  | NULL
2.7 |  | Extinguishing Control Panel (Shield - AXT) - (2) Detection zone. - (1) release area. - 24VDC back-up Battery | Shield | AXT | Nos | 1 | 981 | 981 | 0 | 981 | 0 | FALSE |  |  | NULL
2.8 |  | Optical Smoke Detector With Base - S-C2011 | Shield | S-C2011 | Nos | 2 | 15 | 15 | 0 | 30 | 0 | FALSE |  |  | NULL
2.9 |  | Manual Release W/Back Box - 10-1638 |  | 10-1638 | Nos | 1 | 123 | 123 | 0 | 123 | 0 | FALSE |  |  | NULL
2.11 |  | Ball 6" with Back Box - FB1000C6 |  | FB1000C6 | Nos | 1 | 33 | 33 | 0 | 33 | 0 | FALSE |  |  | NULL
2.12 |  | Strobe Horn with Back Box – SH-HSIR |  | SH-HSIR | Nos | 1 | 56 | 56 | 0 | 56 | 0 | FALSE |  |  | NULL
2.13 |  | Xenon/Strobe Light with Back Box - SH-STIR |  | SH-STIR | Nos | 1 | 46 | 46 | 0 | 46 | 0 | FALSE |  |  | NULL
2.14 |  | Warning Sign |  | NF-CO2-SW-01 | Nos | 1 | 59 | 59 | 0 | 59 | 0 | FALSE |  |  | NULL
3 |  | ELECTRIC ROOM 3 AT BASEMENT FLOOR |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | NULL
3.1 |  | 45 Kg CO2 Cylinder filled complete with Manual lever & Solenoid actuator, Head Valve, Bracket and Trimming | NAFFCO | NCS45M | Nos | 1 | 540 | 540 | 0 | 540 | 0 | FALSE |  |  | NULL
3.2 |  | Flexible Hose (Discharge) w/ Check Valve | NAFFCO | NHC 18 | Nos | 1 | 114 | 114 | 0 | 114 | 0 | FALSE |  |  | NULL
3.3 |  | Check Valve | NAFFCO | B04600008 | Nos | 1 | 82 | 82 | 0 | 82 | 0 | FALSE |  |  | NULL
3.4 |  | Rack Assembly for 1 Cylinders | NAFFCO | NFCO2-RA02-001F | Nos | 1 | 196 | 196 | 0 | 196 | 0 | FALSE |  |  | NULL
3.5 |  | Discharge Nozzle | NAFFCO | - | Nos | 1 | 98 | 98 | 0 | 98 | 0 | FALSE |  |  | NULL
3.6 |  | Discharge Pressure Switch | NAFFCO | 028250050 - NF | Nos | 1 | 281 | 281 | 0 | 281 | 0 | FALSE |  |  | NULL
3.7 |  | Extinguishing Control Panel (Shield - AXT) - (2) Detection zone. - (1) release area. - 24VDC back-up Battery | Shield | AXT | Nos | 1 | 981 | 981 | 0 | 981 | 0 | FALSE |  |  | NULL
3.8 |  | Optical Smoke Detector With Base - S-C2011 | Shield | S-C2011 | Nos | 2 | 15 | 15 | 0 | 30 | 0 | FALSE |  |  | NULL
3.9 |  | Manual Release W/Back Box - 10-1638 |  | 10-1638 | Nos | 1 | 123 | 123 | 0 | 123 | 0 | FALSE |  |  | NULL
3.11 |  | Ball 6" with Back Box - FB1000C6 |  | FB1000C6 | Nos | 1 | 33 | 33 | 0 | 33 | 0 | FALSE |  |  | NULL
3.12 |  | Strobe Horn with Back Box – SH-HSIR |  | SH-HSIR | Nos | 1 | 56 | 56 | 0 | 56 | 0 | FALSE |  |  | NULL
3.13 |  | Xenon/Strobe Light with Back Box - SH-STIR |  | SH-STIR | Nos | 1 | 46 | 46 | 0 | 46 | 0 | FALSE |  |  | NULL
3.14 |  | Warning Sign |  | NF-CO2-SW-01 | Nos | 1 | 59 | 59 | 0 | 59 | 0 | FALSE |  |  | NULL
4 |  | ELECTRIC ROOM 4 AT BASEMENT FLOOR |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | NULL
4.1 |  | 45 Kg CO2 Cylinder filled complete with Manual lever & Solenoid actuator, Head Valve, Bracket and Trimming | NAFFCO | NCS45M | Nos | 1 | 540 | 540 | 0 | 540 | 0 | FALSE |  |  | NULL
4.2 |  | Flexible Hose (Discharge) w/ Check Valve | NAFFCO | NHC 18 | Nos | 1 | 114 | 114 | 0 | 114 | 0 | FALSE |  |  | NULL
4.3 |  | Check Valve | NAFFCO | B04600008 | Nos | 1 | 82 | 82 | 0 | 82 | 0 | FALSE |  |  | NULL
4.4 |  | Rack Assembly for 1 Cylinders | NAFFCO | NFCO2-RA02-001F | Nos | 1 | 196 | 196 | 0 | 196 | 0 | FALSE |  |  | NULL
4.5 |  | Discharge Nozzle | NAFFCO | - | Nos | 1 | 98 | 98 | 0 | 98 | 0 | FALSE |  |  | NULL
4.6 |  | Discharge Pressure Switch | NAFFCO | 028250050 - NF | Nos | 1 | 281 | 281 | 0 | 281 | 0 | FALSE |  |  | NULL
4.7 |  | Extinguishing Control Panel (Shield - AXT) - (2) Detection zone. - (1) release area. - 24VDC back-up Battery | Shield | AXT | Nos | 1 | 981 | 981 | 0 | 981 | 0 | FALSE |  |  | NULL
4.8 |  | Optical Smoke Detector With Base - S-C2011 | Shield | S-C2011 | Nos | 2 | 15 | 15 | 0 | 30 | 0 | FALSE |  |  | NULL
4.9 |  | Manual Release W/Back Box - 10-1638 |  | 10-1638 | Nos | 1 | 123 | 123 | 0 | 123 | 0 | FALSE |  |  | NULL
4.11 |  | Ball 6" with Back Box - FB1000C6 |  | FB1000C6 | Nos | 1 | 33 | 33 | 0 | 33 | 0 | FALSE |  |  | NULL
4.12 |  | Strobe Horn with Back Box – SH-HSIR |  | SH-HSIR | Nos | 1 | 56 | 56 | 0 | 56 | 0 | FALSE |  |  | NULL
4.13 |  | Xenon/Strobe Light with Back Box - SH-STIR |  | SH-STIR | Nos | 1 | 46 | 46 | 0 | 46 | 0 | FALSE |  |  | NULL
4.14 |  | Warning Sign |  | NF-CO2-SW-01 | Nos | 1 | 59 | 59 | 0 | 59 | 0 | FALSE |  |  | NULL
5 |  | ELECTRIC ROOM 5 AT BASEMENT FLOOR |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | NULL
5.1 |  | 30 Kg CO2 Cylinder filled complete with Manual lever & Solenoid actuator, Head Valve, Bracket and Trimming | NAFFCO | NCS-30M | Nos | 1 | 490 | 490 | 0 | 490 | 0 | FALSE |  |  | NULL
5.2 |  | Flexible Hose (Discharge) w/ Check Valve | NAFFCO | NHC 18 | Nos | 1 | 114 | 114 | 0 | 114 | 0 | FALSE |  |  | NULL
5.3 |  | Check Valve | NAFFCO | B04600008 | Nos | 1 | 82 | 82 | 0 | 82 | 0 | FALSE |  |  | NULL
5.4 |  | Rack Assembly for 1 Cylinders | NAFFCO | NFCO2-RA01-001F | Nos | 1 | 196 | 196 | 0 | 196 | 0 | FALSE |  |  | NULL
5.5 |  | Discharge Nozzle | NAFFCO | - | Nos | 1 | 98 | 98 | 0 | 98 | 0 | FALSE |  |  | NULL
5.6 |  | Discharge Pressure Switch | NAFFCO | 028250050 - NF | Nos | 1 | 281 | 281 | 0 | 281 | 0 | FALSE |  |  | NULL
5.7 |  | Extinguishing Control Panel (Shield - AXT) - (2) Detection zone. - (1) release area. - 24VDC back-up Battery | Shield | AXT | Nos | 1 | 981 | 981 | 0 | 981 | 0 | FALSE |  |  | NULL
5.8 |  | Optical Smoke Detector With Base - S-C2011 | Shield | S-C2011 | Nos | 2 | 15 | 15 | 0 | 30 | 0 | FALSE |  |  | NULL
5.9 |  | Manual Release W/Back Box - 10-1638 |  | 10-1638 | Nos | 1 | 123 | 123 | 0 | 123 | 0 | FALSE |  |  | NULL
5.11 |  | Ball 6" with Back Box - FB1000C6 |  | FB1000C6 | Nos | 1 | 33 | 33 | 0 | 33 | 0 | FALSE |  |  | NULL
5.12 |  | Strobe Horn with Back Box – SH-HSIR |  | SH-HSIR | Nos | 1 | 56 | 56 | 0 | 56 | 0 | FALSE |  |  | NULL
5.13 |  | Xenon/Strobe Light with Back Box - SH-STIR |  | SH-STIR | Nos | 1 | 46 | 46 | 0 | 46 | 0 | FALSE |  |  | NULL
5.14 |  | Warning Sign |  | NF-CO2-SW-01 | Nos | 1 | 59 | 59 | 0 | 59 | 0 | FALSE |  |  | NULL
6 |  | ELECTRIC ROOM 1 AT GROUND FLOOR |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | NULL
6.1 |  | 45 Kg CO2 Cylinder filled complete with Manual lever & Solenoid actuator, Head Valve, Bracket and Trimming | NAFFCO | NCS45M | Nos | 1 | 540 | 540 | 0 | 540 | 0 | FALSE |  |  | NULL
6.2 |  | 45 Kg CO2 Cylinder filled complete Diffrential Head Valve, Bracket and Trimming | NAFFCO | NCS45S | Nos | 1 | 409 | 409 | 0 | 409 | 0 | FALSE |  |  | NULL
6.3 |  | MANUAL / PNEUMATIC RELEASE DEVICE | NAFFCO | B04420065 | Nos | 1 | 72 | 72 | 0 | 72 | 0 | FALSE |  |  | NULL
6.4 |  | Flexible Hose (Discharge) w/ Check Valve | NAFFCO | NHC 18 | Nos | 2 | 114 | 114 | 0 | 228 | 0 | FALSE |  |  | NULL
6.5 |  | Check Valve | NAFFCO | B04600008 | Nos | 1 | 82 | 82 | 0 | 82 | 0 | FALSE |  |  | NULL
6.6 |  | Flexible Hose, 700mm (Pneumatic Cylinder To Manifold) | NAFFCO | B06920212-NF | Nos | 1 | 38 | 38 | 0 | 38 | 0 | FALSE |  |  | NULL
6.7 |  | Manifold for 2 Cylinder | NAFFCO | NFCO2-267-SRM2 | Nos | 1 | 65 | 65 | 0 | 65 | 0 | FALSE |  |  | NULL
6.8 |  | Rack Assembly for 2 Cylinders | NAFFCO | NFIG-RA02-002F | Nos | 1 | 196 | 196 | 0 | 196 | 0 | FALSE |  |  | NULL
6.9 |  | Discharge Nozzle | NAFFCO | - | Nos | 1 | 98 | 98 | 0 | 98 | 0 | FALSE |  |  | NULL
6.11 |  | Discharge Pressure Switch | NAFFCO | 028250050 - NF | Nos | 1 | 281 | 281 | 0 | 281 | 0 | FALSE |  |  | NULL
6.12 |  | Safety Device - 29730039 | NAFFCO | 29730039 | Nos | 1 | 294 | 294 | 0 | 294 | 0 | FALSE |  |  | NULL
6.13 |  | Bleed Valve - 029730040-NF | NAFFCO | 029730040-NF | Nos | 1 | 69 | 69 | 0 | 69 | 0 | FALSE |  |  | NULL
6.14 |  | ADAPTOR - 029510006-NF | NAFFCO | 029510006-NF | Nos | 2 | 10 | 10 | 0 | 20 | 0 | FALSE |  |  | NULL
6.15 |  | Extinguishing Control Panel (Shield - AXT) - (2) Detection zone. - (1) release area. - 24VDC back-up Battery | Shield | AXT | Nos | 1 | 981 | 981 | 0 | 981 | 0 | FALSE |  |  | NULL
6.17 |  | Optical Smoke Detector With Base - S-C2011 | Shield | S-C2011 | Nos | 2 | 15 | 15 | 0 | 30 | 0 | FALSE |  |  | NULL
6.18 |  | Manual Release W/Back Box - 10-1638 |  | 10-1638 | Nos | 1 | 123 | 123 | 0 | 123 | 0 | FALSE |  |  | NULL
6.19 |  | Ball 6" with Back Box - FB1000C6 |  | FB1000C6 | Nos | 1 | 33 | 33 | 0 | 33 | 0 | FALSE |  |  | NULL
6.21 |  | Strobe Horn with Back Box – SH-HSIR |  | SH-HSIR | Nos | 1 | 56 | 56 | 0 | 56 | 0 | FALSE |  |  | NULL
6.22 |  | Xenon/Strobe Light with Back Box - SH-STIR |  | SH-STIR | Nos | 1 | 46 | 46 | 0 | 46 | 0 | FALSE |  |  | NULL
6.23 |  | Warning Sign |  | NF-CO2-SW-01 | Nos | 1 | 59 | 59 | 0 | 59 | 0 | FALSE |  |  | NULL
7 |  | ELECTRIC ROOM 2 AT GROUND FLOOR |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | NULL
7.1 |  | 30 Kg CO2 Cylinder filled complete with Manual lever & Solenoid actuator, Head Valve, Bracket and Trimming | NAFFCO | NCS-30M | Nos | 1 | 490 | 490 | 0 | 490 | 0 | FALSE |  |  | NULL
7.2 |  | 30 Kg CO2 Cylinder filled complete Diffrential Head Valve, Bracket and Trimming | NAFFCO | NCS30S | Nos | 1 | 376 | 376 | 0 | 376 | 0 | FALSE |  |  | NULL
7.3 |  | MANUAL / PNEUMATIC RELEASE DEVICE | NAFFCO | B04420065 | Nos | 1 | 72 | 72 | 0 | 72 | 0 | FALSE |  |  | NULL
7.4 |  | Flexible Hose (Discharge) w/ Check Valve | NAFFCO | NHC 18 | Nos | 2 | 114 | 114 | 0 | 228 | 0 | FALSE |  |  | NULL
7.5 |  | Check Valve | NAFFCO | B04600008 | Nos | 2 | 82 | 82 | 0 | 164 | 0 | FALSE |  |  | NULL
7.6 |  | Flexible Hose, 700mm (Pneumatic Cylinder To Manifold) | NAFFCO | B06920212-NF | Nos | 1 | 38 | 38 | 0 | 38 | 0 | FALSE |  |  | NULL
7.7 |  | Manifold for 2 Cylinder | NAFFCO | NFCO2-267-SRM2 | Nos | 1 | 65 | 65 | 0 | 65 | 0 | FALSE |  |  | NULL
7.8 |  | Rack Assembly for 2 Cylinders | NAFFCO | NFIG-RA01-002F | Nos | 1 | 196 | 196 | 0 | 196 | 0 | FALSE |  |  | NULL
7.9 |  | Discharge Nozzle | NAFFCO | - | Nos | 1 | 98 | 98 | 0 | 98 | 0 | FALSE |  |  | NULL
7.11 |  | Discharge Pressure Switch | NAFFCO | 028250050 - NF | Nos | 1 | 281 | 281 | 0 | 281 | 0 | FALSE |  |  | NULL
7.12 |  | Safety Device - 29730039 | NAFFCO | 29730039 | Nos | 1 | 294 | 294 | 0 | 294 | 0 | FALSE |  |  | NULL
7.13 |  | Bleed Valve - 029730040-NF | NAFFCO | 029730040-NF | Nos | 1 | 69 | 69 | 0 | 69 | 0 | FALSE |  |  | NULL
7.14 |  | ADAPTOR - 029510006-NF | NAFFCO | 029510006-NF | Nos | 2 | 10 | 10 | 0 | 20 | 0 | FALSE |  |  | NULL
7.15 |  | Extinguishing Control Panel (Shield - AXT) - (2) Detection zone. - (1) release area. - 24VDC back-up Battery | Shield | AXT | Nos | 1 | 981 | 981 | 0 | 981 | 0 | FALSE |  |  | NULL
7.16 |  | Optical Smoke Detector With Base - S-C2011 | Shield | S-C2011 | Nos | 2 | 15 | 15 | 0 | 30 | 0 | FALSE |  |  | NULL
7.17 |  | Manual Release W/Back Box - 10-1638 |  | 10-1638 | Nos | 1 | 123 | 123 | 0 | 123 | 0 | FALSE |  |  | NULL
7.18 |  | Ball 6" with Back Box - FB1000C6 |  | FB1000C6 | Nos | 1 | 33 | 33 | 0 | 33 | 0 | FALSE |  |  | NULL
7.19 |  | Strobe Horn with Back Box – SH-HSIR |  | SH-HSIR | Nos | 1 | 56 | 56 | 0 | 56 | 0 | FALSE |  |  | NULL
7.21 |  | Xenon/Strobe Light with Back Box - SH-STIR |  | SH-STIR | Nos | 1 | 46 | 46 | 0 | 46 | 0 | FALSE |  |  | NULL
7.22 |  | Warning Sign |  | NF-CO2-SW-01 | Nos | 1 | 59 | 59 | 0 | 59 | 0 | FALSE |  |  | NULL
8 |  | ELECTRIC ROOM 3 AT GROUND FLOOR |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | NULL
8.1 |  | 45 Kg CO2 Cylinder filled complete with Manual lever & Solenoid actuator, Head Valve, Bracket and Trimming | NAFFCO | NCS45M | Nos | 1 | 540 | 540 | 0 | 540 | 0 | FALSE |  |  | NULL
8.2 |  | 45 Kg CO2 Cylinder filled complete Diffrential Head Valve, Bracket and Trimming | NAFFCO | NCS45S | Nos | 1 | 409 | 409 | 0 | 409 | 0 | FALSE |  |  | NULL
8.3 |  | MANUAL / PNEUMATIC RELEASE DEVICE | NAFFCO | B04420065 | Nos | 1 | 72 | 72 | 0 | 72 | 0 | FALSE |  |  | NULL
8.4 |  | Flexible Hose (Discharge) w/ Check Valve | NAFFCO | NHC 18 | Nos | 2 | 114 | 114 | 0 | 228 | 0 | FALSE |  |  | NULL
8.5 |  | Check Valve | NAFFCO | B04600008 | Nos | 2 | 82 | 82 | 0 | 164 | 0 | FALSE |  |  | NULL
8.6 |  | Flexible Hose, 700mm (Pneumatic Cylinder To Manifold) | NAFFCO | B06920212-NF | Nos | 1 | 38 | 38 | 0 | 38 | 0 | FALSE |  |  | NULL
8.7 |  | Manifold for 2 Cylinder | NAFFCO | NFCO2-267-SRM2 | Nos | 1 | 65 | 65 | 0 | 65 | 0 | FALSE |  |  | NULL
8.8 |  | Rack Assembly for 2 Cylinders | NAFFCO | NFIG-RA02-002F | Nos | 1 | 196 | 196 | 0 | 196 | 0 | FALSE |  |  | NULL
8.9 |  | Discharge Nozzle | NAFFCO | - | Nos | 1 | 98 | 98 | 0 | 98 | 0 | FALSE |  |  | NULL
8.11 |  | Discharge Pressure Switch | NAFFCO | 028250050 - NF | Nos | 1 | 281 | 281 | 0 | 281 | 0 | FALSE |  |  | NULL
8.12 |  | Safety Device - 29730039 | NAFFCO | 29730039 | Nos | 1 | 294 | 294 | 0 | 294 | 0 | FALSE |  |  | NULL
8.13 |  | Bleed Valve - 029730040-NF | NAFFCO | 029730040-NF | Nos | 1 | 69 | 69 | 0 | 69 | 0 | FALSE |  |  | NULL
8.14 |  | ADAPTOR - 029510006-NF | NAFFCO | 029510006-NF | Nos | 2 | 10 | 10 | 0 | 20 | 0 | FALSE |  |  | NULL
8.15 |  | Extinguishing Control Panel (Shield - AXT) - (2) Detection zone. - (1) release area. - 24VDC back-up Battery | Shield | AXT | Nos | 1 | 981 | 981 | 0 | 981 | 0 | FALSE |  |  | NULL
8.16 |  | Optical Smoke Detector With Base - S-C2011 | Shield | S-C2011 | Nos | 2 | 15 | 15 | 0 | 30 | 0 | FALSE |  |  | NULL
8.17 |  | Manual Release W/Back Box - 10-1638 |  | 10-1638 | Nos | 1 | 123 | 123 | 0 | 123 | 0 | FALSE |  |  | NULL
8.18 |  | Ball 6" with Back Box - FB1000C6 |  | FB1000C6 | Nos | 1 | 33 | 33 | 0 | 33 | 0 | FALSE |  |  | NULL
8.19 |  | Strobe Horn with Back Box – SH-HSIR |  | SH-HSIR | Nos | 1 | 56 | 56 | 0 | 56 | 0 | FALSE |  |  | NULL
8.21 |  | Xenon/Strobe Light with Back Box - SH-STIR |  | SH-STIR | Nos | 1 | 46 | 46 | 0 | 46 | 0 | FALSE |  |  | NULL
8.22 |  | Warning Sign |  | NF-CO2-SW-01 | Nos | 1 | 59 | 59 | 0 | 59 | 0 | FALSE |  |  | NULL
9 |  | ELECTRIC ROOM 1 AT FIRST FLOOR |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | NULL
9.1 |  | 45 Kg CO2 Cylinder filled complete with Manual lever & Solenoid actuator, Head Valve, Bracket and Trimming | NAFFCO | NCS45M | Nos | 1 | 540 | 540 | 0 | 540 | 0 | FALSE |  |  | NULL
9.2 |  | 45 Kg CO2 Cylinder filled complete Diffrential Head Valve, Bracket and Trimming | NAFFCO | NCS45S | Nos | 1 | 409 | 409 | 0 | 409 | 0 | FALSE |  |  | NULL
9.3 |  | Flexible Hose (Discharge) w/ Check Valve | NAFFCO | NHC 18 | Nos | 1 | 114 | 114 | 0 | 114 | 0 | FALSE |  |  | NULL
9.4 |  | Check Valve | NAFFCO | B04600008 | Nos | 1 | 82 | 82 | 0 | 82 | 0 | FALSE |  |  | NULL
9.5 |  | Rack Assembly for 1 Cylinders | NAFFCO | NFCO2-RA02-001F | Nos | 1 | 196 | 196 | 0 | 196 | 0 | FALSE |  |  | NULL
9.6 |  | Discharge Nozzle | NAFFCO | - | Nos | 1 | 98 | 98 | 0 | 98 | 0 | FALSE |  |  | NULL
9.7 |  | Discharge Pressure Switch | NAFFCO | 028250050 - NF | Nos | 1 | 281 | 281 | 0 | 281 | 0 | FALSE |  |  | NULL
9.8 |  | Extinguishing Control Panel (Shield - AXT) - (2) Detection zone. - (1) release area. - 24VDC back-up Battery | Shield | AXT | Nos | 1 | 981 | 981 | 0 | 981 | 0 | FALSE |  |  | NULL
9.9 |  | Optical Smoke Detector With Base - S-C2011 | Shield | S-C2011 | Nos | 2 | 15 | 15 | 0 | 30 | 0 | FALSE |  |  | NULL
9.10 |  | Manual Release W/Back Box - 10-1638 |  | 10-1638 | Nos | 1 | 123 | 123 | 0 | 123 | 0 | FALSE |  |  | NULL
9.11 |  | Ball 6" with Back Box - FB1000C6 |  | FB1000C6 | Nos | 1 | 33 | 33 | 0 | 33 | 0 | FALSE |  |  | NULL
9.12 |  | Strobe Horn with Back Box – SH-HSIR |  | SH-HSIR | Nos | 1 | 56 | 56 | 0 | 56 | 0 | FALSE |  |  | NULL
9.13 |  | Xenon/Strobe Light with Back Box - SH-STIR |  | SH-STIR | Nos | 1 | 46 | 46 | 0 | 46 | 0 | FALSE |  |  | NULL
9.14 |  | Warning Sign |  | NF-CO2-SW-01 | Nos | 1 | 59 | 59 | 0 | 59 | 0 | FALSE |  |  | NULL
10 |  | ELECTRIC ROOM 2 AT FIRST FLOOR |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | NULL
10.1 |  | 45 Kg CO2 Cylinder filled complete with Manual lever & Solenoid actuator, Head Valve, Bracket and Trimming | NAFFCO | NCS45M | Nos | 1 | 540 | 540 | 0 | 540 | 0 | FALSE |  |  | NULL
10.2 |  | Flexible Hose (Discharge) w/ Check Valve | NAFFCO | NHC 18 | Nos | 1 | 114 | 114 | 0 | 114 | 0 | FALSE |  |  | NULL
10.3 |  | Check Valve | NAFFCO | B04600008 | Nos | 1 | 82 | 82 | 0 | 82 | 0 | FALSE |  |  | NULL
10.4 |  | Rack Assembly for 1 Cylinders | NAFFCO | NFCO2-RA02-001F | Nos | 1 | 196 | 196 | 0 | 196 | 0 | FALSE |  |  | NULL
10.5 |  | Discharge Nozzle | NAFFCO | - | Nos | 1 | 98 | 98 | 0 | 98 | 0 | FALSE |  |  | NULL
10.6 |  | Discharge Pressure Switch | NAFFCO | 028250050 - NF | Nos | 1 | 281 | 281 | 0 | 281 | 0 | FALSE |  |  | NULL
10.7 |  | Extinguishing Control Panel (Shield - AXT) - (2) Detection zone. - (1) release area. - 24VDC back-up Battery | Shield | AXT | Nos | 1 | 981 | 981 | 0 | 981 | 0 | FALSE |  |  | NULL
10.8 |  | Optical Smoke Detector With Base - S-C2011 | Shield | S-C2011 | Nos | 2 | 15 | 15 | 0 | 30 | 0 | FALSE |  |  | NULL
10.9 |  | Manual Release W/Back Box - 10-1638 |  | 10-1638 | Nos | 1 | 123 | 123 | 0 | 123 | 0 | FALSE |  |  | NULL
10.10 |  | Ball 6" with Back Box - FB1000C6 |  | FB1000C6 | Nos | 1 | 33 | 33 | 0 | 33 | 0 | FALSE |  |  | NULL
10.11 |  | Strobe Horn with Back Box – SH-HSIR |  | SH-HSIR | Nos | 1 | 56 | 56 | 0 | 56 | 0 | FALSE |  |  | NULL
10.12 |  | Xenon/Strobe Light with Back Box - SH-STIR |  | SH-STIR | Nos | 1 | 46 | 46 | 0 | 46 | 0 | FALSE |  |  | NULL
10.13 |  | Warning Sign |  | NF-CO2-SW-01 | Nos | 1 | 59 | 59 | 0 | 59 | 0 | FALSE |  |  | NULL
11 |  | ELECTRIC ROOM 3 AT FIRST FLOOR |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | NULL
11.1 |  | 45 Kg CO2 Cylinder filled complete with Manual lever & Solenoid actuator, Head Valve, Bracket and Trimming | NAFFCO | NCS45M | Nos | 1 | 540 | 540 | 0 | 540 | 0 | FALSE |  |  | NULL
11.2 |  | 45 Kg CO2 Cylinder filled complete Diffrential Head Valve, Bracket and Trimming | NAFFCO | NCS45S | Nos | 1 | 409 | 409 | 0 | 409 | 0 | FALSE |  |  | NULL
11.3 |  | MANUAL / PNEUMATIC RELEASE DEVICE | NAFFCO | B04420065 | Nos | 1 | 72 | 72 | 0 | 72 | 0 | FALSE |  |  | NULL
11.4 |  | Flexible Hose (Discharge) w/ Check Valve | NAFFCO | NHC 18 | Nos | 2 | 114 | 114 | 0 | 228 | 0 | FALSE |  |  | NULL
11.5 |  | Check Valve | NAFFCO | B04600008 | Nos | 2 | 82 | 82 | 0 | 164 | 0 | FALSE |  |  | NULL
11.6 |  | Flexible Hose, 700mm (Pneumatic Cylinder To Manifold) | NAFFCO | B06920212-NF | Nos | 1 | 38 | 38 | 0 | 38 | 0 | FALSE |  |  | NULL
11.7 |  | Manifold for 2 Cylinder | NAFFCO | NFCO2-267-SRM2 | Nos | 1 | 65 | 65 | 0 | 65 | 0 | FALSE |  |  | NULL
11.8 |  | Rack Assembly for 2 Cylinders | NAFFCO | NFIG-RA02-002F | Nos | 1 | 196 | 196 | 0 | 196 | 0 | FALSE |  |  | NULL
11.9 |  | Discharge Nozzle | NAFFCO | - | Nos | 1 | 98 | 98 | 0 | 98 | 0 | FALSE |  |  | NULL
11.10 |  | Discharge Pressure Switch | NAFFCO | 028250050 - NF | Nos | 1 | 281 | 281 | 0 | 281 | 0 | FALSE |  |  | NULL
11.11 |  | Safety Device - 29730039 | NAFFCO | 29730039 | Nos | 1 | 294 | 294 | 0 | 294 | 0 | FALSE |  |  | NULL
11.12 |  | Bleed Valve - 029730040-NF | NAFFCO | 029730040-NF | Nos | 1 | 69 | 69 | 0 | 69 | 0 | FALSE |  |  | NULL
11.13 |  | ADAPTOR - 029510006-NF | NAFFCO | 029510006-NF | Nos | 2 | 10 | 10 | 0 | 20 | 0 | FALSE |  |  | NULL
11.14 |  | Extinguishing Control Panel (Shield - AXT) - (2) Detection zone. (1) release area. - 24VDC back-up Battery | Shield | AXT | Nos | 1 | 981 | 981 | 0 | 981 | 0 | FALSE |  |  | NULL
11.15 |  | Optical Smoke Detector With Base - S-C2011 | Shield | S-C2011 | Nos | 2 | 15 | 15 | 0 | 30 | 0 | FALSE |  |  | NULL
11.16 |  | Manual Release W/Back Box - 10-1638 |  | 10-1638 | Nos | 1 | 123 | 123 | 0 | 123 | 0 | FALSE |  |  | NULL
11.17 |  | Ball 6" with Back Box - FB1000C6 |  | FB1000C6 | Nos | 1 | 33 | 33 | 0 | 33 | 0 | FALSE |  |  | NULL
11.18 |  | Strobe Horn with Back Box – SH-HSIR |  | SH-HSIR | Nos | 1 | 56 | 56 | 0 | 56 | 0 | FALSE |  |  | NULL
11.19 |  | Xenon/Strobe Light with Back Box - SH-STIR |  | SH-STIR | Nos | 1 | 46 | 46 | 0 | 46 | 0 | FALSE |  |  | NULL
11.20 |  | Warning Sign |  | NF-CO2-SW-01 | Nos | 1 | 59 | 59 | 0 | 59 | 0 | FALSE |  |  | NULL
12 |  | ELECTRIC ROOM 1 AT SECOND FLOOR |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | NULL
12.1 |  | 45 Kg CO2 Cylinder filled complete with Manual lever & Solenoid actuator, Head Valve, Bracket and Trimming | NAFFCO | NCS45M | Nos | 1 | 540 | 540 | 0 | 540 | 0 | FALSE |  |  | NULL
12.2 |  | Flexible Hose (Discharge) w/ Check Valve | NAFFCO | NHC 18 | Nos | 1 | 114 | 114 | 0 | 114 | 0 | FALSE |  |  | NULL
12.3 |  | Check Valve | NAFFCO | B04600008 | Nos | 1 | 82 | 82 | 0 | 82 | 0 | FALSE |  |  | NULL
12.4 |  | Rack Assembly for 1 Cylinders | NAFFCO | NFCO2-RA02-001F | Nos | 1 | 196 | 196 | 0 | 196 | 0 | FALSE |  |  | NULL
12.5 |  | Discharge Nozzle | NAFFCO | - | Nos | 1 | 98 | 98 | 0 | 98 | 0 | FALSE |  |  | NULL
12.6 |  | Discharge Pressure Switch | NAFFCO | 028250050 - NF | Nos | 1 | 281 | 281 | 0 | 281 | 0 | FALSE |  |  | NULL
12.7 |  | Extinguishing Control Panel (Shield - AXT) - (2) Detection zone. - (1) release area. - 24VDC back-up Battery | Shield | AXT | Nos | 1 | 981 | 981 | 0 | 981 | 0 | FALSE |  |  | NULL
12.8 |  | Optical Smoke Detector With Base - S-C2011 | Shield | S-C2011 | Nos | 2 | 15 | 15 | 0 | 30 | 0 | FALSE |  |  | NULL
12.9 |  | Manual Release W/Back Box - 10-1638 |  | 10-1638 | Nos | 1 | 123 | 123 | 0 | 123 | 0 | FALSE |  |  | NULL
12.11 |  | Ball 6" with Back Box - FB1000C6 |  | FB1000C6 | Nos | 1 | 33 | 33 | 0 | 33 | 0 | FALSE |  |  | NULL
12.12 |  | Strobe Horn with Back Box – SH-HSIR |  | SH-HSIR | Nos | 1 | 56 | 56 | 0 | 56 | 0 | FALSE |  |  | NULL
12.13 |  | Xenon/Strobe Light with Back Box - SH-STIR |  | SH-STIR | Nos | 1 | 46 | 46 | 0 | 46 | 0 | FALSE |  |  | NULL
12.14 |  | Warning Sign |  | NF-CO2-SW-01 | Nos | 1 | 59 | 59 | 0 | 59 | 0 | FALSE |  |  | NULL
13 |  | ELECTRIC ROOM 2 AT SECOND FLOOR |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | NULL
13.1 |  | 45 Kg CO2 Cylinder filled complete with Manual lever & Solenoid actuator, Head Valve, Bracket and Trimming | NAFFCO | NCS45M | Nos | 1 | 540 | 540 | 0 | 540 | 0 | FALSE |  |  | NULL
13.2 |  | Flexible Hose (Discharge) w/ Check Valve | NAFFCO | NHC 18 | Nos | 1 | 114 | 114 | 0 | 114 | 0 | FALSE |  |  | NULL
13.3 |  | Check Valve | NAFFCO | B04600008 | Nos | 1 | 82 | 82 | 0 | 82 | 0 | FALSE |  |  | NULL
13.4 |  | Rack Assembly for 1 Cylinders | NAFFCO | NFCO2-RA02-001F | Nos | 1 | 196 | 196 | 0 | 196 | 0 | FALSE |  |  | NULL
13.5 |  | Discharge Nozzle | NAFFCO | - | Nos | 1 | 98 | 98 | 0 | 98 | 0 | FALSE |  |  | NULL
13.6 |  | Discharge Pressure Switch | NAFFCO | 028250050 - NF | Nos | 1 | 281 | 281 | 0 | 281 | 0 | FALSE |  |  | NULL
13.7 |  | Extinguishing Control Panel (Shield - AXT) - (2) Detection zone. - (1) release area. - 24VDC back-up Battery | Shield | AXT | Nos | 1 | 981 | 981 | 0 | 981 | 0 | FALSE |  |  | NULL
13.8 |  | Optical Smoke Detector With Base - S-C2011 | Shield | S-C2011 | Nos | 2 | 15 | 15 | 0 | 30 | 0 | FALSE |  |  | NULL
13.9 |  | Manual Release W/Back Box - 10-1638 |  | 10-1638 | Nos | 1 | 123 | 123 | 0 | 123 | 0 | FALSE |  |  | NULL
13.11 |  | Ball 6" with Back Box - FB1000C6 |  | FB1000C6 | Nos | 1 | 33 | 33 | 0 | 33 | 0 | FALSE |  |  | NULL
13.12 |  | Strobe Horn with Back Box – SH-HSIR |  | SH-HSIR | Nos | 1 | 56 | 56 | 0 | 56 | 0 | FALSE |  |  | NULL
13.13 |  | Xenon/Strobe Light with Back Box - SH-STIR |  | SH-STIR | Nos | 1 | 46 | 46 | 0 | 46 | 0 | FALSE |  |  | NULL
13.14 |  | Warning Sign |  | NF-CO2-SW-01 | Nos | 1 | 59 | 59 | 0 | 59 | 0 | FALSE |  |  | NULL
14 |  | ELECTRIC ROOM 3 AT SECOND FLOOR |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | NULL
14.1 |  | 45 Kg CO2 Cylinder filled complete with Manual lever & Solenoid actuator, Head Valve, Bracket and Trimming | NAFFCO | NCS45M | Nos | 1 | 540 | 540 | 0 | 540 | 0 | FALSE |  |  | NULL
14.2 |  | 45 Kg CO2 Cylinder filled complete Diffrential Head Valve, Bracket and Trimming | NAFFCO | NCS45S | Nos | 1 | 409 | 409 | 0 | 409 | 0 | FALSE |  |  | NULL
14.3 |  | MANUAL / PNEUMATIC RELEASE DEVICE | NAFFCO | B04420065 | Nos | 1 | 72 | 72 | 0 | 72 | 0 | FALSE |  |  | NULL
14.4 |  | Flexible Hose (Discharge) w/ Check Valve | NAFFCO | NHC 18 | Nos | 2 | 114 | 114 | 0 | 228 | 0 | FALSE |  |  | NULL
14.5 |  | Check Valve | NAFFCO | B04600008 | Nos | 2 | 82 | 82 | 0 | 164 | 0 | FALSE |  |  | NULL
14.6 |  | Flexible Hose, 700mm (Pneumatic Cylinder To Manifold) | NAFFCO | B06920212-NF | Nos | 1 | 38 | 38 | 0 | 38 | 0 | FALSE |  |  | NULL
14.7 |  | Manifold for 2 Cylinder | NAFFCO | NFCO2-267-SRM2 | Nos | 1 | 65 | 65 | 0 | 65 | 0 | FALSE |  |  | NULL
14.8 |  | Rack Assembly for 2 Cylinders | NAFFCO | NFIG-RA02-002F | Nos | 1 | 196 | 196 | 0 | 196 | 0 | FALSE |  |  | NULL
14.9 |  | Discharge Nozzle | NAFFCO | - | Nos | 1 | 98 | 98 | 0 | 98 | 0 | FALSE |  |  | NULL
14.11 |  | Discharge Pressure Switch | NAFFCO | 028250050 - NF | Nos | 1 | 281 | 281 | 0 | 281 | 0 | FALSE |  |  | NULL
14.12 |  | Safety Device - 29730039 | NAFFCO | 29730039 | Nos | 1 | 294 | 294 | 0 | 294 | 0 | FALSE |  |  | NULL
14.13 |  | Bleed Valve - 029730040-NF | NAFFCO | 029730040-NF | Nos | 1 | 69 | 69 | 0 | 69 | 0 | FALSE |  |  | NULL
14.14 |  | ADAPTOR - 029510006-NF | NAFFCO | 029510006-NF | Nos | 2 | 10 | 10 | 0 | 20 | 0 | FALSE |  |  | NULL
14.15 |  | Extinguishing Control Panel (Shield - AXT) - (2) Detection zone. - (1) release area. - 24VDC back-up Battery | Shield | AXT | Nos | 1 | 981 | 981 | 0 | 981 | 0 | FALSE |  |  | NULL
14.16 |  | Optical Smoke Detector With Base - S-C2011 | Shield | S-C2011 | Nos | 2 | 15 | 15 | 0 | 30 | 0 | FALSE |  |  | NULL
14.17 |  | Manual Release W/Back Box - 10-1638 |  | 10-1638 | Nos | 1 | 123 | 123 | 0 | 123 | 0 | FALSE |  |  | NULL
14.18 |  | Ball 6" with Back Box - FB1000C6 |  | FB1000C6 | Nos | 1 | 33 | 33 | 0 | 33 | 0 | FALSE |  |  | NULL
14.19 |  | Strobe Horn with Back Box – SH-HSIR |  | SH-HSIR | Nos | 1 | 56 | 56 | 0 | 56 | 0 | FALSE |  |  | NULL
14.21 |  | Xenon/Strobe Light with Back Box - SH-STIR |  | SH-STIR | Nos | 1 | 46 | 46 | 0 | 46 | 0 | FALSE |  |  | NULL
14.22 |  | Warning Sign |  | NF-CO2-SW-01 | Nos | 1 | 59 | 59 | 0 | 59 | 0 | FALSE |  |  | NULL
15 |  | LT ROOM |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | NULL
15.1 |  | 45 Kg CO2 Cylinder filled complete with Manual lever & Solenoid actuator, Head Valve, Bracket and Trimming | NAFFCO | NCS45M | Nos | 2 | 540 | 540 | 0 | 1080 | 0 | FALSE |  |  | NULL
15.2 |  | 45 Kg CO2 Cylinder filled complete Diffrential Head Valve, Bracket and Trimming | NAFFCO | NCS45S | Nos | 8 | 409 | 409 | 0 | 3272 | 0 | FALSE |  |  | NULL
15.3 |  | MANUAL / PNEUMATIC RELEASE DEVICE | NAFFCO | B04420065 | Nos | 1 | 72 | 72 | 0 | 72 | 0 | FALSE |  |  | NULL
15.4 |  | PNEUMATIC RELEASE DEVICE | NAFFCO | B04420066 | Nos | 7 | 46 | 46 | 0 | 322 | 0 | FALSE |  |  | NULL
15.5 |  | Flexible Hose (Discharge) w/ Check Valve | NAFFCO | NHC 18 | Nos | 10 | 114 | 114 | 0 | 1140 | 0 | FALSE |  |  | NULL
15.6 |  | Check Valve | NAFFCO | B04600008 | Nos | 10 | 82 | 82 | 0 | 820 | 0 | FALSE |  |  | NULL
15.7 |  | Flexible Hose, 500mm (To Pneumatic Cylinder) | NAFFCO | B06920213-NF | Nos | 6 | 38 | 38 | 0 | 228 | 0 | FALSE |  |  | NULL
15.8 |  | Flexible Hose, 700mm (Pneumatic Cylinder To Manifold) | NAFFCO | B06920212-NF | Nos | 2 | 38 | 38 | 0 | 76 | 0 | FALSE |  |  | NULL
15.9 |  | Manifold for 5 Cylinder | NAFFCO | NFCO2-267-SRM5 | Nos | 2 | 131 | 131 | 0 | 262 | 0 | FALSE |  |  | NULL
15.11 |  | Rack Assembly for 10 Cylinders | NAFFCO | NFCO2-RA02-050F | Nos | 1 | 262 | 262 | 0 | 262 | 0 | FALSE |  |  | NULL
15.12 |  | Discharge Nozzle | NAFFCO | - | Nos | 6 | 98 | 98 | 0 | 588 | 0 | FALSE |  |  | NULL
15.13 |  | Discharge Pressure Switch | NAFFCO | 028250050 - NF | Nos | 1 | 281 | 281 | 0 | 281 | 0 | FALSE |  |  | NULL
15.14 |  | Safety Device - 29730039 | NAFFCO | 29730039 | Nos | 2 | 294 | 294 | 0 | 588 | 0 | FALSE |  |  | NULL
15.15 |  | Bleed Valve - 029730040-NF | NAFFCO | 029730040-NF | Nos | 1 | 69 | 69 | 0 | 69 | 0 | FALSE |  |  | NULL
15. 16 |  | ADAPTOR - 029510006-NF | NAFFCO | 029510006-NF | Nos | 16 | 10 | 10 | 0 | 160 | 0 | FALSE |  |  | NULL
15.17 |  | Extinguishing Control Panel (Shield - AXT) - (2) Detection zone. - (1) release area. - 24VDC back-up Battery | Shield | AXT | Nos | 1 | 981 | 981 | 0 | 981 | 0 | FALSE |  |  | NULL
15.18 |  | Optical Smoke Detector With Base - S-C2011 | Shield | S-C2011 | Nos | 6 | 15 | 15 | 0 | 90 | 0 | FALSE |  |  | NULL
15.19 |  | Manual Release W/Back Box - 10-1638 |  | 10-1638 | Nos | 1 | 123 | 123 | 0 | 123 | 0 | FALSE |  |  | NULL
15.21 |  | Ball 6" with Back Box - FB1000C6 |  | FB1000C6 | Nos | 1 | 33 | 33 | 0 | 33 | 0 | FALSE |  |  | NULL
15.22 |  | Strobe Horn with Back Box – SH-HSIR |  | SH-HSIR | Nos | 1 | 56 | 56 | 0 | 56 | 0 | FALSE |  |  | NULL
15.23 |  | Xenon/Strobe Light with Back Box - SH-STIR |  | SH-STIR | Nos | 1 | 46 | 46 | 0 | 46 | 0 | FALSE |  |  | NULL
15.24 |  | Warning Sign |  | NF-CO2-SW-01 | Nos | 1 | 59 | 59 | 0 | 59 | 0 | FALSE |  |  | NULL
16 |  | TRANSFORMER 33 KV |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | NULL
16.1 |  | 45 Kg CO2 Cylinder filled complete with Manual lever & Solenoid actuator, Head Valve, Bracket and Trimming | NAFFCO | NCS45M | Nos | 2 | 540 | 540 | 0 | 1080 | 0 | FALSE |  |  | NULL
16.2 |  | 45 Kg CO2 Cylinder filled complete Diffrential Head Valve, Bracket and Trimming | NAFFCO | NCS45S | Nos | 4 | 409 | 409 | 0 | 1636 | 0 | FALSE |  |  | NULL
16.3 |  | MANUAL / PNEUMATIC RELEASE DEVICE | NAFFCO | B04420065 | Nos | 1 | 72 | 72 | 0 | 72 | 0 | FALSE |  |  | NULL
16.4 |  | PNEUMATIC RELEASE DEVICE | NAFFCO | B04420066 | Nos | 3 | 46 | 46 | 0 | 138 | 0 | FALSE |  |  | NULL
16.5 |  | Flexible Hose (Discharge) w/ Check Valve | NAFFCO | NHC 18 | Nos | 6 | 114 | 114 | 0 | 684 | 0 | FALSE |  |  | NULL
16.6 |  | Check Valve | NAFFCO | B04600008 | Nos | 6 | 82 | 82 | 0 | 492 | 0 | FALSE |  |  | NULL
16.7 |  | Flexible Hose, 500mm (To Pneumatic Cylinder) | NAFFCO | B06920213-NF | Nos | 2 | 38 | 38 | 0 | 76 | 0 | FALSE |  |  | NULL
16.8 |  | Flexible Hose, 700mm (Pneumatic Cylinder To Manifold) | NAFFCO | B06920212-NF | Nos | 2 | 38 | 38 | 0 | 76 | 0 | FALSE |  |  | NULL
16.9 |  | Manifold for 3 Cylinder | NAFFCO | NFCO2-267-SRM3 | Nos | 2 | 131 | 131 | 0 | 262 | 0 | FALSE |  |  | NULL
16.11 |  | Rack Assembly for 6 Cylinders | NAFFCO | NFCO2-RA02-030F | Nos | 1 | 245 | 245 | 0 | 245 | 0 | FALSE |  |  | NULL
16.12 |  | Discharge Nozzle | NAFFCO | - | Nos | 4 | 98 | 98 | 0 | 392 | 0 | FALSE |  |  | NULL
16.13 |  | Discharge Pressure Switch | NAFFCO | 028250050 - NF | Nos | 1 | 281 | 281 | 0 | 281 | 0 | FALSE |  |  | NULL
16.14 |  | Safety Device - 29730039 | NAFFCO | 29730039 | Nos | 2 | 294 | 294 | 0 | 588 | 0 | FALSE |  |  | NULL
16.15 |  | Bleed Valve - 029730040-NF | NAFFCO | 029730040-NF | Nos | 1 | 69 | 69 | 0 | 69 | 0 | FALSE |  |  | NULL
16.16 |  | ADAPTOR - 029510006-NF | NAFFCO | 029510006-NF | Nos | 4 | 10 | 10 | 0 | 40 | 0 | FALSE |  |  | NULL
16.17 |  | Extinguishing Control Panel (Shield - AXT) - (2) Detection zone. - (1) release area. - 24VDC back-up Battery | Shield | AXT | Nos | 1 | 981 | 981 | 0 | 981 | 0 | FALSE |  |  | NULL
16.18 |  | Heat Detector With Base - S-C2013 | Shield | S-C2013 | Nos | 4 | 16 | 16 | 0 | 64 | 0 | FALSE |  |  | NULL
16.19 |  | Manual Release W/Back Box - 10-1638 |  | 10-1638 | Nos | 1 | 123 | 123 | 0 | 123 | 0 | FALSE |  |  | NULL
16.21 |  | Ball 6" with Back Box - FB1000C6 |  | FB1000C6 | Nos | 1 | 33 | 33 | 0 | 33 | 0 | FALSE |  |  | NULL
16.22 |  | Strobe Horn with Back Box – SH-HSIR |  | SH-HSIR | Nos | 1 | 56 | 56 | 0 | 56 | 0 | FALSE |  |  | NULL
16.23 |  | Xenon/Strobe Light with Back Box - SH-STIR |  | SH-STIR | Nos | 1 | 46 | 46 | 0 | 46 | 0 | FALSE |  |  | NULL
16.24 |  | Warning Sign |  | NF-CO2-SW-01 | Nos | 1 | 59 | 59 | 0 | 59 | 0 | FALSE |  |  | NULL
17 |  | TRANSFORMER 11 KV |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | NULL
17.1 |  | 45 Kg CO2 Cylinder filled complete with Manual lever & Solenoid actuator, Head Valve, Bracket and Trimming | NAFFCO | NCS45M | Nos | 2 | 540 | 540 | 0 | 1080 | 0 | FALSE |  |  | NULL
17.2 |  | 45 Kg CO2 Cylinder filled complete Diffrential Head Valve, Bracket and Trimming | NAFFCO | NCS45S | Nos | 8 | 409 | 409 | 0 | 3272 | 0 | FALSE |  |  | NULL
17.3 |  | MANUAL / PNEUMATIC RELEASE DEVICE | NAFFCO | B04420065 | Nos | 1 | 72 | 72 | 0 | 72 | 0 | FALSE |  |  | NULL
17.4 |  | PNEUMATIC RELEASE DEVICE | NAFFCO | B04420066 | Nos | 7 | 46 | 46 | 0 | 322 | 0 | FALSE |  |  | NULL
17.5 |  | Flexible Hose (Discharge) w/ Check Valve | NAFFCO | NHC 18 | Nos | 10 | 114 | 114 | 0 | 1140 | 0 | FALSE |  |  | NULL
17.6 |  | Check Valve | NAFFCO | B04600008 | Nos | 10 | 82 | 82 | 0 | 820 | 0 | FALSE |  |  | NULL
17.7 |  | Flexible Hose, 500mm (To Pneumatic Cylinder) | NAFFCO | B06920213-NF | Nos | 6 | 38 | 38 | 0 | 228 | 0 | FALSE |  |  | NULL
17.8 |  | Flexible Hose, 700mm (Pneumatic Cylinder To Manifold) | NAFFCO | B06920212-NF | Nos | 2 | 38 | 38 | 0 | 76 | 0 | FALSE |  |  | NULL
17.9 |  | Manifold for 5 Cylinder | NAFFCO | NFCO2-267-SRM5 | Nos | 2 | 131 | 131 | 0 | 262 | 0 | FALSE |  |  | NULL
17.11 |  | Rack Assembly for 10 Cylinders | NAFFCO | NFCO2-RA02-050F | Nos | 1 | 262 | 262 | 0 | 262 | 0 | FALSE |  |  | NULL
17.12 |  | Discharge Nozzle | NAFFCO | - | Nos | 6 | 98 | 98 | 0 | 588 | 0 | FALSE |  |  | NULL
17.13 |  | Discharge Pressure Switch | NAFFCO | 028250050 - NF | Nos | 1 | 281 | 281 | 0 | 281 | 0 | FALSE |  |  | NULL
17.14 |  | Safety Device - 29730039 | NAFFCO | 29730039 | Nos | 2 | 294 | 294 | 0 | 588 | 0 | FALSE |  |  | NULL
17.15 |  | Bleed Valve - 029730040-NF | NAFFCO | 029730040-NF | Nos | 1 | 69 | 69 | 0 | 69 | 0 | FALSE |  |  | NULL
17.16 |  | ADAPTOR - 029510006-NF | NAFFCO | 029510006-NF | Nos | 16 | 10 | 10 | 0 | 160 | 0 | FALSE |  |  | NULL
17.17 |  | Extinguishing Control Panel (Shield - AXT) - (2) Detection zone. - (1) release area. - 24VDC back-up Battery | Shield | AXT | Nos | 1 | 981 | 981 | 0 | 981 | 0 | FALSE |  |  | NULL
17.18 |  | Heat Detector With Base - S-C2013 | Shield | S-C2013 | Nos | 6 | 16 | 16 | 0 | 96 | 0 | FALSE |  |  | NULL
17.19 |  | Manual Release W/Back Box - 10-1638 |  | 10-1638 | Nos | 1 | 123 | 123 | 0 | 123 | 0 | FALSE |  |  | NULL
17.21 |  | Ball 6" with Back Box - FB1000C6 |  | FB1000C6 | Nos | 1 | 33 | 33 | 0 | 33 | 0 | FALSE |  |  | NULL
17.22 |  | Strobe Horn with Back Box – SH-HSIR |  | SH-HSIR | Nos | 1 | 56 | 56 | 0 | 56 | 0 | FALSE |  |  | NULL
17.23 |  | Xenon/Strobe Light with Back Box - SH-STIR |  | SH-STIR | Nos | 1 | 46 | 46 | 0 | 46 | 0 | FALSE |  |  | NULL
17.24 |  | Warning Sign |  | NF-CO2-SW-01 | Nos | 1 | 59 | 59 | 0 | 59 | 0 | FALSE |  |  | NULL
18 |  | IT ROOM |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | NULL
18.1 |  | SHIELD200 106.0L Cylinder Assembly (53.1kg-127.2kg) Complete with 2" Valve and Pressure Gauge Pressure Switch, Cylinder Label & Bracket without LLI | Shield | SD-106HFC-02 | Nos | 1 | 1667 | 1667 | 0 | 1667 | 0 | FALSE |  |  | NULL
18.2 |  | SHIELD200 (SD-HFC227ea) Agent | Shield | - | Kg | 56 | 33 | 33 | 0 | 1848 | 0 | FALSE |  |  | NULL
18.3 |  | Supervised Latching Solenoid Actuator | Shield | SD-REA-SS | Nos | 1 | 523 | 523 | 0 | 523 | 0 | FALSE |  |  | NULL
18.4 |  | Manual Actuator with Push to operate - SD-MA0025 | Shield | SD-MA0025 | Nos | 1 | 59 | 59 | 0 | 59 | 0 | FALSE |  |  | NULL
18.5 |  | Discharge Pressure Switch - SD-DPS-B6-95-1 | Shield | SD-DPS-B6-95-1 | Nos | 1 | 196 | 196 | 0 | 196 | 0 | FALSE |  |  | NULL
18.6 |  | Discharge Hose 2 Inch (50MM) with Female Swivel Fittings | Shield | SD-DH0050 | Nos | 1 | 140 | 140 | 0 | 140 | 0 | FALSE |  |  | NULL
18.7 |  | Discharge Nozzle -Brass | Shield | - | Nos | 2 | 96 | 96 | 0 | 192 | 0 | FALSE |  |  | NULL
18.8 |  | FM-200 Warning Signage - SD-FM-WARN | Shield | SD-FM-WARN | Nos | 1 | 98 | 98 | 0 | 98 | 0 | FALSE |  |  | NULL
18.9 |  | Cylinder Lebel 280x180 - UL/FM Approved - SD-FM-LBL | Shield | SD-FM-LBL | Nos | 1 | 18 | 18 | 0 | 18 | 0 | FALSE |  |  | NULL
18.11 |  | Extinguishing Control Panel (Shield - AXT) - (2) Detection zone. - (1) release area. - 24VDC back-up Battery | Shield | AXT | Nos | 1 | 981 | 981 | 0 | 981 | 0 | FALSE |  |  | NULL
18.12 |  | Optical Smoke detector w/base - S-C2011 | Shield | S-C2011 | Nos | 2 | 20 | 20 | 0 | 40 | 0 | FALSE |  |  | NULL
18.13 |  | Abort switch w/black box - S111R-AB | Shield | S111R-AB | Nos | 1 | 114 | 114 | 0 | 114 | 0 | FALSE |  |  | NULL
18.14 |  | Bell. 6'' w/black box - FB-100C6 | Shield | FB-100C6 | Nos | 1 | 33 | 33 | 0 | 33 | 0 | FALSE |  |  | NULL
18.15 |  | Strobe horn w/black box - SH-HSIR | Shield | SH-HSIR | Nos | 1 | 56 | 56 | 0 | 56 | 0 | FALSE |  |  | NULL
18.16 |  | Xenon/Strobe light w/black box - SH-STIR | Shield | SH-STIR | Nos | 1 | 46 | 46 | 0 | 46 | 0 | FALSE |  |  | NULL
18.17 |  | Manual Release W/Back Box - 10-1638 |  | 10-1638 | Nos | 1 | 123 | 123 | 0 | 123 | 0 | FALSE |  |  | NULL
19 |  | FIRE CONTROL ROOM |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | NULL
19.1 |  | SHIELD200 52.0L Cylinder Assembly (26.1kg-62.4kg) Complete with 2" Valve and Pressure Gauge Pressure Switch, Cylinder Label & Bracket without LLI | Shield | SD-52HFC-02 | Nos | 1 | 1418 | 1418 | 0 | 1418 | 0 | FALSE |  |  | NULL
19.2 |  | SHIELD200 (SD-HFC227ea) Agent | Shield | - | Kg | 29 | 33 | 33 | 0 | 957 | 0 | FALSE |  |  | NULL
19.3 |  | Supervised Latching Solenoid Actuator | Shield | SD-REA-SS | Nos | 1 | 523 | 523 | 0 | 523 | 0 | FALSE |  |  | NULL
19.4 |  | Manual Actuator with Push to operate - SD-MA0025 | Shield | SD-MA0025 | Nos | 1 | 59 | 59 | 0 | 59 | 0 | FALSE |  |  | NULL
19.5 |  | Discharge Pressure Switch - SD-DPS-B6-95-1 | Shield | SD-DPS-B6-95-1 | Nos | 1 | 196 | 196 | 0 | 196 | 0 | FALSE |  |  | NULL
19.6 |  | Discharge Hose 2 Inch (50MM) with Female Swivel Fittings | Shield | SD-DH0050 | Nos | 1 | 140 | 140 | 0 | 140 | 0 | FALSE |  |  | NULL
19.7 |  | Discharge Nozzle -Brass | Shield | - | Nos | 2 | 96 | 96 | 0 | 192 | 0 | FALSE |  |  | NULL
19.8 |  | FM-200 Warning Signage - SD-FM-WARN | Shield | SD-FM-WARN | Nos | 1 | 98 | 98 | 0 | 98 | 0 | FALSE |  |  | NULL
19.9 |  | Cylinder Lebel 280x180 - UL/FM Approved - SD-FM-LBL | Shield | SD-FM-LBL | Nos | 1 | 18 | 18 | 0 | 18 | 0 | FALSE |  |  | NULL
19.11 |  | EXTINGUISHING CONTROL PANEL - A-XT Shield (2) Detection Zone (1) Release area - 24 VDC Back-up battery | Shield | AXT | Nos | 1 | 981 | 981 | 0 | 981 | 0 | FALSE |  |  | NULL
19.12 |  | Optical Smoke detector w/base - S-C2011 | Shield | S-C2011 | Nos | 2 | 20 | 20 | 0 | 40 | 0 | FALSE |  |  | NULL
19.13 |  | Abort switch w/black box - S111R-AB | Shield | S111R-AB | Nos | 1 | 114 | 114 | 0 | 114 | 0 | FALSE |  |  | NULL
19.14 |  | Bell. 6'' w/black box - FB-100C6 | Shield | FB-100C6 | Nos | 1 | 33 | 33 | 0 | 33 | 0 | FALSE |  |  | NULL
19.15 |  | Strobe horn w/black box - SH-HSIR | Shield | SH-HSIR | Nos | 1 | 56 | 56 | 0 | 56 | 0 | FALSE |  |  | NULL
19.16 |  | Xenon/Strobe light w/black box - SH-STIR | Shield | SH-STOR | Nos | 1 | 98 | 98 | 0 | 98 | 0 | FALSE |  |  | NULL
19.17 |  | Manual Release W/Back Box - 10-1638 |  | 10-1638 | Nos | 1 | 123 | 123 | 0 | 123 | 0 | FALSE |  |  | NULL
20 |  | FOAM SYSTEM - GENERATOR ROOM |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | NULL
20.1 |  | 100 Gallon Vertical Bladder Tank - Carbon steel to ASME, vinyl based polymer bladder, fill and drain valves, glass sight tube, 2" foam concentrate line NRV, BV valves | Naffco | NVBT-100 | Nos | 1 | 5395 | 5395 | 0 | 5395 | 0 | FALSE |  |  | NULL
20.2 |  | Afff Concentrate - 3% | Naffco | UL | GLN | 65 | 4 | 4 | 0 | 260 | 0 | FALSE |  |  | NULL
20.3 |  | 2.5" Foam proportioner | Naffco | RC-B | Nos | 1 | 458 | 458 | 0 | 458 | 0 | FALSE |  |  | NULL
20.4 |  | Deluge Valve 2" - SD-DVA, basic trim, electric trim release, 24v dc solenoid valve, manula release water motor alarm gong, pressure switch, main drain valve, pressure guage |  |  | Set | 1 | 1471 | 1471 | 0 | 1471 | 0 | FALSE |  |  | NULL
20.5 |  | OS&Y Gate Valve 2" Class 125 Flanged, 200 PSI working UL/FM Approved - SD-OSY200FF-D + Tamper switch - SD-SVS-OSY | Shield |  | Set | 1 | 229 | 229 | 0 | 229 | 0 | FALSE |  |  | NULL
20.6 |  | Y-Strainer 2" SHIELD | Shield | SD-YS300FF-D | Nos | 1 | 72 | 72 | 0 | 72 | 0 | FALSE |  |  | NULL
20.7 |  | Foam-Water Sprinkler, Open Type | Naffco | NH-500S | Nos | 12 | 49 | 49 | 0 | 588 | 0 | FALSE |  |  | NULL
20.8 |  | Air Release Valve 1" UL/FM - Model. 15A.3, Valmatic | Valmatic | 15A.3 | Nos | 1 | 157 | 157 | 0 | 157 | 0 | FALSE |  |  | NULL
20.9 |  | Extinguishing Control Panel (Shield - AXT) - (2) Detection zone. - (1) release area. - 24VDC back-up Battery | Shield | AXT | Nos | 1 | 981 | 981 | 0 | 981 | 0 | FALSE |  |  | NULL
20.11 |  | Heate detector w/base - S-C2013 | Shield | S-C2013 | Nos | 2 | 16 | 16 | 0 | 32 | 0 | FALSE |  |  | NULL
20.12 |  | Bell. 6'' w/black box - FB-100C6 | Shield | FB-100C6 | Nos | 1 | 33 | 33 | 0 | 33 | 0 | FALSE |  |  | NULL
20.13 |  | Strobe horn w/black box - SH-HSIR | Shield | SH-HSIR | Nos | 1 | 56 | 56 | 0 | 56 | 0 | FALSE |  |  | NULL
20.14 |  | Xenon/Strobe light w/black box - SH-STIR | Shield | SH-STIR | Nos | 1 | 46 | 46 | 0 | 46 | 0 | FALSE |  |  | NULL
20.15 |  | Manual Release W/Back Box - 10-1638 |  | 10-1638 | Nos | 1 | 123 | 123 | 0 | 123 | 0 | FALSE |  |  | NULL
20.16 |  | Warning Sign (Each set 3 nos) |  |  | Nos | 1 | 59 | 59 | 0 | 59 | 0 | FALSE |  |  | NULL
21 |  | FOAM SYSTEM - FUEL TANK |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | NULL
21.1 |  | 100 Gallon Vertical Bladder Tank - Carbon steel to ASME, vinyl based polymer bladder, fill and drain valves, glass sight tube, 2" foam concentrate line NRV, BV valves | Naffco | NVBT-100 | Nos | 1 | 5395 | 5395 | 0 | 5395 | 0 | FALSE |  |  | NULL
21.2 |  | Afff Concentrate - 3% | Naffco | UL | GLN | 71 | 4 | 4 | 0 | 284 | 0 | FALSE |  |  | NULL
21.3 |  | 2.5" Foam proportioner | Naffco | RC-B | Nos | 1 | 458 | 458 | 0 | 458 | 0 | FALSE |  |  | NULL
21.4 |  | Deluge Valve 2" - SD-DVA, basic trim, electric trim release, 24v dc solenoid valve, manula release water motor alarm gong, pressure switch, main drain valve, pressure guage |  |  | Set | 1 | 1471 | 1471 | 0 | 1471 | 0 | FALSE |  |  | NULL
21.5 |  | OS&Y Gate Valve 2" Class 125 Flanged, 200 PSI working UL/FM Approved - SD-OSY200FF-D + Tamper switch - SD-SVS-OSY | Shield |  | Set | 1 | 229 | 229 | 0 | 229 | 0 | FALSE |  |  | NULL
21.6 |  | Y-Strainer 2" SHIELD | Shield | SD-YS300FF-D | Nos | 1 | 72 | 72 | 0 | 72 | 0 | FALSE |  |  | NULL
21.7 |  | Foam-Water Sprinkler, Open Type | Naffco | NH-500S | Nos | 12 | 49 | 49 | 0 | 588 | 0 | FALSE |  |  | NULL
21.8 |  | Air Release Valve 1" UL/FM - Model. 15A.3, Valmatic | Valmatic | 15A.3 | Nos | 1 | 157 | 157 | 0 | 157 | 0 | FALSE |  |  | NULL
21.9 |  | Extinguishing Control Panel (Shield - AXT) - (2) Detection zone. - (1) release area. - 24VDC back-up Battery | Shield | AXT | Nos | 1 | 981 | 981 | 0 | 981 | 0 | FALSE |  |  | NULL
21.11 |  | FLAME DETECTOR, EXP. PROOF, WALL MOUNTED | REZONTECH | RFD2000X | Nos | 2 | 2191 | 2191 | 0 | 4382 | 0 | FALSE |  |  | NULL
21.12 |  | Bell. 6'' w/black box - FB-100C6 | Shield | FB-100C6 | Nos | 1 | 33 | 33 | 0 | 33 | 0 | FALSE |  |  | NULL
21.13 |  | Strobe horn w/black box - SH-HSIR | Shield | SH-HSIR | Nos | 1 | 56 | 56 | 0 | 56 | 0 | FALSE |  |  | NULL
21.14 |  | Xenon/Strobe light w/black box - SH-STIR | Shield | SH-STIR | Nos | 1 | 46 | 46 | 0 | 46 | 0 | FALSE |  |  | NULL
21.15 |  | Manual Release W/Back Box - 10-1638 |  | 10-1638 | Nos | 1 | 123 | 123 | 0 | 123 | 0 | FALSE |  |  | NULL
21.16 |  | Warning Sign (Each set 3 nos) |  |  | Nos | 1 | 59 | 59 | 0 | 59 | 0 | FALSE |  |  | NULL