## Sheet1
SLNO | ItemCode | ItemName | Brand | Model | UOM | Qty | UnitPriceAED | UnitPrice | Margin | Amount | Unitweight | Optional | COO | DeliveryStatus | CRMProductId | CRMProduct
1 |  | Fire Dectection Alarm |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 300000024322780 | Fire Alarm
1.1 |  | Addressable 2-Loop Fire Alarm Control Panel, NEO Series, ETL Listed, Model: NX-FACP-2 - Shield, UK, NX-FACP-2 |  |  | EA | 2 | 1022 | 1022 | 0 | 2044 | 0 | FALSE |  |  | 300000024322780 | Fire Alarm
1.2 |  | Remote Control Annunciator, Style 7, NEO Series, Model: NX-FAN-C/ST7 – Shield |  |  | EA | 2 | 1084 | 1084 | 0 | 2168 | 0 | FALSE |  |  | 300000024322780 | Fire Alarm
1.2 |  | Network Card of Fire Alam Control Panel (Style 7), NEO Series, ETL Listed, Model: NX-FANET7 - Shield, UK |  |  | EA | 2 | 468 | 468 | 0 | 936 | 0 | FALSE |  |  | 300000024322780 | Fire Alarm
1.3 |  | Remote Control Annunciator, Style 7, NEO Series, Model: NX-FAN-C/ST7 - Shield, NX-FAN-C/ST7 |  |  | EA | 2 | 1085 | 1085 | 0 | 2170 | 0 | FALSE |  |  | 300000024322780 | Fire Alarm
1.4 |  | Addressable Photoelectric Smoke Detector, Model: S-A4011E - Shield + Mounting Base for Detector, UL Listed, Model: S-A4001 |  |  | EA | 216 | 21 | 21 | 0 | 4536 | 0 | FALSE |  |  | 300000024322780 | Fire Alarm
1.5 |  | Addressable Heat Detector, Model: S-A4013E - Shield- UL Listed + Mounting Base for Detector, UL Listed, Model: S-A4001 - Shield |  |  | EA | 30 | 21 | 21 | 0 | 630 | 0 | FALSE |  |  | 300000024322780 | Fire Alarm
1.6 |  | Addressable Dual Action Manual Pull Station, UL Listed, Model: S-A4061- Shield + Back Box for Manual Pull Station, Model: S-A4062 - Shield |  |  | EA | 30 | 35 | 35 | 0 | 1050 | 0 | FALSE |  |  | 300000024322780 | Fire Alarm
1.7 |  | Conventional Beam Detector with Reflective Long Range Kit for 120m, Model: Alpha 2000 - Shield |  |  | EA | 18 | 568 | 568 | 0 | 10224 | 0 | FALSE |  |  | 300000024322780 | Fire Alarm
1.8 |  | Addressable Dual Priority Switch Monitor Module, UL Listed, Model: S-A4042 - Shield + Back Box suitable for Addressable UL Listed Fire Alarm Modules Model: S-A, 4042, Model: SD-BBX-AM - Shield |  |  | EA | 18 | 37 | 37 | 0 | 666 | 0 | FALSE |  |  | 300000024322780 | Fire Alarm
1.9 |  | Power Supply Unit, 5A |  |  | EA | 1 | 222 | 222 | 0 | 222 | 0 | FALSE |  |  | 300000024322780 | Fire Alarm
1.10 |  | Addressable Isolator, UL Listed, Model: S-A4051- Shield + Isolating Base for Modules, Model: S-A4002 - Shield |  |  | EA | 10 | 13 | 13 | 0 | 130 | 0 | FALSE |  |  | 300000024322780 | Fire Alarm
1.11 |  | Addressable Open Area Sounder, Red, UL Listed, Model: S-A4021 - Shield |  |  | EA | 40 | 33 | 33 | 0 | 1320 | 0 | FALSE |  |  | 300000024322780 | Fire Alarm
2 |  | Fire Fighting System |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
2.1 |  | 10 KG CO2 FIRE EXTINGUISHER - CE,KITEMARK & MED, LPCB TROLLEY, NTC 10X |  |  | EA | 40 | 174 | 174 | 0 | 6960 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
2.2 |  | 9 KG DRY POWDER FIRE EXTINGUSHER - CE,KITEMARK & MED, LPCB, NP9 |  |  | EA | 40 | 35 | 35 | 0 | 1400 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
2.3 |  | 3/4"X30 MTR. HOSE REEL, CABINET MOUNTED, MANUAL - CE,KITEMARK , 19NFH-020M, HOSE REEL CABINET SINGLE DOOR , SURFACE MOUNTED, MILD STEEL |  |  | EA | 37 | 205 | 205 | 0 | 7585 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
2.4 |  | G.I. Seamless Pipe 2", Plain End as per ASTM A53, Grade B, Sch-40, Type S, 6 Mtr Long, UL Listed - SHIELD |  |  | EA | 6 | 41 | 41 | 0 | 246 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
2.5 |  | G.I. Seamless Pipe 6", Plain End as per ASTM A53, Grade B, Sch-40 |  |  | EA | 9 | 434 | 434 | 0 | 3906 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
2.6 |  | G.I. Seamless Pipe 4", Plain End as per ASTM A53, Grade B, Sch-40, Type S, 6 Mtr Long, UL Listed - SHIELD |  |  | EA | 21 | 186 | 186 | 0 | 3906 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
2.7 |  | Zone Control Valve Assembly 6" C/W: Butterfly Valve, Water Flow Switch, Test & Drain Valve, Pressure Gauge with Valve - Shield, Model: SDBVG |  |  | EA | 2 | 347 | 347 | 0 | 694 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
2.8 |  | OS&Y Gate Valve 4" Class 125 Flanged, 200 PSI working UL/FM Approved, SD-OSY200FF-D |  |  | EA | 6 | 178 | 178 | 0 | 1068 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
2.9 |  | RATED PUMP DUTY: 350 GPM @ 6 BAR JOCKEY PUMP DUTY: 10 GPM @ 6 BAR 1E+1D+1J - NAFFCO UL LISTED HORIZONTAL END SUCTION PUMP COUPLED WITH DRIVERS (ODP MOTOR & DIESEL ENGINE) + 1 VERTICAL MULTISTAGE JOCKEY PUMP AND NAFFCO UL/FM APPROVED 1 ELECTRIC (Y-DELTA OPEN TYPE TRANSITION, NEMA 2 ENCLOSURE) + NAFFCO UL/FM APPROVED 1 DIESEL (NEMA 2 ENCLOSURE) + NAFFCO UL LISTED 1 JOCKEY PUMP CONTROLLER (NEMA 2 ENCLOSURE) AND STANDARD ACCESSORIES. GENERAL NOTES FOR PUMP SET: ======================= * ABOVE PRICE INCLUDES CHARGES FOR SUPPLY ONLY. * PUMP IS SUITABLE FOR FRESH WATER APPLICATION AND FLOODED SUCTION ONLY. * VALVES & FITTINGS ARE NOT INCLUDED IN OUR OFFER. * STANDARD PUMP SET QUOTED CONSIDERING NO SPECIFICATION AVAILABLE. EXTRA ACCESSORIES/SPECIAL MATERIAL MAY BE REQUIRED WITH RESPECT TO CUSTOMER'S FINAL SPECIFICATIONS, THIS MAY HAVE A PRICE IMPLICATION AS WELL. * CHARGES 15% OF ORDER AMOUNT IN CASE OF ORDER CANCELLATION. |  |  | SET | 1 | 23685 | 23685 | 0 | 23685 | 0 | FALSE |  |  | 300000002306007 | Fire Pump
2.10 |  | Wet Type Fire Hydrant 4" with 2 x 2.5" BRASS Oblique Landing Valve outlet with cap, chain (Control Outlet) , NHYD 060 |  |  | EA | 4 | 302 | 302 | 0 | 1208 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
2.11 |  | G.I. Seamless Pipe 4", Plain End as per ASTM A53, Grade B, Sch-40, Type S, 6 Mtr Long, UL Listed - SHIELD |  |  | EA | 63 | 186 | 186 | 0 | 11718 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
2.12 |  | Self-Standing Type Outdoor Fire Hydrant Cabinet, Complete Mild Steel, Glass Door c/w (2Nos) Fire hose Single Jacket 2.5" x 30 Mtr RED with AL NHC coupling - UL Listed, Model: NF-FH65, (1No) Branch pipe 2-1/2" with BS Male Inlet - KITEMARK, Model: NF-FB-320, (1No) Hydrant Spanner, (1No) Hydrant Key, (1No) Hydrant Wrench & (1No) Axe |  |  | EA | 15 | 606 | 606 | 0 | 9090 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
2.13 |  | Check Valve 4" Class 125 Flanged, 200 PSI working UL/FM Approved, SD-NRV200FF-D |  |  | EA | 15 | 154 | 154 | 0 | 2310 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
2.14 |  | 100GPM @ 6BAR, 2E -NON- UL listed Horizontal End Suction Pump. Including pressure vessel and standard accessories |  |  | EA | 2 | 4766 | 4766 | 0 | 9532 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting