## Sheet1
SLNO | ItemCode | ItemName | Brand | Model | UOM | Qty | UnitPriceAED | UnitPrice | Margin | Amount | Unitweight | Optional | COO | DeliveryStatus | CRMProductId | CRMProduct
0
1 |  | FIRE ALARM SYSTEM |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 300000024322780 | Fire Alarm
1.1 |  | Intelligent Addressable Photoelectric Smoke Detector, White Color, Model: TR-PHOTO-W - TRIGA |  |  | Nos | 1830 | 15 | 15 | 0 | 27450 | 0 | FALSE |  |  | 300000024322780 | Fire Alarm
1.2 |  | Intelligent Addressable Fixed Temperature And Rate Of Rise Thermal Detector, Detection: 15 Deg.F/min to (9 Deg.C/min), White Color, Model: TR-HEAT-ROR-W - TRIGA |  |  | Nos | 29 | 15 | 15 | 0 | 435 | 0 | FALSE |  |  | 300000024322781 | Fire Alarm
1.3 |  | Intelligent Addressable Photoelectric Smoke Detector, with Thermal 135 Deg.F (57 Deg.C), White Color, Model: TR-PHOTO-T-W - TRIGA |  |  | Nos | 251 | 21 | 21 | 0 | 5271 | 0 | FALSE |  |  | 300000024322782 | Fire Alarm
1.4 |  | 4" Standard Flangeless Mounting Base, White Color, Model: TR-B501-WHITE - TRIGA |  |  | Nos | 1488 | 3 | 3 | 0 | 4464 | 0 | FALSE |  |  | 300000024322783 | Fire Alarm
1.5 |  | Intelligent Addressable Sounder Base Capable of Producing Sound Output in High/Low Volume with ANSI Temporal 3, ANSI Temporal 4, Continuous Tone, Marching Tone, And Custom Tone, White Color, Model: TR-B200S-WH - TRIGA |  |  | Nos | 760 | 21 | 21 | 0 | 15960 | 0 | FALSE |  |  | 300000024322784 | Fire Alarm
1.6 |  | Intelligent Photoelectric Replacement Smoke Detector, Remote Test Capable, For Use with DNR (W) Duct Smoke Detector, White Color, Model: TR-PHOTO-R-W - TRIGA |  |  | Nos | 138 | 15 | 15 | 0 | 2070 | 0 | FALSE |  |  | 300000024322785 | Fire Alarm
1.7 |  | InnovairFlex Intelligent Duct Detector, Non-Relay, w/o Head, Model: TR-DNR - TRIGA + InnovairFlex Sampling Tube, Steel, 5' With Holes, UL Listed, P/N.# DST5- Farenhyt + EXT |  |  | Nos | 138 | 102 | 102 | 0 | 14076 | 0 | FALSE |  |  | 300000024322786 | Fire Alarm
1.8 |  | Horn/Strobe, 12/24 Volt, Red Color, Multi-Candela: 15,15/75, 30, 75,110, 115 Cd, Outdoor, Wall Mounted, With Back box, Model: TR-P2RK - TRIGA |  |  | Nos | 35 | 69 | 69 | 0 | 2415 | 0 | FALSE |  |  | 300000024322787 | Fire Alarm
1.9 |  | Strobe, Multi Candela: 15, 15/75, 30, 75, 110, 115, RED Color, With Back Box, 12-24V DC, Model: TR-SRK - TRIGA |  |  | Nos | 216 | 55 | 55 | 0 | 11880 | 0 | FALSE |  |  | 300000024322788 | Fire Alarm
1.10 |  | Intelligent Addressable Pull Station, Single Action, Key Reset, Model: TR-PULL-SA - TRIGA + Back Box for Pull Station, Model: SB-I/O - Farenhyt |  |  | Nos | 203 | 38 | 38 | 0 | 7714 | 0 | FALSE |  |  | 300000024322789 | Fire Alarm
1.11 |  | Weather Proof Cover, Surface Mount, with 50mm Spacer and Gasket Set, UL Listed, Model: STI 3150 - STI |  |  | Nos | 26 | 88 | 88 | 0 | 2288 | 0 | FALSE |  |  | 300000024322790 | Fire Alarm
1.12 |  | Intelligent Addressable Monitor Module, Supervised Single Contact, Module, Model: TR-MONITOR - TRIGA + 4" Square Surface Mount Electrical Box For Use With IDP Modules, Model: TR-SMB500 - TRIGA |  |  | Nos | 372 | 33 | 33 | 0 | 12276 | 0 | FALSE |  |  | 300000024322791 | Fire Alarm
1.13 |  | Intelligent Addressable Monitor Module, Supervised with 2 Initiating Circuits, Model: TR-MONITOR-2 - TRIGA + 4" Square Surface Mount Electrical Box For Use With IDP Modules, Model: TR-SMB500 - TRIGA |  |  | Nos | 476 | 28 | 28 | 0 | 13328 | 0 | FALSE |  |  | 300000024322792 | Fire Alarm
1.14 |  | Intelligent Addressable Relay Module with 2 Isolated Sets Of Form C Contacts, Model: TR-RELAY - TRIGA + 4" Square Surface Mount Electrical Box For Use With IDP Modules, Model: TR-SMB500 - TRIGA |  |  | Nos | 926 | 30 | 30 | 0 | 27780 | 0 | FALSE |  |  | 300000024322793 | Fire Alarm
1.15 |  | Intelligent Addressable Line Isolator Mod. Isolates Short Circuits On SLC Loop, Model: TR-ISO - TRIGA + 4" Square Surface Mount Electrical Box For Use With IDP Modules, Model: TR-SMB500 - TRIGA |  |  | Nos | 282 | 33 | 33 | 0 | 9306 | 0 | FALSE |  |  | 300000024322794 | Fire Alarm
1.16 |  | GAS DETECTOR - EXPLOSION PROOF , DGTK2-ex |  |  | Nos | 55 | 1959 | 1959 | 0 | 107745 | 0 | FALSE |  |  | 300000024322795 | Fire Alarm
1.17 |  | Addressable Fire Panel w/ LCD (Max 2100 Points) w/ Inbuilt 1 SLC Loop Card, 8 On-board Flex Circuits, USB Inter. For Programming, 4 Pgm Function Keys, 240VAC, 50/60Hz, 2.8A,UL/FM Approved, w/ Cabinet BLACK Color, Model: TR-2100B - TRIGA |  |  | Nos | 4 | 1977 | 1977 | 0 | 7908 | 0 | FALSE |  |  | 300000024322796 | Fire Alarm
1.18 |  | BATTERY BOX |  |  | Nos | 4 | 220 | 220 | 0 | 880 | 0 | FALSE |  |  | 300000024322797 | Fire Alarm
1.19 |  | SLC Loop Expander, Supports 159 Detectors and 159 Modules, Model: TR-6815 - TRIGA |  |  | Nos | 16 | 208 | 208 | 0 | 3328 | 0 | FALSE |  |  | 300000024322798 | Fire Alarm
1.20 |  | Network Interface Card, Model: TR-NIC - TRIGA |  |  | Nos | 4 | 255 | 255 | 0 | 1020 | 0 | FALSE |  |  | 300000024322799 | Fire Alarm
1.21 |  | Fiber Module, Single-Mode, To Use with TR-NIC, Max 30db Loss Using 9/125 Fiber, TR-FSL Connects to Network Using 9/125 Mic Single Mode Fiber, Model: TR-FSL - TRIGA |  |  | Nos | 8 | 199 | 199 | 0 | 1592 | 0 | FALSE |  |  | 300000024322800 | Fire Alarm
1.22 |  | FIELD SERVER FS-QS-2310-F + Serial/Parallel Gateway Module, Parallel (Connection to a Standard Dot Matrix Track Printer) and RS-232 Output (Connection to PC Which Runs GUI or IP Gateway), Model: TR-5824 - TRIGA |  |  | Nos | 2 | 7235 | 7235 | 0 | 14470 | 0 | FALSE |  |  | 300000024322801 | Fire Alarm
1.23 |  | 24-pin Dot-Matrix Printer, 110-230 V AC Power, P/N.# PRN-7 - Farenhyt + Serial/Parallel Gateway Module, Parallel (Connection to a Standard Dot Matrix Track Printer) and RS-232 Output (Connection to PC Which Runs GUI or IP Gateway), Model: TR-5824 - TRIGA |  |  | Nos | 2 | 1752 | 1752 | 0 | 3504 | 0 | FALSE |  |  | 300000024322802 | Fire Alarm
1.24 |  | GRAPHIC PC PACKAGE, CLSS Horizon Software |  |  | Nos | 2 | 2666 | 2666 | 0 | 5332 | 0 | FALSE |  |  | 300000024322803 | Fire Alarm
1.25 |  | CLSS Gateway with Enclosure, HON-CGW-MBB |  |  | Nos | 3 | 1707 | 1707 | 0 | 5121 | 0 | FALSE |  |  | 300000024322804 | Fire Alarm
1.26 |  | Intelligent Distributed Power Module, High Voltage (240V), Model: TR-RPS1 - TRIGA |  |  | Nos | 16 | 586 | 586 | 0 | 9376 | 0 | FALSE |  |  | 300000024322805 | Fire Alarm
1.27 |  | Fire Fighter Telephone Control Panel, Model: TR-FFT - TRIGA |  |  | Nos | 4 | 1544 | 1544 | 0 | 6176 | 0 | FALSE |  |  | 300000024322806 | Fire Alarm
1.28 |  | Intelligent Addressable Mini Monitor Module, Supervised Single Contact, Module, Model: TR-MINIMON - TRIGA |  |  | Nos | 35 | 15 | 15 | 0 | 525 | 0 | FALSE |  |  | 300000024322807 | Fire Alarm
1.29 |  | Fire Fighter phone Jack, Model: TR-FPJ - TRIGA |  |  | Nos | 209 | 32 | 32 | 0 | 6688 | 0 | FALSE |  |  | 300000024322808 | Fire Alarm
1.30 |  | Remote Handset, Model: TR-RHS - TRIGA |  |  | Nos | 2 | 147 | 147 | 0 | 294 | 0 | FALSE |  |  | 300000024322809 | Fire Alarm
1.31 |  | Fire Fighters Handset Cabinet, Holds up to 10 Remote Handsets, Model: TR-HSC - TRIGA |  |  | Nos | 2 | 407 | 407 | 0 | 814 | 0 | FALSE |  |  | 300000024322810 | Fire Alarm
1.32 |  | Intelligent Addressable Line Isolator Mod. Isolates Short Circuits On SLC Loop, Model: TR-ISO - TRIGA + 4" Square Surface Mount Electrical Box For Use With IDP Modules, Model: TR-SMB500 - TRIGA |  |  | Nos | 8 | 33 | 33 | 0 | 264 | 0 | FALSE |  |  | 300000024322811 | Fire Alarm
2 |  | PUBLIC ALARM AND VOICE ALARM SYSTEM |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 300000024322812 | Fire Alarm
2.1 |  | Control Unit with LCD Touch Screen and 11 Control Slots for Nanoves, EN 54-16 Approved, Model: SCU-11ZLCD - Shield |  |  | Nos | 4 | 2051 | 2051 | 0 | 8204 | 0 | FALSE |  |  | 300000024322813 | Fire Alarm
2.2 |  | 19" Equipment Rack 27U, Front Door Glass, Black Enclosure, Size: W 600 x D 600 x H 1400 |  |  | Nos | 4 | 972 | 972 | 0 | 3888 | 0 | FALSE |  |  | 300000024322814 | Fire Alarm
2.3 |  | Power Amplifier D-Class 8 x160 Watt for Nanoves, EN 54-16 Approved, Model: SPA-8160B - Shield |  |  | Nos | 8 | 2182 | 2182 | 0 | 17456 | 0 | FALSE |  |  | 300000024322815 | Fire Alarm
2.4 |  | 4 Loud Speaker Line Control Card for Nanoves, EN 54-16 Approved, Model: SCUE-4CTRLN - Shield |  |  | Nos | 32 | 508 | 508 | 0 | 16256 | 0 | FALSE |  |  | 300000024322816 | Fire Alarm
2.5 |  | 8 Logical Input Card (Control Slot) for Nanoves, EN 54-16 Approved, Model: SCUE-8CLOGIN - Shield |  |  | Nos | 6 | 172 | 172 | 0 | 1032 | 0 | FALSE |  |  | 300000024322817 | Fire Alarm
2.6 |  | Desktop Zone Microphone with LCD Touch Screen for Nanoves, EN 54-16 Approved, Model: SMA-ZM-LCD - Shield |  |  | Nos | 4 | 956 | 956 | 0 | 3824 | 0 | FALSE |  |  | 300000024322818 | Fire Alarm
2.7 |  | Audio/ RS485 Interface Communication Module for Nanoves, EN 54-16 Approved, Model: SMA-ISL - Shield |  |  | Nos | 16 | 225 | 225 | 0 | 3600 | 0 | FALSE |  |  | 300000024322819 | Fire Alarm
2.8 |  | Power Supply Manager for Nanoves, EN 54-16 Approved, Model: SPS-M48 - Shield |  |  | Nos | 4 | 1520 | 1520 | 0 | 6080 | 0 | FALSE |  |  | 300000024322820 | Fire Alarm
2.9 |  | Power Supply for Nanoves, EN 54-16 Approved, Model: SPS-48800 - Shield |  |  | Nos | 4 | 654 | 654 | 0 | 2616 | 0 | FALSE |  |  | 300000024322821 | Fire Alarm
2.10 |  | Power Supply Unit Frame for Nanoves, EN 54-16 Approved, Model: SPS-F4 - Shield |  |  | Nos | 4 | 148 | 148 | 0 | 592 | 0 | FALSE |  |  | 300000024322822 | Fire Alarm
2.11 |  | Lead Acid Sealed Battery 100Ah x 12V |  |  | SET | 2 | 393 | 393 | 0 | 786 | 0 | FALSE |  |  | 300000024322823 | Fire Alarm
2.12 |  | Ceiling Speaker 6W, 70/100V, (Dia 20cm) for Nanoves, EN 54-24 Approved, Model: SP-S206 - Shield |  |  | Nos | 1763 | 31 | 31 | 0 | 54653 | 0 | FALSE |  |  | 300000024322824 | Fire Alarm
2.13 |  | Wall Speaker (Aesthetic) 6W, 100V for Nanoves, EN 54-24 Approved, Model: SP-W6 - Shield |  |  | Nos | 108 | 48 | 48 | 0 | 5184 | 0 | FALSE |  |  | 300000024322825 | Fire Alarm
2.14 |  | Modules SFP, SF-MM331002D-GP |  |  | Nos | 8 | 102 | 102 | 0 | 816 | 0 | FALSE |  |  | 300000024322826 | Fire Alarm
2.15 |  | NETWORK SWITCHES, IFS-803GSM-8PHE24 |  |  | Nos | 2 | 768 | 768 | 0 | 1536 | 0 | FALSE |  |  | 300000024322827 | Fire Alarm