## Sheet1
SLNO | ItemCode | ItemName | Brand | Model | UOM | Qty | UnitPriceAED | UnitPrice | Margin | Amount | Unitweight | Optional | COO | DeliveryStatus | CRMProductId | CRMProduct
1 |  | FIRE FIGHTING SYSTEM | [6 empty] | 0 |  | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
1.1 |  | Fire Hose Reel Cabinet, Double Door, Recessed Type, Back Box & Door : Mild Steel 1.2mm Thickness Brush Finish c/w Upper Compartment: Hose Rack Assembly 1-1/2" x 30 Mtr. c/w PRV, White Polyflex Hose and Fog Nozzle, UL/FM Approved, Model: NHR 38V - Naffco Lower Compartment: 1No) 15.0Lbs CO2 FIRE EXTINGUISHER UL LISTED NC 15LC 1No) 20.0Lbs DRY POWDER FIRE EXTINGUISHER UL LISTED, NP 20L Single Jacket 2.5" x 30 Mtr WHITE with GM coupling - UL Listed Pressure Reducing Angle Valve 2-1/2" NPT Male/ Female- Brass Finish - UL/FM Approved + Adaptor |  |  | NOS | 10 | 1069 | 1069 | 0 | 10690 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
1.2 |  | Fire Hose Reel Cabinet, Double Door, Recessed Type, Back Box & Door : Mild Steel 1.2mm Thickness Brush Finish c/w Upper Compartment: Hose Rack Assembly 1-1/2" x 30 Mtr. c/w PRV, White Polyflex Hose and Fog Nozzle, UL/FM Approved, Model: NHR 38V - Naffco Lower Compartment: 1No) 15.0Lbs CO2 FIRE EXTINGUISHER UL LISTED N 15LC 1No) 20.0Lbs DRY POWDER FIRE EXTINGUISHER UL LISTED, NP 20L Single Jacket 2.5" x 30 Mtr WHITE with GM coupling - UL Listed Pressure Reducing Angle Valve 2-1/2" NPT Male/ Female- Brass Finish - UL/FM Approved + Adaptor |  |  | NOS | 5 | 1011 | 1011 | 0 | 5055 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
1.3 |  | Fire Hose Reel Cabinet, Double Door, Recessed Type, Back Box & Door : Stainless Steel 1.2mm Thickness Brush Finish c/w Upper Compartment: Hose Rack Assembly 1-1/2" x 30 Mtr. c/w PRV, White Polyflex Hose and Fog Nozzle, UL/FM Approved, Model: NHR 38V - Naffco Lower Compartment: 1No) 15.0Lbs CO2 FIRE EXTINGUISHER UL LISTED NC 15LC 1No) 20.0Lbs DRY POWDER FIRE EXTINGUISHER UL LISTED, NP 20L Single Jacket 2.5" x 30 Mtr WHITE with GM coupling - UL Listed Pressure Reducing Angle Valve 2-1/2" NPT Male/ Female- Brass Finish - UL/FM Approved + Adaptor |  |  | NOS | 6 | 1387 | 1387 | 0 | 8322 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
1.4 |  | 20.0Lbs DRY POWDER FIRE EXTINGUISHER UL LISTED, NP 20L |  |  | NOS | 20 | 26 | 26 | 0 | 520 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
1.5 |  | 15.0Lbs CO2 FIRE EXTINGUISHER UL LISTED, NC 15LC |  |  | NOS | 8 | 162 | 162 | 0 | 1296 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
2 |  | FIRE HYDRANT SYSTEM | [6 empty] | 0 |  | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
2.1 |  | WET BARREL Fire Hydrant 6" Flanged UL / FM Approved - 150 NFH-W |  |  | NOS | 2 | 1545 | 1545 | 0 | 3090 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
2.2 |  | Fire Hydrant Cabinet, Self Standing Type, Complete Mild Steel, Solid Door, c/w (2Nos) 2-1/2" x 30m Fire Hose, (1Nos) 2-1/2" Branch Pipe, (1No) Lug Spanner, (1No) Hydrant Wrench, (4Nos) 2.5" Rubber Coupling Gasket & (1No) Axe |  |  | NOS | 2 | 570 | 570 | 0 | 1140 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
3 |  | FIRE DEPARTMENT CONNECTION | [6 empty] | 0 |  | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
3.1 |  | Fire Department Connection 4"X2 x 2-1/2" Female NST (Swivel) Straightway Brass, UL/FM Approved NAFFCO NF-FDCY w/ Wall Plate "AUTO SPKR" Brass Finish for 4" Fire Department Connection, 2-1/2" NST Male Threaded Plug with Chain, Forged Brass |  |  | NOS | 1 | 102 | 102 | 0 | 102 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
3.2 |  | Check Valve 6" Class 125 Flanged, 200 PSI working UL/FM Approved, Model: SD-NRV200FF-D |  |  | NOS | 2 | 297 | 297 | 0 | 594 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
3.3 |  | OS&Y Gate Valve 6" Class 125 Flanged, 200 PSI working UL/FM Approved, Model: SD-OSY200FF-D with Tamper Switch |  |  | NOS | 1 | 385 | 385 | 0 | 385 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
4 |  | SPRINKLER SYSTEM | [6 empty] | 0 |  | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
4.1 |  | OS&Y Gate Valve 6" Class 125 Flanged, 200 PSI working UL/FM Approved, Model: SD-OSY200FF-D with Tamper Switch |  |  | NOS | 2 | 385 | 385 | 0 | 770 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
4.2 |  | Check Valve 6" Class 125 Flanged, 200 PSI working UL/FM Approved, Model: SD-NRV200FF-D |  |  | NOS | 2 | 297 | 297 | 0 | 594 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
4.3 |  | Pressure Reducing Angle Valve 2-1/2" NPT Double Female- Brass Finish - UL/FM Approved SD-A155 + Adaptor |  |  | NOS | 2 | 180 | 180 | 0 | 360 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
4.4 |  | Zone Control Valve Assembly 6" c/w: OS&Y Gate Valve 6" Class 125 Flanged, 200 PSI working UL/FM Approved, Model: SD-OSY200FF-D with Tamper Switch , Water Flow Switch, Test & Drain Valve, Check Valve, Pressure Gauge with Valve - Shield, Model: SDBV-G |  |  | NOS | 1 | 653 | 653 | 0 | 653 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
5 |  | HFC227ea - MODULAR SYSTEM, CONTROL ROOM, VOLUME = 33.8 Cu.M |  |  | LOT | 1 | 4511 | 4511 | 0 | 4511 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
5.1 |  | 60Lbs HFC 227 ea Cylinder Filled with 66 Lbs HFC 227ea Gas, C/W: Impulse Discharge Valve, Nipple, Victaulic Coupling, Mounting Strap, Pressure Gauge, Model: NF-70-265 - Naffco |  |  | SET | 1 |  |  | 0 |  | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
5.2 |  | Impulse valve operator w/ manual strike button kit c/w impulse valve operator, Model: NF-02-12728, reset tools, Model: 70-286,wire lead w/connector, Model: 02-12755, Impulse release module,Model:NF-10-2748 |  |  | NOS | 1 |  |  | 0 |  | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
5.3 |  | Pressure Switch (Low). Model: 02-12533 |  |  | NOS | 1 |  |  | 0 |  | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
5.4 |  | Discharge nozzle |  |  | NOS | 1 |  |  | 0 |  | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
5.5 |  | Discharge Pressure Switch, Model : 02-12534 |  |  | NOS | 1 |  |  | 0 |  | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
5.6 |  | Extinguishing Control Panel (2) detection zone (1) Release Area c/w 24 VDC Back up Battery + CRM 4 Relay Module, Model: AX-T -Shield |  |  | SET | 1 |  |  | 0 |  | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
5.7 |  | Conventional Photoelectric Smoke Detector, UL Listed c/w base Model: S-C2011/S-C2001 - Shield |  |  | NOS | 2 |  |  | 0 |  | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
5.8 |  | Abort Switch w/ back box, model: S111R-AB shield |  |  | NOS | 1 |  |  | 0 |  | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
5.9 |  | BELL 6" W/ BACK BOX, MODEL: FB1000C6 - SHIELD |  |  | NOS | 1 |  |  | 0 |  | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
5.10 |  | Conventional Multi-Candela Horn Strobe c/w Base (S-C8210), Red, UL Listed, Model : S-C8056 - Shield |  |  | NOS | 1 |  |  | 0 |  | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
5.11 |  | Conventional Multi-Candela LED Strobe c/w Base (S-C8210), Red, UL Listed, Model : S-C8057 - Shield |  |  | NOS | 1 |  |  | 0 |  | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
5.12 |  | Warning Sign (3 nos) |  |  | SET | 1 |  |  | 0 |  | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
6 |  | HFC227ea - MODULAR SYSTEM, IPC, C22, VOLUME = 11.12 Cub.M |  |  | LOT | 1 | 3450 | 3450 | 0 | 3450 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
6.1 |  | 20Lbs HFC 227 ea Cylinder Filled with 16Lbs HFC 227ea Gas, C/W: Impulse Discharge Valve, Nipple, Victaulic Coupling, Mounting Strap, Pressure Gauge, Model: NF-70-263 - Naffco |  |  | SET | 1 |  |  | 0 |  | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
6.2 |  | Impulse valve operator w/ manual strike button kit c/w impulse valve operator, Model: NF-02-12728, reset tools, Model: 70-286,wire lead w/connector, Model: 02-12755, Impulse release module,Model:NF-10-2748 |  |  | NOS | 1 |  |  | 0 |  | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
6.3 |  | Pressure Switch (Low). Model: 02-12533 |  |  | NOS | 1 |  |  | 0 |  | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
6.4 |  | Discharge nozzle |  |  | NOS | 1 |  |  | 0 |  | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
6.5 |  | Discharge Pressure Switch, Model : 02-12534 |  |  | NOS | 1 |  |  | 0 |  | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
6.6 |  | Extinguishing Control Panel (2) detection zone (1) Release Area c/w 24 VDC Back up Battery + CRM 4 Relay Module, Model: AX-T -Shield |  |  | SET | 1 |  |  | 0 |  | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
6.7 |  | Conventional Photoelectric Smoke Detector, UL Listed c/w base Model: S-C2011/S-C2001 - Shield |  |  | NOS | 2 |  |  | 0 |  | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
6.8 |  | Abort Switch w/ back box, model: S111R-AB shield |  |  | NOS | 1 |  |  | 0 |  | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
6.9 |  | BELL 6" W/ BACK BOX, MODEL: FB1000C6 - SHIELD |  |  | NOS | 1 |  |  | 0 |  | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
6.10 |  | Conventional Multi-Candela Horn Strobe c/w Base (S-C8210), Red, UL Listed, Model : S-C8056 - Shield |  |  | NOS | 1 |  |  | 0 |  | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
6.11 |  | Conventional Multi-Candela LED Strobe c/w Base (S-C8210), Red, UL Listed, Model : S-C8057 - Shield |  |  | NOS | 1 |  |  | 0 |  | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
6.12 |  | Warning Sign (3 nos) |  |  | SET | 1 |  |  | 0 |  | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
7 |  | HFC227ea - MODULAR SYSTEM, IPC, C22, VOLUME = 11.12 Cub.M |  |  | LOT | 1 | 3400 | 3400 | 0 | 3400 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
7.1 |  | 20Lbs HFC 227 ea Cylinder Filled with 14 Lbs HFC 227ea Gas, C/W: Impulse Discharge Valve, Nipple, Victaulic Coupling, Mounting Strap, Pressure Gauge, Model: NF-70-263 - Naffco |  |  | SET | 1 |  |  | 0 |  | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
7.2 |  | Impulse valve operator w/ manual strike button kit c/w impulse valve operator, Model: NF-02-12728, reset tools, Model: 70-286,wire lead w/connector, Model: 02-12755, Impulse release module,Model:NF-10-2748 |  |  | NOS | 1 |  |  | 0 |  | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
7.3 |  | Pressure Switch (Low). Model: 02-12533 |  |  | NOS | 1 |  |  | 0 |  | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
7.4 |  | Discharge nozzle |  |  | NOS | 1 |  |  | 0 |  | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
7.5 |  | Discharge Pressure Switch, Model : 02-12534 |  |  | NOS | 1 |  |  | 0 |  | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
7.6 |  | Extinguishing Control Panel (2) detection zone (1) Release Area c/w 24 VDC Back up Battery + CRM 4 Relay Module, Model: AX-T -Shield |  |  | SET | 1 |  |  | 0 |  | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
7.7 |  | Conventional Photoelectric Smoke Detector, UL Listed c/w base Model: S-C2011/S-C2001 - Shield |  |  | NOS | 2 |  |  | 0 |  | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
7.8 |  | Abort Switch w/ back box, model: S111R-AB shield |  |  | NOS | 1 |  |  | 0 |  | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
7.9 |  | BELL 6" W/ BACK BOX, MODEL: FB1000C6 - SHIELD |  |  | NOS | 1 |  |  | 0 |  | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
7.10 |  | Conventional Multi-Candela Horn Strobe c/w Base (S-C8210), Red, UL Listed, Model : S-C8056 - Shield |  |  | NOS | 1 |  |  | 0 |  | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
7.11 |  | Conventional Multi-Candela LED Strobe c/w Base (S-C8210), Red, UL Listed, Model : S-C8057 - Shield |  |  | NOS | 1 |  |  | 0 |  | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
7.12 |  | Warning Sign (3 nos) |  |  | SET | 1 |  |  | 0 |  | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
8 |  | CO2 SYSTEM - UTILITIES ROOM, VOLUME: 84.6 CUB.M, 21.15 AREA: SQ.M, HEIGHT: 4 MTR | [6 empty] | 0 |  | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
8.1 |  | Co2 System Cylinder 45 Kg Capacity Filled With 45 Kg Gas C/w: Solenoid Operated Head Valve, Bracket & Trimmings, Model: NCS45M - Naffco (24V) |  |  | NOS | 2 | 848 | 848 | 0 | 1696 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
8.2 |  | Co2 System Cylinder 45 Kg Capacity Filled With 45 Kg Gas C/w: Differential Head Valve, Bracket & Trimmings, Model: NCS45S - Naffco |  |  | NOS | 1 | 367 | 367 | 0 | 367 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
8.3 |  | MANUAL / PNEUMATIC RELEASE DEVICE, B04420065 |  |  | NOS | 1 | 36 | 36 | 0 | 36 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
8.4 |  | Flexible Discharge Hose With Check Valve, Model: NHC18 w/ Check Valve, Model: B04600008-NF |  |  | NOS | 3 | 177 | 177 | 0 | 531 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
8.5 |  | PNEUMATIC ACTUATOR HOSE (PILOT HOSE) B06920212-NF |  |  | NOS | 1 | 89 | 89 | 0 | 89 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
8.6 |  | ADAPTOR G 1/8" M12X1.5 029510006 |  |  | NOS | 2 | 6 | 6 | 0 | 12 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
8.7 |  | Manifold with Rack Assembly for 3 Cylinder |  |  | NOS | 1 | 600 | 600 | 0 | 600 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
8.8 |  | Discharge Nozzle, N360 |  |  | NOS | 2 | 87 | 87 | 0 | 174 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
8.9 |  | Discharge Pressure Switch, Model: 028250050-NF |  |  | NOS | 1 | 207 | 207 | 0 | 207 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
8.10 |  | Safety Device, Model: 29730039 |  |  | NOS | 1 | 243 | 243 | 0 | 243 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
8.11 |  | Bleed Valve, Model: 029730040-NF |  |  | NOS | 1 | 51 | 51 | 0 | 51 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
8.12 |  | Extinguishing Control Panel (2) Detection Zone and Releasing Area (1) C/W 24VDC Back up Battery and CRM4 Relay Module, Model: A-XT - Shield |  |  | SET | 1 | 688 | 688 | 0 | 688 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
8.13 |  | Optical Smoke Detector w/ Base, Model: S-C2011 / S-C2001 - Shield |  |  | NOS | 2 | 14 | 14 | 0 | 28 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
8.14 |  | Abort Switch w/ back box, model: S111R-AB shield |  |  | NOS | 1 | 99 | 99 | 0 | 99 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
8.15 |  | Conventional Horn c/w Base UL listed |  |  | NOS | 1 | 19 | 19 | 0 | 19 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
8.16 |  | Conventional Multi-Candela Horn Strobe c/w Base UL Listed |  |  | NOS | 1 | 38 | 38 | 0 | 38 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
8.17 |  | Conventional Multi-Candela LED Strobe c/w Base UL Listed |  |  | NOS | 1 | 27 | 27 | 0 | 27 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
8.18 |  | Warning Sign (3Nos) |  |  | SET | 1 | 100 | 100 | 0 | 100 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
9 |  | CO2 SYSTEM - SUBSTATION, VOLUME: VOLUME: 84.6 CUB.M, AREA: 21.15 SQ.M, HEIGHT: 4 MTR | [6 empty] | 0 |  | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
9.1 |  | Co2 System Cylinder 45 Kg Capacity Filled With 45 Kg Gas C/w: Solenoid Operated Head Valve, Bracket & Trimmings, Model: NCS45M - Naffco (24V) |  |  | NOS | 2 | 848 | 848 | 0 | 1696 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
9.2 |  | Co2 System Cylinder 45 Kg Capacity Filled With 45 Kg Gas C/w: Differential Head Valve, Bracket & Trimmings, Model: NCS45S - Naffco |  |  | NOS | 1 | 367 | 367 | 0 | 367 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
9.3 |  | MANUAL / PNEUMATIC RELEASE DEVICE, B04420065 |  |  | NOS | 1 | 36 | 36 | 0 | 36 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
9.4 |  | Flexible Discharge Hose With Check Valve, Model: NHC18 w/ Check Valve, Model: B04600008-NF |  |  | NOS | 3 | 177 | 177 | 0 | 531 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
9.5 |  | PNEUMATIC ACTUATOR HOSE (PILOT HOSE) B06920212-NF |  |  | NOS | 1 | 89 | 89 | 0 | 89 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
9.6 |  | ADAPTOR G 1/8" M12X1.5 029510006 |  |  | NOS | 2 | 6 | 6 | 0 | 12 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
9.7 |  | Manifold with Rack Assembly for 3 Cylinder |  |  | NOS | 1 | 600 | 600 | 0 | 600 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
9.8 |  | Discharge Nozzle, N360 |  |  | NOS | 2 | 87 | 87 | 0 | 174 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
9.9 |  | Discharge Pressure Switch, Model: 028250050-NF |  |  | NOS | 1 | 207 | 207 | 0 | 207 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
9.10 |  | Safety Device, Model: 29730039 |  |  | NOS | 1 | 243 | 243 | 0 | 243 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
9.11 |  | Bleed Valve, Model: 029730040-NF |  |  | NOS | 1 | 51 | 51 | 0 | 51 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
9.12 |  | Extinguishing Control Panel (2) Detection Zone and Releasing Area (1) C/W 24VDC Back up Battery and CRM4 Relay Module, Model: A-XT - Shield |  |  | SET | 1 | 688 | 688 | 0 | 688 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
9.13 |  | Optical Smoke Detector w/ Base, Model: S-C2011 / S-C2001 - Shield |  |  | NOS | 2 | 14 | 14 | 0 | 28 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
9.14 |  | Abort Switch w/ back box, model: S111R-AB shield |  |  | NOS | 1 | 99 | 99 | 0 | 99 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
9.15 |  | Conventional Horn c/w Base UL listed |  |  | NOS | 1 | 19 | 19 | 0 | 19 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
9.16 |  | Conventional Multi-Candela Horn Strobe c/w Base UL Listed |  |  | NOS | 1 | 38 | 38 | 0 | 38 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
9.17 |  | Conventional Multi-Candela LED Strobe c/w Base UL Listed |  |  | NOS | 1 | 27 | 27 | 0 | 27 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
9.18 |  | Warning Sign (3Nos) |  |  | SET | 1 | 100 | 100 | 0 | 100 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
10 |  | CO2 SYSTEM - MAIN LV PANEL ROOM, VOLUME: 180CUB.M, AREA: 45SQ.M, HEIGHT: 4 MTR | [6 empty] | 0 |  | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
10.1 |  | Co2 System Cylinder 45 Kg Capacity Filled With 45 Kg Gas C/w: Solenoid Operated Head Valve, Bracket & Trimmings, Model: NCS45M - Naffco (24V) |  |  | NOS | 2 | 848 | 848 | 0 | 1696 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
10.2 |  | Co2 System Cylinder 45 Kg Capacity Filled With 45 Kg Gas C/w: Differential Head Valve, Bracket & Trimmings, Model: NCS45S - Naffco |  |  | NOS | 4 | 367 | 367 | 0 | 1468 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
10.3 |  | MANUAL / PNEUMATIC RELEASE DEVICE B04420065 |  |  | NOS | 1 | 36 | 36 | 0 | 36 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
10.4 |  | Pneumatic Release Device, Model: B04420066-NF |  |  | NOS | 3 | 24 | 24 | 0 | 72 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
10.5 |  | Flexible Discharge Hose With Check Valve, Model: NHC18 w/ Check Valve, Model: B04600008-NF |  |  | NOS | 6 | 177 | 177 | 0 | 1062 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
10.6 |  | Flexible Hose (To Pneumatic Cylinder 500mm), Model: B06920213-NF |  |  | NOS | 2 | 89 | 89 | 0 | 178 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
10.7 |  | Flexible Hose (To Pneumatic Cylinder 700mm), Model: B06920212-NF |  |  | NOS | 2 | 89 | 89 | 0 | 178 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
10.8 |  | ADAPTOR G 1/8" M12X1.5 029510006 |  |  | NOS | 2 | 6 | 6 | 0 | 12 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
10.9 |  | Manifold with Rack Assembly for 6 Cylinder |  |  | NOS | 1 | 600 | 600 | 0 | 600 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
10.10 |  | Discharge Nozzle, N360 |  |  | NOS | 3 | 87 | 87 | 0 | 261 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
10.11 |  | Discharge Pressure Switch, Model: 028250050-NF |  |  | NOS | 1 | 207 | 207 | 0 | 207 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
10.12 |  | Safety Device, Model: 29730039 |  |  | NOS | 1 | 243 | 243 | 0 | 243 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
10.13 |  | Bleed Valve, Model: 029730040-NF |  |  | NOS | 1 | 51 | 51 | 0 | 51 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
10.14 |  | Extinguishing Control Panel (2) Detection Zone and Releasing Area (1) C/W 24VDC Back up Battery and CRM4 Relay Module, Model: A-XT - Shield |  |  | SET | 1 | 688 | 688 | 0 | 688 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
10.15 |  | Optical Smoke Detector w/ Base, Model: S-C2011 / S-C2001 - Shield |  |  | NOS | 2 | 14 | 14 | 0 | 28 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
10.16 |  | Abort Switch w/ back box, model: S111R-AB shield |  |  | NOS | 1 | 99 | 99 | 0 | 99 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
10.17 |  | Conventional Horn c/w Base (S-C8210), Red, UL listed, Model: S-C8055 |  |  | NOS | 1 | 19 | 19 | 0 | 19 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
10.18 |  | Conventional Multi-Candela Horn Strobe c/w Base (S-C8210), Red, UL Listed, Model : S-C8056 - Shield |  |  | NOS | 1 | 38 | 38 | 0 | 38 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
10.19 |  | Conventional Multi-Candela LED Strobe c/w Base (S-C8210), Red, UL Listed, Model : S-C8057 - Shield |  |  | NOS | 1 | 27 | 27 | 0 | 27 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
10.20 |  | Warning Sign (3Nos) |  |  | SET | 1 | 100 | 100 | 0 | 100 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
11 |  | CO2 SYSTEM - GENERATOR ROOM, VOLUME: 84.6 CUB.M, AREA: 21.15 SQ.M, HEIGHT: 4 MTR | [6 empty] | 0 |  | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
11.1 |  | Co2 System Cylinder 45 Kg Capacity Filled With 45 Kg Gas C/w: Solenoid Operated Head Valve, Bracket & Trimmings, Model: NCS45M - Naffco (24V) |  |  | NOS | 2 | 848 | 848 | 0 | 1696 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
11.2 |  | Co2 System Cylinder 45 Kg Capacity Filled With 45 Kg Gas C/w: Differential Head Valve, Bracket & Trimmings, Model: NCS45S - Naffco |  |  | NOS | 1 | 367 | 367 | 0 | 367 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
11.3 |  | MANUAL / PNEUMATIC RELEASE DEVICE B04420065 |  |  | NOS | 1 | 36 | 36 | 0 | 36 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
11.4 |  | Flexible Discharge Hose With Check Valve, Model: NHC18 w/ Check Valve, Model: B04600008-NF |  |  | NOS | 3 | 177 | 177 | 0 | 531 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
11.5 |  | Flexible Hose (To Pneumatic Cylinder 700mm), Model: B06920212-NF |  |  | NOS | 1 | 89 | 89 | 0 | 89 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
11.6 |  | ADAPTOR G 1/8" M12X1.5 029510006 |  |  | NOS | 2 | 6 | 6 | 0 | 12 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
11.7 |  | Manifold with Rack Assembly for 3 Cylinder |  |  | NOS | 1 | 600 | 600 | 0 | 600 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
11.8 |  | Discharge Nozzle, N360 |  |  | NOS | 2 | 87 | 87 | 0 | 174 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
11.9 |  | Discharge Pressure Switch, Model: 028250050-NF |  |  | NOS | 1 | 207 | 207 | 0 | 207 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
11.10 |  | Safety Device, Model: 29730039 |  |  | NOS | 1 | 243 | 243 | 0 | 243 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
11.11 |  | Bleed Valve, Model: 029730040-NF |  |  | NOS | 1 | 51 | 51 | 0 | 51 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
11.12 |  | Extinguishing Control Panel (2) Detection Zone and Releasing Area (1) C/W 24VDC Back up Battery and CRM4 Relay Module, Model: A-XT - Shield |  |  | SET | 1 | 688 | 688 | 0 | 688 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
11.13 |  | Conventional Heat Detector, 170F, UL listed, Model: S-C2014 - Shield |  |  | NOS | 2 | 10 | 10 | 0 | 20 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
11.14 |  | Abort Switch w/ back box, model: S111R-AB shield |  |  | NOS | 1 | 99 | 99 | 0 | 99 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
11.15 |  | Conventional Horn c/w Base (S-C8210), Red, UL listed, Model: S-C8055 |  |  | NOS | 1 | 19 | 19 | 0 | 19 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
11.16 |  | Conventional Multi-Candela Horn Strobe c/w Base (S-C8210), Red, UL Listed, Model : S-C8056 - Shield |  |  | NOS | 1 | 38 | 38 | 0 | 38 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
11.17 |  | Conventional Multi-Candela LED Strobe c/w Base (S-C8210), Red, UL Listed, Model : S-C8057 - Shield |  |  | NOS | 1 | 27 | 27 | 0 | 27 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
11.18 |  | Warning Sign (3Nos) |  |  | SET | 1 | 100 | 100 | 0 | 100 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
12 |  | CO2 SYSTEM - PUMP ROOM, VOLUME: 120 CUB.M, AREA: 30 SQ.M, HEIGHT: 4 MTR | [6 empty] | 0 |  | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
12.1 |  | Co2 System Cylinder 45 Kg Capacity Filled With 45 Kg Gas C/w: Solenoid Operated Head Valve, Bracket & Trimmings, Model: NCS45M - Naffco (24V) |  |  | NOS | 2 | 848 | 848 | 0 | 1696 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
12.2 |  | Co2 System Cylinder 45 Kg Capacity Filled With 45 Kg Gas C/w: Differential Head Valve, Bracket & Trimmings, Model: NCS45S - Naffco |  |  | NOS | 2 | 367 | 367 | 0 | 734 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
12.3 |  | MANUAL / PNEUMATIC RELEASE DEVICE B04420065 |  |  | NOS | 1 | 36 | 36 | 0 | 36 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
12.4 |  | Pneumatic Release Device, Model: B04420066-NF |  |  | NOS | 1 | 24 | 24 | 0 | 24 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
12.5 |  | Flexible Discharge Hose With Check Valve, Model: NHC18 w/ Check Valve, Model: B04600008-NF |  |  | NOS | 4 | 177 | 177 | 0 | 708 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
12.6 |  | Flexible Hose (To Pneumatic Cylinder 500mm), Model: B06920213-NF |  |  | NOS | 1 | 89 | 89 | 0 | 89 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
12.7 |  | Flexible Hose (To Pneumatic Cylinder 700mm), Model: B06920212-NF |  |  | NOS | 1 | 89 | 89 | 0 | 89 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
12.8 |  | ADAPTOR G 1/8" M12X1.5 029510006 |  |  | NOS | 4 | 6 | 6 | 0 | 24 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
12.9 |  | Manifold with Rack Assembly for 4 Cylinder |  |  | NOS | 1 | 600 | 600 | 0 | 600 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
12.10 |  | Discharge Nozzle, N360 |  |  | NOS | 2 | 87 | 87 | 0 | 174 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
12.11 |  | Discharge Pressure Switch, Model: 028250050-NF |  |  | NOS | 1 | 207 | 207 | 0 | 207 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
12.12 |  | Safety Device, Model: 29730039 |  |  | NOS | 1 | 243 | 243 | 0 | 243 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
12.13 |  | Bleed Valve, Model: 029730040-NF |  |  | NOS | 1 | 51 | 51 | 0 | 51 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
12.14 |  | Extinguishing Control Panel (2) Detection Zone and Releasing Area (1) C/W 24VDC Back up Battery and CRM4 Relay Module, Model: A-XT - Shield |  |  | SET | 1 | 688 | 688 | 0 | 688 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
12.15 |  | Conventional Heat Detector, 170F, UL listed, Model: S-C2014 - Shield |  |  | NOS | 2 | 10 | 10 | 0 | 20 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
12.16 |  | Abort Switch w/ back box, model: S111R-AB shield |  |  | NOS | 1 | 99 | 99 | 0 | 99 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
12.17 |  | Conventional Horn c/w Base (S-C8210), Red, UL listed, Model: S-C8055 |  |  | NOS | 1 | 19 | 19 | 0 | 19 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
12.18 |  | Conventional Multi-Candela Horn Strobe c/w Base (S-C8210), Red, UL Listed, Model : S-C8056 - Shield |  |  | NOS | 1 | 38 | 38 | 0 | 38 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
12.19 |  | Conventional Multi-Candela LED Strobe c/w Base (S-C8210), Red, UL Listed, Model : S-C8057 - Shield |  |  | NOS | 1 | 27 | 27 | 0 | 27 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
12.20 |  | Warning Sign (3Nos) |  |  | SET | 1 | 100 | 100 | 0 | 100 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting