## Sheet1
SLNO | ItemCode | ItemName | Brand | Model | UOM | Qty | UnitPriceAED | UnitPrice | Margin | Amount | Unitweight | Optional | COO | DeliveryStatus | CRMProductId | CRMProduct
1 |  | COMBINED PUMP SET | [6 empty] | 0 |  | 0 | FALSE |  |  | 300000002306007 | Fire Pump
1.1 |  | RATED PUMP DUTY: 1000 GPM @ 7 BAR 1E+1D+1J - NAFFCO UL LISTED HORIZONTAL SPLIT CASE PUMP COUPLED WITH DRIVERS (ODP MOTOR & DIESEL ENGINE) + 1 VERTICAL MULTISTAGE JOCKEY PUMP AND NAFFCO UL/FM APPROVED 1 ELECTRIC (Y-DELTA OPEN TYPE TRANSITION, NEMA 2 ENCLOSURE) + NAFFCO UL/FM APPROVED 1 DIESEL (NEMA 2 ENCLOSURE) + NAFFCO UL LISTED 1 JOCKEY PUMP CONTROLLER (NEMA 2 ENCLOSURE) AND STANDARD ACCESSORIES. |  |  | SET | 1 | 34660 | 34660 | 0 | 34660 | 0 | FALSE |  |  | 300000002306007 | Fire Pump
2 |  | PUMP ACCESSORIES - SUCTION SIDE | [6 empty] | 0 |  | 0 | FALSE |  |  | 300000002306007 | Fire Pump
2.1 |  | OS&Y Gate Valve 8" Class 125 Flanged, 200 PSI working UL/FM Approved with Tamper Switch |  |  | NOS | 4 | 426 | 426 | 0 | 1704 | 0 | FALSE |  |  | 300000002306007 | Fire Pump
2.2 |  | OS&Y Gate Valve 2" Class 125 Flanged, 200 PSI working UL/FM Approved, Model: SD-OSY200FF-D with Tamper Switch |  |  | NOS | 2 | 198 | 198 | 0 | 396 | 0 | FALSE |  |  | 300000002306007 | Fire Pump
3 |  | PUMP ACCESSORIES - DELIVERY SIDE | [6 empty] | 0 |  | 0 | FALSE |  |  | 300000002306007 | Fire Pump
3.1 |  | OS&Y Gate Valve 6" Class 125 Flanged, 200 PSI working UL/FM Approved, Model: SD-OSY200FF-D with Tamper Switch |  |  | NOS | 2 | 371 | 371 | 0 | 742 | 0 | FALSE |  |  | 300000002306007 | Fire Pump
3.2 |  | OS&Y Gate Valve 2" Class 125 Flanged, 200 PSI working UL/FM Approved, Model: SD-OSY200FF-D with Tamper Switch |  |  | NOS | 1 | 198 | 198 | 0 | 198 | 0 | FALSE |  |  | 300000002306007 | Fire Pump
3.3 |  | OS&Y Gate Valve 6" Class 125 Flanged, 200 PSI working UL/FM Approved, Model: SD-OSY200FF-D with Tamper Switch |  |  | NOS | 4 | 371 | 371 | 0 | 1484 | 0 | FALSE |  |  | 300000002306007 | Fire Pump
3.4 |  | Check Valve 2" Class 125 Flanged, 200 PSI working UL/FM Approved, Model: SD-NRV200FF-D |  |  | NOS | 1 | 70 | 70 | 0 | 70 | 0 | FALSE |  |  | 300000002306007 | Fire Pump
3.5 |  | Check Valve 6" Class 125 Flanged, 200 PSI working UL/FM Approved, Model: SD-NRV200FF-D |  |  | NOS | 2 | 287 | 287 | 0 | 574 | 0 | FALSE |  |  | 300000002306007 | Fire Pump
3.6 |  | Pressure Gauge & Isolation Valve |  |  | NOS | 6 | 24 | 24 | 0 | 144 | 0 | FALSE |  |  | 300000002306007 | Fire Pump