## Sheet1
SLNO | ItemCode | ItemName | Brand | Model | UOM | Qty | UnitPriceAED | UnitPrice | Margin | Amount | Unitweight | Optional | COO | DeliveryStatus | CRMProductId | CRMProduct
1 |  | Sprinkler Head 79 Deg. Pendent, 1/2" NPT, Chrome Finish, Standard Response, UL Listed, Model: SD1010C - Shield SD1010C |  |  | PCS | 56 | 2.2 | 2.2 | 0 | 123.2 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
2 |  | RATED PUMP DUTY: 300 GPM @ 5 BAR - (NON UL) JOCKEY PUMP DUTY: 10 GPM @ 5 BAR 1 ELECTRIC + 1 DIESEL +1 JOCKEY - NAFFCO HORIZONTAL END SUCTION PUMP COUPLED WITH DRIVERS (MOTOR + DIESEL ENGINE) + 1 VERTICAL MULTISTAGE JOCKEY PUMP AND 1NO. COMMON CONTROLLER FOR 1 ELECTRIC + 1 DIESEL + 1 JOCKEY (Enclosure IP-54), AND STANDARD ACCESSORIES. General Notes for Pump Set: ==================== * Above price includes charges for supply only. * Pump is suitable for fresh water application and suitable for flooded suction only. * Proposed pump set is Naffco standard, not considering any approval. * Pressure Vessel are not included in our offer price. * Standard pump set quoted considering no specification available. Extra accessories/special material may be required with respect to customer's final specifications, this may have a price implication as well. * Charges 15% of order amount in case of order cancellation. |  |  | SET | 1 | 8175 | 8175 | 0 | 8175 | 0 | FALSE |  |  | 300000002306007 | Fire Pump
3 |  | Hose Reel 3/4" - Wall Mounted, Manual, Model : NFH-W-19M |  |  | PCS | 24 | 101 | 101 | 0 | 2424 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
4 |  | 6 KG CO2 Fire Extinguisher Portable Black / Red |  |  | PCS | 24 | 43 | 43 | 0 | 1032 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
5 |  | 12 KG Dry Powder Extinguisher Portable Pressure Type ordinary |  |  | PCS | 24 | 29 | 29 | 0 | 696 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
6 |  | Wet Type Fire Hydrant 4" with 2 x 2.5" BRASS Oblique Landing Valve outlet with cap, chain (Control Outlet), Model: NHYD060 |  |  | PCS | 2 | 312 | 312 | 0 | 624 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
7 |  | Self Standing, External Hydrant Cabinet, Full Mild Steel c/w (1no) x Fire hose Single Jacket 2.5" x 30 Mtr RED with AL coupling (NAFFCO STANDARD) (1nos) x Branchpipe - NFFB320 |  |  | PCS | 2 | 281 | 281 | 0 | 562 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
8 |  | Fire Blanket 4' x 4' packed in RED Squared / Round PVC Box |  |  | PCS | 12 | 9 | 9 | 0 | 108 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
9 |  | 10 KG Dry Powder Extinguisher Portable Pressure Type Automatic |  |  | PCS | 1 | 43 | 43 | 0 | 43 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
10 |  | 60 Lbs HFC 227 ea Cylinder Filled with 56 Lbs HFC 227ea Gas, C/W: Impulse Discharge Valve, Nipple, Victaulic Coupling, Mounting Strap, Pressure Gauge, Model: NF-70-265 Naffco |  |  | LUMPSUM | 1 | 6000 | 6000 | 0 | 6000 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
10.1 |  | Impulse valve operator w/ manual strike button kit c/w Impulse valve operator, Model: NF-02-12728, reset tools, Model: 70-286,wire lead w/connector, Model: 02-12755, Impulse release module,Model:NF-10-2748 |  |  | NOS | 1 |  |  | 0 |  | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
10.2 |  | Pressure Switch (Low). Model: 02-12533 |  |  | NOS | 1 |  |  | 0 |  | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
10.3 |  | Discharge nozzle |  |  | NOS | 2 |  |  | 0 |  | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
10.4 |  | Extinguishing Control Panel (2) Detection Zone and Releasing Area (1) C/W 24VDC Back up Battery and CRM4 Relay Module, Model: A-XT - Shield |  |  | NOS | 1 |  |  | 0 |  | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
10.5 |  | Optical Smoke Detector w/ Base, Model: S-C2011 / S-C2001 - Shield |  |  | NOS | 4 |  |  | 0 |  | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
10.6 |  | Conventional Heat Detector, 135F, UL listed, Model: S-C2013 - Shield w/base, Standard Mounting Base, UL Listed, Model: S-C2001 - Shield |  |  | NOS | 2 |  |  | 0 |  | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
10.7 |  | Abort Switch w/ back box, model: S111R-AB shield |  |  | NOS | 1 |  |  | 0 |  | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
10.8 |  | 6" Electronic Bell, Model: FB1000C6 - Shield |  |  | NOS | 1 |  |  | 0 |  | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
10.9 |  | Remote Indicator (LED) |  |  | NOS | 1 |  |  | 0 |  | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
10.10 |  | Conventional Multi-Candela Horn Strobe c/w Base (S-C8210), Red, UL Listed, Model : S-C8056 - Shield |  |  | NOS | 1 |  |  | 0 |  | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
10.11 |  | Conventional Multi-Candela LED Strobe c/w Base (S-C8210), Red, UL Listed, Model : S-C8057 - Shield |  |  | NOS | 1 |  |  | 0 |  | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
10.12 |  | Warning Sign (3Nos) |  |  | NOS | 1 |  |  | 0 |  | 0 | FALSE |  |  | 300000002306003 | Fire Fighting