## Sheet1
SLNO | ItemCode | ItemName | Brand | Model | UOM | Qty | UnitPriceAED | UnitPrice | Margin | Amount | Unitweight | Optional | COO | DeliveryStatus | CRMProductId | CRMProduct
1 |  | 2E (NON-LISTED) FIRE PUMP for Duty Point 110.00 USGPM @ 5. 00 bar 1. Fire Pumps : NAFFCO Horizontal End Suction 2. Drivers : Motor 3. Controller : Common Controller for 2 Electric 4. Pressure vessel, Suction and Discharge Manifold, Valves and Fittings are included. 5. All Mounted-On Common Base Frame |  |  | SET | 1 | 4500 | 4500 | 0 | 4500 | 0 | FALSE |  |  | 300000002306007 | Fire Pump
2 |  | SHIELD FM-200, FIRE EXTINGUISHING SYSTEM , TOTAL FLOODING, MODULAR, 360 PSI, SERVER ROOM, VOLUME = 13.81 Cub.M, AREA = 4.22 Sq.M, HEIGHT = 3.28 Mtr (COMPRISING THE BELOW) |  |  | LUMPSUM | 1 | 3530 | 3530 | 0 | 3530 | 0 | FALSE |  |  | 300000002306004 | Fire Fighting
2.1 |  | SHIELD200 16.7L Cylinder Assembly (8.4kg-20.0kg) Complete with 1" Valve and Pressure Gauge, Pressure Switch, Cylinder Label & Bracket Without LLI SD-17HFC-01 |  |  | SET | 1 |  |  | 0 |  | 0 | FALSE |  |  | 300000002306005 | Fire Fighting
2.2 |  | Cylinder Bracket 400mm , SD-CBKT-400 |  |  | EA | 1 |  |  | 0 |  | 0 | FALSE |  |  | 300000002306006 | Fire Fighting
2.3 |  | SHIELD200 (SD-HFC227ea) Agent Per kgs SD-HFC-227ea |  |  | KG | 10 |  |  | 0 |  | 0 | FALSE |  |  | 300000002306007 | Fire Pump
2.4 |  | SUPERVISED LATCHING SOLENOID ACTUATOR C/w SUPERVISORY SWITCH, Model : SD-SLSA-066-2 |  |  | EA | 1 |  |  | 0 |  | 0 | FALSE |  |  | 300000002306008 | Fire Fighting
2.5 |  | Manual Actuator with Push to operate SD-MA0025 |  |  | EA | 1 |  |  | 0 |  | 0 | FALSE |  |  | 300000002306008 | Fire Fighting
2.6 |  | Discharge Pressure Switch |  |  | EA | 1 |  |  | 0 |  | 0 | FALSE |  |  | 300000002306009 | Fire Fighting
2.7 |  | Discharge Hose 1 Inch (25MM) with Female Swivel Fittings SD-DH0025 |  |  | EA | 1 |  |  | 0 |  | 0 | FALSE |  |  | 300000002306010 | Fire Fighting
2.8 |  | Discharge Nozzle, Brass |  |  | EA | 3 |  |  | 0 |  | 0 | FALSE |  |  | 300000002306011 | Fire Fighting
2.9 |  | FM-200 Warning Sign |  |  | EA | 1 |  |  | 0 |  | 0 | FALSE |  |  | 300000002306012 | Fire Fighting
2.10 |  | FK-5-1-12 Cylinder Lebel 280x180 - UL/FM Approved SD-FM-LBL |  |  | EA | 1 |  |  | 0 |  | 0 | FALSE |  |  | 300000002306013 | Fire Fighting
2.11 |  | Extinguishing Control Panel (2) Detection Zone and Releasing Area (1) C/W 24VDC Back up Battery and CRM4 Relay Module, Model: A-XT - Shield |  |  | SET | 1 |  |  | 0 |  | 0 | FALSE |  |  | 300000002306014 | Fire Fighting
2.12 |  | Optical Smoke Detector w/ Base, Model: S-C2011 / S-C2001 - Shield |  |  | EA | 6 |  |  | 0 |  | 0 | FALSE |  |  | 300000002306015 | Fire Fighting
2.13 |  | Abort Switch w/ back box, model: S111R-AB shield |  |  | EA | 1 |  |  | 0 |  | 0 | FALSE |  |  | 300000002306016 | Fire Fighting
2.14 |  | 6" Electronic Bell, Model: FB1000C6 - Shield |  |  | EA | 1 |  |  | 0 |  | 0 | FALSE |  |  | 300000002306017 | Fire Fighting
2.15 |  | Fire Alarm Horn Strobe Ã¢â‚¬â€œ Indoor SHIELD, SH-HSIR |  |  | EA | 1 |  |  | 0 |  | 0 | FALSE |  |  | 300000002306018 | Fire Fighting
2.16 |  | Strobe, SH-STIR |  |  | EA | 1 |  |  | 0 |  | 0 | FALSE |  |  | 300000002306019 | Fire Fighting
2.17 |  | Remote Indicator (LED) |  |  | EA | 4 |  |  | 0 |  | 0 | FALSE |  |  | 300000002306020 | Fire Fighting
3 |  | Pendent Sprinkler Head 1/2" 68 Deg,STD Resp, Brass Finish, UL/ULC Listed/FM Approved SD1010SR Single Plane Escuteon Plate 1/2"- Chrome Finish SD-ESC 1 |  |  | NOS | 92 | 3 | 3 | 0 | 276 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
4 |  | Zone Control Valve Assembly 4" c/w Butterfly valve, Grooved, 175 Psi, 4", UL/FM, Water Flow Switch, Test & Drain Valve, Check Valve, Pressure Gauge with Valve - Shield, Model: SDBV-G |  |  | NOS | 1 | 458 | 458 | 0 | 458 | 0 | FALSE |  |  | 300000002306004 | Fire Fighting
5 |  | 6 KG DP FIRE EXTINGUSHER - CE,KITEMARK & MED, LPCB - 40% Powder NP6 |  |  | NOS | 9 | 27 | 27 | 0 | 243 | 0 | FALSE |  |  | 300000002306005 | Fire Fighting
6 |  | 5 KG CO2 FIRE EXTINGUISHER - CE,KITEMARK & MED, LPCB NC 5 |  |  | NOS | 9 | 52 | 52 | 0 | 468 | 0 | FALSE |  |  | 300000002306006 | Fire Fighting
7 |  | 9 LTR. FOAM FIRE EXTINGUSHER - CE,KITEMARK & MED NF9 |  |  | NOS | 9 | 44 | 44 | 0 | 396 | 0 | FALSE |  |  | 300000002306007 | Fire Pump
8 |  | 4.5 KG Dry Powder Extinguisher Portable Pressure Type Automatic |  |  | NOS | 6 | 36 | 36 | 0 | 216 | 0 | FALSE |  |  | 300000002306008 | Fire Fighting
9 |  | Fire Blanket 6' x 6' packed RED Rexin |  |  | NOS | 8 | 12 | 12 | 0 | 96 | 0 | FALSE |  |  | 300000002306008 | Fire Fighting
10 |  | FIRE HOSE, 2.5",RED COLOUR WITH GM COUPLING - KITEMARK NF-DH2 65R |  |  | NOS | 4 | 156 | 156 | 0 | 624 | 0 | FALSE |  |  | 300000002306009 | Fire Fighting
11 |  | Branchpipe 2-1/2" with BS Male Inlet - KITEMARK NF-FB-320 |  |  | NOS | 4 | 16 | 16 | 0 | 64 | 0 | FALSE |  |  | 300000002306010 | Fire Fighting
12 |  | 2-1/2" Oblique Landing Valve, Male Thread, Model: NDR097 c/w 4" flanged adaptor with 2-1/2" threaded |  |  | NOS | 4 | 46 | 46 | 0 | 184 | 0 | FALSE |  |  | 300000002306011 | Fire Fighting
13 |  | 4"X2 WAY BREECHING INLET, KITE MARK, RED, NAFFCO (with matching flanges) NDR095 |  |  | NOS | 1 | 124 | 124 | 0 | 124 | 0 | FALSE |  |  | 300000002306012 | Fire Fighting
14 |  | Breaching Inlet Cabinet Complete Mild Steel 600 x 600 x 300 |  |  | NOS | 1 | 70 | 70 | 0 | 70 | 0 | FALSE |  |  | 300000002306013 | Fire Fighting
[9 empty] | 0 |  | 0 | FALSE |  |  | 300000002306014 | Fire Fighting
[9 empty] | 0 |  | 0 | FALSE |  |  | 300000002306015 | Fire Fighting
[9 empty] | 0 |  | 0 | FALSE |  |  | 300000002306016 | Fire Fighting
[9 empty] | 0 |  | 0 | FALSE |  |  | 300000002306017 | Fire Fighting
[9 empty] | 0 |  | 0 | FALSE |  |  | 300000002306018 | Fire Fighting
[9 empty] | 0 |  | 0 | FALSE |  |  | 300000002306019 | Fire Fighting
[9 empty] | 0 |  | 0 | FALSE |  |  | 300000002306020 | Fire Fighting
[9 empty] | 0 |  | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
[9 empty] | 0 |  | 0 | FALSE |  |  | 300000002306004 | Fire Fighting
[9 empty] | 0 |  | 0 | FALSE |  |  | 300000002306005 | Fire Fighting
[9 empty] | 0 |  | 0 | FALSE |  |  | 300000002306006 | Fire Fighting
[9 empty] | 0 |  | 0 | FALSE |  |  | 300000002306007 | Fire Pump
[9 empty] | 0 |  | 0 | FALSE |  |  | 300000002306008 | Fire Fighting
[9 empty] | 0 |  | 0 | FALSE |  |  | 300000002306008 | Fire Fighting
[9 empty] | 0 |  | 0 | FALSE |  |  | 300000002306009 | Fire Fighting
[9 empty] | 0 |  | 0 | FALSE |  |  | 300000002306010 | Fire Fighting
[9 empty] | 0 |  | 0 | FALSE |  |  | 300000002306011 | Fire Fighting
[9 empty] | 0 |  | 0 | FALSE |  |  | 300000002306012 | Fire Fighting
[9 empty] | 0 |  | 0 | FALSE |  |  | 300000002306013 | Fire Fighting
[9 empty] | 0 |  | 0 | FALSE |  |  | 300000002306014 | Fire Fighting
[9 empty] | 0 |  | 0 | FALSE |  |  | 300000002306015 | Fire Fighting
[9 empty] | 0 |  | 0 | FALSE |  |  | 300000002306016 | Fire Fighting
[9 empty] | 0 |  | 0 | FALSE |  |  | 300000002306017 | Fire Fighting
[9 empty] | 0 |  | 0 | FALSE |  |  | 300000002306018 | Fire Fighting
[9 empty] | 0 |  | 0 | FALSE |  |  | 300000002306019 | Fire Fighting
[9 empty] | 0 |  | 0 | FALSE |  |  | 300000002306020 | Fire Fighting
[9 empty] | 0 |  | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
[9 empty] | 0 |  | 0 | FALSE |  |  | 300000002306004 | Fire Fighting
[9 empty] | 0 |  | 0 | FALSE |  |  | 300000002306005 | Fire Fighting
[9 empty] | 0 |  | 0 | FALSE |  |  | 300000002306006 | Fire Fighting
[9 empty] | 0 |  | 0 | FALSE |  |  | 300000002306007 | Fire Pump
[9 empty] | 0 |  | 0 | FALSE |  |  | 300000002306008 | Fire Fighting
[9 empty] | 0 |  | 0 | FALSE |  |  | 300000002306008 | Fire Fighting
[9 empty] | 0 |  | 0 | FALSE |  |  | 300000002306009 | Fire Fighting
[9 empty] | 0 |  | 0 | FALSE |  |  | 300000002306010 | Fire Fighting
[9 empty] | 0 |  | 0 | FALSE |  |  | 300000002306011 | Fire Fighting
[9 empty] | 0 |  | 0 | FALSE |  |  | 300000002306012 | Fire Fighting
[9 empty] | 0 |  | 0 | FALSE |  |  | 300000002306013 | Fire Fighting
[9 empty] | 0 |  | 0 | FALSE |  |  | 300000002306014 | Fire Fighting
[9 empty] | 0 |  | 0 | FALSE |  |  | 300000002306015 | Fire Fighting
[9 empty] | 0 |  | 0 | FALSE |  |  | 300000002306016 | Fire Fighting
[9 empty] | 0 |  | 0 | FALSE |  |  | 300000002306017 | Fire Fighting
[9 empty] | 0 |  | 0 | FALSE |  |  | 300000002306018 | Fire Fighting
[9 empty] | 0 |  | 0 | FALSE |  |  | 300000002306019 | Fire Fighting
[9 empty] | 0 |  | 0 | FALSE |  |  | 300000002306020 | Fire Fighting
[9 empty] | 0 |  | 0 | FALSE |  |  | 300000002306017 | Fire Fighting
[9 empty] | 0 |  | 0 | FALSE |  |  | 300000002306018 | Fire Fighting
[9 empty] | 0 |  | 0 | FALSE |  |  | 300000002306019 | Fire Fighting
[9 empty] | 0 |  | 0 | FALSE |  |  | 300000002306020 | Fire Fighting