## Sheet1
SLNO | ItemCode | ItemName | Brand | Model | UOM | Qty | UnitPriceAED | UnitPrice | Margin | Amount | Unitweight | Optional | COO | DeliveryStatus | CRMProductId | CRMProduct
1 |  | HOOD 1 (6x1.04)M | [6 empty] | 0 |  | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
1.1 |  | Kitchen System Charged Cylinder (10 Flow Point) w/Valve, Model: BFR-10 - Buckeye |  |  | NOS | 1 | 448 | 448 | 0 | 448 | 0 | FALSE |  |  | 300000002306004 | Fire Fighting
1.2 |  | BFR-CAP - Valve Cap Assembly |  |  | NOS | 1 | 44 | 44 | 0 | 44 | 0 | FALSE |  |  | 300000002306005 | Fire Fighting
1.3 |  | System Releasing Module SRM2-M |  |  | NOS | 1 | 300 | 300 | 0 | 300 | 0 | FALSE |  |  | 300000002306006 | Fire Fighting
1.4 |  | Mounting Bracket for BFR-10, BFR-15 & BFR-20, Model: MB-2 - Buckeye |  |  | NOS | 1 | 72 | 72 | 0 | 72 | 0 | FALSE |  |  | 300000002306007 | Fire Pump
1.5 |  | Wide Angle Nozzle (2 Flow Point), Model: N-2W-10 (10 Nos/Pack) |  |  | NOS | 1 | 400 | 400 | 0 | 400 | 0 | FALSE |  |  | 300000002306008 | Fire Fighting
1.6 |  | Low Proximity Nozzle (1 Flow Point), Model: N-1LP-10 (10 Nos/Pack) |  |  | NOS | 4 | 393 | 393 | 0 | 1572 | 0 | FALSE |  |  | 300000002306008 | Fire Fighting
1.7 |  | High Proximity Nozzle (1 Flow Point), Model: N-1HP-10 (10 Nos/Pack) |  |  | NOS | 3 | 393 | 393 | 0 | 1179 | 0 | FALSE |  |  | 300000002306009 | Fire Fighting
1.8 |  | Remote Mechanical Pull Station for Kitchen System, Model: RPS-M - Buckeye |  |  | NOS | 1 | 64 | 64 | 0 | 64 | 0 | FALSE |  |  | 300000002306010 | Fire Fighting
1.9 |  | Fusible Link - 360 Deg.F ((182 Deg.C), Model: FL-360-10 (10Nos/Pack) - Buckeye |  |  | NOS | 4 | 89 | 89 | 0 | 356 | 0 | FALSE |  |  | 300000002306011 | Fire Fighting
1.10 |  | Fusible Link Bracket Kit, 10" (25.4Cm) for Kitchen System (10 Pcs/Pack), Model: FLB-10 - Buckeye |  |  | NOS | 5 | 143 | 143 | 0 | 715 | 0 | FALSE |  |  | 300000002306012 | Fire Fighting
1.11 |  | Fusible Link Holder (25 Pcs/Pack), Model: FLH-25 - Buckeye |  |  | NOS | 4 | 108 | 108 | 0 | 432 | 0 | FALSE |  |  | 300000002306013 | Fire Fighting
1.12 |  | Hood Quick Seal, Threaded for 3/8" Pipe, Model: QS-38P - Buckeye |  |  | NOS | 1 | 19 | 19 | 0 | 19 | 0 | FALSE |  |  | 300000002306014 | Fire Fighting
1.13 |  | Hood Quickseal, Compression Type for 1/2" (1.3cm) EMT - CQS-50C |  |  | NOS | 1 | 37 | 37 | 0 | 37 | 0 | FALSE |  |  | 300000002306015 | Fire Fighting
1.14 |  | Comp Corner Pulley, CPCT-1 (25 Nos/Pack) - Buckeye |  |  | NOS | 12 | 11 | 11 | 0 | 132 | 0 | FALSE |  |  | 300000002306016 | Fire Fighting
1.15 |  | Hood QS - Corner Pulley Adaptor - QS-CPA |  |  | NOS | 12 | 22 | 22 | 0 | 264 | 0 | FALSE |  |  | 300000002306017 | Fire Fighting
1.16 |  | Cable, 1/16" (0.16Cm), S/Steel with Flexible Conduit for Kitchen System, 100' Roll, Model: BFR-SC-100 - Buckeye, BFR-SC-100 |  |  | ROLL | 1 | 45 | 45 | 0 | 45 | 0 | FALSE |  |  | 300000002306018 | Fire Fighting
1.17 |  | Shielded S/Steel Cable Interface (10 Pcs/Pack), Model: BFR-SCI-10 - Buckeye, BFR-SCI-10 |  |  | NOS | 6 | 78 | 78 | 0 | 468 | 0 | FALSE |  |  | 300000002306019 | Fire Fighting
1.18 |  | WARNING SIGN |  |  | NOS | 3 | 33 | 33 | 0 | 99 | 0 | FALSE |  |  | 300000002306020 | Fire Fighting
1.19 |  | 3/8" Stainless Steel Pipe 316L Seamless, 6 Mtr Long |  |  | NOS | 2 | 310 | 310 | 0 | 620 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
1.20 |  | 1/4" Copper Tube |  |  | MTRS | 1 | 77 | 77 | 0 | 77 | 0 | FALSE |  |  | 300000002306004 | Fire Fighting
1.21 |  | 3/8" Stainless Steel Elbow |  |  | NOS | 14 | 9 | 9 | 0 | 126 | 0 | FALSE |  |  | 300000002306005 | Fire Fighting
1.22 |  | 3/8" Tee |  |  | NOS | 8 | 9 | 9 | 0 | 72 | 0 | FALSE |  |  | 300000002306006 | Fire Fighting
1.23 |  | 1/2" EMT Conduit |  |  | MTRS | 12 | 4 | 4 | 0 | 48 | 0 | FALSE |  |  | 300000002306007 | Fire Pump
1.24 |  | Swivel Nozzle Adaptor, Model: N-SA - Buckeye |  |  | NOS | 5 | 50 | 50 | 0 | 250 | 0 | FALSE |  |  | 300000002306008 | Fire Fighting
2 |  | HOOD 2 (1.5x1.04)M | [6 empty] | 0 |  | 0 | FALSE |  |  | 300000002306008 | Fire Fighting
2.1 |  | Kitchen System Charged Cylinder (5 Flow Point) w/Valve, Model: BFR-5 - Buckeye |  |  | NOS | 1 | 370 | 370 | 0 | 370 | 0 | FALSE |  |  | 300000002306009 | Fire Fighting
2.2 |  | BFR-CAP - Valve Cap Assembly |  |  | NOS | 1 | 44 | 44 | 0 | 44 | 0 | FALSE |  |  | 300000002306010 | Fire Fighting
2.3 |  | System Releasing Module SRM2-M |  |  | NOS | 1 | 300 | 300 | 0 | 300 | 0 | FALSE |  |  | 300000002306011 | Fire Fighting
2.4 |  | Mounting Bracket for BFR-5, Model: MB-1 - Buckeye |  |  | NOS | 1 | 50 | 50 | 0 | 50 | 0 | FALSE |  |  | 300000002306012 | Fire Fighting
2.5 |  | Low Proximity Nozzle (1 Flow Point), Model: N-1LP-10 (10 Nos/Pack) |  |  | NOS | 1 | 393 | 393 | 0 | 393 | 0 | FALSE |  |  | 300000002306013 | Fire Fighting
2.6 |  | High Proximity Nozzle (1 Flow Point), Model: N-1HP-10 (10 Nos/Pack) |  |  | NOS | 1 | 393 | 393 | 0 | 393 | 0 | FALSE |  |  | 300000002306014 | Fire Fighting
2.7 |  | Remote Mechanical Pull Station for Kitchen System, Model: RPS-M - Buckeye |  |  | NOS | 1 | 64 | 64 | 0 | 64 | 0 | FALSE |  |  | 300000002306015 | Fire Fighting
2.8 |  | Fusible Link - 360 Deg.F ((182 Deg.C), Model: FL-360-10 (10Nos/Pack) - Buckeye |  |  | NOS | 1 | 89 | 89 | 0 | 89 | 0 | FALSE |  |  | 300000002306016 | Fire Fighting
2.9 |  | Fusible Link Bracket Kit, 10" (25.4Cm) for Kitchen System (10 Pcs/Pack), Model: FLB-10 - Buckeye |  |  | NOS | 2 | 143 | 143 | 0 | 286 | 0 | FALSE |  |  | 300000002306017 | Fire Fighting
2.10 |  | Fusible Link Holder (25 Pcs/Pack), Model: FLH-25 - Buckeye |  |  | NOS | 1 | 108 | 108 | 0 | 108 | 0 | FALSE |  |  | 300000002306018 | Fire Fighting
2.11 |  | Hood Quick Seal, Threaded for 3/8" Pipe, Model: QS-38P - Buckeye |  |  | NOS | 1 | 19 | 19 | 0 | 19 | 0 | FALSE |  |  | 300000002306019 | Fire Fighting
2.12 |  | Hood Quickseal, Compression Type for 1/2" (1.3cm) EMT - CQS-50C |  |  | NOS | 1 | 37 | 37 | 0 | 37 | 0 | FALSE |  |  | 300000002306020 | Fire Fighting
2.13 |  | Comp Corner Pulley, CPCT-1 (25 Nos/Pack) - Buckeye |  |  | NOS | 10 | 11 | 11 | 0 | 110 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
2.14 |  | Hood QS - Corner Pulley Adaptor - QS-CPA |  |  | NOS | 10 | 22 | 22 | 0 | 220 | 0 | FALSE |  |  | 300000002306004 | Fire Fighting
2.15 |  | Cable, 1/16" (0.16Cm), S/Steel with Flexible Conduit for Kitchen System, 100' Roll, Model: BFR-SC-100 - Buckeye, BFR-SC-100 |  |  | ROLL | 1 | 45 | 45 | 0 | 45 | 0 | FALSE |  |  | 300000002306005 | Fire Fighting
2.16 |  | Shielded S/Steel Cable Interface (10 Pcs/Pack), Model: BFR-SCI-10 - Buckeye, BFR-SCI-10 |  |  | NOS | 6 | 78 | 78 | 0 | 468 | 0 | FALSE |  |  | 300000002306006 | Fire Fighting
2.17 |  | WARNING SIGN |  |  | NOS | 3 | 33 | 33 | 0 | 99 | 0 | FALSE |  |  | 300000002306007 | Fire Pump
2.18 |  | 3/8" Stainless Steel Pipe 316L Seamless, 6 Mtr Long - 31055575010 |  |  | NOS | 1 | 310 | 310 | 0 | 310 | 0 | FALSE |  |  | 300000002306008 | Fire Fighting
2.19 |  | 1/4" Copper Tube |  |  | MTRS | 1 | 77 | 77 | 0 | 77 | 0 | FALSE |  |  | 300000002306008 | Fire Fighting
2.20 |  | 3/8" Stainless Steel Elbow - 31253875038 |  |  | NOS | 5 | 9 | 9 | 0 | 45 | 0 | FALSE |  |  | 300000002306009 | Fire Fighting
2.21 |  | 3/8" Tee - 31254075038 |  |  | NOS | 2 | 9 | 9 | 0 | 18 | 0 | FALSE |  |  | 300000002306010 | Fire Fighting
2.22 |  | 1/2" EMT Conduit |  |  | MTRS | 10 | 4 | 4 | 0 | 40 | 0 | FALSE |  |  | 300000002306011 | Fire Fighting
2.23 |  | Swivel Nozzle Adaptor, Model: N-SA - Buckeye |  |  | NOS | 1 | 50 | 50 | 0 | 50 | 0 | FALSE |  |  | 300000002306012 | Fire Fighting