## Sheet1
SLNO | ItemCode | ItemName | Brand | Model | UOM | Qty | UnitPriceAED | UnitPrice | Margin | Amount | Unitweight | Optional | COO | DeliveryStatus | orgMapID | GroupNumber | orderno | SubItemCount | ParantSlNo
1 | 0 | HFC-227ea SYSTEM | [9 empty] | FALSE |  |  | 0 | 0 | 0 | 0
1.1 | 0 | Telecom Room At Admin Building - Ground Floor | [9 empty] | FALSE |  |  | 0 | 0 | 0 | 0
1.1.1 | 0 | Mechanical Components: Main Cylinder | [9 empty] | FALSE |  |  | 0 | 0 | 0 | 0
1.1.1.1 | 0 | 100 LBS HFC-227ea Agent Cylinder Filled With 96 Lbs GAS, Impulse Discharge Valve Type C/w, Nipple, Victaulic Coupling, Mounting Strap, Pressure Gauge |  |  | Nos | 1 | 3828 | 3828 | 0 | 3828 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
1.1.1.2 |  | Impulse Valve Operation W/ Manual Strike Button Kit + IRM |  |  | Nos | 1 | 365 | 365 | 0 | 365
1.1.1.3 |  | Low Pressure Switch |  |  | Nos | 1 | 144 | 144 | 0 | 144
1.1.1.4 |  | Non Return Valve [HI-FLO], 3" |  |  | Nos | 2 | 815 | 815 | 0 | 1630
1.1.1.5 |  | MANIFOLD for 2 CYLINDER |  |  | nos | 1 | 362 | 362 | 0 | 362
1.1.1.6 |  | Discharge Nozzle |  |  | Nos | 2 | 113 | 113 | 0 | 226
1.1.2 |  | Electrical Components: | [6 empty] | 0
1.1.2.1 |  | Add. Fire Alarm Control Panel -2 Loop, c/ w Model : 10-068-R-2-L 24V DC back up battery with 75 Ah battery |  |  | Nos | 1 | 3492 | 3492 | 0 | 3492
1.1.2.2 |  | Status Indicator, Model: 02-13946 - Fike |  |  | Nos | 1 | 1431 | 1431 | 0 | 1431
1.1.2.3 |  | Optical Smoke Detector with Base Model : 63-1058 &63-1061 , Fike |  |  | Nos | 2 | 109 | 109 | 0 | 218
1.1.2.4 |  | Addressable Manual release Station - Moel : 20-1343 , Fike |  |  | Nos | 1 | 120 | 120 | 0 | 120
1.1.2.5 |  | Abort Switch Model: 10-1639 |  |  | Nos | 1 | 120 | 120 | 0 | 120
1.1.2.6 |  | Bell 6" c/w Back Box, Model: FB1000C6 |  |  | Nos | 1 | 18 | 18 | 0 | 18
1.1.2.7 |  | Horn Strobe 12/24V DC, Red, Compact, L-Series, 2 Wire, 15/30/75/95/110/135/185 Candela, Wall/Ceiling Mounted with Back Box, Model: P2RL - System Sensor |  |  | Nos | 1 | 45 | 45 | 0 | 45
1.1.2.8 |  | Strobe 12/24V DC, Red, Compact, L-Series, 15/30/75/95/110/135/185 Candela, Wall/ Ceiling Mounted with Back Box, Model: SRL - System Sensor |  |  | Nos | 1 | 36 | 36 | 0 | 36
1.1.2.9 |  | Main / Reserve Switch Model : 10-2967 |  |  | Nos | 2 | 128 | 128 | 0 | 256
1.1.2.10 |  | Maintenance Switch ( Disconnect switch) – 10-2698 – |  |  | Nos | 1 | 426 | 426 | 0 | 426
1.1.2.11 |  | Warning Sign ( Set of 3 ) |  |  | Nos | 1 | 103 | 103 | 0 | 103
1.1.2.12 |  | RELEASE CONTROL MODULE W/ ISOLATOR c/w Backbox Model : 55-053 with ack Box |  |  | Nos | 2 | 321 | 321 | 0 | 642
1.1.2.13 |  | MONITOR MODULE W/ ISOLATOR c/w Backbox Model : 55 -046 |  |  | Nos | 12 | 170 | 170 | 0 | 2040
1.1.2.14 |  | CONTROL MODULE Model : 55-047 |  |  | Nos | 3 | 188 | 188 | 0 | 564
1.1.2.15 |  | POWER SUPPLY UNIT, 24V DC ,10Amps w/ battery Model : 10-2829 |  |  | Nos | 1 | 665 | 665 | 0 | 665
1.1.3 |  | Mechanical Components: Reserved Cylinder
1.1.3.1 |  | 100 LBS HFC-227ea Agent Cylinder Filled With 96 Lbs GAS, Impulse Discharge Valve Type C/w, Nipple, Victaulic Coupling, Mounting Strap, Pressure Gauge |  |  | Nos | 1 | 3828 | 3828 |  | 3828
1.1.3.2 |  | Impulse Valve Operation W/ Manual Strike Button Kit + IRM |  |  | Nos | 1 | 365 | 365 |  | 365
1.1.3.3 |  | Low Pressure Switch |  |  | Nos | 1 | 144 | 144 | 0 | 144