## Sheet1
SLNO | ItemCode | ItemName | Brand | Model | UOM | Qty | UnitPriceAED | UnitPrice | Margin | Amount | Unitweight | Optional | COO | DeliveryStatus | orgMapID | GroupNumber | orderno | SubItemCount | ParantSlNo
1 | 0 | Sprinkler Head 68 Deg.C, Pendent, 1/2" NPT, Brass Finish, Quick Response, K-Factor: 80 (5.6), UL Listed, Model: SD1030C - Shield with Escutcheon Plate 1/2", Two Piece, Chrome Finish, Model: SD-ESC-2 - Shield | Shield |  | no | 453 | 5.25 | 5.25 | 0 | 2378.25 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
2 | 0 | OS&Y Gate Valve 2 1/2", Ductile Iron Body to AWWA C515, Rising Stem with EPDM Coated Resilient Wedge, Flanged Ends to ANSI B16.1, Class 125,FF Flange, W/P 300 Psi, RED RAL3000 FBE Coating, UL/FM Approved, Model: SD-OSY300FF-D - Shield | Shield |  | no | 3 | 161.8529 | 161.8529 | 0 | 485.5586 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
3 | 0 | OS&Y Gate Valve 3", Ductile Iron Body to AWWA C515, Rising Stem with EPDM Coated Resilient Wedge, Flanged Ends to ANSI B16.1, Class 125,FF Flange, W/P 300 Psi, RED RAL3000 FBE Coating, UL/FM Approved, Model: SD-OSY300FF-D - Shield | Shield |  | no | 10 | 198.6376 | 198.6376 | 0 | 1986.376 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
4 | 0 | OS&Y Gate Valve 4", Ductile Iron Body to AWWA C515, Rising Stem with EPDM Coated Resilient Wedge, Flanged Ends to ANSI B16.1, Class 125,FF Flange, W/P 300 Psi, RED RAL3000 FBE Coating, UL/FM Approved, Model: SD-OSY300FF-D - Shield with Tamper Switch | Shield |  | no | 1 | 218 | 218 | 0 | 218 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
5 | 0 | OS&Y Gate Valve 6", Ductile Iron Body to AWWA C515, Rising Stem with EPDM Coated Resilient Wedge, Flanged Ends to ANSI B16.1, Class 125,FF Flange, W/P 300 Psi, RED RAL3000 FBE Coating, UL/FM Approved, Model: SD-OSY300FF-D - Shield with Tamper Switch | Shield |  | no | 3 | 394 | 394 | 0 | 1182 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
6 | 0 | Test & Drain Valve, Size: 1", Female x Female NPT Threaded, K-factor 5.6, Brass, Model: SD-TDV50T, UL/FM Approved - Shield | Shield |  | no | 14 | 66 | 66 | 0 | 924 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
7 | 0 | OS&Y Gate Valve 1-1/2" Bronze, 175 Psi, UL Listed, Model: SDOSY-T 40, Shield | Shield |  | no | 10 | 137 | 137 | 0 | 1370 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
8 | 0 | Gate Valve 2", D.I Body to AWWA C515, Non-Rising Stem, EPDM Coated Resilient Wedge W/HANDLE w/o Post Indicator Flange, Flanged Ends to ANSI B16.1, Class 125, WP 300 Psi, RED RAL3000 FBE Coating, Model:SD-NRS300FF-D, UL/FM Approv -Shield | Shield |  | no | 4 | 162 | 162 | 0 | 648 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
9 | 0 | Gate Valve 6", D.I Body to AWWA C515, Non-Rising Stem, EPDM Coated Resilient Wedge W/HANDLE w/o Post Indicator Flange, Flanged Ends to ANSI B16.1, Class 125, WP 300 Psi, RED RAL3000 FBE Coating, Model:SD-NRS300FF-D, UL/FM Approv -Shield | Shield |  | no | 1 | 387 | 387 | 0 | 387 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
10 |  | 1-1/2" Pressure Restricting Valve, Female NPT Inlet x Male NST Outlet, Brass Finish, 175 Psi, UL/FM Approved, Model: SD-PRV105, Brand: SHIELD WITH QUICK COUPLING ADAPTOR WITH CAP & CHAIN | Shield |  | no | 10 | 77 | 77 | 0 | 770 | 0 | FALSE
11 |  | Pressure Reducing Valve 2", Globe Type, Ductile Iron Body, Flanged to Class 300 (Allow 650 Psi) But to comply UL 300 Psi is the Max Inlet Pressure, Down Stream Set at 30-165 Psi, UL Listed, Model: SD-PRV-G - Shield | Shield |  | no | 4 | 515 | 515 | 0 | 2060 | 0 | FALSE
12 |  | Pressure Reducing Valve 2 1/2", Globe Type, Ductile Iron Body, Flanged to Class 300 (Allow 650 Psi) But to comply UL 300 Psi is the Max Inlet Pressure, Down Stream Set at 30-165 Psi, UL Listed, Model: SD-PRV-G - Shield | Shield |  | no | 3 | 596 | 596 | 0 | 1788 | 0 | FALSE
13 |  | Pressure Reducing Valve 3", Globe Type, Ductile Iron Body, Flanged to Class 300 (Allow 650 Psi) But to comply UL 300 Psi is the Max Inlet Pressure, Down Stream Set at 30-165 Psi, UL Listed, Model: SD-PRV-G - Shield | Shield |  | no | 10 | 714 | 714 | 0 | 7140 | 0 | FALSE
14 |  | Pressure Reducing Valve 4", Globe Type, Ductile Iron Body, Flanged to Class 300 (Allow 650 Psi) But to comply UL 300 Psi is the Max Inlet Pressure, Down Stream Set at 30-165 Psi, UL Listed, Model: SD-PRV-G - Shield | Shield |  | no | 1 | 902 | 902 | 0 | 902 | 0 | FALSE
15 |  | Fire Department Connection 4" x 2 x 2-1/2" Female NST (Swivel) Straightway, Brass UL/FM Approved, Model: NF-FDCY - Naffco with - Wall Plate "AUTO SPKR" Brass Finish - 2-1/2" NST Male Threaded Plug with Chain, Forged Brass - 2-1/2" Quick Coupling Adaptor | Naffco |  | Set | 1 | 259 | 259 | 0 | 259 | 0 | FALSE
16 |  | Check Valve 6", Ductile Iron Body to C508, Swing Type, EPDM Seat, Flanged Ends to ANSI B16.1, Class 125, FF Flange, W/P 300 Psi, RED RAL 3000 FBE Coating, UL/FM Approved, Model: SD-NRV300FF-D - Shield | Shield |  | no | 1 | 390 | 390 | 0 | 390 | 0 | FALSE
17 |  | Pressure Gauge 0-300 Psi, UL Listed, Model: SD-P1 - Shield, W/Isolation Valve | Shield |  | nos | 15 | 16 | 16 | 0 | 240 | 0 | FALSE
18 |  | Automatic Air Release Valve 1" FNPT Inlet & 1/2" FNPT Outlet , 175 Psi Water, Model. 15A.3, UL/FM - Valmatic, USA with isolation valve | Valmatic/ Shield |  | nos | 2 | 114 | 114 | 0 | 228 | 0 | FALSE
19 |  | Pressure Relief Valve 6", Angle Type, Mod: 2050B-4KG1, D.I Body, Class 150, Max. W/P: 250PSI, Flanged, Epoxy Coated c/w Bronze Seat ring and Pilot, Monel Stem, Pilot Spring 20-200 PSI, with Y Strainer & P/Gauge, UL/FM Approved - CLA-VA | Claval |  | no | 1 | 1652 | 1652 | 0 | 1652 | 0 | FALSE
20 |  | 6" Gear Operated Butterfly Valve Wafer with Tamper Switch, W/P 300 Psi, UL/FM Approved, Model: SDBV-W300 - Shield | Shield |  | no | 1 | 209 | 209 | 0 | 209 | 0 | FALSE
21 |  | 1" Ball Valve, NPT Double Female Threaded, Brass Nickel Plated, UL Listed Model: SD-BLVT95 - Shield | Shield |  | no | 2 | 12 | 12 | 0 | 24 | 0 | FALSE
22 |  | Fire Fighting Pump Set - Non UL [1 Electric + 1 Diesel + 1 Jockey] Rated Pump Duty: 950 GPM @ 14 Bar 1. Fire Pump: NAFFCO Horizontal Split Case 2. Drivers: Motor and Diesel Engine 3. Controller: Common Contoller for Electric/ Dielsel/ Jockey 5. Suction and discharge manifold, Valves & fittings are included 6. All Mounted-on Individual Base Frame | Naffco |  | Set | 1 | 49700 | 49700 | 0 | 49700 | 0 | FALSE