## Sheet1
SLNO | ItemCode | ItemName | Brand | Model | UOM | Qty | UnitPriceAED | UnitPrice | Margin | Amount | Unitweight | Optional | COO | DeliveryStatus | CRMProductId | CRMProduct
1 |  | ADDRESSABLE FIRE ALARM SYSTEM |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 300000012315278 | Fire Alarm System
1.1 |  | Intelligent Addressable Photoelectric Smoke Detector, White Color, Model: TR-PHOTO-W - TRIGA |  |  | Nos | 564 | 13 | 13 | 0 | 7332 | 0 | FALSE |  |  | 300000012315278 | Fire Alarm System
1.2 |  | Intelligent Addressable Fixed Temperature And Rate Of Rise Thermal Detector, Detection: 15 Deg.F/min to (9 Deg.C/min), White Color, Model: TR-HEAT-ROR-W - TRIGA |  |  | Nos | 40 | 13 | 13 | 0 | 520 | 0 | FALSE |  |  | 300000012315278 | Fire Alarm System
1.3 |  | Standard Detector Base, Model: TR-B501-WHITE - TRIGA |  |  | Nos | 450 | 3 | 3 | 0 | 1350 | 0 | FALSE |  |  | 300000012315278 | Fire Alarm System
1.4 |  | Intellegent Sounder Base, Model: TR-B501BH-3/W-WHITE - TRIGA |  |  | Nos | 154 | 24.6 | 24.6 | 0 | 3788.4 | 0 | FALSE |  |  | 300000012315278 | Fire Alarm System
1.5 |  | Horn, RED Color, Wall Mounted, Model: TR-HRL - TRIGA + Back Box for Indoor Application for SRL, HRL & P2RL, L-Series, Red, Compact, Model: SBBRL - System Sensor |  |  | Nos | 140 | 33 | 33 | 0 | 4620 | 0 | FALSE |  |  | 300000012315278 | Fire Alarm System
1.6 |  | Horn Strobe, 2W RED Color, Wall Mounted, UL Listed, Model: TR-P2RL - TRIGA + Back Box for Indoor Application for SRL, HRL & P2RL, L-Series, Red, Compact, Model: SBBRL - System Sensor |  |  | Nos | 3 | 43 | 43 | 0 | 129 | 0 | FALSE |  |  | 300000012315278 | Fire Alarm System
1.7 |  | Addressable Single and Dual Action Pull station – TR-PULL-SA - TRIGA + Back Box for Manual pull stsation - SB-I/O |  |  | Nos | 70 | 49 | 49 | 0 | 3430 | 0 | FALSE |  |  | 300000012315278 | Fire Alarm System
1.8 |  | Intelligent Addressable Relay Module with 2 Isolated Sets Of Form C Contacts with Back Box, Model: TR-RELAY + TR-SMB500 - TRIGA |  |  | Nos | 36 | 27 | 27 | 0 | 972 | 0 | FALSE |  |  | 300000012315278 | Fire Alarm System
1.9 |  | Isolator Module with Back box, Model: TR-ISO + TR-SMB500 - TRIGA |  |  | Nos | 47 | 29 | 29 | 0 | 1363 | 0 | FALSE |  |  | 300000012315278 | Fire Alarm System
1.10 |  | Addressable Fire Panel w/ LCD (Max 2100 Points) w/ Inbuilt 1 SLC Loop Card, 8 On-board Flex Circuits, USB Inter. For Programming, 4 Pgm Function Keys, 240VAC, 50/60Hz, 2.8A,UL/FM Approved, w/ Cabinet BLACK Color, Model: TR-2100B - TRIGA |  |  | Nos | 1 | 1720 | 1720 | 0 | 1720 | 0 | FALSE |  |  | 300000012315278 | Fire Alarm System
1.11 |  | Battery Box (Custom Made) for TR-2100B |  |  | Nos | 1 | 215 | 215 | 0 | 215 | 0 | FALSE |  |  | 300000012315278 | Fire Alarm System
1.12 |  | SLC Loop Expander, Model: TR-6815 - TRIGA |  |  | Nos | 4 | 181 | 181 | 0 | 724 | 0 | FALSE |  |  | 300000012315278 | Fire Alarm System
1.13 |  | Addressable Repeater Panel with Dispay, Model: TR-RD1R |  |  | Nos | 2 | 252 | 252 | 0 | 504 | 0 | FALSE |  |  | 300000012315278 | Fire Alarm System
1.14 |  | Fire Proof Cable 1.5mm Sq x 2 Core, Solid Core, LPCB Approved, RED Colour, Model: SH-FRC215-R |  |  | Mtr | 13900 | 0.75 | 0.75 | 0 | 10425 | 0 | FALSE |  |  | 300000012315278 | Fire Alarm System
1.15 |  | Fire Proof Cable 2.5mm Sq x 2 Core, 100 Mtr Solid Core, LPCB Approved, RED Colour, Model: SH-FRC225-R |  |  | Mtr | 7200 | 1.2 | 1.2 | 0 | 8640 | 0 | FALSE |  |  | 300000012315278 | Fire Alarm System
2 |  | FIRE TELEPHONE SYSTEM - TRIGA |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 300000014155258 | Fire Telephone System
2.1 |  | Intelligent Distributed Power Module, High Voltage (240V), Model: TR-RPS1 - TRIGA |  |  | Nos | 2 | 181 | 181 | 0 | 362 | 0 | FALSE |  |  | 300000014155258 | Fire Telephone System
2.2 |  | Telephone Phone panel, Model:TR-FFT |  |  | Nos | 1 | 1343 | 1343 | 0 | 1343 | 0 | FALSE |  |  | 300000014155258 | Fire Telephone System
2.3 |  | Mini monitor Module ,Model: TR-MINIMON |  |  | Nos | 3 | 13 | 13 | 0 | 39 | 0 | FALSE |  |  | 300000014155258 | Fire Telephone System
2.4 |  | Fire telephone Jack with Back Box, Model: TR-FPJ |  |  | Nos | 14 | 27 | 27 | 0 | 378 | 0 | FALSE |  |  | 300000014155258 | Fire Telephone System
2.5 |  | Handset, Model : TR-RHS |  |  | Nos | 2 | 128 | 128 | 0 | 256 | 0 | FALSE |  |  | 300000014155258 | Fire Telephone System
2.6 |  | Handset cabinet, Model : TR-HSC |  |  | Nos | 1 | 354 | 354 | 0 | 354 | 0 | FALSE |  |  | 300000014155258 | Fire Telephone System
2.7 |  | Isolator Module with Back box, Model: TR-ISO + TR-SMB500 - TRIGA |  |  | Nos | 2 | 29 | 29 | 0 | 58 | 0 | FALSE |  |  | 300000014155258 | Fire Telephone System