## Sheet1
SLNO | ItemCode | ItemName | Brand | Model | UOM | Qty | UnitPriceAED | UnitPrice | Margin | Amount | Unitweight | Optional | COO | DeliveryStatus | CRMProductId | CRMProduct
1 |  | 60Lbs HFC 227 ea Cylinder Filled with 67Lbs HFC 227ea Gas, C/W: Impulse Discharge Valve, Nipple, Victaulic Coupling, Mounting Strap, Pressure Gauge, Model: NF-70-265 |  |  | Set | 2 | 1801.4 | 1801.4 | 0 | 3602.8 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
2 |  | Impulse valve operator w/ manual strike button kit c/w Impulse valve operator, Model: NF-02-12728, reset tools, Model: 70-286,wire lead w/connector, Model: 02-12755, Impulse release module,Model:NF-10-2748 |  |  | Set | 1 | 292 | 292 | 0 | 292 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
3 |  | Pressure Switch (Low). Model: 02-12533 |  |  | Pcs | 2 | 134 | 134 | 0 | 268 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
4 |  | Discharge Nozzle, 360° 25MM/1" |  |  | Pcs | 1 | 79 | 79 | 0 | 79 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
5 |  | Discharge Nozzle, 360° 15MM/1/2" |  |  | Pcs | 1 | 79 | 79 | 0 | 79 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
6 |  | Extinguishing Control Panel (2) Detection Zone and Releasing Area (1) C/W 24VDC Back up Battery and CRM4 Relay Module, Model: A-XT - Shield |  |  | Pcs | 1 | 804 | 804 | 0 | 804 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting