## Sheet1
SLNO | ItemCode | ItemName | Brand | Model | UOM | Qty | UnitPriceAED | UnitPrice | Margin | Amount | Unitweight | Optional | COO | DeliveryStatus | CRMProductId | CRMProduct
1 |  | KENYA CASINO (STELLATO) WET CHEMICAL FIRE SUPPRESSION SYSTEM UL LISTED |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
1.1 |  | Remote Mechanical Pull Station for Kitchen System, Model: RPS-M |  |  | No. | 1 | 61 | 61 | 0 | 61 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
1.2 |  | Fusible Link - 360 Deg.F (182 Deg.C), Model: NF-FL-360 |  |  | No. | 20 | 8.5 | 8.5 | 0 | 170 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
1.3 |  | Fusible Link Holder, Model: FLH - Naffco (10504015125 |  |  | No. | 20 | 4.1 | 4.1 | 0 | 82 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
1.4 |  | Fusible Link Bracket Kit, 10" (25.4Cm) for Kitchen System, Model: FLB-1, P/N.# LBK3 - Buckeye (10504030110) |  |  | No. | 5 | 13.55 | 13.55 | 0 | 67.75 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
1.5 |  | LOW PROXIMITY NOZZLE (INDIVIDUAL NOZZLE) FOR KITCHEN SYSTEM, PNZN- 1LP, (RED) (10501515121) |  |  | No. | 10 | 37.4 | 37.4 | 0 | 374 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
1.6 |  | HIGH PROXIMITY NOZZLE, 2 FLOW POINT FOR KITCHEN SYSTEM, MODEL: N-2HP, P/N.# PNZN 2HP, (GREEN) (10501515112) |  |  | No. | 10 | 37.4 | 37.4 | 0 | 374 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
1.7 |  | 2 FLOW POINT FOR KITCHEN SYSTEM, MODEL: N-2W, P/N.# PNZN2W, (WHITE) (10501515132) |  |  | No. | 10 | 37.4 | 37.4 | 0 | 374 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
1.8 |  | EMT Conduit Pipe 1/2" (17.93mm OD x 1.07mm Thickness) x 3 Mtr Long (10509075260) |  |  | LM | 150 | 6.13 | 6.13 | 0 | 919.5 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
1.9 |  | Cable, 1/16" (0.16Cm), S/Steel with Flexible Conduit for Kitchen System, 100' Roll, Model: BFR-SC-100 |  |  | Roll | 2 | 470 | 470 | 0 | 940 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
2 |  | SUPPLY OF FM200 FIRE SUPPRESSION SYSTEM - SERVER ROOM |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
2.1 |  | 35Lbs HFC 227 ea Cylinder Filled with 31 Lbs HFC 227ea Gas, C/W: Impulse Discharge Valve, Nipple, Victaulic Coupling, Mounting Strap, Pressure Gauge, Model: NF-70-264- Naffco |  |  | Set | 1 | 1270.2 | 1270.2 | 0 | 1270.2 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
2.2 |  | Impulse valve operator w/ manual strike button kit c/w Impulse valve operator, Model: NF-02-12728, reset tools, Model: 70-286,wire lead w/connector, Model: 02-12755, Impulse release module,Model:NF-10-2748 |  |  | Set | 1 | 292 | 292 | 0 | 292 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
2.3 |  | Pressure Switch (Low). Model: 02-12533 |  |  | Pcs | 1 | 134 | 134 | 0 | 134 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
2.4 |  | Discharge Nozzle, 360° 25MM/1" |  |  | Pcs | 1 | 79 | 79 | 0 | 79 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
2.5 |  | Discharge Nozzle, 360° 20MM/3/4" |  |  | Pcs | 1 | 79 | 79 | 0 | 79 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
3 |  | SUPPLY OF FM200 FIRE SUPPRESSION SYSTEM - CROSS ROOM-01 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
3.1 |  | 20Lbs HFC 227 ea Cylinder Filled with 6 Lbs HFC 227ea Gas, c/w: Impulse Discharge Valve, Nipple, Victaulic Coupling, Mounting Strap, Pressure Gauge, Model: NF-70-263 - Naffco |  |  | Set | 1 | 933.2 | 933.2 | 0 | 933.2 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
3.2 |  | Impulse valve operator w/ manual strike button kit c/w Impulse valve operator, Model: NF-02-12728, reset tools, Model: 70-286,wire lead w/connector, Model: 02-12755, Impulse release module,Model:NF-10-2748 |  |  | Set | 1 | 292 | 292 | 0 | 292 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
3.3 |  | Pressure Switch (Low). Model: 02-12533 |  |  | Pcs | 1 | 134 | 134 | 0 | 134 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
3.4 |  | Discharge Nozzle, 360° 15MM/1/2" |  |  | Pcs | 1 | 79 | 79 | 0 | 79 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
4 |  | SUPPLY OF FM200 FIRE SUPPRESSION SYSTEM - CROSS ROOM-02 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
4.1 |  | 20Lbs HFC 227 ea Cylinder Filled with 11 Lbs HFC 227ea Gas, c/w: Impulse Discharge Valve, Nipple, Victaulic Coupling, Mounting Strap, Pressure Gauge, Model: NF-70-263 - Naffco |  |  | Set | 1 | 984.2 | 984.2 | 0 | 984.2 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
4.2 |  | Impulse valve operator w/ manual strike button kit c/w Impulse valve operator, Model: NF-02-12728, reset tools, Model: 70-286,wire lead w/connector, Model: 02-12755, Impulse release module,Model:NF-10-2748 |  |  | Set | 1 | 292 | 292 | 0 | 292 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
4.3 |  | Pressure Switch (Low). Model: 02-12533 |  |  | Pcs | 1 | 134 | 134 | 0 | 134 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
4.4 |  | Discharge Nozzle, 360° 25MM/1" |  |  | Pcs | 1 | 79 | 79 | 0 | 79 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
4.5 |  | Extinguishing Control Panel (2) Detection Zone and Releasing Area (1) C/W 24VDC Back up Battery and CRM4 Relay Module, Model: A-XT - Shield |  |  | No. | 3 | 804 | 804 | 0 | 2412 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
5 |  | STOCK ORDER FM200 FIRE SUPPRESSION SYSTEM |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
5.1 |  | Extinguishing Control Panel (2) Detection Zone and Releasing Area (1) C/W 24VDC Back up Battery and CRM4 Relay Module, Model: A-XT - Shield |  |  | No. | 1 | 804 | 804 | 0 | 804 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
5.2 |  | Optical Smoke Detector w/ Base Model: S-C2011/ S-C2001-shield |  |  | No. | 40 | 13 | 13 | 0 | 520 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
5.3 |  | Conventional Heat Detector w/ Based, Model: S-C2013/ S-C2001 - Shield |  |  | No. | 10 | 13 | 13 | 0 | 130 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
5.4 |  | Abort Switch w/ back box, model;S111R-AB shield |  |  | No. | 3 | 84 | 84 | 0 | 252 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
5.5 |  | FIRE BELL 6"c/w back box, model FB1000C6- Shield |  |  | No. | 3 | 24 | 24 | 0 | 72 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
5.6 |  | Conventional Multi-Candela Horn Strobe c/w Base (S-C8210), Red, UL Listed, Model : S-C8056 - Shield |  |  | No. | 5 | 35 | 35 | 0 | 175 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
5.7 |  | Conventional Multi-Candela LED Strobe c/w Base (S-C8210), Red, UL Listed, Model : S-C8057 - Shield |  |  | No. | 5 | 25 | 25 | 0 | 125 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
5.8 |  | Fire Proof Cable 1.5mm Sq x 2 Core, Solid Core, LPCB Approved, RED Colour, Model: SH-FRC215-R (100mtr) |  |  | Mtr | 100 | 0.71 | 0.71 | 0 | 71 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting