## Sheet1
SLNO | ItemCode | ItemName | Brand | Model | UOM | Qty | UnitPriceAED | UnitPrice | Margin | Amount | Unitweight | Optional | COO | DeliveryStatus | CRMProductId | CRMProduct
1 |  | Fire Fighting Pump |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 300000002306007 | Fire Pump
1.1 |  | Sea Water Fire Pump, 550 Gpm @ 10 Bar 1 Diesel Pump w/ Engine and Control Panel with standard accessories- UL/FM Approved- NAFFCO |  | NAFFCO | Nos | 1 | 63100 | 63100 | 0 | 63100 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
1.2 |  | Gate Valve, OS&Y Rising Stem, 6", Flanged ANSI B16.5, Ductile Iron, Class 125, WP 300 Psi, FBE Coated, for Sea Water Application - Shield |  | SD-OSY (SW) | Nos | 4 | 770 | 770 | 0 | 3080 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
1.3 |  | Gate Valve, OS&Y Rising Stem, 8", Flanged ANSI B16.5, Ductile Iron, Class 125, WP 300 Psi, FBE Coated, for Sea Water Application - Shield |  | SD-OSY (SW) | Nos | 1 | 1220 | 1220 | 0 | 1220 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
1.4 |  | Check Valve 6" Flanged End ANSI B16.1, Ductile Iron, Swing Type, Class 125, WP 300Psi, FBE Coated, for Sea Water Application - Shield |  | SD-NRV (SW) | Nos | 1 | 720 | 720 | 0 | 720 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
1.5 |  | Tamper Switch / Supervisory Switch |  | SD-SVS-OSY | Nos | 6 | 70 | 70 | 0 | 420 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
1.6 |  | Pressure Gauge with Isolation- SHIELD |  | SD-P1 | Nos | 2 | 30 | 30 | 0 | 60 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
2 |  | Fire Fighting Equipments |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 300000024322780 | Fire Alarm
2.1 |  | Wet Type Fire Hydrant 4" Inlet, 2 x 2-1/2" Outlet Instantaneous Coupling with Control Outlet, Chain & Cap, Red Painted - Naffco ( With Special painting for Sea Water Usage) |  | NHYD 060 | Nos | 4 | 415 | 415 | 0 | 1660 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
2.2 |  | Self Standing Hydrant Cabinet, Surfaced Type, Mild Steel, Red Color, Naffco, UAE - C/W 1 No: 2.5" x 30 Mtr. Synthetic Fire Hose, Single Jacket, Red with Gun Metal Coupling, UL Listed- Naffco 1 No: Combination Fog and Stream Nozzle 2-1/2" NH Female Swivel Inlet c/w Non-slip Rubber Protected Pistol Grip - NAFFCO |  | NFC 750 NF-FH65 NF-13BPS | Nos | 4 | 725 | 725 | 0 | 2900 | 0 | FALSE |  |  | 300000002306004 | Fire Fighting
2.3 |  | Dry Powder Extinguisher Portable Pressure Type, Capacity 9 Kg, Red Color, Kitemark/LPCB Approved, Naffco, UAE |  | NP9 | Nos | 10 | 38 | 38 | 0 | 380 | 0 | FALSE |  |  | 300000002306005 | Fire Fighting
2.4 |  | CO2 Extinguisher Portable Type, Capacity: 5 Kg, Red Color, Kitemark/LPCB Approved, Naffco, UAE |  | NC5 | Nos | 5 | 52 | 52 | 0 | 260 | 0 | FALSE |  |  | 300000002306006 | Fire Fighting
2.5 |  | Dry Powder Extinguisher, Mobile Pressure Type, Capacity: 25 Kg, Red Color, LPCB/Kitemark approved - Naffco, UAE |  | NTP25 | Nos | 4 | 200 | 200 | 0 | 800 | 0 | FALSE |  |  | 300000002306007 | Fire Fighting
2.6 |  | Co2 Extinguisher, Single Cylinder, Trolley Type,Capacity: 30 Kg, Red Color, Kitemark Approved - Naffco, UAE |  | NTC 30X | Nos | 4 | 365 | 365 | 0 | 1460 | 0 | FALSE |  |  | 300000002306008 | Fire Fighting
3 |  | Safety Equipments |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 300000002966774 | Security Systems
3.1 |  | FIREFIGHTING SUIT Color: Navy Blue ¦ Fabric : Nomex IIIA Sizes: S to 3XL Brand: Naffco |  | AQUILA FIRE | Nos | 8 | 600 | 600 | 0 | 4800 | 0 | FALSE |  |  | 300000002966774 | Security Systems
3.2 |  | FIRE FIGHTER GLOVES Fire Fighting Rescue Gloves, Colour: Black, Length: about 38 cm Make : Chiba, Germany |  | 61104 | Nos | 8 | 55 | 55 | 0 | 440 | 0 | FALSE |  |  | 300000002966774 | Security Systems
3.3 |  | FIRE FIGHTER BOOT Model : BD9788, Sizes : Euro 38 - 47, Make: Bulldozer, UK |  | BD9788 | Nos | 8 | 72 | 72 | 0 | 576 | 0 | FALSE |  |  | 300000002966774 | Security Systems
3.4 |  | FIRE FIGHTING HELMET LT Series Structural Fire Helmet Color: Yellow/RED Make: Bullard, USA |  | LTX | Nos | 8 | 178 | 178 | 0 | 1424 | 0 | FALSE |  |  | 300000002966774 | Security Systems
3.5 |  | WINDSOCK WITH MAST Dimension: 3600mm×Φ900mm×Φ500mm (Length×Throat Diameter×Tail End Diameter) Wind sock material:Strong hypalon coated nylon Windsock color:orange and white Pole material:316 stainless steel Pole height:6m |  | S-WSP-519-2 | Nos | 2 | 5850 | 5850 | 0 | 11700 | 0 | FALSE |  |  | 300000002966774 | Security Systems