## Sheet1
SLNO | ItemCode | ItemName | Brand | Model | UOM | Qty | UnitPriceAED | UnitPrice | Margin | Amount | Unitweight | Optional | COO | DeliveryStatus | CRMProductId | CRMProduct
1.1 |  | HOSEREEL BOOSTER PUMPSET:- RATED PUMP DUTY: 30 GPM @ 4 BAR 2E (1 DUTY & 1 STANDBY) - NAFFCO HORIZONTAL CLOSE COUPLED WITH ELECTRIC MOTOR + 1NO. COMMON CONTROLLER FOR ELECTRIC PUMP SET (ENCLOSURE IP-54), PRESSURE VESSEL AND STANDARD ACCESSORIES, ALL MOUNTED ON COMMON BASE FRAME, |  |  | SET | 1 | 3500 | 3500 |  | 3500 |  | FALSE |  |  | 300000002306003 | Fire Fighting
1.2 |  | OS&Y Gate Valve 2-1/2" Class 125 Flanged, 200 PSI working UL/FM Approved SD-OSY200FF-D |  |  | NOS | 4 | 134.47 | 134.47 |  | 537.88 |  | FALSE |  |  | 300000002306003 | Fire Fighting
1.3 |  | Check Valve 2-1/2" Class 125 Flanged, 200 PSI working UL/FM Approved, SD-NRV200FF-D |  |  | NOS | 2 | 80.11 | 80.11 |  | 160.22 |  | FALSE |  |  | 300000002306003 | Fire Fighting
1.4 |  | Y-Strainer 2-1/2" Class 150 Both Flanged Ends, 300 PSI working UL/ULC Approved LISTED - FLANGED X FLANGED with SS304 Screen -SHIELD SD-YS300FF-D |  |  | NOS | 1 | 80.11 | 80.11 |  | 80.11 |  | FALSE |  |  | 300000002306003 | Fire Fighting
1.5 |  | Automatic Air Release Valve 1" FNPT 175 PSI Inlet x Outlet UL Listed, Model: 15A-3 - Valmatic |  |  | NOS | 1 | 80 | 80 |  | 80 |  | FALSE |  |  | 300000002306003 | Fire Fighting
1.6 |  | Alarm Bell 6" UL Listed, Shield FB1000C, c/w back box FB1000C6, |  |  | NOS | 2 | 31 | 31 |  | 62 |  | FALSE |  |  | 300000002306003 | Fire Fighting