## Sheet1
SLNO | ItemCode | ItemName | Brand | Model | UOM | Qty | UnitPriceAED | UnitPrice | Margin | Amount | Unitweight | Optional | COO | DeliveryStatus | CRMProductId | CRMProduct
1 | 1 | SANITARY PLUMBNG | [8 empty] | 0 | FALSE |  |  | 0
2 | 1.2 | HDPE TUBE PN16 | [8 empty] | 0 | FALSE |  |  | 0
3 | 1.2.1 | HDPE Pipe 75mm, SDR 11, PN 16, ISO 4427, FM Approved, 6 Mtr Long - SHIELD | SHIELD |  | Mtrs | 60 | 9.91 | 2.8353 |  | 170.1172 | 0 | FALSE |  |  | 0
4 | 1.2.2 | HDPE Pipe 32mm, SDR 11, PN 16, ISO 4427, 6 Mtr Long - SHIELD | SHIELD |  | Mtrs | 30 | 1.87 | 0.53501 |  | 16.0504 | 0 | FALSE |  |  | 0
5 | 1.2.3 | HDPE Pipe 25mm, SDR 11, PN 16, ISO 4427, 6 Mtr Long - SHIELD | SHIELD |  | Mtrs | 30 | 1.15 | 0.32902 |  | 9.8706 | 0 | FALSE |  |  | 0
6 | 2 | PCI (FIRE PROTECTION) | [5 empty] | 0 |  | 0 | 0 | FALSE |  |  | 0
7 | 2.1 | 1E+1J (NON-LISTED)[ Pump For Duty Point 60.00 USGPM @ 4.00 bar ]1.Fire Pumps: NAFFCO Horizontal End Suction Close coupled with Motor 2 Jockey Pump: Vertical Multistage- 22 GPM @ 4 BAR 3 Controller: Common Controller for Electric / Jockey 4 Suction and Discharge Manifold, Valves and Fittings are Included 5 All Mounted-On Common Base Frame Notes: Proposed our Minimum pump pressure is 4 bar instead of 0.63 bar (6.5 m). | NAFFCO |  | SET | 1 | 5750 | 1723.4332 |  | 1723.4332 | 0 | FALSE |  |  | 0
8 | 2.3 | FIRE NETWORKS IN TAG | [5 empty] | 0 |  | 0 | 0 | FALSE |  |  | 0
9 | 2.3.1 | G.I. Seamless Pipe 1-1/2", Plain End as per ASTM A53, Grade B, Sch-40, Type S, 5.8 Mtr Long, UL Listed, FM Approved - SHIELD | SHIELD |  | Pcs | 51 | 179.01 | 51.2154 |  | 2611.9851 | 0 | FALSE |  |  | 0
10 | 2.3.2 | G.I. Seamless Pipe 2", Plain End as per ASTM A53, Grade B, Sch-40, Type S, 5.8 Mtr Long, UL Listed, FM Approved - SHIELD | SHIELD |  | Pcs | 12 | 238.68 | 68.2872 |  | 819.4463 | 0 | FALSE |  |  | 0
11 | 2.3.3 | G.I. Seamless Pipe 2-1/2", Plain End as per ASTM A53, Grade B, Sch-40, Type S, 5.8 Mtr Long, UL Listed, FM Approved - SHIELD | SHIELD |  | Pcs | 20 | 348.84 | 99.8044 |  | 1996.0872 | 0 | FALSE |  |  | 0
12 | 2.4 | 1"X30 MTR. HOSE REEL, WALL MOUNTED, AUTOMATIC - CE, KITEMARK,MODEL-25NFH-030A | NAFFCO |  | Pcs | 14 | 508 | 152.2616 |  | 2131.6621 | 0 | FALSE |  |  | 0
13 | 2.5 | PORTABLE FIRE Extinguisher |  |  | Pcs |  |  | 0 |  | 0 | 0 | FALSE |  |  | 0
14 | 2.5.1 | 6 KG DP FIRE EXTINGUSHER - CE,KITEMARK & MED, LPCB - 40% Powder, MODEL-NP6 | NAFFCO |  | Pcs | 50 | 90 | 26.9755 |  | 1348.7738 | 0 | FALSE |  |  | 0
15 | 2.5.2 | 5 KG CO2 FIRE EXTINGUISHER - CE,KITEMARK & MED, LPCB .MODEL-NC5 | NAFFCO |  | Pcs | 6 | 171 | 51.2534 |  | 307.5204 | 0 | FALSE |  |  | 0
16 | 2.6 | SANDBOX | NAFFCO |  | Pcs | 2 | 1000 | 299.7275 |  | 599.455 | 0 | FALSE |  |  | 0