## Sheet1
SLNO | ItemCode | ItemName | Brand | Model | UOM | Qty | UnitPriceAED | UnitPrice | Margin | Amount | Unitweight | Optional | COO | DeliveryStatus | CRMProductId | CRMProduct
1 |  | Pendent Sprinkler Head 1/2" 68 Deg,QUK Resp, Brass Finish, UL/ULC Listed/FM Approved,MODEL-SD1030 QR | SHIELD |  | NO | 10 | 11.75 | 3.5218 | 10 | 35.218 | 0 | FALSE |  |  | 0
2 |  | Pendent Sprinkler Head 1/2" 79 Deg,QUK Resp, Brass Finish, UL/ULC Listed/FM Approved,MODEL-SD1030 QR | SHIELD |  | NO | 10 | 11.75 | 3.5218 | 10 | 35.218 | 0 | FALSE |  |  | 0
3 |  | Pendent Sprinkler Head 1/2" 141 Deg,QUK Resp, Brass Finish, UL/ULC Listed/FM Approved,MODEL-SD1030 QR | SHIELD |  | NO | 10 | 16 | 4.7956 | 10 | 47.9564 | 0 | FALSE |  |  | 0
4 |  | Foam-Water Sprinkler 1/2 inch BSPT Stainless Steel SS 316 K Factor-42 MODEL-NH500S | NAFFCO |  | NO | 10 | 180 | 53.951 | 10 | 539.5095 | 0 | FALSE |  |  | 0
5 |  | 10", Rubber Expansion Joint, Double Sphere, Flanged,MODEL-SD-REJ125DS | SHIELD |  | NO | 10 | 1005 | 301.2262 | 10 | 3012.2616 | 0 | FALSE |  |  | 0
6 |  | 4", Rubber Expansion Joint, Double Sphere, Flanged,MODEL-SD-REJ125DS | SHIELD |  | NO | 10 | 256 | 76.7302 | 10 | 767.3025 | 0 | FALSE |  |  | 0
7 |  | Wet Type Fire Hydrant 4" with 2 x 2.5" BRASS Oblique Landing Valve outlet with cap, chain (Control Outlet),MODEL-NHYD 060 | NAFFCO |  | NO | 10 | 1040 | 311.7166 | 10 | 3117.1662 | 0 | FALSE |  |  | 0
8 |  | Pressure Reducing Angle Valve 2-1/2" NPT Male/ Female- Brass Finish - UL/FM Approved,with DSP couping MODEL-SD-PRV205 | SHIELD |  | NO | 10 | 961 | 288.0381 | 10 | 2880.3815 | 0 | FALSE |  |  | 0
9 |  | OS&Y Gate Valve 10" Class 125 Flanged, 200 PSI working UL/FM Approved,model-SD-OSY-200FF-D | SHIELD |  | NO | 10 | 2410 | 722.3433 | 10 | 7223.4332 | 0 | FALSE |  |  | 0
10 |  | UNDER GROUND HYDRANT-SCREW DOWN TYPE, KITEMARK , MODEL-NHYD 058 Duct Foot Bend, Grey Cast Iron 4" Inlet PCD180 & Outet PCD160 MODEL-NHYDD070 Stand pipe 2-1/2" Double BS336 outlet Aluminum with PVC Cap and Chain, MODEL-NHYD-070 Hydrant Key | NAFFCO |  | NO | 10 | 1271 | 380.9537 | 10 | 3809.5368 | 0 | FALSE |  |  | 0
11 |  | Check Valve 6" Class 125 Flanged, 200 PSI working UL/FM Approved, MODEL- SD-NRV200FF-D | SHIELD |  | NO | 10 | 950 | 284.7411 | 10 | 2847.4114 | 0 | FALSE |  |  | 0
12 |  | 1/2" Ball Valve BSP Double Female threaded , Brass Nickel Plated - UL Listed,MODEL-SDBLVT95 | SHIELD |  | NO | 10 | 15 | 4.4959 | 10 | 44.9591 | 0 | FALSE |  |  | 0
13 |  | Pressure Gauge 0-300 Psi -3-1/2" (90MM) UL Listed/FM Approved Shield,MODEL-SD-P1 | SHIELD |  | NO | 10 | 90 | 26.9755 | 10 | 269.7548 | 0 | FALSE |  |  | 0
14 |  | Pressure Gauge 0-300 Psi -3-1/2" (90MM) UL Listed/FM Approved Shield,-MODEL-SD-P1 | SHIELD |  | NO | 10 | 90 | 26.9755 | 10 | 269.7548 | 0 | FALSE |  |  | 0
15 |  | Pressure Gauge 0-300 Psi -4" (100MM) BSPT Connection UL Listed Shield Liquid Filled,MODEL-SD-P2 | SHIELD |  | NO | 10 | 284 | 85.1226 | 10 | 851.2262 | 0 | FALSE |  |  | 0
16 |  | Pressure Gauge 0-300 Psi -4" (100MM) BSPT Connection UL Listed Shield Liquid Filled,MODEL-SD-P2 | SHIELD |  | NO | 10 | 284 | 85.1226 | 10 | 851.2262 | 0 | FALSE |  |  | 0
17 |  | OS&Y Gate Valve 12" Class 125 Flanged, 300 PSI working UL/ULC/FM Approved-SHIELD ,MODEL-SD-OSY300FF-D | SHIELD |  | NO | 10 | 4020 | 1204.9046 | 10 | 12049.0463 | 0 | FALSE |  |  | 0
18 |  | Intelligent Addressable Monitor Module, Supervised Single Contact, Module, Model: TR-MONITOR 4" Square Surface Mount Electrical Box For Use With IDP Modules, Model: TR-SMB500 | SHIELD-TRIGA |  | NO | 10 | 118 | 38.5831 | 10 | 385.8311 | 0 | FALSE |  |  | 0
19 |  | Intelligent Addressable Photoelectric Smoke Detector, White Color, Model: TR-PHOTO-W 4" Standard Flangeless Mounting Base, White Color, Model: TR-B501 | SHIELD-TRIGA |  | NO | 10 | 72 | 23.5422 | 10 | 235.4223 | 0 | FALSE |  |  | 0
20 |  | Intelligent Addressable Fire Alarm Control System, Model: TR-75B | SHIELD-TRIGA |  | NO | 1 | 2531 | 827.5749 | 10 | 827.5749 | 0 | FALSE |  |  | 0
21 |  | Intelligent Addressable Line Isolator Mod. Isolates Short Circuits On SLC Loop, Model: TR-ISO 4" Square Surface Mount Electrical Box For Use With IDP Modules, Model: TR-SMB500 | SHIELD-TRIGA |  |  | 3 | 114 | 37.2752 | 10 | 111.8256 | 0 | FALSE |  |  | 0
22 |  | Water Flow Switch 4" UL Listed and FM Approved,MODEL-SD-WFD40 | SHIELD |  | NO | 10 | 235 | 70.436 | 10 | 704.3597 | 0 | FALSE |  |  | 0
23 |  | Water Flow Switch 6" UL Listed and FM Approved,MODEL-SD-WFD60 | SHIELD |  | NO | 10 | 235 | 70.436 | 10 | 704.3597 | 0 | FALSE |  |  | 0
24 |  | Water Flow Switch 1" Threaded UL Listed,MODEL-SD-WFD10T | SHIELD |  | NO | 10 | 235 | 70.436 | 10 | 704.3597 | 0 | FALSE |  |  | 0
25 |  | Pressure Switch 0-10 PSI with Single Contact UL/FM Approved, MODEL-SD-PS1001 | SHIELD |  | NO | 10 | 180 | 53.951 | 10 | 539.5095 | 0 | FALSE |  |  | 0