## Sheet1
SLNO | ItemCode | ItemName | Brand | Model | UOM | Qty | UnitPriceAED | UnitPrice | Margin | Amount | Unitweight | Optional | COO | DeliveryStatus | CRMProductId | CRMProduct
1 |  | SHIELD200 16.7L Cylinder Assembly (8.4kg-20.0kg) Complete with 1"head Valve and Pressure Gauge, Pressure Switch, Cylinder Label MODEL : SD-17HFC-01 |  | SHIELD |  | 1 | 2902 | 790.7357 | 0 | 790.7357 | 0 | FALSE |  |  | 0
2 |  | Cylinder Bracket 400mm Channel Length Suitable for 16.7L and 28.3L Cylinder,MODEL-SD-CBKT-400 |  | SHIELD |  | 1 | 146 | 39.782 | 0 | 39.782 | 0 | FALSE |  |  | 1
3 |  | HFC-227ea AGENT |  | SHIELD |  | 15 | 70 | 19.0736 | 0 | 286.1035 | 0 | FALSE |  |  | 2
4 |  | SUPERVISED LATCHING SOLENOID ACTUATOR, MODEL-SD-SLSA-066-2 |  | SHIELD |  | 1 | 1100 | 299.7275 | 0 | 299.7275 | 0 | FALSE |  |  | 3
5 |  | Manual Actuator with Push to operate-Model:SDMA0025 |  | SHIELD |  | 1 | 200 | 54.4959 | 0 | 54.4959 | 0 | FALSE |  |  | 4
6 |  | DISCHARGE PRESSURE SWITCH-Model:SD-DPS-B6-95-1 |  | SHIELD |  | 1 | 600 | 163.4877 | 0 | 163.4877 | 0 | FALSE |  |  | 5
7 |  | Discharge Hose 1 Inch (25MM) with Female Swivel Fittings-Model: SD-DH0025 |  | SHIELD |  | 1 | 110 | 29.9728 | 0 | 29.9728 | 0 | FALSE |  |  | 6
8 |  | HFC Nozzle UL Listed Brass-Model :SD-NXXX-XX |  | SHIELD |  | 1 | 300 | 81.7439 | 0 | 81.7439 | 0 | FALSE |  |  | 7
9 |  | FM200 Warning signage |  | SHIELD |  | 1 | 150 | 40.8719 | 0 | 40.8719 | 0 | FALSE |  |  | 8
10 |  | EXTINGUISHING CONTROL PANEL ( 2 ) Detection Zone ( 1 ) Release Area c/w 24VDC Back-up Battery-Model :AX-T |  | SHIELD |  | 1 | 2513.95 | 685 | 0 | 685 | 0 | FALSE |  |  | 9
11 |  | CONVENTIONAL PHOTOELECTRIC SMOKE DETECTOR, UL LISTED, MODEL: S-C2011 STANDARD MOUNTING BASE, UL LISTED, MODEL: S-C2001 |  | SHIELD |  | 2 | 47 | 12.8065 | 0 | 25.6131 | 0 | FALSE |  |  | 10
12 |  | EXTINGUISHING ABORT SWITCH, SURFACE MOUNT, RED, UL LISTED, MODEL: S111R-AB - SHIELD WITH BACK BOX |  | SHIELD |  | 1 | 275 | 74.9319 | 0 | 74.9319 | 0 | FALSE |  |  | 11
13 |  | FIRE ALARM BELL 6", MOTOR DRIVEN TYPE, RED COLOUR, 24V DC, 20-30MA CURRENT CONSUMPTION, UL LISTED, MODEL: FB1000C6, SHIELD WITH BACK BOX |  | SHIELD |  | 1 | 75 | 20.436 | 0 | 20.436 | 0 | FALSE |  |  | 12
14 |  | HORN/STROBE, INDOOR, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, UL LISTED, MODEL : SH-HSIR |  | SHIELD |  | 1 | 145 | 39.5095 | 0 | 39.5095 | 0 | FALSE |  |  | 13
15 |  | STROBE ONLY, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, INDOOR, UL LISTED, MODEL: SH-STIR |  | SHIELD |  | 1 | 112 | 30.5177 | 0 | 30.5177 | 0 | FALSE |  |  | 14
16 |  | SHIELD200 28.3L Cylinder Assembly (14.2kg-33.9kg) Complete with 1"head Valve and Pressure Gauge Pressure Switch, Cylinder Label ,MODEL : SD-28HFC-01 |  | SHIELD |  | 1 | 3652 | 995.0954 | 0 | 995.0954 | 0 | FALSE |  |  | 15
17 |  | Cylinder Bracket 400mm Channel Length Suitable for 16.7L and 28.3L Cylinder,MODEL-SD-CBKT-400 |  | SHIELD |  | 1 | 146 | 39.782 | 0 | 39.782 | 0 | FALSE |  |  | 16
18 |  | HFC-227ea AGENT |  | SHIELD |  | 25 | 70 | 19.0736 | 0 | 476.8392 | 0 | FALSE |  |  | 17
19 |  | SUPERVISED LATCHING SOLENOID ACTUATOR, MODEL-SD-SLSA-066-2 |  | SHIELD |  | 1 | 1100 | 299.7275 | 0 | 299.7275 | 0 | FALSE |  |  | 18
20 |  | Manual Actuator with Push to operate-Model:SDMA0025 |  | SHIELD |  | 1 | 200 | 54.4959 | 0 | 54.4959 | 0 | FALSE |  |  | 19
21 |  | DISCHARGE PRESSURE SWITCH-Model:SD-DPS-B6-95-1 |  | SHIELD |  | 1 | 600 | 163.4877 | 0 | 163.4877 | 0 | FALSE |  |  | 20
22 |  | Discharge Hose 1 Inch (25MM) with Female Swivel Fittings-Model: SD-DH0025 |  | SHIELD |  | 1 | 110 | 29.9728 | 0 | 29.9728 | 0 | FALSE |  |  | 21
23 |  | HFC Nozzle UL Listed Brass-Model :SD-NXXX-XX |  | SHIELD |  | 1 | 300 | 81.7439 | 0 | 81.7439 | 0 | FALSE |  |  | 22
24 |  | FM200 Warning signage |  | SHIELD |  | 1 | 150 | 40.8719 | 0 | 40.8719 | 0 | FALSE |  |  | 23
25 |  | EXTINGUISHING CONTROL PANEL ( 2 ) Detection Zone ( 1 ) Release Area c/w 24VDC Back-up Battery-Model :AX-T |  | SHIELD |  | 1 | 2513.95 | 685 | 0 | 685 | 0 | FALSE |  |  | 24
26 |  | CONVENTIONAL PHOTOELECTRIC SMOKE DETECTOR, UL LISTED, MODEL: S-C2011 - SHIELD WITH STANDARD MOUNTING BASE, UL LISTED, MODEL: S-C2011 |  | SHIELD |  | 2 | 47 | 12.8065 | 0 | 25.6131 | 0 | FALSE |  |  | 25
27 |  | EXTINGUISHING ABORT SWITCH, SURFACE MOUNT, RED, UL LISTED, MODEL: S111R-AB - SHIELD WITH BACK BOX |  | SHIELD |  | 1 | 275 | 74.9319 | 0 | 74.9319 | 0 | FALSE |  |  | 26
28 |  | FIRE ALARM BELL 6", MOTOR DRIVEN TYPE, RED COLOUR, 24V DC, 20-30MA CURRENT CONSUMPTION, UL LISTED, MODEL: FB1000C6, SHIELD WITH BACK BOX |  | SHIELD |  | 1 | 75 | 20.436 | 0 | 20.436 | 0 | FALSE |  |  | 27
29 |  | HORN/STROBE, INDOOR, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, UL LISTED, MODEL : SH-HSIR |  | SHIELD |  | 1 | 145 | 39.5095 | 0 | 39.5095 | 0 | FALSE |  |  | 28
30 |  | STROBE ONLY, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, INDOOR, UL LISTED, MODEL: SH-STIR |  | SHIELD |  | 1 | 112 | 30.5177 | 0 | 30.5177 | 0 | FALSE |  |  | 29
31 |  | SHIELD200 52.0L Cylinder Assembly (26.1kg-62.4kg) Complete with 2" Valve and Pressure Gauge Pressure Switch, Cylinder Label ,MODEL : SD-52HFC-02 |  | SHIELD |  | 1 | 4582 | 1248.5014 | 0 | 1248.5014 | 0 | FALSE |  |  | 30
32 |  | Cylinder Bracket 600mm Channel Length Suitable for 52L,106L,147L and 180L Cylinder,MODEL-SD-CBKT-600 |  | SHIELD |  | 1 | 218 | 59.4005 | 0 | 59.4005 | 0 | FALSE |  |  | 31
33 |  | HFC-227ea AGENT |  | SHIELD |  | 29 | 70 | 19.0736 | 0 | 553.1335 | 0 | FALSE |  |  | 32
34 |  | SUPERVISED LATCHING SOLENOID ACTUATOR, MODEL-SD-SLSA-066-2 |  | SHIELD |  | 1 | 1100 | 299.7275 | 0 | 299.7275 | 0 | FALSE |  |  | 33
35 |  | Manual Actuator with Push to operate-Model:SDMA0025 |  | SHIELD |  | 1 | 200 | 54.4959 | 0 | 54.4959 | 0 | FALSE |  |  | 34
36 |  | DISCHARGE PRESSURE SWITCH-Model:SD-DPS-B6-95-1 |  | SHIELD |  | 1 | 600 | 163.4877 | 0 | 163.4877 | 0 | FALSE |  |  | 35
37 |  | Discharge Hose 2 Inch (50MM) with Female Swivel Fittings,MODEL-SD-DH0050 |  | SHIELD |  | 1 | 480 | 130.7902 | 0 | 130.7902 | 0 | FALSE |  |  | 36
38 |  | HFC Nozzle UL Listed Brass-Model :SD-NXXX-XX |  | SHIELD |  | 1 | 300 | 81.7439 | 0 | 81.7439 | 0 | FALSE |  |  | 37
39 |  | FM200 Warning signage |  | SHIELD |  | 1 | 150 | 40.8719 | 0 | 40.8719 | 0 | FALSE |  |  | 38
40 |  | EXTINGUISHING CONTROL PANEL ( 2 ) Detection Zone ( 1 ) Release Area c/w 24VDC Back-up Battery-Model :AX-T |  | SHIELD |  | 1 | 2513.95 | 685 | 0 | 685 | 0 | FALSE |  |  | 39
41 |  | CONVENTIONAL PHOTOELECTRIC SMOKE DETECTOR, UL LISTED, MODEL: S-C2011 - SHIELD WITH STANDARD MOUNTING BASE, UL LISTED, MODEL: S-C2011 |  | SHIELD |  | 2 | 47 | 12.8065 | 0 | 25.6131 | 0 | FALSE |  |  | 40
42 |  | EXTINGUISHING ABORT SWITCH, SURFACE MOUNT, RED, UL LISTED, MODEL: S111R-AB - SHIELD WITH BACK BOX |  | SHIELD |  | 1 | 275 | 74.9319 | 0 | 74.9319 | 0 | FALSE |  |  | 41
43 |  | FIRE ALARM BELL 6", MOTOR DRIVEN TYPE, RED COLOUR, 24V DC, 20-30MA CURRENT CONSUMPTION, UL LISTED, MODEL: FB1000C6, SHIELD WITH BACK BOX |  | SHIELD |  | 1 | 75 | 20.436 | 0 | 20.436 | 0 | FALSE |  |  | 42
44 |  | HORN/STROBE, INDOOR, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, UL LISTED, MODEL : SH-HSIR |  | SHIELD |  | 1 | 145 | 39.5095 | 0 | 39.5095 | 0 | FALSE |  |  | 43
45 |  | STROBE ONLY, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, INDOOR, UL LISTED, MODEL: SH-STIR |  | SHIELD |  | 1 | 112 | 30.5177 | 0 | 30.5177 | 0 | FALSE |  |  | 44
46 |  | CO2 System Master Cylinder Assembly 45 Kg. with Solenoid Operated Head Valve B04390031-NF, UL Listed, Model : NCS45M |  | NAFFCO |  | 1 | 1470 | 400.545 | 0 | 400.545 | 0 | FALSE |  |  | 45
47 |  | CO2 System Slave Cylinder Assembly 45 Kg. with Differential Pressure Head Valve B04800121-NF, UL Listed, Model : NCS45S |  | NAFFCO |  | 1 | 1090 | 297.0027 | 0 | 297.0027 | 0 | FALSE |  |  | 46
48 |  | Manual / Pneumatic Release Device, WP 300 Bar, inlet Threaded to M42 x 1.5, Pneumatic line Connection G 1/8", P/N MODEL- B04420065-NF |  | NAFFCO |  | 1 | 150 | 40.8719 | 0 | 40.8719 | 0 | FALSE |  |  | 47
49 |  | MANIFOLD CHECK VALVE, BRASS, MAX W/P 100 BAR, TP 150 BAR, HOSE CONNECTION THREAD G3/4", MANIFOLD CONNECTION THREAD R1" DN12, P/N MODEL- B04600008-NF |  | NAFFCO |  | 2 | 136 | 37.0572 | 0 | 74.1144 | 0 | FALSE |  |  | 48
50 |  | Discharge Hose, Synthetic Rubber Oil Resistant, DN16, WP 350 Bar, B/P1400 Bar, inlet Female Thread to W 21.8 x 1/14" to DIN 477 & Outlet Female Thread to G 3/4", 520mm Length, Temp Range -40 Deg C to +100 Deg.C, P/N. MODEL- NHC18 |  | NAFFCO |  | 2 | 250 | 68.1199 | 0 | 136.2398 | 0 | FALSE |  |  | 49
51 |  | Pilot Hose, Synthetic Rubber Oil Resistant w/Straight Fittings M12 x 1.5 Female Thread in Both Ends, 700mm Long, W/P 350 Bar, B/P 1600 Bar, Temp: -40 C. to 100 C, P/N MODEL- B06290212-NAFF |  | NAFFCO |  | 1 | 72 | 19.6185 | 0 | 19.6185 | 0 | FALSE |  |  | 50
52 |  | Connecting Adaptor, M12 x 1.5 Male Threaded & G 1/8" Male Threaded, P/N. MODEL-029510006 |  | NAFFCO |  | 2 | 10 | 2.7248 | 0 | 5.4496 | 0 | FALSE |  |  | 51
53 |  | Manifold for 2 Cylinder NAFFCO 45 Kg Co2 UL System, 267mm Dia Cylinder, P/N.MODEL- NFCO2-267-SRM2 |  | NAFFCO |  | 1 | 155 | 42.2343 | 0 | 42.2343 | 0 | FALSE |  |  | 52
54 |  | Rack Assembly for 2 Cylinders, Single Row, Floor Mounting Type, Capacity: 45 Kg,MODEL-NFCO2-RA02-002F |  | NAFFCO |  | 1 | 518 | 141.1444 | 0 | 141.1444 | 0 | FALSE |  |  | 53
55 |  | DISCHARGE NOZZLE 360 DEGREE |  | NAFFCO |  | 1 | 110 | 29.9728 | 0 | 29.9728 | 0 | FALSE |  |  | 54
56 |  | Pressure & Flow Detector Switch, P/N.MODEL- 028250050-NF |  | NAFFCO |  | 1 | 686 | 186.921 | 0 | 186.921 | 0 | FALSE |  |  | 55
57 |  | Safety Device 29730039 |  | NAFFCO |  | 1 | 427 | 116.3488 | 0 | 116.3488 | 0 | FALSE |  |  | 56
58 |  | Bleed Valve 029730040-NF |  | NAFFCO |  | 1 | 179 | 48.7738 | 0 | 48.7738 | 0 | FALSE |  |  | 57
59 |  | EXTINGUISHING CONTROL PANEL ( 2 ) Detection Zone ( 1 ) Release Area c/w 24VDC Back-up Battery-Model :AX-T |  | SHIELD |  | 1 | 2513.95 | 685 | 0 | 685 | 0 | FALSE |  |  | 58
60 |  | Conventional Heat Detector, 200F, UL listed, Model: S-C2015 Standard Mounting Base, UL Listed, Model: S-C2001 |  | SHIELD |  | 2 | 45 | 12.2616 | 0 | 24.5232 | 0 | FALSE |  |  | 59
61 |  | FIRE ALARM BELL 6", MOTOR DRIVEN TYPE, RED COLOUR, 24V DC, 20-30MA CURRENT CONSUMPTION, UL LISTED, MODEL: FB1000C6, SHIELD WITH BACK BOX |  | SHIELD |  | 1 | 75 | 20.436 | 0 | 20.436 | 0 | FALSE |  |  | 60
62 |  | HORN/STROBE, INDOOR, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, UL LISTED, MODEL : SH-HSIR |  | SHIELD |  | 1 | 145 | 39.5095 | 0 | 39.5095 | 0 | FALSE |  |  | 61
63 |  | STROBE ONLY, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, INDOOR, UL LISTED, MODEL: SH-STIR |  | SHIELD |  | 1 | 112 | 30.5177 | 0 | 30.5177 | 0 | FALSE |  |  | 62
64 |  | Warning Sign 02-12533(3 NOS PER SET) |  | NAFFCO |  | 1 | 110.1 | 30 | 0 | 30 | 0 | FALSE |  |  | 63
65 |  | SHIELD200 28.3L Cylinder Assembly (14.2kg-33.9kg) Complete with 1" head Valve and Pressure Gauge Pressure Switch, Cylinder Label ,MODEL : SD-28HFC-01 |  | SHIELD |  | 1 | 3652 | 995.0954 | 0 | 995.0954 | 1 | FALSE
66 |  | Cylinder Bracket 400mm Channel Length Suitable for 16.7L and 28.3L Cylinder,MODEL-SD-CBKT-400 |  | SHIELD |  | 1 | 146 | 39.782 | 0 | 39.782 | 2 | FALSE
67 |  | HFC-227ea AGENT |  | SHIELD |  | 26 | 70 | 19.0736 | 0 | 495.9128 | 3 | FALSE
68 |  | SUPERVISED LATCHING SOLENOID ACTUATOR, MODEL-SD-SLSA-066-2 |  | SHIELD |  | 1 | 1100 | 299.7275 | 0 | 299.7275 | 4 | FALSE
69 |  | Manual Actuator with Push to operate-Model:SDMA0025 |  | SHIELD |  | 1 | 200 | 54.4959 | 0 | 54.4959 | 5 | FALSE
70 |  | DISCHARGE PRESSURE SWITCH-Model:SD-DPS-B6-95-1 |  | SHIELD |  | 1 | 600 | 163.4877 | 0 | 163.4877 | 6 | FALSE
71 |  | Discharge Hose 1 Inch (25MM) with Female Swivel Fittings-Model: SD-DH0025 |  | SHIELD |  | 1 | 110 | 29.9728 | 0 | 29.9728 | 7 | FALSE
72 |  | HFC Nozzle UL Listed Brass-Model :SD-NXXX-XX |  | SHIELD |  | 1 | 300 | 81.7439 | 0 | 81.7439 | 8 | FALSE
73 |  | FM200 Warning signage |  | SHIELD |  | 1 | 150 | 40.8719 | 0 | 40.8719 | 9 | FALSE
74 |  | EXTINGUISHING CONTROL PANEL ( 2 ) Detection Zone ( 1 ) Release Area c/w 24VDC Back-up Battery-Model :AX-T |  | SHIELD |  | 1 | 2513.95 | 685 | 0 | 685 | 10 | FALSE
75 |  | CONVENTIONAL PHOTOELECTRIC SMOKE DETECTOR, UL LISTED, MODEL: S-C2011 - SHIELD WITH STANDARD MOUNTING BASE, UL LISTED, MODEL: S-C2011 |  | SHIELD |  | 2 | 47 | 12.8065 | 0 | 25.6131 | 11 | FALSE
76 |  | EXTINGUISHING ABORT SWITCH, SURFACE MOUNT, RED, UL LISTED, MODEL: S111R-AB - SHIELD WITH BACK BOX |  | SHIELD |  | 1 | 275 | 74.9319 | 0 | 74.9319 | 12 | FALSE
77 |  | FIRE ALARM BELL 6", MOTOR DRIVEN TYPE, RED COLOUR, 24V DC, 20-30MA CURRENT CONSUMPTION, UL LISTED, MODEL: FB1000C6, SHIELD WITH BACK BOX |  | SHIELD |  | 1 | 75 | 20.436 | 0 | 20.436 | 13 | FALSE
78 |  | HORN/STROBE, INDOOR, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, UL LISTED, MODEL : SH-HSIR |  | SHIELD |  | 1 | 145 | 39.5095 | 0 | 39.5095 | 14 | FALSE
79 |  | STROBE ONLY, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, INDOOR, UL LISTED, MODEL: SH-STIR |  | SHIELD |  | 1 | 112 | 30.5177 | 0 | 30.5177 | 15 | FALSE