## Sheet1
SLNO | ItemCode | ItemName | Brand | Model | UOM | Qty | UnitPriceAED | UnitPrice | Margin | Amount | Unitweight | Optional | COO | DeliveryStatus | CRMProductId | CRMProduct
1 |  | Intelligent Addressable Photoelectric Smoke Detector, with Thermal 135 Deg.F (57 Deg.C), White Color, Model: TR-PHOTO-T-W - TRIGA |  |  | Pcs | 6 | 19 | 19 | 0 | 114 | 0 | FALSE |  |  | 300000024322780 | Fire Alarm
2 |  | Intelligent Addressable Photoelectric Smoke Detector, White Color, Model: TR-PHOTO-W - TRIGA |  |  | Pcs | 10 | 13 | 13 | 0 | 130 | 0 | FALSE |  |  | 300000024322780 | Fire Alarm
3 |  | Intelligent Addressable Fixed Temperature And Rate Of Rise Thermal Detector, Detection: 15 Deg.F/min to (9 Deg.C/min), White Color, Model: TR-HEAT-ROR-W - TRIGA |  |  | Pcs | 10 | 13 | 13 | 0 | 130 | 0 | FALSE |  |  | 300000024322780 | Fire Alarm
4 |  | Fire Proof Cable 1.5mm Sq x 2 Core, Solid Core, LPCB Approved, RED Colour, Model: SH-FRC215-R - 500m roll |  |  | Pcs | 10000 | 0.71 | 0.71 | 0 | 7100 | 0 | FALSE |  |  | 300000024322780 | Fire Alarm
5 |  | 4" Standard Flangeless Mounting Base, White Color, Model: TR-B501-WHITE - TRIGA |  |  | Pcs | 26 | 3 | 3 | 0 | 78 | 0 | FALSE |  |  | 300000024322780 | Fire Alarm
6 |  | Intelligent Addressable Supervised Control Module, Model: TR-CONTROL - TRIGA |  |  | Pcs | 5 | 23 | 23 | 0 | 115 | 0 | FALSE |  |  | 300000024322780 | Fire Alarm
7 |  | Intelligent Addressable Relay Module with 2 Isolated Sets Of Form C Contacts, Model: TR-RELAY - TRIGA |  |  | Pcs | 5 | 20 | 20 | 0 | 100 | 0 | FALSE |  |  | 300000024322780 | Fire Alarm
8 |  | SLC Loop Expander, Supports 159 Detectors and 159 Modules, Model: TR-6815 - TRIGA |  |  | Pcs | 3 | 181 | 181 | 0 | 543 | 0 | FALSE |  |  | 300000024322780 | Fire Alarm
9 |  | Intelligent Distributed Power Module, High Voltage (240V), Model: TR-RPS1 - TRIGA |  |  | Pcs | 2 | 509 | 509 | 0 | 1018 | 0 | FALSE |  |  | 300000024322780 | Fire Alarm
10 |  | Addressable Single and Dual Action Pull station – TR-PULL-SA |  |  | Pcs | 5 | 27 | 27 | 0 | 135 | 0 | FALSE |  |  | 300000024322780 | Fire Alarm
11 |  | Horn Strobe, 2W RED Color, Wall Mounted, UL Listed, Model: TR-P2RL - TRIGA + Back Box for Indoor Application for SRL, HRL & P2RL, L-Series, Red, Compact, Model: SBBRL - System Sensor |  |  | Pcs | 5 | 43 | 43 | 0 | 215 | 0 | FALSE |  |  | 300000024322780 | Fire Alarm
12 |  | Remote Mounting Kit Cabinet, Holds Two TR-6815s, Black Color, Model: TR-5815RMKB - TRIGA |  |  | Pcs | 2 | 239 | 239 | 0 | 478 | 0 | FALSE |  |  | 300000024322780 | Fire Alarm
12 |  | 4" Square Surface Mount Electrical Box For Use With IDP Modules, Model: TR-SMB500 - TRIGA |  |  | Pcs | 10 | 7 | 7 | 0 | 70 | 0 | FALSE |  |  | 300000024322780 | Fire Alarm