## Sheet1
SLNO | ItemCode | ItemName | Brand | Model | UOM | Qty | UnitPriceAED | UnitPrice | Margin | Amount | Unitweight | Optional | COO | DeliveryStatus | CRMProductId | CRMProduct
1 |  | DUTY PUMP: 845 GPM @ 125 M(H) / RATED PUMP DUTY: 750 GPM @ 127.47 M(H) JOCKEY PUMP DUTY: 32 GPM @ 132 M((H) 1E+1D+2J - NAFFCO UL/FM APPROVED HORIZONTAL END SUCTION PUMP COUPLED WITH DRIVERS (ODP MOTOR & DIESEL ENGINE) + 2 VERTICAL MULTISTAGE JOCKEY PUMP AND NAFFCO UL/FM APPROVED 1 ELECTRIC (Y-DELTA OPEN TYPE TRANSITION, NEMA 2 Enclosure) + NAFFCO UL/FM APPROVED 1 DIESEL (NEMA 2 Enclosure) + NAFFCO UL LISTED 2 JOCKEY PUMP CONTROLLER (NEMA 2 Enclosure) AND STANDARD ACCESSORIES |  |  | SET | 1 | 55978 | 55978 | 0 | 55978 | 0 | FALSE |  |  | 300000002306007 | Fire Pump
2 |  | OS&Y Gate Valve 6" Class 125 Flanged, 200 PSI working UL/FM Approved SD-OSY200FF-D |  |  | NOS | 2 | 270 | 270 | 0 | 540 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
3 |  | OS&Y Gate Valve 2" Class 125 Flanged, 200 PSI working UL/FM Approved SD-OSY200FF-D |  |  | NOS | 2 | 107 | 107 | 0 | 214 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
4 |  | Flexible Rubber Expansion Joint 6" Single Sphere PN20 EG Flanged, SDREJ |  |  | NOS | 2 | 98 | 98 | 0 | 196 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
5 |  | Flexible Rubber Expansion Joint 2" Single Sphere PN20 EG Flanged, SDREJ |  |  | NOS | 2 | 29 | 29 | 0 | 58 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
6 |  | Y-Strainer 6" Class 150 Both Flanged Ends, 300 PSI working UL/ULC Approved with LISTED - FLANGED X FLANGEDSS304 Screen -SHIELD, SD-YS300FF-D |  |  | NOS | 2 | 288 | 288 | 0 | 576 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
7 |  | Y-Strainer 2" Class 150 , 300 PSI working UL/ULC Approved LISTED - FLANGED X GROOVED with SS304 Screen -SHIELD SD-YS300FG-D |  |  | NOS | 2 | 74.6 | 74.6 | 0 | 149.2 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
8 |  | OS&Y Gate Valve 2" Class 125 Flanged, 200 PSI working UL/FM Approved SD-OSY200FF-D |  |  | NOS | 1 | 107 | 107 | 0 | 107 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
9 |  | Supervising Switches |  |  | NOS | 4 | 67 | 67 | 0 | 268 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
10 |  | Pressure Gauge & Isolation Valve |  |  | NOS | 4 | 25 | 25 | 0 | 100 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
11 |  | OS&Y Gate Valve 6" Class 125 Flanged, 200 PSI working UL/FM Approved SD-OSY200FF-D |  |  | NOS | 2 | 270 | 270 | 0 | 540 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
12 |  | OS&Y Gate Valve 2" Class 125 Flanged, 200 PSI working UL/FM Approved SD-OSY200FF-D |  |  | NOS | 2 | 107 | 107 | 0 | 214 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
13 |  | Flexible Rubber Expansion Joint 6" Single Sphere PN20 EG Flanged, SDREJ |  |  | NOS | 2 | 98 | 98 | 0 | 196 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
14 |  | Flexible Rubber Expansion Joint 2" Single Sphere PN20 EG Flanged, SDREJ |  |  | NOS | 2 | 29 | 29 | 0 | 58 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
15 |  | Check Valve 6" Class 125 Flanged, 200 PSI working UL/FM Approved SD-NRV200FF-D |  |  | NOS | 2 | 279 | 279 | 0 | 558 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
16 |  | Check Valve 2" Class 125 Flanged, 200 PSI working UL/FM Approved SD-NRV200FF-D |  |  | NOS | 2 | 71 | 71 | 0 | 142 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
17 |  | Butterfly valve, Grooved, 300 Psi, 6", UL/FM - SHIELD SDBV-G300 |  |  | NOS | 2 | 170 | 170 | 0 | 340 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
18 |  | SUPERVISORY SWITCH |  |  | NOS | 4 | 67 | 67 | 0 | 268 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
19 |  | Pressure Gauge & Isolation Valve |  |  | NOS | 4 | 25 | 25 | 0 | 100 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
20 |  | Pressure Relief Valve 6" - CLAVAL |  |  | NO | 1 | 1315 | 1315 | 0 | 1315 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
21 |  | Safety Relief Valve 3/4", Model: 55L Claval |  |  | NO | 4 | 384 | 384 | 0 | 1536 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
22 |  | Butterfly valve, Grooved, 300 Psi, 6", UL/FM - SHIELD SDBV-G300 |  |  | NOS | 2 | 170 | 170 | 0 | 340 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
23 |  | Bronze Globe Valve, Threaded, 175 Psi, 1/2", UL SD-GV |  |  | NOS | 8 | 9.7 | 9.7 | 0 | 77.6 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
24 |  | 1/2 " Y STRAINER |  |  | NOS | 8 | 17.3 | 17.3 | 0 | 138.4 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
25 |  | 1/2" Check Valve, BSP Double Female Threaded, Spring Type SD-CVT100 |  |  | NOS | 8 | 3.3 | 3.3 | 0 | 26.4 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
26 |  | Bronze Globe Valve, Threaded, 175 Psi, 1/2", UL SD-GV |  |  | NOS | 10 | 9.7 | 9.7 | 0 | 97 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
27 |  | 1/2 " Y STRAINER |  |  | NOS | 10 | 17.3 | 17.3 | 0 | 173 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
28 |  | 1/2" Check Valve, BSP Double Female Threaded, Spring Type SD-CVT100 |  |  | NOS | 10 | 3.3 | 3.3 | 0 | 33 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
29 |  | 4" PRV, 25 Bar, BSP Double Female Threaded, Spring Type BSI Kiremarked for ground and 1st level |  |  | NOS | 1 | 439 | 439 | 0 | 439 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
30 |  | 4" PRV, 25 Bar, BSP Double Female Threaded, Spring Type BSI Kiremarked for 2 & 3 levels |  |  | NOS | 1 | 439 | 439 | 0 | 439 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
31 |  | 1"X30 MTR. HOSE REEL, WALL MOUNTED, AUTOMATIC - CE, KITEMARK, 25NFH-030A |  |  | NOS | 17 | 150 | 150 | 0 | 2550 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
32 |  | 9 KG DRY POWDER FIRE EXTINGUSHER - CE,KITEMARK & MED, LPCB -40% Powder NP9 |  |  | NOS | 34 | 35.7 | 35.7 | 0 | 1213.8 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
33 |  | 2-1/2" Oblique Landing Valve, threaded Type,NDR 097 |  |  | NOS | 19 | 45.2 | 45.2 | 0 | 858.8 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
34 |  | Breeching Inlet Cabinet, Stainless Steel, Wired Glass c/w 4"X2 WAY BREECHING INLET, KITE MARK, RED, NAFFCO (with matching flanges) NDR095 |  |  | SET | 1 | 352 | 352 | 0 | 352 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
35 |  | 5 KG CO2 FIRE EXTINGUISHER - CE,KITEMARK & MED, LPCB, NC 5 |  |  | NOS | 4 | 51 | 51 | 0 | 204 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
36 |  | 9 KG DRY POWDER FIRE EXTINGUSHER - CE,KITEMARK & MED, LPCB, NP9 |  |  | NOS | 4 | 36 | 36 | 0 | 144 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
37 |  | Fire Blanket 1.2 x 1.8 Meter, Model: NFB 2.1 - Naffco |  |  | NOS | 1 | 23 | 23 | 0 | 23 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
38 |  | Bronze Globe Valve, Threaded, 175 Psi, 1", UL SD-GV |  |  | NOS | 31 | 23 | 23 | 0 | 713 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
39 |  | 1" PRV, 25 Bar, BSP Double Female Threaded, Spring Type BSI Kiremarked SD-91430K |  |  | NOS | 31 | 29 | 29 | 0 | 899 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
40 |  | Lock Shield Valve 1" BSPT 11 Pitch with Key -NAFFCO NLSV25 |  |  | NOS | 31 | 11 | 11 | 0 | 341 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
41 |  | 1"X30 MTR. HOSE REEL, CABINET MOUNTED, AUTOMATIC - CE, KITEMARK 25NFH-020A |  |  | NOS | 29 | 131 | 131 | 0 | 3799 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
42 |  | 1"X30 MTR. HOSE REEL, WALL MOUNTED, AUTOMATIC - CE, KITEMARK, 25NFH-030A |  |  | NOS | 2 | 150 | 150 | 0 | 300 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
43 |  | 6 KG DP FIRE EXTINGUSHER - CE,KITEMARK & MED, LPCB - 40% Powder NP6 |  |  | NOS | 62 | 27 | 27 | 0 | 1674 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
44 |  | DOUBLE DOOR VERTICAL HOSE REEL CABINET RECESSED TYPE, 14 LEFT AND 15 RIGHT HAND SIDE OPENING |  |  | NOS | 29 | 160.7 | 160.7 | 0 | 4660.3 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
45 |  | SINGLE DOOR, FIRE HOSE CABINET, FULL GALVANIZED STEEL, RECESSED TYPE 600 X 600 X 250 - Knock out hole back side for landing valve. |  |  | NOS | 23 | 135 | 135 | 0 | 3105 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
46 |  | 2-1/2" Oblique Landing Valve, threaded Type, Outlet Female Instantaneous to BS 336 Coupling with Blank Cap and Chain NDR 097 |  |  | NOS | 23 | 45.2 | 45.2 | 0 | 1039.6 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
47 |  | HOSE REEL CABINET SINGLE DOOR , RECESS TYPE 800 x 800 x 300 Dimensions |  |  | NOS | 4 | 135 | 135 | 0 | 540 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
48 |  | FIRE HOSE, 2.5",RED COLOUR WITH AL COUPLING - KITEMARK NF-DH2 65R with Branchpipe 2-1/2" with BS Male Inlet - KITEMARK NF-FB-320 |  |  | NOS | 4 | 135 | 135 | 0 | 540 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
49 |  | 5 KG CO2 FIRE EXTINGUISHER - CE,KITEMARK & MED, LPCB, NC 5 |  |  | NOS | 22 | 51 | 51 | 0 | 1122 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
50 |  | 9 KG DRY POWDER FIRE EXTINGUSHER - CE,KITEMARK & MED, LPCB, NP9 |  |  | NOS | 2 | 36 | 36 | 0 | 72 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
51 |  | Fire Blanket 1.2 x 1.8 Meter, Model: NFB 2.1 - Naffco |  |  | NOS | 1 | 23 | 23 | 0 | 23 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
52 |  | Breeching Inlet Cabinet, Stainless Steel, Wired Glass c/w 4"X2 WAY BREECHING INLET, KITE MARK, RED, NAFFCO (with matching flanges) NDR095 |  |  | NOS | 4 | 352 | 352 | 0 | 1408 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
53 |  | Pendent Sprinkler Head 1/2" 68 Deg,QUK Resp, Chrome Finish, UL/ULC Listed SD1030 QR with Single Plane Escuteon Plate 1/2"- Chrome Finish |  |  | NOS | 657 | 5.3 | 5.3 | 0 | 3482.1 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
54 |  | Pendent Sprinkler Head 1/2" 68 Deg,QUK Resp, Chrome Finish, UL/ULC Listed SD1030 QR |  |  | NOS | 468 | 5.3 | 5.3 | 0 | 2480.4 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
55 |  | Sprinkler Protection Guard suitable for 1/2" Sprinkler- Painted Finish |  |  | NOS | 18 | 4.2 | 4.2 | 0 | 75.6 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
56 |  | Sprinkler heat Gun |  |  | NOS | 1 | 204.8 | 204.8 | 0 | 204.8 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
57 |  | Sprinkler Cabinet suitable for 12 Sprinkler Heads 1/2" - Painted RED RAL3000 SD-CAB12 |  |  | NOS | 1 | 23 | 23 | 0 | 23 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
58 |  | 10.0Lbs DRY POWDER FIRE EXTINGUISHER UL LISTED, NPW 10L - 10101035046 |  |  | NOS | 2 | 46.2 | 46.2 | 0 | 92.4 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting