## Sheet1
SLNO | ItemCode | ItemName | Brand | Model | UOM | Qty | UnitPriceAED | UnitPrice | Margin | Amount | Unitweight | Optional | COO | DeliveryStatus | CRMProductId | CRMProduct
1 |  | STUDENT HOUSE FIRE EQUIPMENTS | [6 empty] | 0 |  | 0 | FALSE
1.1 |  | 6" Gear Operated Butterfly Valve Wafer with Tamper Switch, W/P 300 Psi, UL/FM Approved, Model: SD-300W-BV - Shield |  |  | NOS | 5 | 150 | 150 | 0 | 750 | 0 | FALSE
1.2 |  | 4" Gear Operated Butterfly Valve Wafer with Tamper Switch, W/P 300 Psi, UL/FM Approved, Model: SD-300W-BV - Shield |  |  | NOS | 6 | 110 | 110 | 0 | 660 | 0 | FALSE
1.3 |  | Bronze Globe Valve, Threaded, 175 Psi, 2", UL SD-GV |  |  | NOS | 12 | 59 | 59 | 0 | 708 | 0 | FALSE
1.4 |  | Bronze Globe Valve, Threaded, 175 Psi, 1-1/2", UL SD-GV |  |  | NOS | 20 | 41 | 41 | 0 | 820 | 0 | FALSE
1.5 |  | Bronze Globe Valve, Threaded, 175 Psi, 1-1/4", UL SD-GV |  |  | NOS | 20 | 34 | 34 | 0 | 680 | 0 | FALSE
1.6 |  | Bronze Globe Valve, Threaded, 175 Psi, 1", UL SD-GV |  |  | NOS | 20 | 23 | 23 | 0 | 460 | 0 | FALSE
1.7 |  | Bronze Globe Valve, Threaded, 175 Psi, 1", UL SD-GV |  |  | NOS | 17 | 23 | 23 | 0 | 391 | 0 | FALSE
1.8 |  | 1" PRV, 25 Bar, BSP Double Female Threaded, Spring Type BSI Kiremarked SD-91430K |  |  | NOS | 17 | 29 | 29 | 0 | 493 | 0 | FALSE
1.9 |  | Lock Shield Valve 1" BSPT 11 Pitch with Key -NAFFCO NLSV25 |  |  | NOS | 17 | 11 | 11 | 0 | 187 | 0 | FALSE
1.10 |  | 10661110330 1"X30 MTR. HOSE REEL, CABINET MOUNTED, AUTOMATIC - CE, KITEMARK 25NFH-020A |  |  | NOS | 17 | 131 | 131 | 0 | 2227 | 0 | FALSE
1.11 |  | 6 KG DP FIRE EXTINGUSHER - CE,KITEMARK & MED, LPCB - 40% Powder NP6 |  |  | NOS | 34 | 26.3 | 26.3 | 0 | 894.2 | 0 | FALSE
1.12 |  | 2 1/2" Landing Valve - NDR 100 |  |  | NOS | 19 | 147 | 147 | 0 | 2793 | 0 | FALSE
1.13 |  | DRY BARREL Fire Hydrant 6" Flanged UL / FM Approved |  |  | NOS | 8 | 1043 | 1043 | 0 | 8344 | 0 | FALSE
1.14 |  | SINGLE DOOR, FIRE HOSE CABINET, FULL GALVANIZED STEEL, SURFACE MOUNTED c/w (1no) x FIRE HOSE, 2.5",RED COLOUR WITH AL COUPLING - KITEMARK NF-DH2 65R, (1no) x Branchpipe 2-1/2" with BS Male Inlet - KITEMARK NF-FB-320 |  |  | NOS | 8 | 234 | 234 | 0 | 1872 | 0 | FALSE
1.15 |  | Breeching Inlet Cabinet, Stainless Steel, Wired Glass c/w 4"X2 WAY BREECHING INLET, KITE MARK, RED, NAFFCO (with matching flanges) NDR095 |  |  | NOS | 8 | 352 | 352 | 0 | 2816 | 0 | FALSE
1.16 |  | Check Valve 4" Class 125 Flanged, 200 PSI working UL/FM Approved SD-NRV200FF-D |  |  | NOS | 2 | 156 | 156 | 0 | 312 | 0 | FALSE
1.17 |  | Globe Valve 4" Class 125 Flanged, 175 PSI working AWWA/ANSI -SHIELD SD-GV125 |  |  | NOS | 1 | 174 | 174 | 0 | 174 | 0 | FALSE
1.18 |  | 5 KG CO2 FIRE EXTINGUISHER - CE,KITEMARK & MED, LPCB, NC 5 |  |  | NOS | 8 | 51 | 51 | 0 | 408 | 0 | FALSE
1.19 |  | 9 KG DRY POWDER FIRE EXTINGUSHER - CE,KITEMARK & MED, LPCB, NP9 |  |  | NOS | 8 | 36 | 36 | 0 | 288 | 0 | FALSE
1.20 |  | 5 KG CO2 FIRE EXTINGUISHER - CE,KITEMARK & MED, LPCB, NC 5 |  |  | NOS | 4 | 51 | 51 | 0 | 204 | 0 | FALSE
1.21 |  | 9 KG DRY POWDER FIRE EXTINGUSHER - CE,KITEMARK & MED, LPCB, NP9 |  |  | NOS | 4 | 36 | 36 | 0 | 144 | 0 | FALSE
1.22 |  | Fire Blanket 1.2 x 1.8 Meter, Model: NFB 2.1 - Naffco |  |  | NOS | 1 | 23 | 23 | 0 | 23 | 0 | FALSE
1.23 |  | 1/2" PRV, 25 Bar, BSP Double Female Threaded, Spring Type BSI Kiremarked SD-91430K |  |  | NOS | 5 | 20 | 20 | 0 | 100 | 0 | FALSE
2 |  | ACADMY BUILDING FIRE EQUIPMENT | [6 empty] | 0 |  | 0 | FALSE
2.1 |  | 6" Gear Operated Butterfly Valve Wafer with Tamper Switch, W/P 300 Psi, UL/FM Approved, Model: SD-300W-BV - Shield |  |  | NOS | 1 | 150 | 150 | 0 | 150 | 0 | FALSE
2.2 |  | 4" Gear Operated Butterfly Valve Wafer with Tamper Switch, W/P 300 Psi, UL/FM Approved, Model: SD-300W-BV - Shield |  |  | NOS | 3 | 110 | 110 | 0 | 330 | 0 | FALSE
2.3 |  | Bronze Globe Valve, Threaded, 175 Psi, 2", UL SD-GV |  |  | NOS | 4 | 59 | 59 | 0 | 236 | 0 | FALSE
2.4 |  | Bronze Globe Valve, Threaded, 175 Psi, 1", UL SD-GV |  |  | NOS | 31 | 23 | 23 | 0 | 713 | 0 | FALSE
2.5 |  | 1" PRV, 25 Bar, BSP Double Female Threaded, Spring Type BSI Kiremarked SD-91430K |  |  | NOS | 31 | 29 | 29 | 0 | 899 | 0 | FALSE
2.6 |  | Lock Shield Valve 1" BSPT 11 Pitch with Key -NAFFCO NLSV25 |  |  | NOS | 31 | 11 | 11 | 0 | 341 | 0 | FALSE
2.7 |  | 1"X30 MTR. HOSE REEL, CABINET MOUNTED, AUTOMATIC - CE, KITEMARK 25NFH-020A |  |  | NOS | 31 | 131 | 131 | 0 | 4061 | 0 | FALSE
2.8 |  | 6 KG DP FIRE EXTINGUSHER - CE,KITEMARK & MED, LPCB - 40% Powder NP6 |  |  | NOS | 62 | 27 | 27 | 0 | 1674 | 0 | FALSE
2.9 |  | DOUBLE DOOR VERTICAL HOSE REEL CABINET RECESSED TYPE |  |  | NOS | 31 | 160.7 | 160.7 | 0 | 4981.7 | 0 | FALSE
2.10 |  | 2 1/2" Landing Valve - NDR 100 |  |  | NOS | 23 | 147 | 147 | 0 | 3381 | 0 | FALSE
2.11 |  | SINGLE DOOR, FIRE HOSE CABINET, FULL GALVANIZED STEEL, SURFACE MOUNTED c/w (1no) x FIRE HOSE, 2.5",RED COLOUR WITH AL COUPLING - KITEMARK NF-DH2 65R, (1no) x Branchpipe 2-1/2" with BS Male Inlet - KITEMARK NF-FB-320 |  |  | NOS | 22 | 234 | 234 | 0 | 5148 | 0 | FALSE
2.12 |  | 5 KG CO2 FIRE EXTINGUISHER - CE,KITEMARK & MED, LPCB, NC 5 |  |  | NOS | 17 | 51 | 51 | 0 | 867 | 0 | FALSE
2.13 |  | 9 KG DRY POWDER FIRE EXTINGUSHER - CE,KITEMARK & MED, LPCB, NP9 |  |  | NOS | 2 | 36 | 36 | 0 | 72 | 0 | FALSE
2.14 |  | Fire Blanket 1.2 x 1.8 Meter, Model: NFB 2.1 - Naffco |  |  | NOS | 1 | 23 | 23 | 0 | 23 | 0 | FALSE
2.15 |  | Conventional Manual Call Point, LPCB Approved, Model: AH-0217 - Horing Lih Industrial Co Ltd , AH-0217 |  |  | NOS | 35 | 13 | 13 | 0 | 455 | 0 | FALSE
2.16 |  | 1/2" PRV, 25 Bar, BSP Double Female Threaded, Spring Type BSI Kiremarked SD-91430K |  |  | NOS | 11 | 20 | 20 | 0 | 220 | 0 | FALSE
2.17 |  | Wet Alarm Valve 4" (100NB) Flanged, Vertical Mounting, Painted RED - UL/FM, Water Motor Alarm Gong, and Pressure Switch, Model: SDH-AVA -SHIELD |  |  | NOS | 3 | 737 | 737 | 0 | 2211 | 0 | FALSE
2.18 |  | 4" Gear Operated Butterfly Valve Wafer with Tamper Switch, W/P 300 Psi, UL/FM Approved, Model: SD-300W-BV - Shield |  |  | NOS | 14 | 110 | 110 | 0 | 1540 | 0 | FALSE
2.19 |  | Check Valve 4" Class 125 Flanged, 200 PSI working UL/FM Approved SD-NRV200FF-D |  |  | NOS | 4 | 156 | 156 | 0 | 624 | 0 | FALSE
2.20 |  | Water Flow Switch 4" UL Listed and FM Approved SD-WFD40 |  |  | NOS | 3 | 71 | 71 | 0 | 213 | 0 | FALSE
2.21 |  | Pressure Gauge w/valve, Model: SD-P1/SDBLVT90 - Shield |  |  | NOS | 4 | 25 | 25 | 0 | 100 | 0 | FALSE
2.22 |  | Breeching Inlet Cabinet, Stainless Steel, Wired Glass c/w 4"X2 WAY BREECHING INLET, KITE MARK, RED, NAFFCO (with matching flanges) NDR095 |  |  | NOS | 4 | 352 | 352 | 0 | 1408 | 0 | FALSE
2.23 |  | 4" Gear Operated Butterfly Valve Wafer with Tamper Switch, W/P 300 Psi, UL/FM Approved, Model: SD-300W-BV - Shield |  |  | NOS | 21 | 110 | 110 | 0 | 2310 | 0 | FALSE
2.24 |  | Check Valve 4" Class 125 Flanged, 200 PSI working UL/FM Approved SD-NRV200FF-D |  |  | NOS | 8 | 156 | 156 | 0 | 1248 | 0 | FALSE
2.25 |  | Water Flow Switch 4" UL Listed and FM Approved SD-WFD40 |  |  | NOS | 8 | 71 | 71 | 0 | 568 | 0 | FALSE
2.26 |  | Test and Drain Valve 1" NPT Threaded UL Listed / FM Approved -SHIELD SD-TDV50T |  |  | NOS | 8 | 56 | 56 | 0 | 448 | 0 | FALSE
2.27 |  | Pressure Gauge w/valve, Model: SD-P1/SDBLVT90 - Shield |  |  | NOS | 16 | 25 | 25 | 0 | 400 | 0 | FALSE
2.28 |  | 4" PRV, 25 Bar, BSP Double Female Threaded, Spring Type BSI Kiremarked for ground and 1st level |  |  | NOS | 1 | 439 | 439 | 0 | 439 | 0 | FALSE
2.29 |  | 4" PRV, 25 Bar, BSP Double Female Threaded, Spring Type BSI Kiremarked for 2 & 3 levels |  |  | NOS | 1 | 439 | 439 | 0 | 439 | 0 | FALSE
2.30 |  | Pendent Sprinkler Head 1/2" 68 Deg,QUK Resp, Chrome Finish, UL/ULC Listed SD1030 QR with Single Plane Escuteon Plate 1/2"- Chrome Finish |  |  | NOS | 1057 | 5.3 | 5.3 | 0 | 5602.1 | 0 | FALSE
2.31 |  | Pendent Sprinkler Head 1/2" 68 Deg,QUK Resp, Chrome Finish, UL/ULC Listed SD1030 QR |  |  | NOS | 768 | 5.3 | 5.3 | 0 | 4070.4 | 0 | FALSE
2.32 |  | Upright Sprinkler Head 1/2" 68 Deg,QUK Resp, Chrome Finish, UL/ULC Listed SD1032 QR |  |  | NOS | 557 | 5.3 | 5.3 | 0 | 2952.1 | 0 | FALSE
2.33 |  | Sprinkler Wrench for Upright Sprinkler Head |  |  | NOS | 6 | 13.7 | 13.7 | 0 | 82.2 | 0 | FALSE
2.34 |  | Sprinkler Wrench for Pendent Sprinkler Head |  |  | NOS | 6 |  |  | 0 | 0 | 0 | FALSE
2.35 |  | Sprinkler heat Gun |  |  | NOS | 4 | 204.8 | 204.8 | 0 | 819.2 | 0 | FALSE
2.36 |  | Sprinkler Cabinet suitable for 12 Sprinkler Heads 1/2" - Painted RED RAL3000 SD-CAB12 |  |  | NOS | 4 | 23 | 23 | 0 | 92 | 0 | FALSE
3 |  | FIRE PUMP ROOM | [6 empty] | 0 |  | 0 | FALSE
3.1 |  | DUTY PUMP: 845 GPM @ 125 M(H) / RATED PUMP DUTY: 750 GPM @ 127.47 M(H) JOCKEY PUMP DUTY: 32 GPM @ 132 M((H) 1E+1D+2J - NAFFCO UL/FM APPROVED HORIZONTAL END SUCTION PUMP COUPLED WITH DRIVERS (ODP MOTOR & DIESEL ENGINE) + 2 VERTICAL MULTISTAGE JOCKEY PUMP AND NAFFCO UL/FM APPROVED 1 ELECTRIC (Y-DELTA OPEN TYPE TRANSITION, NEMA 2 Enclosure) + NAFFCO UL/FM APPROVED 1 DIESEL (NEMA 2 Enclosure) + NAFFCO UL LISTED 2 JOCKEY PUMP CONTROLLER (NEMA 2 Enclosure) AND STANDARD ACCESSORIES |  |  | SET | 1 | 55978 | 55978 | 0 | 55978 | 0 | FALSE
3.2 |  | SUCTION SIDE | [6 empty] | 0 |  | 0 | FALSE
3.3 |  | OS&Y Gate Valve 6" Class 125 Flanged, 200 PSI working UL/FM Approved SD-OSY200FF-D |  |  | NOS | 2 | 270 | 270 | 0 | 540 | 0 | FALSE
3.4 |  | OS&Y Gate Valve 2" Class 125 Flanged, 200 PSI working UL/FM Approved SD-OSY200FF-D |  |  | NOS | 2 | 107 | 107 | 0 | 214 | 0 | FALSE
3.5 |  | Flexible Rubber Expansion Joint 6" Single Sphere PN20 EG Flanged, SDREJ |  |  | NOS | 2 | 98 | 98 | 0 | 196 | 0 | FALSE
3.6 |  | Flexible Rubber Expansion Joint 2" Single Sphere PN20 EG Flanged, SDREJ |  |  | NOS | 2 | 29 | 29 | 0 | 58 | 0 | FALSE
3.7 |  | Y-Strainer 6" Class 150 Both Flanged Ends, 300 PSI working UL/ULC Approved with LISTED - FLANGED X FLANGEDSS304 Screen -SHIELD, SD-YS300FF-D |  |  | NOS | 2 | 288 | 288 | 0 | 576 | 0 | FALSE
3.8 |  | Y-Strainer 2" Class 150 , 300 PSI working UL/ULC Approved LISTED - FLANGED X GROOVED with SS304 Screen -SHIELD SD-YS300FG-D |  |  | NOS | 2 | 74.6 | 74.6 | 0 | 149.2 | 0 | FALSE
3.9 |  | OS&Y Gate Valve 2" Class 125 Flanged, 200 PSI working UL/FM Approved SD-OSY200FF-D |  |  | NOS | 1 | 107 | 107 | 0 | 107 | 0 | FALSE
3.10 |  | Supervising Switches |  |  | NOS | 4 | 67 | 67 | 0 | 268 | 0 | FALSE
3.11 |  | Pressure Gauge & Isolation Valve |  |  | NOS | 4 | 25 | 25 | 0 | 100 | 0 | FALSE
3.12 |  | VORTEX PLATE |  |  | NOS | 2 | 1752 | 1752 | 0 | 3504 | 0 | FALSE
3.13 |  | DELIVERY SIDE | [6 empty] | 0 |  | 0 | FALSE
3.14 |  | OS&Y Gate Valve 6" Class 125 Flanged, 200 PSI working UL/FM Approved SD-OSY200FF-D |  |  | NOS | 2 | 270 | 270 | 0 | 540 | 0 | FALSE
3.15 |  | OS&Y Gate Valve 2" Class 125 Flanged, 200 PSI working UL/FM Approved SD-OSY200FF-D |  |  | NOS | 2 | 107 | 107 | 0 | 214 | 0 | FALSE
3.16 |  | Flexible Rubber Expansion Joint 6" Single Sphere PN20 EG Flanged, SDREJ |  |  | NOS | 2 | 98 | 98 | 0 | 196 | 0 | FALSE
3.17 |  | Flexible Rubber Expansion Joint 2" Single Sphere PN20 EG Flanged, SDREJ |  |  | NOS | 2 | 29 | 29 | 0 | 58 | 0 | FALSE
3.18 |  | Check Valve 6" Class 125 Flanged, 200 PSI working UL/FM Approved SD-NRV200FF-D |  |  | NOS | 2 | 279 | 279 | 0 | 558 | 0 | FALSE
3.19 |  | Check Valve 2" Class 125 Flanged, 200 PSI working UL/FM Approved SD-NRV200FF-D |  |  | NOS | 2 | 71 | 71 | 0 | 142 | 0 | FALSE
3.20 |  | Butterfly valve, Grooved, 300 Psi, 6", UL/FM - SHIELD SDBV-G300 |  |  | NOS | 2 | 170 | 170 | 0 | 340 | 0 | FALSE
3.21 |  | SUPERVISORY SWITCH |  |  | NOS | 4 | 67 | 67 | 0 | 268 | 0 | FALSE
3.22 |  | Pressure Gauge & Isolation Valve |  |  | NOS | 4 | 25 | 25 | 0 | 100 | 0 | FALSE
3.23 |  | Pressure Relief Valve 6" - CLAVAL |  |  | NO | 1 | 1315 | 1315 | 0 | 1315 | 0 | FALSE
3.24 |  | Safety Relief Valve 3/4", Model: 55L Claval |  |  | NO | 4 | 384 | 384 | 0 | 1536 | 0 | FALSE
3.25 |  | Butterfly valve, Grooved, 300 Psi, 6", UL/FM - SHIELD SDBV-G300 |  |  | NOS | 2 | 170 | 170 | 0 | 340 | 0 | FALSE
3.26 |  | Bronze Globe Valve, Threaded, 175 Psi, 1/2", UL SD-GV |  |  | NOS | 8 | 9.7 | 9.7 | 0 | 77.6 | 0 | FALSE
3.27 |  | 1/2 " Y STRAINER |  |  | NOS | 8 | 17.3 | 17.3 | 0 | 138.4 | 0 | FALSE
3.28 |  | 1/2" Check Valve, BSP Double Female Threaded, Spring Type SD-CVT100 |  |  | NOS | 8 | 3.3 | 3.3 | 0 | 26.4 | 0 | FALSE
3.29 |  | Bronze Globe Valve, Threaded, 175 Psi, 1/2", UL SD-GV |  |  | NOS | 10 | 9.7 | 9.7 | 0 | 97 | 0 | FALSE
3.30 |  | 1/2 " Y STRAINER |  |  | NOS | 10 | 17.3 | 17.3 | 0 | 173 | 0 | FALSE
3.31 |  | 1/2" Check Valve, BSP Double Female Threaded, Spring Type SD-CVT100 |  |  | NOS | 10 | 3.3 | 3.3 | 0 | 33 | 0 | FALSE