## Sheet1
SLNO | ItemCode | ItemName | Brand | Model | UOM | Qty | UnitPriceAED | UnitPrice | Margin | Amount | Unitweight | Optional | COO | DeliveryStatus | CRMProductId | CRMProduct
1 |  | RATED PUMP DUTY : 30 GPM @50 M(H) (NON UL) 2E- NAFFCO HORIZONTAL END SUCTION PUMP 1) Fire Pumps :- NAFFCO Horizontal End Suction Pump 2) Drivers :- Motor 3) Controller :- Common Controller for 2 E 4) Pressure Vessel, Valves and Fittings are included 5) All mounted on Common Base frame |  |  | SET | 1 | 1680 | 1680 | 0 | 1680 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
2 |  | 3/4"X30 MTR. HOSE REEL, CABINET MOUNTED, AUTOMATIC - CE, KITEMARK 19NFH-020A |  |  | Nos | 5 | 129 | 129 | 0 | 645 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
2 |  | Wet Alarm Valve 3" (80NB) Flanged, Vertical Mounting, Painted RED - UL /FM Model:SDH-AVA c/w Retard Chamber&Alarm gong, Pressure Switch-Model : SD-PS |  |  | SET | 1 | 641 | 641 | 0 | 641 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting