## Sheet1
SLNO | ItemCode | ItemName | Brand | Model | UOM | Qty | UnitPriceAED | UnitPrice | Margin | Amount | Unitweight | Optional | COO | DeliveryStatus | CRMProductId | CRMProduct
1 |  | 1"X30 MTR. HOSE REEL, WALL MOUNTED, MANUAL - CE,KITEMARK, 25NFH-030M |  |  | Pcs | 13 | 148 | 148 | 0 | 1924 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
2 |  | 2-1/2" ERW Galvanized Pipe, PLAIN Ends, Conforming to ASTM A-53, Grade B, Sch-40, 5.8 Mtr Length, UL Listed - SHIELD |  |  | Pcs | 49 | 65 | 65 | 0 | 3185 | 0 | FALSE |  |  | 300000002306005 | Fire Fighting
3 |  | 2" ERW Galvanized Pipe, PLAIN Ends, Conforming to ASTM A-53, Grade B, Sch-40, 5.8 Mtr Length, UL Listed - SHIELD |  |  | Pcs | 13 | 41 | 41 | 0 | 533 | 0 | FALSE |  |  | 300000002306006 | Fire Fighting
4 |  | 1-1/2" ERW Galvanized Pipe, PLAIN Ends, Conforming to ASTM A-53, Grade B, Sch-40, 5.8 Mtr Length, UL Listed - SHIELD |  |  | Pcs | 10 | 31 | 31 | 0 | 310 | 0 | FALSE |  |  | 300000002306008 | Fire Fighting
5 |  | 1-1/4" ERW Galvanized Pipe, PLAIN Ends, Conforming to ASTM A-53, Grade B, Sch-40, 5.8 Mtr Length, UL Listed - SHIELD |  |  | Pcs | 8 | 26 | 26 | 0 | 208 | 0 | FALSE |  |  | 300000002306009 | Fire Fighting
6 |  | 1" ERW Galvanized Pipe, PLAIN Ends, Conforming to ASTM A-53, Grade B, Sch-40, 5.8 Mtr Length, UL Listed - SHIELD |  |  | Pcs | 124 | 19 | 19 | 0 | 2356 | 0 | FALSE |  |  | 300000002306010 | Fire Fighting
7 |  | OS&Y Gate Valve 2-1/2" Class 125 Flanged, 200 PSI working UL/FM Approved SD-OSY200FF-D |  |  | Pcs | 26 | 132 | 132 | 0 | 3432 | 0 | FALSE |  |  | 300000002306011 | Fire Fighting
8 |  | Bronze OS & Y Gate Vlave, Threaded, 175 Psi, 1 1/2", UL/FM , SDOSY-T |  |  | Pcs | 8 | 116 | 116 | 0 | 928 | 0 | FALSE |  |  | 300000002306012 | Fire Fighting
9 |  | Bronze OS & Y Gate Vlave, Threaded, 175 Psi, 1 1/4", UL/FM, SDOSY-T |  |  | Pcs | 22 | 88 | 88 | 0 | 1936 | 0 | FALSE |  |  | 300000002306014 | Fire Fighting
10 |  | 5 KG CO2 FIRE EXTINGUISHER - CE,KITEMARK & MED, LPCB, NC 5 |  |  | Pcs | 52 | 54 | 54 | 0 | 2808 | 0 | FALSE |  |  | 300000002306015 | Fire Fighting
11 |  | 9 KG DRY POWDER FIRE EXTINGUSHER - CE,KITEMARK & MED, LPCB -40% Powder, NP9 |  |  | Pcs | 52 | 40 | 40 | 0 | 2080 | 0 | FALSE |  |  | 300000002306016 | Fire Fighting
12 |  | UNDER GROUND HYDRANT-SCREW DOWN TYPE, KITEMARK, Model: NHYD 058 with, Duct Foot Bend, Grey Cast Iron 4" Inlet PCD180 & Outet PCD160, Model: NHYD 070, Stand pipe 2-1/2" Double BS336 outlet Aluminum with PVC Cap and Chain, Model: NHYD 064, Hydrant Chamber 410 X 330MM Ductile Iron Beding 560 x 495mm, Model: NHYD 073DI, Hydrant Key & Bar Aluminum 1200MM Length - Big, Model: NHYD 066, NRS Gate Valve 4" Class 125 Flanged, 200 PSI working UL/FM Approved, Model: NRS Gate Valve 4" Class 125 Flanged, 200 PSI working UL/FM Approved & Matching Flanges |  |  | Pcs | 1 | 1009 | 1009 | 0 | 1009 | 0 | FALSE |  |  | 300000002306017 | Fire Fighting
13 |  | Self-Standing Type Outdoor Fire Hydrant Cabinet, Complete Mild Steel, Glass Door c/w (2Nos) Fire hose Single Jacket 2.5" x 30 Mtr RED with AL NHC coupling - UL Listed, Model: NF-FH65, (1No) Branch pipe 2-1/2" with BS Male Inlet - KITEMARK, Model: NF-FB-320, (1No) Hydrant Spanner, (1No) Hydrant Key, (1No) Hydrant Wrench & (1No) Axe |  |  | Pcs | 1 | 657 | 657 | 0 | 657 | 0 | FALSE |  |  | 300000002306018 | Fire Fighting
14 |  | RATED PUMP DUTY: 264 GPM @ 5 BAR - (NON UL) 1 ELECTRIC + 1 DIESEL +1 JOCKEY - NAFFCO HORIZONTAL END SUCTION PUMP COUPLED WITH DRIVERS (MOTOR + DIESEL ENGINE) + 1 VERTICAL MULTISTAGE JOCKEY PUMP AND 1NO. COMMON CONTROLLER FOR 1 ELECTRIC + 1 DIESEL + 1 JOCKEY (Enclosure IP-54), AND STANDARD ACCESSORIES. General Notes for Pump Set: ==================== * Above price includes charges for supply only. * Pump is suitable for fresh water application and suitable for flooded suction only. * Proposed pump set is Naffco standard, not considering any approval. * Pressure Vessel are not included in our offer price. * Standard pump set quoted considering no specification available. Extra accessories/special material may be required with respect to customer's final specifications, this may have a price implication as well. * Charges 15% of order amount in case of order cancellation. |  |  | Pcs | 1 | 6900 | 6900 | 0 | 6900 | 0 | FALSE |  |  | 300000002306020 | Fire Fighting