## Sheet1
SLNO | ItemCode | ItemName | Brand | Model | UOM | Qty | UnitPriceAED | UnitPrice | Margin | Amount | Unitweight | Optional | COO | DeliveryStatus | CRMProductId | CRMProduct
1.1 |  | RATED PUMP DUTY: 500 GPM @ 10 BAR - (NON UL) JOCKEY PUMP DUTY: 10 GPM @ 10 BAR 1 ELECTRIC + 1 DIESEL +1 JOCKEY - NAFFCO HORIZONTAL END SUCTION PUMP COUPLED WITH DRIVERS (MOTOR + DIESEL ENGINE) + 1 VERTICAL MULTISTAGE JOCKEY PUMP AND 1NO. COMMON CONTROLLER FOR 1 ELECTRIC + 1 DIESEL + 1 JOCKEY (Enclosure IP-54), AND STANDARD ACCESSORIES. General Notes for Pump Set: ==================== * Above price includes charges for supply only. * Pump is suitable for fresh water application and suitable for flooded suction only. * Proposed pump set is Naffco standard, not considering any approval. * Pressure Vessel are not included in our offer price. * Standard pump set quoted considering no specification available. Extra accessories/special material may be required with respect to customer's final specifications, this may have a price implication as well. * Charges 15% of order amount in case of order cancellation. |  |  | SET | 1 | 15000 | 15000 |  | 15000 |  | FALSE |  |  | 300000002306003 | Fire Fighting
1.2 |  | 6"X4 WAY BREECHING INLET, KITEMARK, RED, NAFFCO (With Matching flanges) NWR 115 |  |  | NOS | 1 | 254 | 254 |  | 254 |  | FALSE |  |  | 300000002306003 | Fire Fighting
1.3 |  | Breaching Inlet Cabinet Complete Mild Steel 600 x 600 x 300 |  |  | NOS | 1 | 68 | 68 |  | 68 |  | FALSE |  |  | 300000002306003 | Fire Fighting
1.4 |  | HOSEREEL BOOSTER PUMPSET:- RATED PUMP DUTY: 30 GPM @ 4 BAR 2E (1 DUTY & 1 STANDBY) - NAFFCO HORIZONTAL CLOSE COUPLED WITH ELECTRIC MOTOR + 1NO. COMMON CONTROLLER FOR ELECTRIC PUMP SET (ENCLOSURE IP-54), PRESSURE VESSEL AND STANDARD ACCESSORIES, ALL MOUNTED ON COMMON BASE FRAME, |  |  | SET | 2 | 3500 | 3500 |  | 7000 |  | FALSE |  |  | 300000002306003 | Fire Fighting
1.5 |  | Shield Siren 2 KM ,Model: SD-200 |  |  | NOS | 1 | 1254 | 1254 |  | 1254 |  | FALSE |  |  | 300000002306003 | Fire Fighting