## INERT GAS (2)
SLNO | ItemCode | ItemName | Brand | Model | UOM | Qty | UnitPriceAED | UnitPrice | Margin | Amount | Unitweight | Optional | COO | DeliveryStatus | CRMProductId | CRMProduct
1 |  | SWITCHGEAR ROOM @ SABRIYAH F1 AND BHARA 1 - MECHANICAL COMPONENTS (MAIN) |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.1 | 10340512180 | CONTAINER ASSEMBLY 140 LTR (IG541) KIT FILLED WITH 52% NITROGEN + 40% ARGON + 8% CO2 - 300BAR, MODEL: NFIG541-300-140 FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | NF-IG541-140-300 | NOS | 56 | 4880 | 1330 | 0 | 74480 | 0 | FALSE |  |  | 0 | NULL
1.2 | 10341512065 | PRESSURE GAUGE, M10 X 1 MALE THREADED WITH SWITCH FOR IG100 INERT GAS SYSTEM WITH 0-6100 PSI, SWITCH POINT 3743 PSI, P.N.# 029720215 FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | 029720215 | NOS | 56 | 340 | 93 | 0 | 5208 | 0 | FALSE |  |  | 0 | NULL
1.3 | 10341512236 | CONSTANT DISCHARGE PRESSURE REGULATOR WITH 12MM ORIFICE SIZE, MAXIMUM INLET PRESSURE 360 BAR, INLET W 21.8 X 1/14" DIN 477 & OUTLET W 21.8 X 1/14" DIN 477, P/N.# B08400003-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM (REF.# 10341512235) | NAFFCO | B08400003-NF | NOS | 56 | 600 | 164 | 0 | 9184 | 0 | FALSE |  |  | 0 | NULL
1.4 | 10341512133 | ELECTRO MAGNETIC DEVICE WITH DIODE, INLET THREADED TO M42 X 1.5, 24V DC, 0.5 A, IP 65 RATED, P/N.# B04425146 FOR UL LISTED FIRE SUPPRESSION SYSTEM (REFER ITEM.# 10341512136) | NAFFCO | B04425148 | NOS | 2 | 790 | 216 | 0 | 432 | 0 | FALSE |  |  | 0 | NULL
1.5 | 10349012810 | RESET TOOL FOR ELECTRO MAGNETIC DEVICE FOR INERT GAS SYSTEM, P/N.# 029210064 (OLD P/N.# 023000064) - NAFFCO | NAFFCO | 029210064 (023000064) | NOS | 2 | 110 | 30 | 0 | 60 | 0 | FALSE |  |  | 0 | NULL
1.6 | 10341512120 | MANUAL / PNEUMATIC RELEASE DEVICE, WP 300 BAR, INLET THREADED TO M42 X 1.5, PNEUMATIC LINE CONNECTION G 1/8", P/N.# B04420065-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B04420065 | NOS | 2 | 120 | 33 | 0 | 66 | 0 | FALSE |  |  | 0 | NULL
1.7 | 10341512122 | PNEUMATIC RELEASE DEVICE, WP 300 BAR, INLET THREADED TO M42 X 1.5, PNEUMATIC LINE CONNECTION G 1/8", P/N.# B04420066NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B04420066 | NOS | 54 | 80 | 22 | 0 | 1188 | 0 | FALSE |  |  | 0 | NULL
1.8 | 10343512025 | DISCHARGE HOSE, DN16, WP 350 BAR, B/P 1400 BAR, 400MM LENGTH, INLET FEMALE THREAD TO W 21.8 X 1/14" TO DIN 477 & OUTLET FEMALE THREAD TO G 3/4", P/N.# B06920225-NF FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | B06920225-NF | NOS | 56 | 180 | 50 | 0 | 2800 | 0 | FALSE |  |  | 0 | NULL
1.9 | 10343012208 | MANIFOLD CHECK VALVE, BRASS, MAX W/P 100 BAR, TP 150 BAR, HOSE CONNECTION THREAD G3/4", MANIFOLD CONNECTION THREAD R1" DN12, P/N.# B04600008-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B04600008 | NOS | 56 | 130 | 36 | 0 | 2016 | 0 | FALSE |  |  | 0 | NULL
1.10 | 10343512032 | PILOT HOSE, SYNTHETIC RUBBER OIL RESISTANT W/STRAIGHT FITTINGS M12 X 1.5 FEMALE THREAD IN BOTH ENDS, 700MM LONG, W/P 400 BAR, B/P 1600 BAR, TEMP RANGE: -40 C. TO 100 C, P/N.# B06920212 FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B06920212-NF | NOS | 12 | 70 | 20 | 0 | 240 | 0 | FALSE |  |  | 0 | NULL
1.11 | 10343512033 | PILOT HOSE, SYNTHETIC RUBBER OIL RESISTANT W/STRAIGHT FITTINGS M12 X 1.5 FEMALE THREAD IN BOTH ENDS, 500MM LONG, W/P 400 BAR, B/P 1600 BAR, TEMP RANGE: -40 C. TO 100 C, P/N.# B06920213 FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B06920213-NF | NOS | 42 | 70 | 20 | 0 | 840 | 0 | FALSE |  |  | 0 | NULL
1.12 | 10349012606 | CONNECTING ADAPTOR, M12 X 1.5 MALE THREADED & G 1/8" MALE THREADED, P/N.# 029510006 FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | 029510006 | NOS | 108 | 20 | 6 | 0 | 648 | 0 | FALSE |  |  | 0 | NULL
1.13 | 10346012640 | BLEED VALVE, P/N.# 029730040-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | 029730040 | NOS | 2 | 170 | 47 | 0 | 94 | 0 | FALSE |  |  | 0 | NULL
1.14 | 10344012324 | MANIFOLD FOR 4 CYLINDER NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM, 360 DIA CYLINDER, P/N.# NFIG-360-SRM4 - NAFFCO | NAFFCO | NFIG-360-SRM4 | NOS | 4 | 880 | 240 | 0 | 960 | 0 | FALSE |  |  | 0 | NULL
1.15 | 10344012325 | MANIFOLD FOR 5 CYLINDER NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM, 360 DIA CYLINDER, P/N.# NFIG-360-SRM5 - NAFFCO | NAFFCO | NFIG-360-SRM5 | NOS | 8 | 1060 | 289 | 0 | 2312 | 0 | FALSE |  |  | 0 | NULL
1.16 | 10344212280 | RACK ASSEMBLY FOR 10 CYLINDERS, DOUBLE ROW, FLOOR MOUNTING TYPE, CYLINDER DIA: 267MM, CAPACITY: 67L, 80L & 140L, PRESSURE RATING: 200 / 300BAR, MODEL: NFIG-RA01-050F FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM - NAFFCO | NAFFCO | NFIG-RA01-050F | NOS | 4 | 630 | 172 | 0 | 688 | 0 | FALSE |  |  | 0 | NULL
1.17 | 10344212278 | RACK ASSEMBLY FOR 8 CYLINDERS, DOUBLE ROW, FLOOR MOUNTING TYPE, CYLINDER DIA: 267MM, CAPACITY: 67L, 80L & 140L, PRESSURE RATING: 200 / 300BAR, MODEL: NFIG-RA01-040F FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM - NAFFCO | NAFFCO | NFIG-RA01-040F | NOS | 2 | 590 | 161 | 0 | 322 | 0 | FALSE |  |  | 0 | NULL
1.18 | 1034201XXXX | DISCHARGE NOZZLE | NAFFCO | B046111XXX | NOS | 28 | 180 | 50 | 0 | 1400 | 0 | FALSE |  |  | 0 | NULL
1.19 | 10341512137 | PRESSURE RELIEF DEVICE FOR MANIFOLD, P/N.# 029730037 FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | 029730037 | NOS | 2 | 1900 | 518 | 0 | 1036 | 0 | FALSE |  |  | 0 | NULL
1.20 | 10341512022 | PRESSURE & FLOW DETECTOR SWITCH, P/N.# 028250050 FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | 028250050 | NOS | 2 | 690 | 189 | 0 | 378 | 0 | FALSE |  |  | 0 | NULL
1.21 |  | WARNING SIGN (3 NOS) | NAFFCO |  | SET | 6 | 300 | 82 | 0 | 492 | 0 | FALSE |  |  | 0 | NULL
2 |  | SWITCHGEAR ROOM @ SABRIYAH F1 AND BHARA 1 - ELECTRICAL COMPONENTS |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
2.1 |  | Cheetah Xi Control System w/Lexan Including: Cheetah Xi Controller P/N 10-2542 Transformer 240VAC P/N 02-10882 Red Enclosure P/N 10-2541-R | FIKE | 10-068-R-2-L | SET | 2 | 12000 | 3270 | 0 | 6540 | 0 | FALSE |  |  | 0 | NULL
2.2 | 13009725250 | PCB ASSEMBLY RM4 RELAY MODULE FOR SHP PRO PANEL, PART # 10-2204 - FIKE | FIKE | 10-2204 | NOS | 2 | 750 | 205 | 0 | 410 | 0 | FALSE |  |  | 0 | NULL
2.3 | 13101825018 | SMOKE DETECTOR, PHOTOELECTRIC WITH BUILT IN ISOLATORS (ED-PI), MODEL: 63-1058 - FIKE | FIKE | 63-1058 | NOS | 36 | 306 | 84 | 0 | 3024 | 0 | FALSE |  |  | 0 | NULL
2.4 | 13109925110 | STANDARD DETECTOR BASE 4" WITH BUILT IN ISOLATORS (EBI), MODEL: 63-1061 - FIKE | FIKE | 63-1061 | NOS | 36 | 61 | 17 | 0 | 612 | 0 | FALSE |  |  | 0 | NULL
2.5 |  | FIRE ALARM STROBE (OUTDOOR -SAFE AREA), IP 65 | E2S | L101XDC024MA0A1R | NOS | 6 | 550 | 150 | 0 | 900 | 0 | FALSE |  |  | 0 | NULL
2.6 | 13007138220 | HORN/STROBE, OUTDOOR, 75 FIXED CANDELA, WALL MOUNT, SHIPPED WITH GOE ENCLOSURE, RED, UL LISTED, MODEL : SH-HSOR - SHIELD | SHIELD | SH-HSOR | NOS | 4 | 215 | 59 | 0 | 236 | 0 | FALSE |  |  | 0 | NULL
2.7 |  | FIRE ALARM SOUNDER/HORN (INDOOR - SAFE AREA), IP42 | E2S | AL100XDC024RR-UL | NOS | 4 | 1750 | 477 | 0 | 1908 | 0 | FALSE |  |  | 0 | NULL
2.8 |  | FIRE ALARM HORN (EXPLOSION PROOF) | E2S | DXS1-DC024-A-N-3-A1-R | NOS | 4 | 3250 | 886 | 0 | 3544 | 0 | FALSE |  |  | 0 | NULL
2.9 |  | FIRE ALARM SOUNDER/ HORN (EXPLOSION PROOF) | E2S | BEXCS11005-DPR-DC024-A-N-3-A1-R-R | NOS | 4 | 7500 | 2044 | 0 | 8176 | 0 | FALSE |  |  | 0 | NULL
2.10 | 13006325141 | MAIN TO RESERVE TRANSFER SWITCH FOR SYSTEMS, MODEL.# 10-2967, UL/FM APPROVED - FIKE WITH BACKBOX | FIKE | 10-2967 | SET | 2 | 375 | 103 | 0 | 206 | 0 | FALSE |  |  | 0 | NULL
2.11 |  | ABORT SWITCH, MODEL.# 10-2965, UL/FM - FIKEWITH BACKBOX | FIKE | 10-2965 | NOS | 6 | 395 | 108 | 0 | 648 | 0 | FALSE |  |  | 0 | NULL
2.12 |  | MANUAL RELEASE SWITCH WITH BACKBOX (OUTDOOR) | E2S | GNEXCP7BG/S/D/NA/B/3/A/1/R/N/E470R | NOS | 6 | 3950 | 1077 | 0 | 6462 | 0 | FALSE |  |  | 0 | NULL
2.13 | 10341512541 | RELEASING CIRCUIT DISABLE SWITCH,24V DC, UL LISTED, MODEL: RCDS-1 (POTTER) WITH BACKBOX | POTTER | RCDS-1 | NOS | 2 | 225 | 62 | 0 | 124 | 0 | FALSE |  |  | 0 | NULL
2.14 |  | STI POLYCARBONATE ENCLOSURE | STI | STI-7521 | NOS | 6 | 1250 | 341 | 0 | 2046 | 0 | FALSE |  |  | 0 | NULL
2.15 | 13108425153 | RELEASING CONTROL MODULE WITH ISOLATOR (EM-1RMI), MODEL.# 55-053 - FIKE WITH BACKBOX | FIKE | 55-053 | NOS | 2 | 1180 | 322 | 0 | 644 | 0 | FALSE |  |  | 0 | NULL
2.16 | 13108625050 | ADDRESSABLE MINI MONITOR MODULE WITH BUILT IN ISOLATOR (EM-1MMI), MODEL: 55-050 - FIKE WITH BACKBOX | FIKE | 55-050 | NOS | 8 | 380 | 104 | 0 | 832 | 0 | FALSE |  |  | 0 | NULL
2.17 | 13108625046 | ADDRESSABLE SQUARE MONITOR MODULE 4" WITH ISOLATOR (EM-1SMI), MODEL: 55-046 - FIKE WITH BACKBOX | FIKE | 55-046 | NOS | 46 | 375 | 103 | 0 | 4738 | 0 | FALSE |  |  | 0 | NULL
2.18 | 13108425015 | SUPERVISED CONTROL MODULE WITH BUILT IN ISOLATOR (EM-1SMI), MODEL: 55-047 - FIKE WITH BACKBOX | FIKE | 55-047 | NOS | 48 | 432 | 118 | 0 | 5664 | 0 | FALSE |  |  | 0 | NULL
2.19 | 13109925229 | REMOTE POWER SUPPLY UNIT WITH ENCLOSURE AND PCB BOARD, 10A, P/N.# 10-2829-1-0-01-0-1-01 - FIKE | FIKE | 10-2829-1-0-01-0-1-01 | NOS | 2 | 2519 | 687 | 0 | 1374 | 0 | FALSE |  |  | 0 | NULL
2.20 |  | EXPLOSION PROOF RELEASE CONTROL BOX | WAROM |  | NOS | 4 | 5000 | 1363 | 0 | 5452 | 0 | FALSE |  |  | 0 | NULL
2.21 |  | IP 42 RELEASE CONTROL BOX | WAROM |  | NOS | 4 | 5000 | 1363 | 0 | 5452 | 0 | FALSE |  |  | 0 | NULL
2.22 |  | ILLUMINATED WARNING SIGN "DONT ENTER GAS DISCHARGED" - WEATHER PROOF | NAFFCO | SK27202/ Enclosure: 4210-0120 & Fascia Plate: 4210-013 | NOS | 6 | 2950 | 804 | 0 | 4824 | 0 | FALSE |  |  | 0 | NULL
3 |  | SWITCHGEAR ROOM @ SABRIYAH F1 AND BHARA 1 - MECHANICAL COMPONENTS (RESERVE) |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
3.1 | 10340512180 | CONTAINER ASSEMBLY 140 LTR (IG541) KIT FILLED WITH 52% NITROGEN + 40% ARGON + 8% CO2 - 300BAR, MODEL: NFIG541-300-140 FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | NF-IG541-140-300 | NOS | 56 | 4880 | 1330 | 0 | 74480 | 0 | FALSE |  |  | 0 | NULL
3.2 | 10341512065 | PRESSURE GAUGE, M10 X 1 MALE THREADED WITH SWITCH FOR IG100 INERT GAS SYSTEM WITH 0-6100 PSI, SWITCH POINT 3743 PSI, P.N.# 029720215 FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | 029720215 | NOS | 56 | 340 | 93 | 0 | 5208 | 0 | FALSE |  |  | 0 | NULL
3.3 | 10341512236 | CONSTANT DISCHARGE PRESSURE REGULATOR WITH 12MM ORIFICE SIZE, MAXIMUM INLET PRESSURE 360 BAR, INLET W 21.8 X 1/14" DIN 477 & OUTLET W 21.8 X 1/14" DIN 477, P/N.# B08400003-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM (REF.# 10341512235) | NAFFCO | B08400003-NF | NOS | 56 | 600 | 164 | 0 | 9184 | 0 | FALSE |  |  | 0 | NULL
3.4 | 10341512133 | ELECTRO MAGNETIC DEVICE WITH DIODE, INLET THREADED TO M42 X 1.5, 24V DC, 0.5 A, IP 65 RATED, P/N.# B04425146 FOR UL LISTED FIRE SUPPRESSION SYSTEM (REFER ITEM.# 10341512136) | NAFFCO | B04425148 | NOS | 2 | 790 | 216 | 0 | 432 | 0 | FALSE |  |  | 0 | NULL
3.5 | 10341512120 | MANUAL / PNEUMATIC RELEASE DEVICE, WP 300 BAR, INLET THREADED TO M42 X 1.5, PNEUMATIC LINE CONNECTION G 1/8", P/N.# B04420065-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B04420065 | NOS | 2 | 120 | 33 | 0 | 66 | 0 | FALSE |  |  | 0 | NULL
3.6 | 10341512122 | PNEUMATIC RELEASE DEVICE, WP 300 BAR, INLET THREADED TO M42 X 1.5, PNEUMATIC LINE CONNECTION G 1/8", P/N.# B04420066NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B04420066 | NOS | 54 | 80 | 22 | 0 | 1188 | 0 | FALSE |  |  | 0 | NULL
3.7 | 10343512025 | DISCHARGE HOSE, DN16, WP 350 BAR, B/P 1400 BAR, 400MM LENGTH, INLET FEMALE THREAD TO W 21.8 X 1/14" TO DIN 477 & OUTLET FEMALE THREAD TO G 3/4", P/N.# B06920225-NF FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | B06920225-NF | NOS | 56 | 180 | 50 | 0 | 2800 | 0 | FALSE |  |  | 0 | NULL
3.8 | 10343012208 | MANIFOLD CHECK VALVE, BRASS, MAX W/P 100 BAR, TP 150 BAR, HOSE CONNECTION THREAD G3/4", MANIFOLD CONNECTION THREAD R1" DN12, P/N.# B04600008-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B04600008 | NOS | 56 | 130 | 36 | 0 | 2016 | 0 | FALSE |  |  | 0 | NULL
3.9 | 10343512032 | PILOT HOSE, SYNTHETIC RUBBER OIL RESISTANT W/STRAIGHT FITTINGS M12 X 1.5 FEMALE THREAD IN BOTH ENDS, 700MM LONG, W/P 400 BAR, B/P 1600 BAR, TEMP RANGE: -40 C. TO 100 C, P/N.# B06920212 FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B06920212-NF | NOS | 12 | 70 | 20 | 0 | 240 | 0 | FALSE |  |  | 0 | NULL
3.10 | 10343512033 | PILOT HOSE, SYNTHETIC RUBBER OIL RESISTANT W/STRAIGHT FITTINGS M12 X 1.5 FEMALE THREAD IN BOTH ENDS, 500MM LONG, W/P 400 BAR, B/P 1600 BAR, TEMP RANGE: -40 C. TO 100 C, P/N.# B06920213 FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B06920213-NF | NOS | 42 | 70 | 20 | 0 | 840 | 0 | FALSE |  |  | 0 | NULL
3.11 | 10349012606 | CONNECTING ADAPTOR, M12 X 1.5 MALE THREADED & G 1/8" MALE THREADED, P/N.# 029510006 FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | 029510006 | NOS | 108 | 20 | 6 | 0 | 648 | 0 | FALSE |  |  | 0 | NULL
3.12 | 10346012640 | BLEED VALVE, P/N.# 029730040-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | 029730040 | NOS | 2 | 170 | 47 | 0 | 94 | 0 | FALSE |  |  | 0 | NULL
3.13 | 10344012324 | MANIFOLD FOR 4 CYLINDER NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM, 360 DIA CYLINDER, P/N.# NFIG-360-SRM4 - NAFFCO | NAFFCO | NFIG-360-SRM4 | NOS | 4 | 880 | 240 | 0 | 960 | 0 | FALSE |  |  | 0 | NULL
3.14 | 10344012325 | MANIFOLD FOR 5 CYLINDER NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM, 360 DIA CYLINDER, P/N.# NFIG-360-SRM5 - NAFFCO | NAFFCO | NFIG-360-SRM5 | NOS | 8 | 1060 | 289 | 0 | 2312 | 0 | FALSE |  |  | 0 | NULL
3.15 | 10344212280 | RACK ASSEMBLY FOR 10 CYLINDERS, DOUBLE ROW, FLOOR MOUNTING TYPE, CYLINDER DIA: 267MM, CAPACITY: 67L, 80L & 140L, PRESSURE RATING: 200 / 300BAR, MODEL: NFIG-RA01-050F FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM - NAFFCO | NAFFCO | NFIG-RA01-050F | NOS | 4 | 630 | 172 | 0 | 688 | 0 | FALSE |  |  | 0 | NULL
3.16 | 10344212278 | RACK ASSEMBLY FOR 8 CYLINDERS, DOUBLE ROW, FLOOR MOUNTING TYPE, CYLINDER DIA: 267MM, CAPACITY: 67L, 80L & 140L, PRESSURE RATING: 200 / 300BAR, MODEL: NFIG-RA01-040F FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM - NAFFCO | NAFFCO | NFIG-RA01-040F | NOS | 2 | 590 | 161 | 0 | 322 | 0 | FALSE |  |  | 0 | NULL
3.17 | 15466240212 | PRESSURE RELIEF DAMPER, SIZE: 1120 X 1120 X 120MM, MODEL: SHXUN1000 - AFP | AFP | SHXUN1000 | NOS | 1 | 4500 | 1227 | 0 | 1227 | 0 | FALSE |  |  | 0 | NULL