## INERT GAS (2)
SLNO | ItemCode | ItemName | Brand | Model | UOM | Qty | UnitPriceAED | UnitPrice | Margin | Amount | Unitweight | Optional | COO | DeliveryStatus | CRMProductId | CRMProduct
1 |  | IG-100, 300 BAR SYSTEM, CENTRAL BANKING - AHMADI - MECHANICAL COMPONENTS - MAIN |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.1 | 10340512160 | CONTAINER ASSEMBLY 140 LTR (IG100) KIT FILLED WITH MIN 99.9% NITROGEN - 300BAR, MODEL: NFIG100-300-140 FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | NF-IG100-140-300 | NOS | 68 | 3830 | 1044 | 0 | 70992 | 0 | FALSE |  |  | 0 | NULL
1.2 | 10341512065 | PRESSURE GAUGE, M10 X 1 MALE THREADED WITH SWITCH FOR IG100 INERT GAS SYSTEM WITH 0-6100 PSI, SWITCH POINT 3743 PSI, P.N.# 029720215 FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | 029720215 | NOS | 68 | 340 | 93 | 0 | 6324 | 0 | FALSE |  |  | 0 | NULL
1.3 | 10341512236 | CONSTANT DISCHARGE PRESSURE REGULATOR WITH 12MM ORIFICE SIZE, MAXIMUM INLET PRESSURE 360 BAR, INLET W 21.8 X 1/14" DIN 477 & OUTLET W 21.8 X 1/14" DIN 477, P/N.# B08400003-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM (REF.# 10341512235) | NAFFCO | B08400003-NF | NOS | 68 | 600 | 164 | 0 | 11152 | 0 | FALSE |  |  | 0 | NULL
1.4 | 10341512133 | ELECTRO MAGNETIC DEVICE WITH DIODE, INLET THREADED TO M42 X 1.5, 24V DC, 0.5 A, IP 65 RATED, P/N.# B04425146 FOR UL LISTED FIRE SUPPRESSION SYSTEM (REFER ITEM.# 10341512136) | NAFFCO | B04425148 | NOS | 7 | 790 | 216 | 0 | 1512 | 0 | FALSE |  |  | 0 | NULL
1.5 | 10349012810 | RESET TOOL FOR ELECTRO MAGNETIC DEVICE FOR INERT GAS SYSTEM, P/N.# 029210064 (OLD P/N.# 023000064) - NAFFCO | NAFFCO | 029210064 (023000064) | NOS | 2 | 110 | 30 | 0 | 60 | 0 | FALSE |  |  | 0 | NULL
1.6 | 10341512520 | MONITORING SWITCH FOR ELECTROMAGNETIC DEVICE FOR UL LISTED NAFFCOINERT SYSTEM, PART NO: 029905200-NF - NAFFCO | NAFFCO | 029905200-NF | NOS | 7 | 350 | 96 | 0 | 672 | 0 | FALSE |  |  | 0 | NULL
1.7 | 10341512120 | MANUAL / PNEUMATIC RELEASE DEVICE, WP 300 BAR, INLET THREADED TO M42 X 1.5, PNEUMATIC LINE CONNECTION G 1/8", P/N.# B04420065-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B04420065 | NOS | 7 | 120 | 33 | 0 | 231 | 0 | FALSE |  |  | 0 | NULL
1.8 | 10341512122 | PNEUMATIC RELEASE DEVICE, WP 300 BAR, INLET THREADED TO M42 X 1.5, PNEUMATIC LINE CONNECTION G 1/8", P/N.# B04420066NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B04420066 | NOS | 61 | 80 | 22 | 0 | 1342 | 0 | FALSE |  |  | 0 | NULL
1.9 | 10343512025 | DISCHARGE HOSE, DN16, WP 350 BAR, B/P 1400 BAR, 400MM LENGTH, INLET FEMALE THREAD TO W 21.8 X 1/14" TO DIN 477 & OUTLET FEMALE THREAD TO G 3/4", P/N.# B06920225-NF FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | B06920225-NF | NOS | 68 | 180 | 50 | 0 | 3400 | 0 | FALSE |  |  | 0 | NULL
1.10 | 10343012208 | MANIFOLD CHECK VALVE, BRASS, MAX W/P 100 BAR, TP 150 BAR, HOSE CONNECTION THREAD G3/4", MANIFOLD CONNECTION THREAD R1" DN12, P/N.# B04600008-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B04600008 | NOS | 68 | 130 | 36 | 0 | 2448 | 0 | FALSE |  |  | 0 | NULL
1.11 | 10343512032 | PILOT HOSE, SYNTHETIC RUBBER OIL RESISTANT W/STRAIGHT FITTINGS M12 X 1.5 FEMALE THREAD IN BOTH ENDS, 700MM LONG, W/P 400 BAR, B/P 1600 BAR, TEMP RANGE: -40 C. TO 100 C, P/N.# B06920212 FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B06920212-NF | NOS | 19 | 70 | 20 | 0 | 380 | 0 | FALSE |  |  | 0 | NULL
1.12 | 10343512033 | PILOT HOSE, SYNTHETIC RUBBER OIL RESISTANT W/STRAIGHT FITTINGS M12 X 1.5 FEMALE THREAD IN BOTH ENDS, 500MM LONG, W/P 400 BAR, B/P 1600 BAR, TEMP RANGE: -40 C. TO 100 C, P/N.# B06920213 FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B06920213-NF | NOS | 45 | 70 | 20 | 0 | 900 | 0 | FALSE |  |  | 0 | NULL
1.13 | 10349012606 | CONNECTING ADAPTOR, M12 X 1.5 MALE THREADED & G 1/8" MALE THREADED, P/N.# 029510006 FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | 029510006 | NOS | 64 | 20 | 6 | 0 | 384 | 0 | FALSE |  |  | 0 | NULL
1.14 | 10346012640 | BLEED VALVE, P/N.# 029730040-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | 029730040 | NOS | 2 | 170 | 47 | 0 | 94 | 0 | FALSE |  |  | 0 | NULL
1.15 | 10344012324 | MANIFOLD FOR 4 CYLINDER NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM, 360 DIA CYLINDER, P/N.# NFIG-360-SRM4 - NAFFCO | NAFFCO | NFIG-360-SRM4 | NOS | 2 | 880 | 240 | 0 | 480 | 0 | FALSE |  |  | 0 | NULL
1.16 | 10344012325 | MANIFOLD FOR 5 CYLINDER NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM, 360 DIA CYLINDER, P/N.# NFIG-360-SRM5 - NAFFCO | NAFFCO | NFIG-360-SRM5 | NOS | 12 | 1060 | 289 | 0 | 3468 | 0 | FALSE |  |  | 0 | NULL
1.17 | 10344253110 | SELECTOR VALVE 1" (25MM) W/NPT 1000 PSI SS316 C/W PNUEMATIC ACTUATOR RAT052-DA, LIMIT SWITCH IP67 RES-210N, SOLENOID 4V310-08B NAMUR-24VDC 50/60HZ FULL ASSEMBLY - NAFFCO | NAFFCO | NF-SVA25 | NOS | 1 | 680 | 186 | 0 | 186 | 0 | FALSE |  |  | 0 | NULL
1.18 | 10344253115 | SELECTOR VALVE 1-1/2" (40MM) W/NPT 1000 PSI SS316 C/W PNUEMATIC ACTUATOR AT063-DA, LIMIT SWITCH IP67 RES-210N, SOLENOID 4V310-08B NAMUR-24VDC 50/60HZ FULL ASSEMBLY - NAFFCO | NAFFCO | NF-SVA40 | NOS | 3 | 1110 | 303 | 0 | 909 | 0 | FALSE |  |  | 0 | NULL
1.19 | 10344253125 | SELECTOR VALVE 2-1/2" (65MM) W/NPT 1000 PSI SS316 C/W PNUEMATIC ACTUATOR RAT083-DA, LIMIT SWITCH IP67 RES-210N, SOLENOID 4V310-08B NAMUR-24VDC 50/60HZ FULL ASSEMBLY - NAFFCO | NAFFCO | NF-SVA65 | NOS | 2 | 1760 | 480 | 0 | 960 | 0 | FALSE |  |  | 0 | NULL
1.20 | 10344253130 | SELECTOR VALVE 3" (80MM) W/NPT 1000 PSI SS316 C/W PNUEMATIC ACTUATOR RAT092-DA, LIMIT SWITCH IP67 RES-210N, SOLENOID 4V310-08B NAMUR-24VDC 50/60HZ FULL ASSEMBLY - NAFFCO | NAFFCO | NF-SVA80 | NOS | 2 | 1980 | 540 | 0 | 1080 | 0 | FALSE |  |  | 0 | NULL
1.21 | 10344212280 | RACK ASSEMBLY FOR 10 CYLINDERS, DOUBLE ROW, FLOOR MOUNTING TYPE, CYLINDER DIA: 267MM, CAPACITY: 67L, 80L & 140L, PRESSURE RATING: 200 / 300BAR, MODEL: NFIG-RA01-050F FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM - NAFFCO | NAFFCO | NFIG-RA01-050F | NOS | 6 | 630 | 172 | 0 | 1032 | 0 | FALSE |  |  | 0 | NULL
1.22 | 10344212278 | RACK ASSEMBLY FOR 8 CYLINDERS, DOUBLE ROW, FLOOR MOUNTING TYPE, CYLINDER DIA: 267MM, CAPACITY: 67L, 80L & 140L, PRESSURE RATING: 200 / 300BAR, MODEL: NFIG-RA01-040F FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM - NAFFCO | NAFFCO | NFIG-RA01-040F | NOS | 1 | 590 | 161 | 0 | 161 | 0 | FALSE |  |  | 0 | NULL
1.23 | 1034201XXXX | DISCHARGE NOZZLE | NAFFCO | B046111XXX | NOS | 122 | 180 | 50 | 0 | 6100 | 0 | FALSE |  |  | 0 | NULL
1.24 | 10341512137 | PRESSURE RELIEF DEVICE FOR MANIFOLD, P/N.# 029730037 FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | 029730037 | NOS | 4 | 1900 | 518 | 0 | 2072 | 0 | FALSE |  |  | 0 | NULL
1.25 | 10341512022 | PRESSURE & FLOW DETECTOR SWITCH, P/N.# 028250050 FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | 028250050 | NOS | 6 | 690 | 189 | 0 | 1134 | 0 | FALSE |  |  | 0 | NULL
2 |  | ELECTRICAL COMPONENTS - AHMADI (OPTIONAL) |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
2.1 |  | Cheetah Xi Control System w/Lexan Including: Cheetah Xi Controller P/N 10-2542 Transformer 120VAC P/N 02-10881 Red Enclosure P/N 10-2541-R | FIKE | 10-068-R-1-L | SET | 1 | 12000 | 3270 | 0 | 3270 | 0 | FALSE |  |  | 0 | NULL
2.2 | 13109925229 | REMOTE POWER SUPPLY UNIT WITH ENCLOSURE AND PCB BOARD, 10A, P/N.# 10-2829-1-0-01-0-1-01 - FIKE | FIKE | 10-2829-1-0-01-0-1-01 | NOS | 1 | 2519 | 687 | 0 | 687 | 0 | FALSE |  |  | 0 | NULL
2.3 | 10341512541 | RELEASING CIRCUIT DISABLE SWITCH,24V DC, UL LISTED, MODEL: RCDS-1 (POTTER) WITH BACKBOX | POTTER | RCDS-1 | NOS | 1 | 225 | 62 | 0 | 62 | 0 | FALSE |  |  | 0 | NULL
2.4 |  | SILENCE ALARM SWITCH WITH 10MM LED LIGHTS FOR INDICATION | FIKE | 10-2631 | NOS | 1 | 2125 | 580 | 0 | 580 | 0 | FALSE |  |  | 0 | NULL
2.5 |  | ADDRESSABLE HEAT DETECTOR WITH ISOLATOR BASE | FIKE | 60-1040 | NOS | 10 | 257 | 71 | 0 | 710 | 0 | FALSE |  |  | 0 | NULL
2.6 | 13101825018 | SMOKE DETECTOR, PHOTOELECTRIC WITH BUILT IN ISOLATORS (ED-PI), MODEL: 63-1058 - FIKE | FIKE | 63-1058 | NOS | 92 | 306 | 84 | 0 | 7728 | 0 | FALSE |  |  | 0 | NULL
2.7 | 13105025064 | ADDRESSABLE MANUAL PULL STATION WITH ISOLATOR, RED COLOR, P/N.# 20-1064 - FIKE WITH BACKBOX | FIKE | 20-1064 | NOS | 5 | 360 | 99 | 0 | 495 | 0 | FALSE |  |  | 0 | NULL
2.8 | 13105025064 | ADDRESSABLE MANUAL PULL STATION WITH ISOLATOR, RED COLOR, P/N.# 20-1064 - FIKE WITH BACKBOX | FIKE | 20-1064 | NOS | 5 | 360 | 99 | 0 | 495 | 0 | FALSE |  |  | 0 | NULL
2.9 | 13007320616 | UNIVERSAL STOPPER (EU ENCL PLATE), RED WITH FIRE LABEL, MODEL: STI-13610-FR - STI | STI | STI-13610-FR | NOS | 5 | 450 | 123 | 0 | 615 | 0 | FALSE |  |  | 0 | NULL
2.10 |  | SYSTEM ABORT SWITCH, MODEL.# 20-1639, UL/FM - FIKE WITH BACKBOX | FIKE | 20-1639 | NOS | 8 | 235 | 65 | 0 | 520 | 0 | FALSE |  |  | 0 | NULL
2.11 |  | ABORT SWITCH - 1 X MUSHROOM HEAD LATCHING, 1NO + 1NC, "EMERGENCY STOP" | E2S | STEXCP8PT-S-D-L-A-S-3-A1-R | NOS | 2 | 5510 | 1502 | 0 | 3004 | 0 | FALSE |  |  | 0 | NULL
2.12 | 13007138210 | HORN/STROBE, INDOOR, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, UL LISTED, MODEL : SH-HSIR - SHIELD | SHIELD | SH-HSIR | NOS | 20 | 150 | 41 | 0 | 820 | 0 | FALSE |  |  | 0 | NULL
2.13 | 13007138220 | HORN/STROBE, OUTDOOR, 75 FIXED CANDELA, WALL MOUNT, SHIPPED WITH GOE ENCLOSURE, RED, UL LISTED, MODEL : SH-HSOR - SHIELD | SHIELD | SH-HSOR | NOS | 10 | 215 | 59 | 0 | 590 | 0 | FALSE |  |  | 0 | NULL
2.14 | 13006738210 | HORN ONLY, INDOOR, RED, UL LISTED, MODEL: SH-HRIR - SHIELD | SHIELD | SH-HRIR | NOS | 6 | 65 | 18 | 0 | 108 | 0 | FALSE |  |  | 0 | NULL
2.15 |  | FIRE ALARM HORN (EXPLOSION PROOF) | E2S | DXS1-DC024-A-N-3-A1-R | NOS | 2 | 3250 | 886 | 0 | 1772 | 0 | FALSE |  |  | 0 | NULL
2.16 |  | FIRE ALARM SOUNDER/ HORN (EXPLOSION PROOF) | E2S | BEXCS11005-DPR-DC024-A-N-3-A1-R-R | NOS | 2 | 7500 | 2044 | 0 | 4088 | 0 | FALSE |  |  | 0 | NULL
2.17 |  | ILLUMINATED WARNING SIGN "DONT ENTER GAS DISCHARGED" - WEATHER PROOF | NAFFCO | SK27202/ Enclosure: 4210-0120 & Fascia Plate: 4210-013 | NOS | 5 | 2950 | 804 | 0 | 4020 | 0 | FALSE |  |  | 0 | NULL
2.18 |  | ILLUMINATED WARNING SIGN "DONT ENTER GAS DISCHARGED" | NAFFCO | SK27202/ Enclosure: 4210-0120 & Fascia Plate: 4210-013 | NOS | 6 | 2950 | 804 | 0 | 4824 | 0 | FALSE |  |  | 0 | NULL
2.19 |  | REMOTE INDICATOR | SHIELD |  | NOS | 32 | 95 | 26 | 0 | 832 | 0 | FALSE |  |  | 0 | NULL
2.20 | 13108425153 | RELEASING CONTROL MODULE WITH ISOLATOR (EM-1RMI), MODEL.# 55-053 - FIKE WITH BACKBOX | FIKE | 55-053 | NOS | 15 | 1180 | 322 | 0 | 4830 | 0 | FALSE |  |  | 0 | NULL
2.21 | 13108625050 | ADDRESSABLE MINI MONITOR MODULE WITH BUILT IN ISOLATOR (EM-1MMI), MODEL: 55-050 - FIKE WITH BACKBOX | FIKE | 55-050 | NOS | 2 | 380 | 104 | 0 | 208 | 0 | FALSE |  |  | 0 | NULL
2.22 | 13108625046 | ADDRESSABLE SQUARE MONITOR MODULE 4" WITH ISOLATOR (EM-1SMI), MODEL: 55-046 - FIKE WITH BACKBOX | FIKE | 55-046 | NOS | 99 | 375 | 103 | 0 | 10197 | 0 | FALSE |  |  | 0 | NULL
2.23 | 13108425015 | SUPERVISED CONTROL MODULE WITH BUILT IN ISOLATOR (EM-1SMI), MODEL: 55-047 - FIKE WITH BACKBOX | FIKE | 55-047 | NOS | 99 | 432 | 118 | 0 | 11682 | 0 | FALSE |  |  | 0 | NULL
2.24 | 13109925229 | REMOTE POWER SUPPLY UNIT WITH ENCLOSURE AND PCB BOARD, 10A, P/N.# 10-2829-1-0-01-0-1-01 - FIKE | FIKE | 10-2829-1-0-01-0-1-01 | NOS | 3 | 2519 | 687 | 0 | 2061 | 0 | FALSE |  |  | 0 | NULL
2.25 |  | CRM4-RELAY MODULE | FIKE | 10-2204 | NOS | 2 | 790 | 216 | 0 | 432 | 0 | FALSE |  |  | 0 | NULL
2.26 | 13006392143 | MAIN TO RESERVE TRANSFER SWITCH FOR SYSTEMS, MODEL: 10-1640, UL/FM APPROVED | FIKE | 10-1640 | NOS | 1 | 350 | 96 | 0 | 96 | 0 | FALSE |  |  | 0 | NULL
2.27 | 10341512541 | RELEASING CIRCUIT DISABLE SWITCH,24V DC, UL LISTED, MODEL: RCDS-1 (POTTER) WITH BACKBOX | POTTER | RCDS-1 | NOS | 7 | 225 | 62 | 0 | 434 | 0 | FALSE |  |  | 0 | NULL
2.28 |  | WEATHER PROOF STATUS INDICATOR WITH KEY SWITCH | FIKE | 02-13946 | NOS | 12 | 5750 | 1567 | 0 | 18804 | 0 | FALSE |  |  | 0 | NULL
3 |  | IG-100, 300 BAR SYSTEM, CENTRAL BANKING - AHMADI - MECHANICAL COMPONENTS - RESERVE |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
3.1 | 10340512160 | CONTAINER ASSEMBLY 140 LTR (IG100) KIT FILLED WITH MIN 99.9% NITROGEN - 300BAR, MODEL: NFIG100-300-140 FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | NF-IG100-140-300 | NOS | 68 | 3830 | 1044 | 0 | 70992 | 0 | FALSE |  |  | 0 | NULL
3.2 | 10341512065 | PRESSURE GAUGE, M10 X 1 MALE THREADED WITH SWITCH FOR IG100 INERT GAS SYSTEM WITH 0-6100 PSI, SWITCH POINT 3743 PSI, P.N.# 029720215 FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | 029720215 | NOS | 68 | 340 | 93 | 0 | 6324 | 0 | FALSE |  |  | 0 | NULL
3.3 | 10341512236 | CONSTANT DISCHARGE PRESSURE REGULATOR WITH 12MM ORIFICE SIZE, MAXIMUM INLET PRESSURE 360 BAR, INLET W 21.8 X 1/14" DIN 477 & OUTLET W 21.8 X 1/14" DIN 477, P/N.# B08400003-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM (REF.# 10341512235) | NAFFCO | B08400003-NF | NOS | 68 | 600 | 164 | 0 | 11152 | 0 | FALSE |  |  | 0 | NULL
3.4 | 10341512133 | ELECTRO MAGNETIC DEVICE WITH DIODE, INLET THREADED TO M42 X 1.5, 24V DC, 0.5 A, IP 65 RATED, P/N.# B04425146 FOR UL LISTED FIRE SUPPRESSION SYSTEM (REFER ITEM.# 10341512136) | NAFFCO | B04425148 | NOS | 7 | 790 | 216 | 0 | 1512 | 0 | FALSE |  |  | 0 | NULL
3.5 | 10349012810 | RESET TOOL FOR ELECTRO MAGNETIC DEVICE FOR INERT GAS SYSTEM, P/N.# 029210064 (OLD P/N.# 023000064) - NAFFCO | NAFFCO | 029210064 (023000064) | NOS | 2 | 110 | 30 | 0 | 60 | 0 | FALSE |  |  | 0 | NULL
3.6 | 10341512520 | MONITORING SWITCH FOR ELECTROMAGNETIC DEVICE FOR UL LISTED NAFFCOINERT SYSTEM, PART NO: 029905200-NF - NAFFCO | NAFFCO | 029905200-NF | NOS | 7 | 350 | 96 | 0 | 672 | 0 | FALSE |  |  | 0 | NULL
3.7 | 10341512120 | MANUAL / PNEUMATIC RELEASE DEVICE, WP 300 BAR, INLET THREADED TO M42 X 1.5, PNEUMATIC LINE CONNECTION G 1/8", P/N.# B04420065-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B04420065 | NOS | 7 | 120 | 33 | 0 | 231 | 0 | FALSE |  |  | 0 | NULL
3.8 | 10341512122 | PNEUMATIC RELEASE DEVICE, WP 300 BAR, INLET THREADED TO M42 X 1.5, PNEUMATIC LINE CONNECTION G 1/8", P/N.# B04420066NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B04420066 | NOS | 61 | 80 | 22 | 0 | 1342 | 0 | FALSE |  |  | 0 | NULL
3.9 | 10343512025 | DISCHARGE HOSE, DN16, WP 350 BAR, B/P 1400 BAR, 400MM LENGTH, INLET FEMALE THREAD TO W 21.8 X 1/14" TO DIN 477 & OUTLET FEMALE THREAD TO G 3/4", P/N.# B06920225-NF FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | B06920225-NF | NOS | 68 | 180 | 50 | 0 | 3400 | 0 | FALSE |  |  | 0 | NULL
3.10 | 10343012208 | MANIFOLD CHECK VALVE, BRASS, MAX W/P 100 BAR, TP 150 BAR, HOSE CONNECTION THREAD G3/4", MANIFOLD CONNECTION THREAD R1" DN12, P/N.# B04600008-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B04600008 | NOS | 68 | 130 | 36 | 0 | 2448 | 0 | FALSE |  |  | 0 | NULL
3.11 | 10343512032 | PILOT HOSE, SYNTHETIC RUBBER OIL RESISTANT W/STRAIGHT FITTINGS M12 X 1.5 FEMALE THREAD IN BOTH ENDS, 700MM LONG, W/P 400 BAR, B/P 1600 BAR, TEMP RANGE: -40 C. TO 100 C, P/N.# B06920212 FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B06920212-NF | NOS | 19 | 70 | 20 | 0 | 380 | 0 | FALSE |  |  | 0 | NULL
3.12 | 10343512033 | PILOT HOSE, SYNTHETIC RUBBER OIL RESISTANT W/STRAIGHT FITTINGS M12 X 1.5 FEMALE THREAD IN BOTH ENDS, 500MM LONG, W/P 400 BAR, B/P 1600 BAR, TEMP RANGE: -40 C. TO 100 C, P/N.# B06920213 FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B06920213-NF | NOS | 45 | 70 | 20 | 0 | 900 | 0 | FALSE |  |  | 0 | NULL
3.13 | 10349012606 | CONNECTING ADAPTOR, M12 X 1.5 MALE THREADED & G 1/8" MALE THREADED, P/N.# 029510006 FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | 029510006 | NOS | 64 | 20 | 6 | 0 | 384 | 0 | FALSE |  |  | 0 | NULL
3.14 | 10346012640 | BLEED VALVE, P/N.# 029730040-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | 029730040 | NOS | 2 | 170 | 47 | 0 | 94 | 0 | FALSE |  |  | 0 | NULL
3.15 | 10344012324 | MANIFOLD FOR 4 CYLINDER NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM, 360 DIA CYLINDER, P/N.# NFIG-360-SRM4 - NAFFCO | NAFFCO | NFIG-360-SRM4 | NOS | 2 | 880 | 240 | 0 | 480 | 0 | FALSE |  |  | 0 | NULL
3.16 | 10344012325 | MANIFOLD FOR 5 CYLINDER NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM, 360 DIA CYLINDER, P/N.# NFIG-360-SRM5 - NAFFCO | NAFFCO | NFIG-360-SRM5 | NOS | 12 | 1060 | 289 | 0 | 3468 | 0 | FALSE |  |  | 0 | NULL
3.17 | 10344212280 | RACK ASSEMBLY FOR 10 CYLINDERS, DOUBLE ROW, FLOOR MOUNTING TYPE, CYLINDER DIA: 267MM, CAPACITY: 67L, 80L & 140L, PRESSURE RATING: 200 / 300BAR, MODEL: NFIG-RA01-050F FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM - NAFFCO | NAFFCO | NFIG-RA01-050F | NOS | 6 | 630 | 172 | 0 | 1032 | 0 | FALSE |  |  | 0 | NULL
3.18 | 10344212278 | RACK ASSEMBLY FOR 8 CYLINDERS, DOUBLE ROW, FLOOR MOUNTING TYPE, CYLINDER DIA: 267MM, CAPACITY: 67L, 80L & 140L, PRESSURE RATING: 200 / 300BAR, MODEL: NFIG-RA01-040F FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM - NAFFCO | NAFFCO | NFIG-RA01-040F | NOS | 1 | 590 | 161 | 0 | 161 | 0 | FALSE |  |  | 0 | NULL
3.19 | 15466240212 | PRESSURE RELIEF DAMPER, SIZE: 1120 X 1120 X 120MM, MODEL: SHXUN1000 - AFP | AFP | SHXUN1000 | NOS | 9 | 4500 | 1227 | 0 | 11043 | 0 | FALSE |  |  | 0 | NULL