## INERT GAS
SLNO | ItemCode | ItemName | Brand | Model | UOM | Qty | UnitPriceAED | UnitPrice | Margin | Amount | Unitweight | Optional | COO | DeliveryStatus | CRMProductId | CRMProduct
1 |  | SHIELD FM 200 FIRE EXTINGUISHING SYSTEM, TOTAL FLOODING, MODULAR, 360 PSI |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.1 |  | DATA CENTER (MAIN MECHANICAL COMPONENTS) |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.1.1 |  | SHIELD200 369.0L Cylinder Assembly (184.6kg-442.8kg) Complete with 3" Valve and Pressure Gauge Pressure Switch, Cylinder Label & Bracket without LLI | SHIELD | SD-369HFC-03 | SET | 1 | 13000 | 3543 | 0 | 3543 | 0 | FALSE |  |  | 0 | NULL
1.1.2 |  | CYLINDER MOUNTING STRAP - SD-CBKT-790 | SHIELD | SD-CBKT-790 | NOS | 1 | 247 | 68 | 0 | 68 | 0 | FALSE |  |  | 0 | NULL
1.1.3 |  | SHIELD200 (SD-HFC227ea) Agent (PER KG) | SHIELD | SD-HFC-227ea | KG | 207 | 70 | 20 | 0 | 4140 | 0 | FALSE |  |  | 0 | NULL
1.1.4 |  | 3 Inch (80MM) Outlet Adaptor used to 369L Cylinder Valve Outlet | SHIELD | SD-VOA0080 | NOS | 1 | 200 | 55 | 0 | 55 | 0 | FALSE |  |  | 0 | NULL
1.1.5 |  | Removable Electric Actuator c/w Supervisory Switch, 1 Inch Connection | SHIELD | SD-REA-SS | NOS | 1 | 1690 | 461 | 0 | 461 | 0 | FALSE |  |  | 0 | NULL
1.1.6 |  | Manual Actuator with Push to operate | SHIELD | SD-MA0025 | NOS | 1 | 200 | 55 | 0 | 55 | 0 | FALSE |  |  | 0 | NULL
1.1.7 |  | DISCHARGE PRESSURE SWITCH | SHIELD | SD-DPS-B6-95-1 | NOS | 1 | 300 | 82 | 0 | 82 | 0 | FALSE |  |  | 0 | NULL
1.1.8 |  | Discharge Hose 3 Inch (80MM) c/w Check Valve with Female Swivel Fittings | SHIELD | SD-DHCV0080 | NOS | 1 | 2640 | 720 | 0 | 720 | 0 | FALSE |  |  | 0 | NULL
1.1.9 |  | MANIFOLD FOR 2 CYLINDER | SHIELD | SD-MF80-65-2 | NOS | 1 | 650 | 178 | 0 | 178 | 0 | FALSE |  |  | 0 | NULL
1.1.10 |  | DISCHARGE NOZZLE | SHIELD | SD-N-XXX-XX | NOS | 4 | 200 | 55 | 0 | 220 | 0 | FALSE |  |  | 0 | NULL
1.1.11 |  | FM200 WARNING SIGNAGE | SHIELD |  | SET | 2 | 300 | 82 | 0 | 164 | 0 | FALSE |  |  | 0 | NULL
1.2 |  | DATA CENTER (RESERVE MECHANICAL COMPONENTS) |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.2.1 |  | SHIELD200 369.0L Cylinder Assembly (184.6kg-442.8kg) Complete with 3" Valve and Pressure Gauge Pressure Switch, Cylinder Label & Bracket without LLI | SHIELD | SD-369HFC-03 | SET | 1 | 13000 | 3543 | 0 | 3543 | 0 | FALSE |  |  | 0 | NULL
1.2.2 |  | CYLINDER MOUNTING STRAP - SD-CBKT-790 | SHIELD | SD-CBKT-790 | NOS | 1 | 247 | 68 | 0 | 68 | 0 | FALSE |  |  | 0 | NULL
1.2.3 |  | SHIELD200 (SD-HFC227ea) Agent (PER KG) | SHIELD | SD-HFC-227ea | KG | 207 | 70 | 20 | 0 | 4140 | 0 | FALSE |  |  | 0 | NULL
1.2.4 |  | 3 Inch (80MM) Outlet Adaptor used to 369L Cylinder Valve Outlet | SHIELD | SD-VOA0080 | NOS | 1 | 200 | 55 | 0 | 55 | 0 | FALSE |  |  | 0 | NULL
1.2.5 |  | Removable Electric Actuator c/w Supervisory Switch, 1 Inch Connection | SHIELD | SD-REA-SS | NOS | 1 | 1690 | 461 | 0 | 461 | 0 | FALSE |  |  | 0 | NULL
1.2.6 |  | Manual Actuator with Push to operate | SHIELD | SD-MA0025 | NOS | 1 | 200 | 55 | 0 | 55 | 0 | FALSE |  |  | 0 | NULL
1.2.7 |  | Discharge Hose 3 Inch (80MM) c/w Check Valve with Female Swivel Fittings | SHIELD | SD-DHCV0080 | NOS | 1 | 2640 | 720 | 0 | 720 | 0 | FALSE |  |  | 0 | NULL
1.3 |  | ELECTRICAL COMPONENTS |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.3.1 |  | CHEETAH XI CONTROL SYSTEM W/LEXAN INCLUDING: CHEETAH XI CONTROLLER P/N 10-2542 TRANSFORMER 120VAC P/N 02-10881 RED ENCLOSURE P/N 10-2541-R | CHEETAH Xi | 10-068-R-1-L | SET | 1 | 12000 | 3270 | 0 | 3270 | 0 | FALSE |  |  | 0 | NULL
1.3.2 |  | MIMIC PANEL | FIKE |  | SET | 1 | 6500 | 1772 | 0 | 1772 | 0 | FALSE |  |  | 0 | NULL
1.3.3 | 13101825018 | SMOKE DETECTOR, PHOTOELECTRIC WITH BUILT IN ISOLATORS (ED-PI), MODEL: 63-1058 - FIKE | FIKE | 63-1058 | NOS | 6 | 306 | 84 | 0 | 504 | 0 | FALSE |  |  | 0 | NULL
1.3.4 | 13109925110 | STANDARD DETECTOR BASE 4" WITH BUILT IN ISOLATORS (EBI), MODEL: 63-1061 - FIKE | FIKE | 63-1061 | NOS | 6 | 61 | 17 | 0 | 102 | 0 | FALSE |  |  | 0 | NULL
1.3.5 | 13006438060 | FIRE ALARM BELL 6", MOTOR DRIVEN TYPE, RED COLOUR, 24V DC, 20-30MA CURRENT CONSUMPTION, UL LISTED, MODEL: FB1000C6, SHIELD | SHIELD | FB1000C6 | NOS | 1 | 56 | 16 | 0 | 16 | 0 | FALSE |  |  | 0 | NULL
1.3.6 | 13007138210 | HORN/STROBE, INDOOR, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, UL LISTED, MODEL : SH-HSIR - SHIELD | SHIELD | SH-HSIR | NOS | 1 | 150 | 41 | 0 | 41 | 0 | FALSE |  |  | 0 | NULL
1.3.7 | 13006325141 | MAIN TO RESERVE TRANSFER SWITCH FOR SYSTEMS, MODEL.# 10-2967, UL/FM APPROVED - FIKE WITH BACKBOX | FIKE | 10-2967 | SET | 1 | 375 | 103 | 0 | 103 | 0 | FALSE |  |  | 0 | NULL
1.3.8 | 13006225123 | SYSTEM ABORT SWITCH, MODEL.# 10-2965, UL/FM - FIKE WITH BACKBOX | FIKE | 10-2965 | NOS | 2 | 395 | 108 | 0 | 216 | 0 | FALSE |  |  | 0 | NULL
1.3.9 | 13105025063 | INTELLIGENT AGENT RELEASE PULL STATION, P/N.# 20-1343 - FIKE WITH BACKBOX | FIKE | 20-1343 | NOS | 2 | 395 | 108 | 0 | 216 | 0 | FALSE |  |  | 0 | NULL
1.3.10 |  | KEYED INPUT SWITCH FOR AUTO/MANUAL OPERATION & ACTIVE/INHHIBIT MODE OPERATION - 10-2969, FIKE WITH BACKBOX | FIKE | 10-2969 | NOS | 2 | 1250 | 341 | 0 | 682 | 0 | FALSE |  |  | 0 | NULL
1.3.11 | 10341512541 | RELEASING CIRCUIT DISABLE SWITCH,24V DC, UL LISTED, MODEL: RCDS-1 (POTTER) WITH BACKBOX | POTTER | RCDS-1 | NOS | 2 | 225 | 62 | 0 | 124 | 0 | FALSE |  |  | 0 | NULL
1.3.12 | 13108425153 | RELEASING CONTROL MODULE WITH ISOLATOR (EM-1RMI), MODEL.# 55-053 - FIKE WITH BACKBOX | FIKE | 55-053 | NOS | 1 | 1180 | 322 | 0 | 322 | 0 | FALSE |  |  | 0 | NULL
1.3.13 | 13108625050 | ADDRESSABLE MINI MONITOR MODULE WITH BUILT IN ISOLATOR (EM-1MMI), MODEL: 55-050 - FIKE WITH BACKBOX | FIKE | 55-050 | NOS | 7 | 380 | 104 | 0 | 728 | 0 | FALSE |  |  | 0 | NULL
1.3.14 | 13108625046 | ADDRESSABLE SQUARE MONITOR MODULE 4" WITH ISOLATOR (EM-1SMI), MODEL: 55-046 - FIKE WITH BACKBOX | FIKE | 55-046 | NOS | 5 | 375 | 103 | 0 | 515 | 0 | FALSE |  |  | 0 | NULL
1.3.15 | 13108425015 | SUPERVISED CONTROL MODULE WITH BUILT IN ISOLATOR (EM-1SMI), MODEL: 55-047 - FIKE WITH BACKBOX | FIKE | 55-047 | NOS | 8 | 432 | 118 | 0 | 944 | 0 | FALSE |  |  | 0 | NULL
1.3.16 | 13109925229 | REMOTE POWER SUPPLY UNIT WITH ENCLOSURE AND PCB BOARD, 10A, P/N.# 10-2829-1-0-01-0-1-01 - FIKE | FIKE | 10-2829-1-0-01-0-1-01 | NOS | 1 | 2519 | 687 | 0 | 687 | 0 | FALSE |  |  | 0 | NULL
1.3.17 |  | STATUS PANEL | FIKE | 02-13946 | NOS | 2 | 4750 | 1295 | 0 | 2590 | 0 | FALSE |  |  | 0 | NULL
1.3.18 |  | WARNING SIGN - LED TYPE (CONTAIN FOLLOWING INFORMATION: "WARNING! DO NOT ENTER WHEN STROBE IS FLASHING. CLEAN AGENT HAS BEEN DISCHARGED" | NAFFCO | CUSTOM MADE | NOS | 2 | 2950 | 804 | 0 | 1608 | 0 | FALSE |  |  | 0 | NULL
2 |  | INERT GAS SUPPRESSION SYSTEM, MODULAR |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
2.1 |  | DATA CENTER (MAIN MECHANICAL COMPONENTS) |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
2.1.1 | 10340512180 | CONTAINER ASSEMBLY 140 LTR (IG541) KIT FILLED WITH 52% NITROGEN + 40% ARGON + 8% CO2 - 300BAR, MODEL: NFIG541-300-140 FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | NF-IG541-140-300 | SET | 5 | 4880 | 1330 | 0 | 6650 | 0 | FALSE |  |  | 0 | NULL
2.1.2 | 10341512065 | PRESSURE GAUGE, M10 X 1 MALE THREADED WITH SWITCH FOR IG100 INERT GAS SYSTEM WITH 0-6100 PSI, SWITCH POINT 3743 PSI, P.N.# 029720215 FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | 029720215 | NOS | 5 | 340 | 93 | 0 | 465 | 0 | FALSE |  |  | 0 | NULL
2.1.3 | 10341512236 | CONSTANT DISCHARGE PRESSURE REGULATOR WITH 12MM ORIFICE SIZE, MAXIMUM INLET PRESSURE 360 BAR, INLET W 21.8 X 1/14" DIN 477 & OUTLET W 21.8 X 1/14" DIN 477, P/N.# B08400003-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM (REF.# 10341512235) | NAFFCO | B08400003-NF | NOS | 5 | 600 | 164 | 0 | 820 | 0 | FALSE |  |  | 0 | NULL
2.1.4 | 10341512133 | ELECTRO MAGNETIC DEVICE WITH DIODE, INLET THREADED TO M42 X 1.5, 24V DC, 0.5 A, IP 65 RATED, P/N.# B04425146 FOR UL LISTED FIRE SUPPRESSION SYSTEM (REFER ITEM.# 10341512136) | NAFFCO | B04425148 | NOS | 1 | 790 | 216 | 0 | 216 | 0 | FALSE |  |  | 0 | NULL
2.1.5 | 10349012810 | RESET TOOL FOR ELECTRO MAGNETIC DEVICE FOR INERT GAS SYSTEM, P/N.# 029210064 (OLD P/N.# 023000064) - NAFFCO | NAFFCO | 029210064 (023000064) | NOS | 1 | 110 | 30 | 0 | 30 | 0 | FALSE |  |  | 0 | NULL
2.1.6 | 10341512120 | MANUAL / PNEUMATIC RELEASE DEVICE, WP 300 BAR, INLET THREADED TO M42 X 1.5, PNEUMATIC LINE CONNECTION G 1/8", P/N.# B04420065-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B04420065 | NOS | 1 | 120 | 33 | 0 | 33 | 0 | FALSE |  |  | 0 | NULL
2.1.7 | 10341512122 | PNEUMATIC RELEASE DEVICE, WP 300 BAR, INLET THREADED TO M42 X 1.5, PNEUMATIC LINE CONNECTION G 1/8", P/N.# B04420066NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B04420066 | NOS | 4 | 80 | 22 | 0 | 88 | 0 | FALSE |  |  | 0 | NULL
2.1.8 | 10343512025 | DISCHARGE HOSE, DN16, WP 350 BAR, B/P 1400 BAR, 400MM LENGTH, INLET FEMALE THREAD TO W 21.8 X 1/14" TO DIN 477 & OUTLET FEMALE THREAD TO G 3/4", P/N.# B06920225-NF FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | B06920225-NF | NOS | 5 | 180 | 50 | 0 | 250 | 0 | FALSE |  |  | 0 | NULL
2.1.9 | 10343012208 | MANIFOLD CHECK VALVE, BRASS, MAX W/P 100 BAR, TP 150 BAR, HOSE CONNECTION THREAD G3/4", MANIFOLD CONNECTION THREAD R1" DN12, P/N.# B04600008-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B04600008 | NOS | 5 | 130 | 36 | 0 | 180 | 0 | FALSE |  |  | 0 | NULL
2.1.10 | 10343512032 | PILOT HOSE, SYNTHETIC RUBBER OIL RESISTANT W/STRAIGHT FITTINGS M12 X 1.5 FEMALE THREAD IN BOTH ENDS, 700MM LONG, W/P 400 BAR, B/P 1600 BAR, TEMP RANGE: -40 C. TO 100 C, P/N.# B06920212 FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B06920212-NF | NOS | 1 | 70 | 20 | 0 | 20 | 0 | FALSE |  |  | 0 | NULL
2.1.11 | 10343512033 | PILOT HOSE, SYNTHETIC RUBBER OIL RESISTANT W/STRAIGHT FITTINGS M12 X 1.5 FEMALE THREAD IN BOTH ENDS, 500MM LONG, W/P 400 BAR, B/P 1600 BAR, TEMP RANGE: -40 C. TO 100 C, P/N.# B06920213 FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B06920213-NF | NOS | 3 | 70 | 20 | 0 | 60 | 0 | FALSE |  |  | 0 | NULL
2.1.12 | 10349012606 | CONNECTING ADAPTOR, M12 X 1.5 MALE THREADED & G 1/8" MALE THREADED, P/N.# 029510006 FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | 029510006 | NOS | 8 | 20 | 6 | 0 | 48 | 0 | FALSE |  |  | 0 | NULL
2.1.13 | 10346012640 | BLEED VALVE, P/N.# 029730040-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | 029730040 | NOS | 1 | 170 | 47 | 0 | 47 | 0 | FALSE |  |  | 0 | NULL
2.1.14 | 10344012325 | MANIFOLD FOR 5 CYLINDER NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM, 360 DIA CYLINDER, P/N.# NFIG-360-SRM5 - NAFFCO | NAFFCO | NFIG-360-SRM5 | NOS | 1 | 1060 | 289 | 0 | 289 | 0 | FALSE |  |  | 0 | NULL
2.1.15 | 10344212255 | RACK ASSEMBLY FOR 5 CYLINDERS, SINGLE ROW, FLOOR MOUNTING TYPE, CYLINDER DIA: 267MM, CAPACITY: 67L, 80L & 140L, PRESSURE RATING: 200 / 300BAR, MODEL: NFIG-RA01-005F FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM - NAFFCO | NAFFCO | NFIG-RA01-005F | NOS | 1 | 500 | 137 | 0 | 137 | 0 | FALSE |  |  | 0 | NULL
2.1.16 | 1034201XXXX | DISCHARGE NOZZLE | NAFFCO | B046111XXX | NOS | 3 | 180 | 50 | 0 | 150 | 0 | FALSE |  |  | 0 | NULL
2.1.17 | 10341512137 | PRESSURE RELIEF DEVICE FOR MANIFOLD, P/N.# 029730037 FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | 029730037 | NOS | 1 | 1900 | 518 | 0 | 518 | 0 | FALSE |  |  | 0 | NULL
2.1.18 | 10341512022 | PRESSURE & FLOW DETECTOR SWITCH, P/N.# 028250050 FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | 028250050 | NOS | 1 | 690 | 189 | 0 | 189 | 0 | FALSE |  |  | 0 | NULL
2.1.19 |  | WARNING SIGN - 3 LAYER, WHITE UPPER CASE LETTERS ON A RED BACKGROUND | NAFFCO | CUSTOM MADE | NOS | 1 | 2950 | 804 | 0 | 804 | 0 | FALSE |  |  | 0 | NULL
2.2 |  | ELECTRICAL COMPONENTS |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
2.2.1 |  | CHEETAH XI CONTROL SYSTEM W/LEXAN INCLUDING: CHEETAH XI CONTROLLER P/N 10-2542 TRANSFORMER 120VAC P/N 02-10881 RED ENCLOSURE P/N 10-2541-R | CHEETAH Xi | 10-068-R-1-L | SET | 1 | 12000 | 3270 | 0 | 3270 | 0 | FALSE |  |  | 0 | NULL
2.2.2 | 13009725250 | PCB ASSEMBLY RM4 RELAY MODULE FOR SHP PRO PANEL, PART # 10-2204 - FIKE | FIKE | 10-2204 | NOS | 1 | 750 | 205 | 0 | 205 | 0 | FALSE |  |  | 0 | NULL
2.2.3 |  | MIMIC PANEL | FIKE |  | SET | 1 | 6500 | 1772 | 0 | 1772 | 0 | FALSE |  |  | 0 | NULL
2.2.4 | 13101825018 | SMOKE DETECTOR, PHOTOELECTRIC WITH BUILT IN ISOLATORS (ED-PI), MODEL: 63-1058 - FIKE | FIKE | 63-1058 | NOS | 6 | 306 | 84 | 0 | 504 | 0 | FALSE |  |  | 0 | NULL
2.2.5 | 13109925110 | STANDARD DETECTOR BASE 4" WITH BUILT IN ISOLATORS (EBI), MODEL: 63-1061 - FIKE | FIKE | 63-1061 | NOS | 6 | 61 | 17 | 0 | 102 | 0 | FALSE |  |  | 0 | NULL
2.2.6 | 13006438060 | FIRE ALARM BELL 6", MOTOR DRIVEN TYPE, RED COLOUR, 24V DC, 20-30MA CURRENT CONSUMPTION, UL LISTED, MODEL: FB1000C6, SHIELD | SHIELD | FB1000C6 | NOS | 1 | 56 | 16 | 0 | 16 | 0 | FALSE |  |  | 0 | NULL
2.2.7 | 13007138210 | HORN/STROBE, INDOOR, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, UL LISTED, MODEL : SH-HSIR - SHIELD | SHIELD | SH-HSIR | NOS | 1 | 150 | 41 | 0 | 41 | 0 | FALSE |  |  | 0 | NULL
2.2.8 | 13006325141 | MAIN TO RESERVE TRANSFER SWITCH FOR SYSTEMS, MODEL.# 10-2967, UL/FM APPROVED - FIKE WITH BACKBOX | FIKE | 10-2967 | SET | 1 | 375 | 103 | 0 | 103 | 0 | FALSE |  |  | 0 | NULL
2.2.9 | 13006225123 | SYSTEM ABORT SWITCH, MODEL.# 10-2965, UL/FM - FIKE WITH BACKBOX | FIKE | 10-2965 | NOS | 2 | 395 | 108 | 0 | 216 | 0 | FALSE |  |  | 0 | NULL
2.2.10 | 13105025063 | INTELLIGENT AGENT RELEASE PULL STATION, P/N.# 20-1343 - FIKE WITH BACKBOX | FIKE | 20-1343 | NOS | 2 | 395 | 108 | 0 | 216 | 0 | FALSE |  |  | 0 | NULL
2.2.11 |  | KEYED INPUT SWITCH FOR AUTO/MANUAL OPERATION & ACTIVE/INHHIBIT MODE OPERATION - 10-2969, FIKE WITH BACKBOX | FIKE | 10-2969 | NOS | 2 | 1250 | 341 | 0 | 682 | 0 | FALSE |  |  | 0 | NULL
2.2.12 | 10341512541 | RELEASING CIRCUIT DISABLE SWITCH,24V DC, UL LISTED, MODEL: RCDS-1 (POTTER) WITH BACKBOX | POTTER | RCDS-1 | NOS | 1 | 225 | 62 | 0 | 62 | 0 | FALSE |  |  | 0 | NULL
2.2.13 | 13108425153 | RELEASING CONTROL MODULE WITH ISOLATOR (EM-1RMI), MODEL.# 55-053 - FIKE WITH BACKBOX | FIKE | 55-053 | NOS | 2 | 1180 | 322 | 0 | 644 | 0 | FALSE |  |  | 0 | NULL
2.2.14 | 13108625050 | ADDRESSABLE MINI MONITOR MODULE WITH BUILT IN ISOLATOR (EM-1MMI), MODEL: 55-050 - FIKE WITH BACKBOX | FIKE | 55-050 | NOS | 7 | 380 | 104 | 0 | 728 | 0 | FALSE |  |  | 0 | NULL
2.2.15 | 13108625046 | ADDRESSABLE SQUARE MONITOR MODULE 4" WITH ISOLATOR (EM-1SMI), MODEL: 55-046 - FIKE WITH BACKBOX | FIKE | 55-046 | NOS | 9 | 375 | 103 | 0 | 927 | 0 | FALSE |  |  | 0 | NULL
2.2.16 | 13108425015 | SUPERVISED CONTROL MODULE WITH BUILT IN ISOLATOR (EM-1SMI), MODEL: 55-047 - FIKE WITH BACKBOX | FIKE | 55-047 | NOS | 8 | 432 | 118 | 0 | 944 | 0 | FALSE |  |  | 0 | NULL
2.2.17 | 13109925229 | REMOTE POWER SUPPLY UNIT WITH ENCLOSURE AND PCB BOARD, 10A, P/N.# 10-2829-1-0-01-0-1-01 - FIKE | FIKE | 10-2829-1-0-01-0-1-01 | NOS | 1 | 2519 | 687 | 0 | 687 | 0 | FALSE |  |  | 0 | NULL
2.2.18 |  | STATUS PANEL | FIKE | 02-13946 | NOS |  | 4750 | 1295 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
2.2.19 |  | WARNING SIGN - LED TYPE (CONTAIN FOLLOWING INFORMATION: "WARNING! DO NOT ENTER WHEN STROBE IS FLASHING. CLEAN AGENT HAS BEEN DISCHARGED" | NAFFCO | CUSTOM MADE | NOS | 2 | 2950 | 804 | 0 | 1608 | 0 | FALSE |  |  | 0 | NULL
2.3 |  | DATA CENTER (RESERVE MECHANICAL COMPONENTS) |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
2.3.1 | 10340512180 | CONTAINER ASSEMBLY 140 LTR (IG541) KIT FILLED WITH 52% NITROGEN + 40% ARGON + 8% CO2 - 300BAR, MODEL: NFIG541-300-140 FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | NF-IG541-140-300 | SET | 5 | 4880 | 1330 | 0 | 6650 | 0 | FALSE |  |  | 0 | NULL
2.3.2 | 10341512065 | PRESSURE GAUGE, M10 X 1 MALE THREADED WITH SWITCH FOR IG100 INERT GAS SYSTEM WITH 0-6100 PSI, SWITCH POINT 3743 PSI, P.N.# 029720215 FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | 029720215 | NOS | 5 | 340 | 93 | 0 | 465 | 0 | FALSE |  |  | 0 | NULL
2.3.3 | 10341512236 | CONSTANT DISCHARGE PRESSURE REGULATOR WITH 12MM ORIFICE SIZE, MAXIMUM INLET PRESSURE 360 BAR, INLET W 21.8 X 1/14" DIN 477 & OUTLET W 21.8 X 1/14" DIN 477, P/N.# B08400003-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM (REF.# 10341512235) | NAFFCO | B08400003-NF | NOS | 5 | 600 | 164 | 0 | 820 | 0 | FALSE |  |  | 0 | NULL
2.3.4 | 10341512133 | ELECTRO MAGNETIC DEVICE WITH DIODE, INLET THREADED TO M42 X 1.5, 24V DC, 0.5 A, IP 65 RATED, P/N.# B04425146 FOR UL LISTED FIRE SUPPRESSION SYSTEM (REFER ITEM.# 10341512136) | NAFFCO | B04425148 | NOS | 1 | 790 | 216 | 0 | 216 | 0 | FALSE |  |  | 0 | NULL
2.3.5 | 10341512120 | MANUAL / PNEUMATIC RELEASE DEVICE, WP 300 BAR, INLET THREADED TO M42 X 1.5, PNEUMATIC LINE CONNECTION G 1/8", P/N.# B04420065-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B04420065 | NOS | 1 | 120 | 33 | 0 | 33 | 0 | FALSE |  |  | 0 | NULL
2.3.6 | 10341512520 | MONITORING SWITCH FOR ELECTROMAGNETIC DEVICE FOR UL LISTED NAFFCOINERT SYSTEM, PART NO: 029905200-NF - NAFFCO | NAFFCO | 029905200-NF | NOS | 1 | 350 | 96 | 0 | 96 | 0 | FALSE |  |  | 0 | NULL
2.3.7 | 10341512122 | PNEUMATIC RELEASE DEVICE, WP 300 BAR, INLET THREADED TO M42 X 1.5, PNEUMATIC LINE CONNECTION G 1/8", P/N.# B04420066NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B04420066 | NOS | 4 | 80 | 22 | 0 | 88 | 0 | FALSE |  |  | 0 | NULL
2.3.8 | 10343512025 | DISCHARGE HOSE, DN16, WP 350 BAR, B/P 1400 BAR, 400MM LENGTH, INLET FEMALE THREAD TO W 21.8 X 1/14" TO DIN 477 & OUTLET FEMALE THREAD TO G 3/4", P/N.# B06920225-NF FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | B06920225-NF | NOS | 5 | 180 | 50 | 0 | 250 | 0 | FALSE |  |  | 0 | NULL
2.3.9 | 10343012208 | MANIFOLD CHECK VALVE, BRASS, MAX W/P 100 BAR, TP 150 BAR, HOSE CONNECTION THREAD G3/4", MANIFOLD CONNECTION THREAD R1" DN12, P/N.# B04600008-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B04600008 | NOS | 5 | 130 | 36 | 0 | 180 | 0 | FALSE |  |  | 0 | NULL
2.3.10 | 10343512032 | PILOT HOSE, SYNTHETIC RUBBER OIL RESISTANT W/STRAIGHT FITTINGS M12 X 1.5 FEMALE THREAD IN BOTH ENDS, 700MM LONG, W/P 400 BAR, B/P 1600 BAR, TEMP RANGE: -40 C. TO 100 C, P/N.# B06920212 FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B06920212-NF | NOS | 1 | 70 | 20 | 0 | 20 | 0 | FALSE |  |  | 0 | NULL
2.3.11 | 10343512033 | PILOT HOSE, SYNTHETIC RUBBER OIL RESISTANT W/STRAIGHT FITTINGS M12 X 1.5 FEMALE THREAD IN BOTH ENDS, 500MM LONG, W/P 400 BAR, B/P 1600 BAR, TEMP RANGE: -40 C. TO 100 C, P/N.# B06920213 FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B06920213-NF | NOS | 3 | 70 | 20 | 0 | 60 | 0 | FALSE |  |  | 0 | NULL
2.3.12 | 10349012606 | CONNECTING ADAPTOR, M12 X 1.5 MALE THREADED & G 1/8" MALE THREADED, P/N.# 029510006 FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | 029510006 | NOS | 8 | 20 | 6 | 0 | 48 | 0 | FALSE |  |  | 0 | NULL
2.3.13 | 10346012640 | BLEED VALVE, P/N.# 029730040-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | 029730040 | NOS | 1 | 170 | 47 | 0 | 47 | 0 | FALSE |  |  | 0 | NULL
2.3.14 | 10344012325 | MANIFOLD FOR 5 CYLINDER NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM, 360 DIA CYLINDER, P/N.# NFIG-360-SRM5 - NAFFCO | NAFFCO | NFIG-360-SRM5 | NOS | 1 | 1060 | 289 | 0 | 289 | 0 | FALSE |  |  | 0 | NULL
2.3.15 | 10344212255 | RACK ASSEMBLY FOR 5 CYLINDERS, SINGLE ROW, FLOOR MOUNTING TYPE, CYLINDER DIA: 267MM, CAPACITY: 67L, 80L & 140L, PRESSURE RATING: 200 / 300BAR, MODEL: NFIG-RA01-005F FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM - NAFFCO | NAFFCO | NFIG-RA01-005F | NOS | 1 | 500 | 137 | 0 | 137 | 0 | FALSE |  |  | 0 | NULL