## FIRE STATION
SLNO | ItemCode | ItemName | Brand | Model | UOM | Qty | UnitPriceAED | UnitPrice | Margin | Amount | Unitweight | Optional | COO | DeliveryStatus | CRMProductId | CRMProduct
1 |  | TELECOM ROOM |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.1 |  | MECHANICAL COMPONENTS (MAIN) |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.1.1 |  | 140 Ltr 300 BAR INERT GAS CYLINDER ASSEMBLY COMPLETE WITH: - 140 LTR., 356 MM DIA. CYLINDER FILLED WITH IG-100 AGENT - 300 BAR DISCHARGE HEAD VALVE WITH PRESSURE GAUGE/PRESSURE SWITCH FOR 300 BAR - SAFETY/PROTECTION CAP | NAFFCO | NFIG100-300-140 | SETS | 4 | 4770 | 1365 | 5 | 5460 | 0 | FALSE |  |  | 0 | NULL
1.1.2 | 10341512133 | ELECTRO MAGNETIC DEVICE WITH DIODE, INLET THREADED TO M42 X 1.5, 24V DC, 0.5 A, IP 65 RATED, P/N.# B04425146 FOR UL LISTED FIRE SUPPRESSION SYSTEM (REFER ITEM.# 10341512136) | NAFFCO | B04425146 | NOS | 1 | 790 | 227 | 5 | 227 | 0 | FALSE |  |  | 0 | NULL
1.1.3 | 10349012810 | RESET TOOL FOR ELECTRO MAGNETIC DEVICE FOR INERT GAS SYSTEM, P/N.# 029210064 (OLD P/N.# 023000064) - NAFFCO | NAFFCO | 029210064 (023000064) | NOS | 1 | 110 | 32 | 5 | 32 | 0 | FALSE |  |  | 0 | NULL
1.1.4 | 10341512520 | MONITORING SWITCH FOR ELECTROMAGNETIC DEVICE FOR UL LISTED NAFFCOINERT SYSTEM, PART NO: 029905200-NF - NAFFCO | NAFFCO | 029905200-NF | NOS | 1 | 390 | 112 | 5 | 112 | 0 | FALSE |  |  | 0 | NULL
1.1.5 | 10341512120 | MANUAL / PNEUMATIC RELEASE DEVICE, WP 300 BAR, INLET THREADED TO M42 X 1.5, PNEUMATIC LINE CONNECTION G 1/8", P/N.# B04420065-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B04420065 | NOS | 1 | 122 | 35 | 5 | 35 | 0 | FALSE |  |  | 0 | NULL
1.1.6 | 10341512122 | PNEUMATIC RELEASE DEVICE, WP 300 BAR, INLET THREADED TO M42 X 1.5, PNEUMATIC LINE CONNECTION G 1/8", P/N.# B04420066NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B04420066 | NOS | 3 | 83 | 24 | 5 | 72 | 0 | FALSE |  |  | 0 | NULL
1.1.7 | 10343512025 | DISCHARGE HOSE, DN16, WP 350 BAR, B/P 1400 BAR, 400MM LENGTH, INLET FEMALE THREAD TO W 21.8 X 1/14" TO DIN 477 & OUTLET FEMALE THREAD TO G 3/4", P/N.# B06920225-NF FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | B06920225-NF | NOS | 4 | 240 | 69 | 5 | 276 | 0 | FALSE |  |  | 0 | NULL
1.1.8 | 10343012208 | MANIFOLD CHECK VALVE, BRASS, MAX W/P 100 BAR, TP 150 BAR, HOSE CONNECTION THREAD G3/4", MANIFOLD CONNECTION THREAD R1" DN12, P/N.# B04600008-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B04600008 | NOS | 4 | 130 | 38 | 5 | 152 | 0 | FALSE |  |  | 0 | NULL
1.1.9 | 10343512032 | PILOT HOSE, SYNTHETIC RUBBER OIL RESISTANT W/STRAIGHT FITTINGS M12 X 1.5 FEMALE THREAD IN BOTH ENDS, 700MM LONG, W/P 400 BAR, B/P 1600 BAR, TEMP RANGE: -40 C. TO 100 C, P/N.# B06920212 FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B06920212-NF | NOS | 1 | 70 | 21 | 5 | 21 | 0 | FALSE |  |  | 0 | NULL
1.1.10 | 10343512033 | PILOT HOSE, SYNTHETIC RUBBER OIL RESISTANT W/STRAIGHT FITTINGS M12 X 1.5 FEMALE THREAD IN BOTH ENDS, 500MM LONG, W/P 400 BAR, B/P 1600 BAR, TEMP RANGE: -40 C. TO 100 C, P/N.# B06920213 FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B06920213-NF | NOS | 2 | 70 | 21 | 5 | 42 | 0 | FALSE |  |  | 0 | NULL
1.1.11 | 10349012606 | CONNECTING ADAPTOR, M12 X 1.5 MALE THREADED & G 1/8" MALE THREADED, P/N.# 029510006 FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | 029510006 | NOS | 6 | 20 | 6 | 5 | 36 | 0 | FALSE |  |  | 0 | NULL
1.1.12 | 10346012640 | BLEED VALVE, P/N.# 029730040-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | 029730040 | NOS | 1 | 170 | 49 | 5 | 49 | 0 | FALSE |  |  | 0 | NULL
1.1.13 | 10344012324 | MANIFOLD FOR 4 CYLINDER NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM, 360 DIA CYLINDER, P/N.# NFIG-360-SRM4 - NAFFCO | NAFFCO | NFIG-360-SRM4 | NOS | 1 | 880 | 252 | 5 | 252 | 0 | FALSE |  |  | 0 | NULL
1.1.14 |  | MANIFOLD END CAP WITH PORT | NAFFCO |  | NOS | 1 | 42 | 13 | 5 | 13 | 0 | FALSE |  |  | 0 | NULL
1.1.15 |  | MANIFOLD END CAP WITHOUT PORT | NAFFCO |  | NOS | 1 | 42 | 13 | 5 | 13 | 0 | FALSE |  |  | 0 | NULL
1.1.16 | 10344212354 | RACK ASSEMBLY FOR 4 CYLINDERS, SINGLE ROW, FLOOR MOUNTING TYPE, CYLINDER DIA: 360MM, CAPACITY: 67L, 80L & 140L, PRESSURE RATING: 200 / 300BAR, MODEL: NFIG-RA02-004F FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM - NAFFCO | NAFFCO | NFIG-RA02-004F | NOS | 1 | 510 | 146 | 5 | 146 | 0 | FALSE |  |  | 0 | NULL
1.1.17 |  | DISCHARGE NOZZLE | NAFFCO | NAFFCO | NOS | 4 | 180 | 52 | 5 | 208 | 0 | FALSE |  |  | 0 | NULL
1.1.18 | 10341512137 | PRESSURE RELIEF DEVICE FOR MANIFOLD, P/N.# 029730037 FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | P/N #29730037 | NOS | 2 | 3193 | 914 | 5 | 1828 | 0 | FALSE |  |  | 0 | NULL
1.1.19 | 10341512022 | PRESSURE & FLOW DETECTOR SWITCH, P/N.# 028250050 FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | P/N # 28250050 | NOS | 1 | 691 | 198 | 5 | 198 | 0 | FALSE |  |  | 0 | NULL
1.1.20 | 10352575550 | HYDRAULIC CHECK VALVE 2", NPT FEMALE THREADED, CARBON STEEL, 300 BAR, MODEL: 504.110008BI - INTEVA, SPAIN |  | 504.110008BI | NOS | 2 | 703 | 202 | 5 | 404 | 0 | FALSE |  |  | 0 | NULL
1.1.21 |  | WARNING SIGN (3 NOS.) | NAFFCO |  | SETS | 1 | 300 | 86 | 5 | 86 | 0 | FALSE |  |  | 0 | NULL
1.2 |  | MECHANICAL COMPONENTS (RESERVE) |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.2.1 |  | 140 Ltr 300 BAR INERT GAS CYLINDER ASSEMBLY COMPLETE WITH: - 140 LTR., 356 MM DIA. CYLINDER FILLED WITH IG-100 AGENT - 300 BAR DISCHARGE HEAD VALVE WITH PRESSURE GAUGE/PRESSURE SWITCH FOR 300 BAR - SAFETY/PROTECTION CAP | NAFFCO | NFIG100-300-140 | SETS | 4 | 4770 | 1365 | 5 | 5460 | 0 | FALSE |  |  | 0 | NULL
1.2.2 | 10341512133 | ELECTRO MAGNETIC DEVICE WITH DIODE, INLET THREADED TO M42 X 1.5, 24V DC, 0.5 A, IP 65 RATED, P/N.# B04425146 FOR UL LISTED FIRE SUPPRESSION SYSTEM (REFER ITEM.# 10341512136) | NAFFCO | B04425146 | NOS | 1 | 790 | 227 | 5 | 227 | 0 | FALSE |  |  | 0 | NULL
1.2.3 |  | MONITORING SWITCH FOR ELECTROMAGNETIC DEVICE FOR UL LISTED NAFFCOINERT SYSTEM, PART NO: 029905200-NF - NAFFCO | NAFFCO | 029905200-NF | NOS | 1 | 390 | 112 | 5 | 112 | 0 | FALSE |  |  | 0 | NULL
1.2.4 | 10341512120 | MANUAL / PNEUMATIC RELEASE DEVICE, WP 300 BAR, INLET THREADED TO M42 X 1.5, PNEUMATIC LINE CONNECTION G 1/8", P/N.# B04420065-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B04420065 | NOS | 1 | 122 | 35 | 5 | 35 | 0 | FALSE |  |  | 0 | NULL
1.2.5 | 10341512122 | PNEUMATIC RELEASE DEVICE, WP 300 BAR, INLET THREADED TO M42 X 1.5, PNEUMATIC LINE CONNECTION G 1/8", P/N.# B04420066NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B04420066 | NOS | 3 | 83 | 24 | 5 | 72 | 0 | FALSE |  |  | 0 | NULL
1.2.6 | 10343512025 | DISCHARGE HOSE, DN16, WP 350 BAR, B/P 1400 BAR, 400MM LENGTH, INLET FEMALE THREAD TO W 21.8 X 1/14" TO DIN 477 & OUTLET FEMALE THREAD TO G 3/4", P/N.# B06920225-NF FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | B06920225-NF | NOS | 4 | 240 | 69 | 5 | 276 | 0 | FALSE |  |  | 0 | NULL
1.2.7 | 10343012208 | MANIFOLD CHECK VALVE, BRASS, MAX W/P 100 BAR, TP 150 BAR, HOSE CONNECTION THREAD G3/4", MANIFOLD CONNECTION THREAD R1" DN12, P/N.# B04600008-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B04600008 | NOS | 4 | 130 | 38 | 5 | 152 | 0 | FALSE |  |  | 0 | NULL
1.2.8 | 10343512032 | PILOT HOSE, SYNTHETIC RUBBER OIL RESISTANT W/STRAIGHT FITTINGS M12 X 1.5 FEMALE THREAD IN BOTH ENDS, 700MM LONG, W/P 400 BAR, B/P 1600 BAR, TEMP RANGE: -40 C. TO 100 C, P/N.# B06920212 FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B06920212-NF | NOS | 1 | 70 | 21 | 5 | 21 | 0 | FALSE |  |  | 0 | NULL
1.2.9 | 10343512033 | PILOT HOSE, SYNTHETIC RUBBER OIL RESISTANT W/STRAIGHT FITTINGS M12 X 1.5 FEMALE THREAD IN BOTH ENDS, 500MM LONG, W/P 400 BAR, B/P 1600 BAR, TEMP RANGE: -40 C. TO 100 C, P/N.# B06920213 FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B06920213-NF | NOS | 2 | 70 | 21 | 5 | 42 | 0 | FALSE |  |  | 0 | NULL
1.2.10 | 10349012606 | CONNECTING ADAPTOR, M12 X 1.5 MALE THREADED & G 1/8" MALE THREADED, P/N.# 029510006 FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | 029510006 | NOS | 6 | 20 | 6 | 5 | 36 | 0 | FALSE |  |  | 0 | NULL
1.2.11 |  | BLEED VALVE, P/N.# 029730040-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | 029730040 | NOS | 1 | 170 | 49 | 5 | 49 | 0 | FALSE |  |  | 0 | NULL
1.2.12 | 10344012324 | MANIFOLD FOR 4 CYLINDER NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM, 360 DIA CYLINDER, P/N.# NFIG-360-SRM4 - NAFFCO | NAFFCO | NFIG-360-SRM4 | NOS | 1 | 880 | 252 | 5 | 252 | 0 | FALSE |  |  | 0 | NULL
1.2.13 |  | MANIFOLD END CAP WITH PORT | NAFFCO | B023400100-NF | NOS | 1 | 42 | 13 | 5 | 13 | 0 | FALSE |  |  | 0 | NULL
1.2.14 |  | MANIFOLD END CAP WITHOUT PORT | NAFFCO |  | NOS | 1 | 42 | 13 | 5 | 13 | 0 | FALSE |  |  | 0 | NULL
1.2.15 | 10344212354 | RACK ASSEMBLY FOR 4 CYLINDERS, SINGLE ROW, FLOOR MOUNTING TYPE, CYLINDER DIA: 360MM, CAPACITY: 67L, 80L & 140L, PRESSURE RATING: 200 / 300BAR, MODEL: NFIG-RA02-004F FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM - NAFFCO | NAFFCO | NFIG-RA02-004F | NOS | 1 | 510 | 146 | 5 | 146 | 0 | FALSE |  |  | 0 | NULL
1.3 |  | MISCELLANEOUS ITEMS (OPTIONAL) |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.3.1 | 15466240162 | PRESSURE RELIEF DAMPER, SIZE: 620 X 620 X 120MM, MODEL: SHXUN500 - AFP | AFP | SHXUN500 | NOS | 1 | 3329.1499 | 953 | 0 | 953 | 0 | FALSE |  |  | 0 | NULL
1.3.2 |  | WEATHERPROOF LOUVERS FOR THE ABOVE PRV | AFP | DWL500 | NOS | 1 | 583 | 167 | 0 | 167 | 0 | FALSE |  |  | 0 | NULL
2 |  | RACK ROOM |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
2.1 |  | MECHANICAL COMPONENTS (MAIN) |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
2.1.1 |  | 140 Ltr 300 BAR INERT GAS CYLINDER ASSEMBLY COMPLETE WITH: - 140 LTR., 356 MM DIA. CYLINDER FILLED WITH IG-100 AGENT - 300 BAR DISCHARGE HEAD VALVE WITH PRESSURE GAUGE/PRESSURE SWITCH FOR 300 BAR - SAFETY/PROTECTION CAP | NAFFCO | NFIG100-300-140 | SETS | 3 | 4770 | 1365 | 5 | 4095 | 0 | FALSE |  |  | 0 | NULL
2.1.2 | 10341512133 | ELECTRO MAGNETIC DEVICE WITH DIODE, INLET THREADED TO M42 X 1.5, 24V DC, 0.5 A, IP 65 RATED, P/N.# B04425146 FOR UL LISTED FIRE SUPPRESSION SYSTEM (REFER ITEM.# 10341512136) | NAFFCO | B04425146 | NOS | 1 | 790 | 227 | 5 | 227 | 0 | FALSE |  |  | 0 | NULL
2.1.3 | 10349012810 | RESET TOOL FOR ELECTRO MAGNETIC DEVICE FOR INERT GAS SYSTEM, P/N.# 029210064 (OLD P/N.# 023000064) - NAFFCO | NAFFCO | 029210064 (023000064) | NOS | 1 | 110 | 32 | 5 | 32 | 0 | FALSE |  |  | 0 | NULL
2.1.4 | 10341512520 | MONITORING SWITCH FOR ELECTROMAGNETIC DEVICE FOR UL LISTED NAFFCOINERT SYSTEM, PART NO: 029905200-NF - NAFFCO | NAFFCO | 029905200-NF | NOS | 1 | 390 | 112 | 5 | 112 | 0 | FALSE |  |  | 0 | NULL
2.1.5 | 10341512120 | MANUAL / PNEUMATIC RELEASE DEVICE, WP 300 BAR, INLET THREADED TO M42 X 1.5, PNEUMATIC LINE CONNECTION G 1/8", P/N.# B04420065-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B04420065 | NOS | 1 | 122 | 35 | 5 | 35 | 0 | FALSE |  |  | 0 | NULL
2.1.6 | 10341512122 | PNEUMATIC RELEASE DEVICE, WP 300 BAR, INLET THREADED TO M42 X 1.5, PNEUMATIC LINE CONNECTION G 1/8", P/N.# B04420066NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B04420066 | NOS | 2 | 83 | 24 | 5 | 48 | 0 | FALSE |  |  | 0 | NULL
2.1.7 | 10343512025 | DISCHARGE HOSE, DN16, WP 350 BAR, B/P 1400 BAR, 400MM LENGTH, INLET FEMALE THREAD TO W 21.8 X 1/14" TO DIN 477 & OUTLET FEMALE THREAD TO G 3/4", P/N.# B06920225-NF FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | B06920225-NF | NOS | 3 | 240 | 69 | 5 | 207 | 0 | FALSE |  |  | 0 | NULL
2.1.8 | 10343012208 | MANIFOLD CHECK VALVE, BRASS, MAX W/P 100 BAR, TP 150 BAR, HOSE CONNECTION THREAD G3/4", MANIFOLD CONNECTION THREAD R1" DN12, P/N.# B04600008-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B04600008 | NOS | 3 | 130 | 38 | 5 | 114 | 0 | FALSE |  |  | 0 | NULL
2.1.9 | 10343512032 | PILOT HOSE, SYNTHETIC RUBBER OIL RESISTANT W/STRAIGHT FITTINGS M12 X 1.5 FEMALE THREAD IN BOTH ENDS, 700MM LONG, W/P 400 BAR, B/P 1600 BAR, TEMP RANGE: -40 C. TO 100 C, P/N.# B06920212 FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B06920212-NF | NOS | 1 | 70 | 21 | 5 | 21 | 0 | FALSE |  |  | 0 | NULL
2.1.10 | 10343512033 | PILOT HOSE, SYNTHETIC RUBBER OIL RESISTANT W/STRAIGHT FITTINGS M12 X 1.5 FEMALE THREAD IN BOTH ENDS, 500MM LONG, W/P 400 BAR, B/P 1600 BAR, TEMP RANGE: -40 C. TO 100 C, P/N.# B06920213 FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B06920213-NF | NOS | 1 | 70 | 21 | 5 | 21 | 0 | FALSE |  |  | 0 | NULL
2.1.11 | 10349012606 | CONNECTING ADAPTOR, M12 X 1.5 MALE THREADED & G 1/8" MALE THREADED, P/N.# 029510006 FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | 029510006 | NOS | 4 | 20 | 6 | 5 | 24 | 0 | FALSE |  |  | 0 | NULL
2.1.12 | 10346012640 | BLEED VALVE, P/N.# 029730040-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | 029730040 | NOS | 1 | 170 | 49 | 5 | 49 | 0 | FALSE |  |  | 0 | NULL
2.1.13 | 10344012323 | MANIFOLD FOR 3 CYLINDER NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM, 360 DIA CYLINDER, P/N.# NFIG-360-SRM3 - NAFFCO | NAFFCO | NFIG-360-SRM3 | NOS | 1 | 880 | 252 | 5 | 252 | 0 | FALSE |  |  | 0 | NULL
2.1.14 |  | MANIFOLD END CAP WITH PORT | NAFFCO |  | NOS | 1 | 42 | 13 | 5 | 13 | 0 | FALSE |  |  | 0 | NULL
2.1.15 |  | MANIFOLD END CAP WITHOUT PORT | NAFFCO |  | NOS | 1 | 42 | 13 | 5 | 13 | 0 | FALSE |  |  | 0 | NULL
2.1.16 | 10344212353 | RACK ASSEMBLY FOR 3 CYLINDERS, SINGLE ROW, FLOOR MOUNTING TYPE, CYLINDER DIA: 360MM, CAPACITY: 67L, 80L & 140L, PRESSURE RATING: 200 / 300BAR, MODEL: NFIG-RA02-003F FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM - NAFFCO | NAFFCO | NFIG-RA02-003F | NOS | 1 | 380 | 109 | 5 | 109 | 0 | FALSE |  |  | 0 | NULL
2.1.17 |  | DISCHARGE NOZZLE | NAFFCO | NAFFCO | NOS | 4 | 180 | 52 | 5 | 208 | 0 | FALSE |  |  | 0 | NULL
2.1.18 | 10341512137 | PRESSURE RELIEF DEVICE FOR MANIFOLD, P/N.# 029730037 FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | P/N #29730037 | NOS | 2 | 3193 | 914 | 5 | 1828 | 0 | FALSE |  |  | 0 | NULL
2.1.19 | 10341512022 | PRESSURE & FLOW DETECTOR SWITCH, P/N.# 028250050 FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | P/N # 28250050 | NOS | 1 | 691 | 198 | 5 | 198 | 0 | FALSE |  |  | 0 | NULL
2.1.20 | 10352575550 | HYDRAULIC CHECK VALVE 2", NPT FEMALE THREADED, CARBON STEEL, 300 BAR, MODEL: 504.110008BI - INTEVA, SPAIN |  | 504.110008BI | NOS | 2 | 703 | 202 | 5 | 404 | 0 | FALSE |  |  | 0 | NULL
2.1.21 |  | WARNING SIGN (3 NOS.) | NAFFCO |  | SETS | 3 | 300 | 86 | 5 | 258 | 0 | FALSE |  |  | 0 | NULL
2.2 |  | MECHANICAL COMPONENTS (RESERVE) |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
2.2.1 |  | 140 Ltr 300 BAR INERT GAS CYLINDER ASSEMBLY COMPLETE WITH: - 140 LTR., 356 MM DIA. CYLINDER FILLED WITH IG-100 AGENT - 300 BAR DISCHARGE HEAD VALVE WITH PRESSURE GAUGE/PRESSURE SWITCH FOR 300 BAR - SAFETY/PROTECTION CAP | NAFFCO | NFIG100-300-140 | SETS | 3 | 4770 | 1365 | 5 | 4095 | 0 | FALSE |  |  | 0 | NULL
2.2.2 | 10341512133 | ELECTRO MAGNETIC DEVICE WITH DIODE, INLET THREADED TO M42 X 1.5, 24V DC, 0.5 A, IP 65 RATED, P/N.# B04425146 FOR UL LISTED FIRE SUPPRESSION SYSTEM (REFER ITEM.# 10341512136) | NAFFCO | B04425146 | NOS | 1 | 790 | 227 | 5 | 227 | 0 | FALSE |  |  | 0 | NULL
2.2.3 |  | MONITORING SWITCH FOR ELECTROMAGNETIC DEVICE FOR UL LISTED NAFFCOINERT SYSTEM, PART NO: 029905200-NF - NAFFCO | NAFFCO | 029905200-NF | NOS | 1 | 390 | 112 | 5 | 112 | 0 | FALSE |  |  | 0 | NULL
2.2.4 | 10341512120 | MANUAL / PNEUMATIC RELEASE DEVICE, WP 300 BAR, INLET THREADED TO M42 X 1.5, PNEUMATIC LINE CONNECTION G 1/8", P/N.# B04420065-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B04420065 | NOS | 1 | 122 | 35 | 5 | 35 | 0 | FALSE |  |  | 0 | NULL
2.2.5 | 10341512122 | PNEUMATIC RELEASE DEVICE, WP 300 BAR, INLET THREADED TO M42 X 1.5, PNEUMATIC LINE CONNECTION G 1/8", P/N.# B04420066NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B04420066 | NOS | 2 | 83 | 24 | 5 | 48 | 0 | FALSE |  |  | 0 | NULL
2.2.6 | 10343512025 | DISCHARGE HOSE, DN16, WP 350 BAR, B/P 1400 BAR, 400MM LENGTH, INLET FEMALE THREAD TO W 21.8 X 1/14" TO DIN 477 & OUTLET FEMALE THREAD TO G 3/4", P/N.# B06920225-NF FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | B06920225-NF | NOS | 3 | 240 | 69 | 5 | 207 | 0 | FALSE |  |  | 0 | NULL
2.2.7 | 10343012208 | MANIFOLD CHECK VALVE, BRASS, MAX W/P 100 BAR, TP 150 BAR, HOSE CONNECTION THREAD G3/4", MANIFOLD CONNECTION THREAD R1" DN12, P/N.# B04600008-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B04600008 | NOS | 3 | 130 | 38 | 5 | 114 | 0 | FALSE |  |  | 0 | NULL
2.2.8 | 10343512032 | PILOT HOSE, SYNTHETIC RUBBER OIL RESISTANT W/STRAIGHT FITTINGS M12 X 1.5 FEMALE THREAD IN BOTH ENDS, 700MM LONG, W/P 400 BAR, B/P 1600 BAR, TEMP RANGE: -40 C. TO 100 C, P/N.# B06920212 FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B06920212-NF | NOS | 1 | 70 | 21 | 5 | 21 | 0 | FALSE |  |  | 0 | NULL
2.2.9 | 10343512033 | PILOT HOSE, SYNTHETIC RUBBER OIL RESISTANT W/STRAIGHT FITTINGS M12 X 1.5 FEMALE THREAD IN BOTH ENDS, 500MM LONG, W/P 400 BAR, B/P 1600 BAR, TEMP RANGE: -40 C. TO 100 C, P/N.# B06920213 FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B06920213-NF | NOS | 1 | 70 | 21 | 5 | 21 | 0 | FALSE |  |  | 0 | NULL
2.2.10 | 10349012606 | CONNECTING ADAPTOR, M12 X 1.5 MALE THREADED & G 1/8" MALE THREADED, P/N.# 029510006 FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | 029510006 | NOS | 4 | 20 | 6 | 5 | 24 | 0 | FALSE |  |  | 0 | NULL
2.2.11 |  | BLEED VALVE, P/N.# 029730040-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | 029730040 | NOS | 1 | 170 | 49 | 5 | 49 | 0 | FALSE |  |  | 0 | NULL
2.2.12 | 10344012323 | MANIFOLD FOR 3 CYLINDER NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM, 360 DIA CYLINDER, P/N.# NFIG-360-SRM3 - NAFFCO | NAFFCO | NFIG-360-SRM3 | NOS | 1 | 880 | 252 | 5 | 252 | 0 | FALSE |  |  | 0 | NULL
2.2.13 |  | MANIFOLD END CAP WITH PORT | NAFFCO | B023400100-NF | NOS | 1 | 42 | 13 | 5 | 13 | 0 | FALSE |  |  | 0 | NULL
2.2.14 |  | MANIFOLD END CAP WITHOUT PORT | NAFFCO |  | NOS | 1 | 42 | 13 | 5 | 13 | 0 | FALSE |  |  | 0 | NULL
2.2.15 | 10344212353 | RACK ASSEMBLY FOR 3 CYLINDERS, SINGLE ROW, FLOOR MOUNTING TYPE, CYLINDER DIA: 360MM, CAPACITY: 67L, 80L & 140L, PRESSURE RATING: 200 / 300BAR, MODEL: NFIG-RA02-003F FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM - NAFFCO | NAFFCO | NFIG-RA02-003F | NOS | 1 | 380 | 109 | 5 | 109 | 0 | FALSE |  |  | 0 | NULL
2.3 |  | MISCELLANEOUS ITEMS (OPTIONAL) |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
2.3.1 | 15466240142 | PRESSURE RELIEF DAMPER, SIZE: 420 X 420 X 120MM, MODEL: SHXUN300 - AFP | AFP | SHXUN300 | NOS | 1 | 1802.5525 | 516 | 0 | 516 | 0 | FALSE |  |  | 0 | NULL
2.3.2 |  | WEATHERPROOF LOUVERS FOR THE ABOVE PRV | AFP | DWL300 | NOS | 1 | 398 | 114 | 0 | 114 | 0 | FALSE |  |  | 0 | NULL
3 |  | BATTERY ROOM |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
3.1 |  | MECHANICAL COMPONENTS (MAIN) |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
3.1.1 |  | 140 Ltr 300 BAR INERT GAS CYLINDER ASSEMBLY COMPLETE WITH: - 140 LTR., 356 MM DIA. CYLINDER FILLED WITH IG-100 AGENT - 300 BAR DISCHARGE HEAD VALVE WITH PRESSURE GAUGE/PRESSURE SWITCH FOR 300 BAR - SAFETY/PROTECTION CAP | NAFFCO | NFIG100-300-140 | SETS | 2 | 4770 | 1365 | 5 | 2730 | 0 | FALSE |  |  | 0 | NULL
3.1.2 | 10341512133 | ELECTRO MAGNETIC DEVICE WITH DIODE, INLET THREADED TO M42 X 1.5, 24V DC, 0.5 A, IP 65 RATED, P/N.# B04425146 FOR UL LISTED FIRE SUPPRESSION SYSTEM (REFER ITEM.# 10341512136) | NAFFCO | B04425146 | NOS | 1 | 790 | 227 | 5 | 227 | 0 | FALSE |  |  | 0 | NULL
3.1.3 | 10349012810 | RESET TOOL FOR ELECTRO MAGNETIC DEVICE FOR INERT GAS SYSTEM, P/N.# 029210064 (OLD P/N.# 023000064) - NAFFCO | NAFFCO | 029210064 (023000064) | NOS | 1 | 110 | 32 | 5 | 32 | 0 | FALSE |  |  | 0 | NULL
3.1.4 | 10341512520 | MONITORING SWITCH FOR ELECTROMAGNETIC DEVICE FOR UL LISTED NAFFCOINERT SYSTEM, PART NO: 029905200-NF - NAFFCO | NAFFCO | 029905200-NF | NOS | 1 | 390 | 112 | 5 | 112 | 0 | FALSE |  |  | 0 | NULL
3.1.5 | 10341512120 | MANUAL / PNEUMATIC RELEASE DEVICE, WP 300 BAR, INLET THREADED TO M42 X 1.5, PNEUMATIC LINE CONNECTION G 1/8", P/N.# B04420065-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B04420065 | NOS | 1 | 122 | 35 | 5 | 35 | 0 | FALSE |  |  | 0 | NULL
3.1.6 | 10341512122 | PNEUMATIC RELEASE DEVICE, WP 300 BAR, INLET THREADED TO M42 X 1.5, PNEUMATIC LINE CONNECTION G 1/8", P/N.# B04420066NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B04420066 | NOS | 1 | 83 | 24 | 5 | 24 | 0 | FALSE |  |  | 0 | NULL
3.1.7 | 10343512025 | DISCHARGE HOSE, DN16, WP 350 BAR, B/P 1400 BAR, 400MM LENGTH, INLET FEMALE THREAD TO W 21.8 X 1/14" TO DIN 477 & OUTLET FEMALE THREAD TO G 3/4", P/N.# B06920225-NF FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | B06920225-NF | NOS | 2 | 240 | 69 | 5 | 138 | 0 | FALSE |  |  | 0 | NULL
3.1.8 | 10343012208 | MANIFOLD CHECK VALVE, BRASS, MAX W/P 100 BAR, TP 150 BAR, HOSE CONNECTION THREAD G3/4", MANIFOLD CONNECTION THREAD R1" DN12, P/N.# B04600008-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B04600008 | NOS | 2 | 130 | 38 | 5 | 76 | 0 | FALSE |  |  | 0 | NULL
3.1.9 | 10343512032 | PILOT HOSE, SYNTHETIC RUBBER OIL RESISTANT W/STRAIGHT FITTINGS M12 X 1.5 FEMALE THREAD IN BOTH ENDS, 700MM LONG, W/P 400 BAR, B/P 1600 BAR, TEMP RANGE: -40 C. TO 100 C, P/N.# B06920212 FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B06920212-NF | NOS | 1 | 70 | 21 | 5 | 21 | 0 | FALSE |  |  | 0 | NULL
3.1.10 | 10346012640 | BLEED VALVE, P/N.# 029730040-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | 029730040 | NOS | 1 | 170 | 49 | 5 | 49 | 0 | FALSE |  |  | 0 | NULL
3.1.11 | 10344012322 | MANIFOLD FOR 2 CYLINDER NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM, 360 DIA CYLINDER, P/N.# NFIG-360-SRM2 - NAFFCO | NAFFCO | NFIG-360-SRM2 | NOS | 1 | 630 | 181 | 5 | 181 | 0 | FALSE |  |  | 0 | NULL
3.1.12 |  | MANIFOLD END CAP WITH PORT | NAFFCO |  | NOS | 1 | 42 | 13 | 5 | 13 | 0 | FALSE |  |  | 0 | NULL
3.1.13 |  | MANIFOLD END CAP WITHOUT PORT | NAFFCO |  | NOS | 1 | 42 | 13 | 5 | 13 | 0 | FALSE |  |  | 0 | NULL
3.1.14 | 10344212352 | RACK ASSEMBLY FOR 2 CYLINDERS, SINGLE ROW, FLOOR MOUNTING TYPE, CYLINDER DIA: 360MM, CAPACITY: 67L, 80L & 140L, PRESSURE RATING: 200 / 300BAR, MODEL: NFIG-RA02-002F FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM - NAFFCO | NAFFCO | NFIG-RA02-002F | NOS | 1 | 460 | 132 | 5 | 132 | 0 | FALSE |  |  | 0 | NULL
3.1.15 |  | DISCHARGE NOZZLE | NAFFCO | NAFFCO | NOS | 4 | 180 | 52 | 5 | 208 | 0 | FALSE |  |  | 0 | NULL
3.1.16 | 10341512137 | PRESSURE RELIEF DEVICE FOR MANIFOLD, P/N.# 029730037 FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | P/N #29730037 | NOS | 2 | 3193 | 914 | 5 | 1828 | 0 | FALSE |  |  | 0 | NULL
3.1.17 | 10341512022 | PRESSURE & FLOW DETECTOR SWITCH, P/N.# 028250050 FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | P/N # 28250050 | NOS | 1 | 691 | 198 | 5 | 198 | 0 | FALSE |  |  | 0 | NULL
3.1.18 | 10352575550 | HYDRAULIC CHECK VALVE 2", NPT FEMALE THREADED, CARBON STEEL, 300 BAR, MODEL: 504.110008BI - INTEVA, SPAIN |  | 504.110008BI | NOS | 2 | 703 | 202 | 5 | 404 | 0 | FALSE |  |  | 0 | NULL
3.1.19 |  | WARNING SIGN (3 NOS.) | NAFFCO |  | SETS | 1 | 300 | 86 | 5 | 86 | 0 | FALSE |  |  | 0 | NULL
3.2 |  | MECHANICAL COMPONENTS (RESERVE) |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
3.2.1 |  | 140 Ltr 300 BAR INERT GAS CYLINDER ASSEMBLY COMPLETE WITH: - 140 LTR., 356 MM DIA. CYLINDER FILLED WITH IG-100 AGENT - 300 BAR DISCHARGE HEAD VALVE WITH PRESSURE GAUGE/PRESSURE SWITCH FOR 300 BAR - SAFETY/PROTECTION CAP | NAFFCO | NFIG100-300-140 | SETS | 2 | 4770 | 1365 | 5 | 2730 | 0 | FALSE |  |  | 0 | NULL
3.2.2 | 10341512133 | ELECTRO MAGNETIC DEVICE WITH DIODE, INLET THREADED TO M42 X 1.5, 24V DC, 0.5 A, IP 65 RATED, P/N.# B04425146 FOR UL LISTED FIRE SUPPRESSION SYSTEM (REFER ITEM.# 10341512136) | NAFFCO | B04425146 | NOS | 1 | 790 | 227 | 5 | 227 | 0 | FALSE |  |  | 0 | NULL
3.2.3 |  | MONITORING SWITCH FOR ELECTROMAGNETIC DEVICE FOR UL LISTED NAFFCOINERT SYSTEM, PART NO: 029905200-NF - NAFFCO | NAFFCO | 029905200-NF | NOS | 1 | 390 | 112 | 5 | 112 | 0 | FALSE |  |  | 0 | NULL
3.2.4 | 10341512120 | MANUAL / PNEUMATIC RELEASE DEVICE, WP 300 BAR, INLET THREADED TO M42 X 1.5, PNEUMATIC LINE CONNECTION G 1/8", P/N.# B04420065-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B04420065 | NOS | 1 | 122 | 35 | 5 | 35 | 0 | FALSE |  |  | 0 | NULL
3.2.5 | 10341512122 | PNEUMATIC RELEASE DEVICE, WP 300 BAR, INLET THREADED TO M42 X 1.5, PNEUMATIC LINE CONNECTION G 1/8", P/N.# B04420066NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B04420066 | NOS | 1 | 83 | 24 | 5 | 24 | 0 | FALSE |  |  | 0 | NULL
3.2.6 | 10343512025 | DISCHARGE HOSE, DN16, WP 350 BAR, B/P 1400 BAR, 400MM LENGTH, INLET FEMALE THREAD TO W 21.8 X 1/14" TO DIN 477 & OUTLET FEMALE THREAD TO G 3/4", P/N.# B06920225-NF FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | B06920225-NF | NOS | 2 | 240 | 69 | 5 | 138 | 0 | FALSE |  |  | 0 | NULL
3.2.7 | 10343012208 | MANIFOLD CHECK VALVE, BRASS, MAX W/P 100 BAR, TP 150 BAR, HOSE CONNECTION THREAD G3/4", MANIFOLD CONNECTION THREAD R1" DN12, P/N.# B04600008-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B04600008 | NOS | 2 | 130 | 38 | 5 | 76 | 0 | FALSE |  |  | 0 | NULL
3.2.8 | 10343512032 | PILOT HOSE, SYNTHETIC RUBBER OIL RESISTANT W/STRAIGHT FITTINGS M12 X 1.5 FEMALE THREAD IN BOTH ENDS, 700MM LONG, W/P 400 BAR, B/P 1600 BAR, TEMP RANGE: -40 C. TO 100 C, P/N.# B06920212 FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B06920212-NF | NOS | 1 | 70 | 21 | 5 | 21 | 0 | FALSE |  |  | 0 | NULL
3.2.9 |  | BLEED VALVE, P/N.# 029730040-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | 029730040 | NOS | 1 | 170 | 49 | 5 | 49 | 0 | FALSE |  |  | 0 | NULL
3.2.10 | 10344012322 | MANIFOLD FOR 2 CYLINDER NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM, 360 DIA CYLINDER, P/N.# NFIG-360-SRM2 - NAFFCO | NAFFCO | NFIG-360-SRM2 | NOS | 1 | 630 | 181 | 5 | 181 | 0 | FALSE |  |  | 0 | NULL
3.2.11 |  | MANIFOLD END CAP WITH PORT | NAFFCO | B023400100-NF | NOS | 1 | 42 | 13 | 5 | 13 | 0 | FALSE |  |  | 0 | NULL
3.2.12 |  | MANIFOLD END CAP WITHOUT PORT | NAFFCO |  | NOS | 1 | 42 | 13 | 5 | 13 | 0 | FALSE |  |  | 0 | NULL
3.2.13 | 10344212352 | RACK ASSEMBLY FOR 2 CYLINDERS, SINGLE ROW, FLOOR MOUNTING TYPE, CYLINDER DIA: 360MM, CAPACITY: 67L, 80L & 140L, PRESSURE RATING: 200 / 300BAR, MODEL: NFIG-RA02-002F FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM - NAFFCO | NAFFCO | NFIG-RA02-002F | NOS | 1 | 460 | 132 | 5 | 132 | 0 | FALSE |  |  | 0 | NULL
3.3 |  | MISCELLANEOUS ITEMS (OPTIONAL) |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
3.3.1 | 15466240142 | PRESSURE RELIEF DAMPER, SIZE: 420 X 420 X 120MM, MODEL: SHXUN300 - AFP | AFP | SHXUN300 | NOS | 1 | 1802.5525 | 516 | 0 | 516 | 0 | FALSE |  |  | 0 | NULL
3.3.2 |  | WEATHERPROOF LOUVERS FOR THE ABOVE PRV | AFP | DWL300 | NOS | 1 | 398 | 114 | 0 | 114 | 0 | FALSE |  |  | 0 | NULL
4 |  | ELECTRICAL ROOM |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
4.1 |  | MECHANICAL COMPONENTS (MAIN) |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
4.1.1 |  | 140 Ltr 300 BAR INERT GAS CYLINDER ASSEMBLY COMPLETE WITH: - 140 LTR., 356 MM DIA. CYLINDER FILLED WITH IG-100 AGENT - 300 BAR DISCHARGE HEAD VALVE WITH PRESSURE GAUGE/PRESSURE SWITCH FOR 300 BAR - SAFETY/PROTECTION CAP | NAFFCO | NFIG100-300-140 | SETS | 24 | 4770 | 1365 | 5 | 32760 | 0 | FALSE |  |  | 0 | NULL
4.1.2 | 10341512133 | ELECTRO MAGNETIC DEVICE WITH DIODE, INLET THREADED TO M42 X 1.5, 24V DC, 0.5 A, IP 65 RATED, P/N.# B04425146 FOR UL LISTED FIRE SUPPRESSION SYSTEM (REFER ITEM.# 10341512136) | NAFFCO | B04425146 | NOS | 1 | 790 | 227 | 5 | 227 | 0 | FALSE |  |  | 0 | NULL
4.1.3 | 10349012810 | RESET TOOL FOR ELECTRO MAGNETIC DEVICE FOR INERT GAS SYSTEM, P/N.# 029210064 (OLD P/N.# 023000064) - NAFFCO | NAFFCO | 029210064 (023000064) | NOS | 1 | 110 | 32 | 5 | 32 | 0 | FALSE |  |  | 0 | NULL
4.1.4 | 10341512520 | MONITORING SWITCH FOR ELECTROMAGNETIC DEVICE FOR UL LISTED NAFFCOINERT SYSTEM, PART NO: 029905200-NF - NAFFCO | NAFFCO | 029905200-NF | NOS | 1 | 390 | 112 | 5 | 112 | 0 | FALSE |  |  | 0 | NULL
4.1.5 | 10341512120 | MANUAL / PNEUMATIC RELEASE DEVICE, WP 300 BAR, INLET THREADED TO M42 X 1.5, PNEUMATIC LINE CONNECTION G 1/8", P/N.# B04420065-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B04420065 | NOS | 1 | 122 | 35 | 5 | 35 | 0 | FALSE |  |  | 0 | NULL
4.1.6 | 10341512122 | PNEUMATIC RELEASE DEVICE, WP 300 BAR, INLET THREADED TO M42 X 1.5, PNEUMATIC LINE CONNECTION G 1/8", P/N.# B04420066NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B04420066 | NOS | 23 | 83 | 24 | 5 | 552 | 0 | FALSE |  |  | 0 | NULL
4.1.7 | 10343512025 | DISCHARGE HOSE, DN16, WP 350 BAR, B/P 1400 BAR, 400MM LENGTH, INLET FEMALE THREAD TO W 21.8 X 1/14" TO DIN 477 & OUTLET FEMALE THREAD TO G 3/4", P/N.# B06920225-NF FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | B06920225-NF | NOS | 24 | 240 | 69 | 5 | 1656 | 0 | FALSE |  |  | 0 | NULL
4.1.8 | 10343012208 | MANIFOLD CHECK VALVE, BRASS, MAX W/P 100 BAR, TP 150 BAR, HOSE CONNECTION THREAD G3/4", MANIFOLD CONNECTION THREAD R1" DN12, P/N.# B04600008-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B04600008 | NOS | 24 | 130 | 38 | 5 | 912 | 0 | FALSE |  |  | 0 | NULL
4.1.9 | 10343512032 | PILOT HOSE, SYNTHETIC RUBBER OIL RESISTANT W/STRAIGHT FITTINGS M12 X 1.5 FEMALE THREAD IN BOTH ENDS, 700MM LONG, W/P 400 BAR, B/P 1600 BAR, TEMP RANGE: -40 C. TO 100 C, P/N.# B06920212 FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B06920212-NF | NOS | 5 | 70 | 21 | 5 | 105 | 0 | FALSE |  |  | 0 | NULL
4.1.10 | 10343512033 | PILOT HOSE, SYNTHETIC RUBBER OIL RESISTANT W/STRAIGHT FITTINGS M12 X 1.5 FEMALE THREAD IN BOTH ENDS, 500MM LONG, W/P 400 BAR, B/P 1600 BAR, TEMP RANGE: -40 C. TO 100 C, P/N.# B06920213 FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B06920213-NF | NOS | 18 | 70 | 21 | 5 | 378 | 0 | FALSE |  |  | 0 | NULL
4.1.11 | 10349012606 | CONNECTING ADAPTOR, M12 X 1.5 MALE THREADED & G 1/8" MALE THREADED, P/N.# 029510006 FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | 029510006 | NOS | 46 | 20 | 6 | 5 | 276 | 0 | FALSE |  |  | 0 | NULL
4.1.12 | 10346012640 | BLEED VALVE, P/N.# 029730040-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | 029730040 | NOS | 1 | 170 | 49 | 5 | 49 | 0 | FALSE |  |  | 0 | NULL
4.1.13 | 10344012324 | MANIFOLD FOR 4 CYLINDER NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM, 360 DIA CYLINDER, P/N.# NFIG-360-SRM4 - NAFFCO | NAFFCO | NFIG-360-SRM4 | NOS | 1 | 880 | 252 | 5 | 252 | 0 | FALSE |  |  | 0 | NULL
4.1.14 | 10344012325 | MANIFOLD FOR 5 CYLINDER NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM, 360 DIA CYLINDER, P/N.# NFIG-360-SRM5 - NAFFCO | NAFFCO | NFIG-360-SRM5 | NOS | 4 | 1060 | 304 | 5 | 1216 | 0 | FALSE |  |  | 0 | NULL
4.1.15 |  | MANIFOLD END CAP WITH PORT | NAFFCO |  | NOS | 5 | 42 | 13 | 5 | 65 | 0 | FALSE |  |  | 0 | NULL
4.1.16 |  | MANIFOLD END CAP WITHOUT PORT | NAFFCO |  | NOS | 2 | 42 | 13 | 5 | 26 | 0 | FALSE |  |  | 0 | NULL
4.1.17 | 10344212380 | RACK ASSEMBLY FOR 10 CYLINDERS, DOUBLE ROW, FLOOR MOUNTING TYPE, CYLINDER DIA: 360MM, CAPACITY: 67L, 80L & 140L, PRESSURE RATING: 200 / 300BAR, MODEL: NFIG-RA02-050F FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM - NAFFCO | NAFFCO | NFIG-RA02-050F | NOS | 1 | 680 | 195 | 5 | 195 | 0 | FALSE |  |  | 0 | NULL
4.1.18 | 10344212379 | RACK ASSEMBLY FOR 9 CYLINDERS, DOUBLE ROW, FLOOR MOUNTING TYPE, CYLINDER DIA: 360MM, CAPACITY: 67L, 80L & 140L, PRESSURE RATING: 200 / 300BAR, MODEL: NFIG-RA02-051F FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM - NAFFCO | NAFFCO | NFIG-RA02-051F | NOS | 1 | 660 | 189 | 5 | 189 | 0 | FALSE |  |  | 0 | NULL
4.1.19 | 10344212355 | RACK ASSEMBLY FOR 5 CYLINDERS, SINGLE ROW, FLOOR MOUNTING TYPE, CYLINDER DIA: 360MM, CAPACITY: 67L, 80L & 140L, PRESSURE RATING: 200 / 300BAR, MODEL: NFIG-RA02-005F FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM - NAFFCO | NAFFCO | NFIG-RA02-005F | NOS | 1 | 540 | 155 | 5 | 155 | 0 | FALSE |  |  | 0 | NULL
4.1.20 |  | DISCHARGE NOZZLE | NAFFCO | NAFFCO | NOS | 16 | 180 | 52 | 5 | 832 | 0 | FALSE |  |  | 0 | NULL
4.1.21 | 10341512137 | PRESSURE RELIEF DEVICE FOR MANIFOLD, P/N.# 029730037 FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | P/N #29730037 | NOS | 4 | 3193 | 914 | 5 | 3656 | 0 | FALSE |  |  | 0 | NULL
4.1.22 | 10341512022 | PRESSURE & FLOW DETECTOR SWITCH, P/N.# 028250050 FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | P/N # 28250050 | NOS | 1 | 691 | 198 | 5 | 198 | 0 | FALSE |  |  | 0 | NULL
4.1.23 | 10352575550 | HYDRAULIC CHECK VALVE 2", NPT FEMALE THREADED, CARBON STEEL, 300 BAR, MODEL: 504.110008BI - INTEVA, SPAIN |  | 504.110008BI | NOS | 4 | 703 | 202 | 5 | 808 | 0 | FALSE |  |  | 0 | NULL
4.1.24 |  | WARNING SIGN (3 NOS.) | NAFFCO |  | SETS | 1 | 300 | 86 | 5 | 86 | 0 | FALSE |  |  | 0 | NULL
4.2 |  | MECHANICAL COMPONENTS (RESERVE) |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
4.2.1 |  | 140 Ltr 300 BAR INERT GAS CYLINDER ASSEMBLY COMPLETE WITH: - 140 LTR., 356 MM DIA. CYLINDER FILLED WITH IG-100 AGENT - 300 BAR DISCHARGE HEAD VALVE WITH PRESSURE GAUGE/PRESSURE SWITCH FOR 300 BAR - SAFETY/PROTECTION CAP | NAFFCO | NFIG100-300-140 | SETS | 24 | 4770 | 1365 | 5 | 32760 | 0 | FALSE |  |  | 0 | NULL
4.2.2 | 10341512133 | ELECTRO MAGNETIC DEVICE WITH DIODE, INLET THREADED TO M42 X 1.5, 24V DC, 0.5 A, IP 65 RATED, P/N.# B04425146 FOR UL LISTED FIRE SUPPRESSION SYSTEM (REFER ITEM.# 10341512136) | NAFFCO | B04425146 | NOS | 1 | 790 | 227 | 5 | 227 | 0 | FALSE |  |  | 0 | NULL
4.2.3 |  | MONITORING SWITCH FOR ELECTROMAGNETIC DEVICE FOR UL LISTED NAFFCOINERT SYSTEM, PART NO: 029905200-NF - NAFFCO | NAFFCO | 029905200-NF | NOS | 1 | 390 | 112 | 5 | 112 | 0 | FALSE |  |  | 0 | NULL
4.2.4 | 10341512120 | MANUAL / PNEUMATIC RELEASE DEVICE, WP 300 BAR, INLET THREADED TO M42 X 1.5, PNEUMATIC LINE CONNECTION G 1/8", P/N.# B04420065-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B04420065 | NOS | 1 | 122 | 35 | 5 | 35 | 0 | FALSE |  |  | 0 | NULL
4.2.5 | 10341512122 | PNEUMATIC RELEASE DEVICE, WP 300 BAR, INLET THREADED TO M42 X 1.5, PNEUMATIC LINE CONNECTION G 1/8", P/N.# B04420066NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B04420066 | NOS | 23 | 83 | 24 | 5 | 552 | 0 | FALSE |  |  | 0 | NULL
4.2.6 | 10343512025 | DISCHARGE HOSE, DN16, WP 350 BAR, B/P 1400 BAR, 400MM LENGTH, INLET FEMALE THREAD TO W 21.8 X 1/14" TO DIN 477 & OUTLET FEMALE THREAD TO G 3/4", P/N.# B06920225-NF FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | B06920225-NF | NOS | 24 | 240 | 69 | 5 | 1656 | 0 | FALSE |  |  | 0 | NULL
4.2.7 | 10343012208 | MANIFOLD CHECK VALVE, BRASS, MAX W/P 100 BAR, TP 150 BAR, HOSE CONNECTION THREAD G3/4", MANIFOLD CONNECTION THREAD R1" DN12, P/N.# B04600008-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B04600008 | NOS | 24 | 130 | 38 | 5 | 912 | 0 | FALSE |  |  | 0 | NULL
4.2.8 | 10343512032 | PILOT HOSE, SYNTHETIC RUBBER OIL RESISTANT W/STRAIGHT FITTINGS M12 X 1.5 FEMALE THREAD IN BOTH ENDS, 700MM LONG, W/P 400 BAR, B/P 1600 BAR, TEMP RANGE: -40 C. TO 100 C, P/N.# B06920212 FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B06920212-NF | NOS | 5 | 70 | 21 | 5 | 105 | 0 | FALSE |  |  | 0 | NULL
4.2.9 | 10343512033 | PILOT HOSE, SYNTHETIC RUBBER OIL RESISTANT W/STRAIGHT FITTINGS M12 X 1.5 FEMALE THREAD IN BOTH ENDS, 500MM LONG, W/P 400 BAR, B/P 1600 BAR, TEMP RANGE: -40 C. TO 100 C, P/N.# B06920213 FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B06920213-NF | NOS | 18 | 70 | 21 | 5 | 378 | 0 | FALSE |  |  | 0 | NULL
4.2.10 | 10349012606 | CONNECTING ADAPTOR, M12 X 1.5 MALE THREADED & G 1/8" MALE THREADED, P/N.# 029510006 FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | 029510006 | NOS | 46 | 20 | 6 | 5 | 276 | 0 | FALSE |  |  | 0 | NULL
4.2.11 |  | BLEED VALVE, P/N.# 029730040-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | 029730040 | NOS | 1 | 170 | 49 | 5 | 49 | 0 | FALSE |  |  | 0 | NULL
4.2.12 | 10344012324 | MANIFOLD FOR 4 CYLINDER NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM, 360 DIA CYLINDER, P/N.# NFIG-360-SRM4 - NAFFCO | NAFFCO | NFIG-360-SRM4 | NOS | 1 | 880 | 252 | 5 | 252 | 0 | FALSE |  |  | 0 | NULL
4.2.13 | 10344012325 | MANIFOLD FOR 5 CYLINDER NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM, 360 DIA CYLINDER, P/N.# NFIG-360-SRM5 - NAFFCO | NAFFCO | NFIG-360-SRM5 | NOS | 4 | 1060 | 304 | 5 | 1216 | 0 | FALSE |  |  | 0 | NULL
4.2.14 |  | MANIFOLD END CAP WITH PORT | NAFFCO | B023400100-NF | NOS | 5 | 42 | 13 | 5 | 65 | 0 | FALSE |  |  | 0 | NULL
4.2.15 |  | MANIFOLD END CAP WITHOUT PORT | NAFFCO |  | NOS | 2 | 42 | 13 | 5 | 26 | 0 | FALSE |  |  | 0 | NULL
4.2.16 | 10344212355 | RACK ASSEMBLY FOR 5 CYLINDERS, SINGLE ROW, FLOOR MOUNTING TYPE, CYLINDER DIA: 360MM, CAPACITY: 67L, 80L & 140L, PRESSURE RATING: 200 / 300BAR, MODEL: NFIG-RA02-005F FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM - NAFFCO | NAFFCO | NFIG-RA02-005F | NOS | 1 | 540 | 155 | 5 | 155 | 0 | FALSE |  |  | 0 | NULL
4.2.17 | 10344212380 | RACK ASSEMBLY FOR 10 CYLINDERS, DOUBLE ROW, FLOOR MOUNTING TYPE, CYLINDER DIA: 360MM, CAPACITY: 67L, 80L & 140L, PRESSURE RATING: 200 / 300BAR, MODEL: NFIG-RA02-050F FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM - NAFFCO | NAFFCO | NFIG-RA02-050F | NOS | 1 | 680 | 195 | 5 | 195 | 0 | FALSE |  |  | 0 | NULL
4.2.18 | 10344212379 | RACK ASSEMBLY FOR 9 CYLINDERS, DOUBLE ROW, FLOOR MOUNTING TYPE, CYLINDER DIA: 360MM, CAPACITY: 67L, 80L & 140L, PRESSURE RATING: 200 / 300BAR, MODEL: NFIG-RA02-051F FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM - NAFFCO | NAFFCO | NFIG-RA02-051F | NOS | 1 | 660 | 189 | 5 | 189 | 0 | FALSE |  |  | 0 | NULL
4.3 |  | MISCELLANEOUS ITEMS (OPTIONAL) |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
4.3.1 | 15466240212 | PRESSURE RELIEF DAMPER, SIZE: 1120 X 1120 X 120MM, MODEL: SHXUN1000 - AFP | AFP | SHXUN1000 | NOS | 1 | 5071.8648 | 1452 | 0 | 1452 | 0 | FALSE |  |  | 0 | NULL
1.3.2 |  | WEATHERPROOF LOUVERS FOR THE ABOVE PRV | AFP | DWL1000 | NOS | 1 | 1495 | 428 | 0 | 428 | 0 | FALSE |  |  | 0 | NULL
128626