## PREACTION
SLNO | ItemCode | ItemName | Brand | Model | UOM | Qty | UnitPriceAED | UnitPrice | Margin | Amount | Unitweight | Optional | COO | DeliveryStatus | CRMProductId | CRMProduct
1 |  | DOUBLE INTERLOCK PRE-ACTION SPRINKLER SYSTEM - BASEMENT FLOOR |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.1 |  | DOUBLE INTERLOCK PRE-ACTION SYSTEM WITH ELECTRIC/PNEUMATIC RELEASE (SKID MOUNTED) COMPLETE WITH: - DELUGE VALVE - 4" - CHECK VALVE - SHOTGUN - DRY PILOT BASIC TRIM - DOUBLE INTERLOCK ELECTRIC/PENUMATIC TRIM WITH 24V DC SOLENOID (GALVANIZED TRIM) - LOW AIR SUPERVISORY SWITCH, ALARM PRESSURE SWITCH - AIR MAINTENANCE DEVICE - WATER MOTOR GONG, PRESSURE GAUGE - ELECTRIC RELEASE MODULE, EMERGENCY RELEASE SWITCH - RELIEF VALVE, AIR SUPPLY CONTROL VALVE ACCESSORIES - SYSTEM DRAIN AND MAIN DRAIN VALVE WITH ACCESSORIES | SHIELD | SD-DVH3S-DEP | SET | 1 | 29000 | 7902 | 0 | 7902 | 0 | FALSE |  |  | 0 | NULL
1.1.1 | 11000108601 | OS&Y GATE VALVE 4" CLASS 125 FLANGED, 200 PSI WORKING UL/FM APPROVED | SHIELD | SD-OSY200FF-D |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.1.2 | 11222508740 | Y-STRAINER 4" CLASS 150 BOTH FLANGED ENDS, 300 PSI WORKING UL/ULC APPROVED WITH LISTED - FLANGED X FLANGED SS304 SCREEN -SHIELD | SHIELD | SD-YS300FF-D |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.1.3 |  | AIR COMPRESSOR (OIL LESS RISER MOUNTED) COMPLETE WITH AUTOMATIC CONTROLLER AND ALL ACCESSORIES. CAPACITY: 250 GALLON | GENERAL | OLR25033AC |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.2 | 10550522568 | SPRINKLER HEAD 68 DEG. PENDENT, 1/2" NPT, CHROME FINISH, QUICK RESPONSE, UL/ULC/FM/WATERMARK APPROVED, MODEL: SD1030QR - SHIELD | SHIELD | SD1030 QR | NOS | 29 | 12.204 | 4 | 0 | 116 | 0 | FALSE |  |  | 0 | NULL
1.3 | 11000708050 | OS&Y GATE VALVE 2" BRONZE, 175 PSI, UL LISTED, MODEL: SDOSY-T 50, SHIELD | SHIELD | SDOSY-T | NOS | 1 | 510 | 139 | 0 | 139 | 0 | FALSE |  |  | 0 | NULL
2 |  | DOUBLE INTERLOCK PRE-ACTION SPRINKLER SYSTEM 1 - SECOND FLOOR | [8 empty] | 0 | FALSE |  |  | 0 | NULL
2.1 |  | DOUBLE INTERLOCK PRE-ACTION SYSTEM WITH ELECTRIC/PNEUMATIC RELEASE (SKID MOUNTED) COMPLETE WITH: - DELUGE VALVE - 4" - CHECK VALVE - SHOTGUN - DRY PILOT BASIC TRIM - DOUBLE INTERLOCK ELECTRIC/PENUMATIC TRIM WITH 24V DC SOLENOID (GALVANIZED TRIM) - LOW AIR SUPERVISORY SWITCH, ALARM PRESSURE SWITCH - AIR MAINTENANCE DEVICE - WATER MOTOR GONG, PRESSURE GAUGE - ELECTRIC RELEASE MODULE, EMERGENCY RELEASE SWITCH - RELIEF VALVE, AIR SUPPLY CONTROL VALVE ACCESSORIES - SYSTEM DRAIN AND MAIN DRAIN VALVE WITH ACCESSORIES | SHIELD | SD-DVH3S-DEP | SET | 1 | 29000 | 7902 | 0 | 7902 | 0 | FALSE |  |  | 0 | NULL
2.1.1 | 11000108601 | OS&Y GATE VALVE 4" CLASS 125 FLANGED, 200 PSI WORKING UL/FM APPROVED | SHIELD | SD-OSY200FF-D |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
2.1.2 | 11222508740 | Y-STRAINER 4" CLASS 150 BOTH FLANGED ENDS, 300 PSI WORKING UL/ULC APPROVED WITH LISTED - FLANGED X FLANGED SS304 SCREEN -SHIELD | SHIELD | SD-YS300FF-D |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
2.1.3 |  | AIR COMPRESSOR (OIL LESS RISER MOUNTED) COMPLETE WITH AUTOMATIC CONTROLLER AND ALL ACCESSORIES. CAPACITY: 250 GALLON | GENERAL | OLR25033AC |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
2.2 | 10550522568 | SPRINKLER HEAD 68 DEG. PENDENT, 1/2" NPT, CHROME FINISH, QUICK RESPONSE, UL/ULC/FM/WATERMARK APPROVED, MODEL: SD1030QR - SHIELD | SHIELD | SD1030 QR | NOS | 36 | 12.204 | 4 | 0 | 144 | 0 | FALSE |  |  | 0 | NULL
2.3 | 11000708050 | OS&Y GATE VALVE 2" BRONZE, 175 PSI, UL LISTED, MODEL: SDOSY-T 50, SHIELD | SHIELD | SDOSY-T | NOS | 1 | 510 | 139 | 0 | 139 | 0 | FALSE |  |  | 0 | NULL
3 |  | DOUBLE INTERLOCK PRE-ACTION SPRINKLER SYSTEM 2 - SECOND FLOOR | [8 empty] | 0 | FALSE |  |  | 0 | NULL
3.1 |  | DOUBLE INTERLOCK PRE-ACTION SYSTEM WITH ELECTRIC/PNEUMATIC RELEASE (SKID MOUNTED) COMPLETE WITH: - DELUGE VALVE - 3" - CHECK VALVE - SHOTGUN - DRY PILOT BASIC TRIM - DOUBLE INTERLOCK ELECTRIC/PENUMATIC TRIM WITH 24V DC SOLENOID (GALVANIZED TRIM) - LOW AIR SUPERVISORY SWITCH, ALARM PRESSURE SWITCH - AIR MAINTENANCE DEVICE - WATER MOTOR GONG, PRESSURE GAUGE - ELECTRIC RELEASE MODULE, EMERGENCY RELEASE SWITCH - RELIEF VALVE, AIR SUPPLY CONTROL VALVE ACCESSORIES - SYSTEM DRAIN AND MAIN DRAIN VALVE WITH ACCESSORIES | SHIELD | SD-DVH3S-DEP | SET | 1 | 27000 | 7357 | 0 | 7357 | 0 | FALSE |  |  | 0 | NULL
3.1.1 | 11000108581 | OS&Y GATE VALVE 3" CLASS 125 FLANGED, 200 PSI WORKING UL/FM APPROVED | SHIELD | SD-OSY200FF-D |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
3.1.2 | 11222508730 | Y-STRAINER 3" CLASS 150 BOTH FLANGED ENDS, 300 PSI WORKING UL/ULC APPROVED WITH LISTED - FLANGED X FLANGED SS304 SCREEN -SHIELD | SHIELD | SD-YS300FF-D |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE
3.1.3 |  | AIR COMPRESSOR (OIL LESS RISER MOUNTED) COMPLETE WITH AUTOMATIC CONTROLLER AND ALL ACCESSORIES. CAPACITY: 120 GALLON | GENERAL | OLR12016AC |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
3.2 | 10550522568 | SPRINKLER HEAD 68 DEG. PENDENT, 1/2" NPT, CHROME FINISH, QUICK RESPONSE, UL/ULC/FM/WATERMARK APPROVED, MODEL: SD1030QR - SHIELD | SHIELD | SD1030 QR | NOS | 19 | 12.204 | 4 | 0 | 76 | 0 | FALSE |  |  | 0 | NULL
3.3 | 11000708050 | OS&Y GATE VALVE 2" BRONZE, 175 PSI, UL LISTED, MODEL: SDOSY-T 50, SHIELD | SHIELD | SDOSY-T | NOS | 1 | 510 | 139 | 0 | 139 | 0 | FALSE |  |  | 0 | NULL
4 |  | DOUBLE INTERLOCK PRE-ACTION SPRINKLER SYSTEM 3 - SECOND FLOOR | [8 empty] | 0 | FALSE |  |  | 0 | NULL
4.1 |  | DOUBLE INTERLOCK PRE-ACTION SYSTEM WITH ELECTRIC/PNEUMATIC RELEASE (SKID MOUNTED) COMPLETE WITH: - DELUGE VALVE - 4" - CHECK VALVE - SHOTGUN - DRY PILOT BASIC TRIM - DOUBLE INTERLOCK ELECTRIC/PENUMATIC TRIM WITH 24V DC SOLENOID (GALVANIZED TRIM) - LOW AIR SUPERVISORY SWITCH, ALARM PRESSURE SWITCH - AIR MAINTENANCE DEVICE - WATER MOTOR GONG, PRESSURE GAUGE - ELECTRIC RELEASE MODULE, EMERGENCY RELEASE SWITCH - RELIEF VALVE, AIR SUPPLY CONTROL VALVE ACCESSORIES - SYSTEM DRAIN AND MAIN DRAIN VALVE WITH ACCESSORIES | SHIELD | SD-DVH3S-DEP | SET | 1 | 29000 | 7902 | 0 | 7902 | 0 | FALSE |  |  | 0 | NULL
4.1.1 | 11000108601 | OS&Y GATE VALVE 4" CLASS 125 FLANGED, 200 PSI WORKING UL/FM APPROVED | SHIELD | SD-OSY200FF-D |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
4.1.2 | 11222508740 | Y-STRAINER 4" CLASS 150 BOTH FLANGED ENDS, 300 PSI WORKING UL/ULC APPROVED WITH LISTED - FLANGED X FLANGED SS304 SCREEN -SHIELD | SHIELD | SD-YS300FF-D |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
4.1.3 |  | AIR COMPRESSOR (OIL LESS RISER MOUNTED) COMPLETE WITH AUTOMATIC CONTROLLER AND ALL ACCESSORIES. CAPACITY: 250 GALLON | GENERAL | OLR25033AC |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
4.2 | 10550522568 | SPRINKLER HEAD 68 DEG. PENDENT, 1/2" NPT, CHROME FINISH, QUICK RESPONSE, UL/ULC/FM/WATERMARK APPROVED, MODEL: SD1030QR - SHIELD | SHIELD | SD1030 QR | NOS | 38 | 12.204 | 4 | 0 | 152 | 0 | FALSE |  |  | 0 | NULL
4.3 | 11000708050 | OS&Y GATE VALVE 2" BRONZE, 175 PSI, UL LISTED, MODEL: SDOSY-T 50, SHIELD | SHIELD | SDOSY-T | NOS | 1 | 510 | 139 | 0 | 139 | 0 | FALSE |  |  | 0 | NULL
5 |  | DOUBLE INTERLOCK PRE-ACTION SPRINKLER SYSTEM 1 - THIRD FLOOR | [8 empty] | 0 | FALSE |  |  | 0 | NULL
5.1 |  | DOUBLE INTERLOCK PRE-ACTION SYSTEM WITH ELECTRIC/PNEUMATIC RELEASE (SKID MOUNTED) COMPLETE WITH: - DELUGE VALVE - 2" - CHECK VALVE - SHOTGUN - DRY PILOT BASIC TRIM - DOUBLE INTERLOCK ELECTRIC/PENUMATIC TRIM WITH 24V DC SOLENOID (GALVANIZED TRIM) - LOW AIR SUPERVISORY SWITCH, ALARM PRESSURE SWITCH - AIR MAINTENANCE DEVICE - WATER MOTOR GONG, PRESSURE GAUGE - ELECTRIC RELEASE MODULE, EMERGENCY RELEASE SWITCH - RELIEF VALVE, AIR SUPPLY CONTROL VALVE ACCESSORIES - SYSTEM DRAIN AND MAIN DRAIN VALVE WITH ACCESSORIES | SHIELD | SD-DVH3S-DEP | SET | 1 | 26000 | 7085 | 0 | 7085 | 0 | FALSE |  |  | 0 | NULL
5.1.1 |  | OS&Y GATE VALVE 2" CLASS 125 FLANGED, 200 PSI WORKING UL/FM APPROVED | SHIELD | SD-OSY200FF-D |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
5.1.2 |  | Y-STRAINER 2" CLASS 150 BOTH FLANGED ENDS, 300 PSI WORKING UL/ULC APPROVED WITH LISTED - FLANGED X FLANGED SS304 SCREEN -SHIELD | SHIELD | SD-YS300FF-D |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
5.1.3 |  | AIR COMPRESSOR (OIL LESS RISER MOUNTED) COMPLETE WITH AUTOMATIC CONTROLLER AND ALL ACCESSORIES. CAPACITY: 120 GALLON | GENERAL | OLR12016AC |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
5.2 | 10550522568 | SPRINKLER HEAD 68 DEG. PENDENT, 1/2" NPT, CHROME FINISH, QUICK RESPONSE, UL/ULC/FM/WATERMARK APPROVED, MODEL: SD1030QR - SHIELD | SHIELD | SD1030 QR | NOS | 12 | 12.204 | 4 | 0 | 48 | 0 | FALSE |  |  | 0 | NULL
5.3 | 11000708050 | OS&Y GATE VALVE 2" BRONZE, 175 PSI, UL LISTED, MODEL: SDOSY-T 50, SHIELD | SHIELD | SDOSY-T | NOS | 1 | 510 | 139 | 0 | 139 | 0 | FALSE |  |  | 0 | NULL
6 |  | DOUBLE INTERLOCK PRE-ACTION SPRINKLER SYSTEM 3 - THIRD FLOOR | [8 empty] | 0 | FALSE |  |  | 0 | NULL
6.1 |  | DOUBLE INTERLOCK PRE-ACTION SYSTEM WITH ELECTRIC/PNEUMATIC RELEASE (SKID MOUNTED) COMPLETE WITH: - DELUGE VALVE - 3" - CHECK VALVE - SHOTGUN - DRY PILOT BASIC TRIM - DOUBLE INTERLOCK ELECTRIC/PENUMATIC TRIM WITH 24V DC SOLENOID (GALVANIZED TRIM) - LOW AIR SUPERVISORY SWITCH, ALARM PRESSURE SWITCH - AIR MAINTENANCE DEVICE - WATER MOTOR GONG, PRESSURE GAUGE - ELECTRIC RELEASE MODULE, EMERGENCY RELEASE SWITCH - RELIEF VALVE, AIR SUPPLY CONTROL VALVE ACCESSORIES - SYSTEM DRAIN AND MAIN DRAIN VALVE WITH ACCESSORIES | SHIELD | SD-DVH3S-DEP | SET | 1 | 27000 | 7357 | 0 | 7357 | 0 | FALSE |  |  | 0 | NULL
6.1.1 | 11000108581 | OS&Y GATE VALVE 3" CLASS 125 FLANGED, 200 PSI WORKING UL/FM APPROVED | SHIELD | SD-OSY200FF-D |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
6.1.2 | 11222508730 | Y-STRAINER 3" CLASS 150 BOTH FLANGED ENDS, 300 PSI WORKING UL/ULC APPROVED WITH LISTED - FLANGED X FLANGED SS304 SCREEN -SHIELD | SHIELD | SD-YS300FF-D |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE
6.1.3 |  | AIR COMPRESSOR (OIL LESS RISER MOUNTED) COMPLETE WITH AUTOMATIC CONTROLLER AND ALL ACCESSORIES. CAPACITY: 120 GALLON | GENERAL | OLR12016AC |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
6.2 | 10550522568 | SPRINKLER HEAD 68 DEG. PENDENT, 1/2" NPT, CHROME FINISH, QUICK RESPONSE, UL/ULC/FM/WATERMARK APPROVED, MODEL: SD1030QR - SHIELD | SHIELD | SD1030 QR | NOS | 5 | 12.204 | 4 | 0 | 20 | 0 | FALSE |  |  | 0 | NULL
6.3 | 11000708050 | OS&Y GATE VALVE 2" BRONZE, 175 PSI, UL LISTED, MODEL: SDOSY-T 50, SHIELD | SHIELD | SDOSY-T | NOS | 1 | 510 | 139 | 0 | 139 | 0 | FALSE |  |  | 0 | NULL