## SHIELD FM
SLNO | ItemCode | ItemName | Brand | Model | UOM | Qty | UnitPriceAED | UnitPrice | Margin | Amount | Unitweight | Optional | COO | DeliveryStatus | CRMProductId | CRMProduct
1 |  | SHIELD FM 200 FIRE EXTINGUISHING SYSTEM, TOTAL FLOODING, MODULAR, 300 PSI - GIS SWGR ROOM |  |  |  | 0 | 0 | 0 | 5 | 0 | 0 | FALSE |  |  | 0 | NULL
1.1 |  | MECHANICAL COMPONENTS (MAIN) |  |  |  | 0 | 0 | 0 | 5 | 0 | 0 | FALSE |  |  | 0 | NULL
1.1.1 |  | 369 L HFC227EA AGENT CYLINDER ASSEMBLY COMPLETE WITH: CYLINDERM HEAD VALVE WITH PRESSURE GAUGE, PRESSURE SUPERVISORY SWITCH, CYLINDER MOUNTING STRAP, TOP PLUG | SHIELD | SD-369HFC-03 | SET | 4 | 13247 | 3791 | 5 | 15164 | 0 | FALSE |  |  | 0 | NULL
1.1.2 |  | SHIELD200 (SD-HFC227EA) AGENT (PER KG) | SHIELD | SD-HFC-227ea | KG | 1170 | 70 | 21 | 5 | 24570 | 0 | FALSE |  |  | 0 | NULL
1.1.3 |  | REMOVABLE ELECTRIC ACTUATOR C/W SUPERVISORY SWITCH, 1 INCH CONNECTION, UL LISTED, EXT. MONITORING SWITCH WITH CLAMP, SD-EMS0025 | SHIELD | SD-REA-SS | NOS | 4 | 1690 | 484 | 5 | 1936 | 0 | FALSE |  |  | 0 | NULL
1.1.4 |  | MANUAL ACTUATOR WITH PUSH TO OPERATE | SHIELD | SD-MA0025 | NOS | 1 | 200 | 58 | 5 | 58 | 0 | FALSE |  |  | 0 | NULL
1.1.5 |  | PNEUMATIC ACTUATOR | SHIELD | SD-PA0025 | NOS | 3 | 180 | 52 | 5 | 156 | 0 | FALSE |  |  | 0 | NULL
1.1.6 |  | DISCHARGE PRESSURE SWITCH | SHIELD | SD-DPS-B6-95-1 | NOS | 1 | 300 | 86 | 5 | 86 | 0 | FALSE |  |  | 0 | NULL
1.1.7 |  | DISCHARGE FLEXIBLE HOSE ASSEMBLY COMPLETE WITH CHECK VALVE, WITH ADAPTOR, FEMALE SWIVEL FITTINGS | SHIELD | SD-DH0050 & SD-CV0050 | NOS | 4 | 480 | 138 | 5 | 552 | 0 | FALSE |  |  | 0 | NULL
1.1.8 |  | 1/4" PNEUMATIC ACTUATION FLEXIBLE HOSE WITH FEMALE SWIVEL FITTINGS - 1 NO. X 1/4" PNEUMATIC ELBOW USED AT SLAVE CYLINDER VALVE (SD-ELWFH-092) - 6 NOS. X 1/4" NIPPLE USED AT MASTER CYLINDER VALVE (SD-NPFH-090) - 2 NOS. X PNEUMATIC TEE (SD-TFH-091) | SHIELD | SDFLXHS0015 | NOS | 3 | 40 | 12 | 5 | 36 | 0 | FALSE |  |  | 0 | NULL
1.1.9 |  | MANIFOLD FOR 4 CYLINDER | SHIELD | SD-MF100-80-4 | NOS | 1 | 880 | 252 | 5 | 252 | 0 | FALSE |  |  | 0 | NULL
1.1.10 |  | DISCHARGE NOZZLE | SHIELD | SD-NXXX-XX | NOS | 26 | 200 | 58 | 5 | 1508 | 0 | FALSE |  |  | 0 | NULL
1.1.11 |  | FM200 WARNING SIGNAGE | SHIELD | SD-FM-WARN | SET | 2 | 300 | 86 | 5 | 172 | 0 | FALSE |  |  | 0 | NULL
1.1.12 |  | FK-5-1-12 CYLINDER LEBEL 280X180 - UL/FM APPROVED | SHIELD | SD-FM-LBL | NOS | 2 | 60 | 18 | 5 | 36 | 0 | FALSE |  |  | 0 | NULL
1.2 |  | ELECTRICAL COMPONENTS |  |  |  | 0 | 0 | 0 | 5 | 0 | 0 | FALSE |  |  | 0 | NULL
1.2.1 |  | EXTINGUISHING CONTROL PANEL (2) DETECTION ZONE (1) RELEASE AREA COMPLETE WITH: 24VDC BACK UP BATTERY | SHIELD | AX-T | SET | 1 | 3500 | 1002 | 5 | 1002 | 0 | FALSE |  |  | 0 | NULL
1.2.2 |  | OPTICAL SMOKE DETECTOR WITH BASE | SHIELD | S-C2011 | NOS | 20 | 47 | 14 | 5 | 280 | 0 | FALSE |  |  | 0 | NULL
1.2.4 | 13006238110 | EXTINGUISHING ABORT SWITCH, SURFACE MOUNT, RED, UL LISTED, MODEL: S111R-AB - SHIELD | SHIELD | S111R-AB | NOS | 2 | 275 | 79 | 5 | 158 | 0 | FALSE |  |  | 0 | NULL
1.2.5 | 13006438060 | FIRE ALARM BELL 6", MOTOR DRIVEN TYPE, RED COLOUR, 24V DC, 20-30MA CURRENT CONSUMPTION, UL LISTED, MODEL: FB1000C6, SHIELD | SHIELD | FB1000C6 | NOS | 2 | 85 | 25 | 5 | 50 | 0 | FALSE |  |  | 0 | NULL
1.2.5 |  | HORN STROBE, WALL MOUNTED - WEATHER PROOF | E2S | SH-HSOR | NOS | 2 | 215 | 62 | 5 | 124 | 0 | FALSE |  |  | 0 | NULL
1.2.6 |  | REMOTE INDICATOR | SYSTEM SENSOR | RA100Z | NOS | 10 | 100 | 29 | 5 | 290 | 0 | FALSE |  |  | 0 | NULL
1.2.8 |  | MAIN/RESERVE SELECTOR SWITCH | SHIELD | SD-502001 | NOS | 1 | 350 | 101 | 5 | 101 | 0 | FALSE |  |  | 0 | NULL
1.2.8 |  | WARNING SIGN | NAFFCO |  | SET | 2 | 300 | 86 | 5 | 172 | 0 | FALSE |  |  | 0 | NULL
1.3 |  | MECHANICAL COMPONENTS (RESERVE) |  |  |  | 0 | 0 | 0 | 5 | 0 | 0 | FALSE |  |  | 0 | NULL
1.3.1 |  | 369 L HFC227EA AGENT CYLINDER ASSEMBLY COMPLETE WITH: CYLINDERM HEAD VALVE WITH PRESSURE GAUGE, PRESSURE SUPERVISORY SWITCH, CYLINDER MOUNTING STRAP, TOP PLUG | SHIELD | SD-369HFC-03 | SET | 4 | 13247 | 3791 | 5 | 15164 | 0 | FALSE |  |  | 0 | NULL
1.3.2 |  | SHIELD200 (SD-HFC227EA) AGENT (PER KG) | SHIELD | SD-HFC-227ea | KG | 1170 | 70 | 21 | 5 | 24570 | 0 | FALSE |  |  | 0 | NULL
1.3.3 |  | REMOVABLE ELECTRIC ACTUATOR C/W SUPERVISORY SWITCH, 1 INCH CONNECTION, UL LISTED, EXT. MONITORING SWITCH WITH CLAMP, SD-EMS0025 | SHIELD | SD-REA-SS | NOS | 4 | 1690 | 484 | 5 | 1936 | 0 | FALSE |  |  | 0 | NULL
1.3.4 |  | MANUAL ACTUATOR WITH PUSH TO OPERATE | SHIELD | SD-MA0025 | NOS | 1 | 200 | 58 | 5 | 58 | 0 | FALSE |  |  | 0 | NULL
1.3.5 |  | PNEUMATIC ACTUATOR | SHIELD | SD-PA0025 | NOS | 3 | 180 | 52 | 5 | 156 | 0 | FALSE |  |  | 0 | NULL
1.3.6 |  | DISCHARGE FLEXIBLE HOSE ASSEMBLY COMPLETE WITH CHECK VALVE, WITH ADAPTOR, FEMALE SWIVEL FITTINGS | SHIELD | SD-DH0050 & SD-CV0050 | NOS | 4 | 480 | 138 | 5 | 552 | 0 | FALSE |  |  | 0 | NULL
1.3.7 |  | 1/4" PNEUMATIC ACTUATION FLEXIBLE HOSE WITH FEMALE SWIVEL FITTINGS - 1 NO. X 1/4" PNEUMATIC ELBOW USED AT SLAVE CYLINDER VALVE (SD-ELWFH-092) - 6 NOS. X 1/4" NIPPLE USED AT MASTER CYLINDER VALVE (SD-NPFH-090) - 2 NOS. X PNEUMATIC TEE (SD-TFH-091) | SHIELD | SDFLXHS0015 | NOS | 3 | 40 | 12 | 5 | 36 | 0 | FALSE |  |  | 0 | NULL
1.3.8 |  | MANIFOLD FOR 4 CYLINDER | SHIELD | SD-MF100-80-4 | NOS | 1 | 880 | 252 | 5 | 252 | 0 | FALSE |  |  | 0 | NULL
2 |  | SHIELD FM 200 FIRE EXTINGUISHING SYSTEM, TOTAL FLOODING, MODULAR, 300 PSI - CONTROL ROOM |  |  |  | 0 | 0 | 0 | 5 | 0 | 0 | FALSE |  |  | 0 | NULL
2.1 |  | MECHANICAL COMPONENTS (MAIN) |  |  |  | 0 | 0 | 0 | 5 | 0 | 0 | FALSE |  |  | 0 | NULL
2.1.1 |  | 369 L HFC227EA AGENT CYLINDER ASSEMBLY COMPLETE WITH: CYLINDERM HEAD VALVE WITH PRESSURE GAUGE, PRESSURE SUPERVISORY SWITCH, CYLINDER MOUNTING STRAP, TOP PLUG | SHIELD | SD-369HFC-03 | SET | 2 | 13247 | 3791 | 5 | 7582 | 0 | FALSE |  |  | 0 | NULL
2.1.2 |  | SHIELD200 (SD-HFC227EA) AGENT (PER KG) | SHIELD | SD-HFC-227ea | KG | 484 | 70 | 21 | 5 | 10164 | 0 | FALSE |  |  | 0 | NULL
2.1.3 |  | REMOVABLE ELECTRIC ACTUATOR C/W SUPERVISORY SWITCH, 1 INCH CONNECTION, UL LISTED, EXT. MONITORING SWITCH WITH CLAMP, SD-EMS0025 | SHIELD | SD-REA-SS | NOS | 2 | 1690 | 484 | 5 | 968 | 0 | FALSE |  |  | 0 | NULL
2.1.4 |  | MANUAL ACTUATOR WITH PUSH TO OPERATE | SHIELD | SD-MA0025 | NOS | 1 | 200 | 58 | 5 | 58 | 0 | FALSE |  |  | 0 | NULL
2.1.5 |  | PNEUMATIC ACTUATOR | SHIELD | SD-PA0025 | NOS | 1 | 180 | 52 | 5 | 52 | 0 | FALSE |  |  | 0 | NULL
2.1.6 |  | DISCHARGE PRESSURE SWITCH | SHIELD | SD-DPS-B6-95-1 | NOS | 1 | 300 | 86 | 5 | 86 | 0 | FALSE |  |  | 0 | NULL
2.1.7 |  | DISCHARGE FLEXIBLE HOSE ASSEMBLY COMPLETE WITH CHECK VALVE, WITH ADAPTOR, FEMALE SWIVEL FITTINGS | SHIELD | SD-DH0050 & SD-CV0050 | NOS | 2 | 480 | 138 | 5 | 276 | 0 | FALSE |  |  | 0 | NULL
2.1.8 |  | 1/4" PNEUMATIC ACTUATION FLEXIBLE HOSE WITH FEMALE SWIVEL FITTINGS - 1 NO. X 1/4" PNEUMATIC ELBOW USED AT SLAVE CYLINDER VALVE (SD-ELWFH-092) - 6 NOS. X 1/4" NIPPLE USED AT MASTER CYLINDER VALVE (SD-NPFH-090) - 2 NOS. X PNEUMATIC TEE (SD-TFH-091) | SHIELD | SDFLXHS0015 | NOS | 1 | 40 | 12 | 5 | 12 | 0 | FALSE |  |  | 0 | NULL
2.1.9 |  | MANIFOLD FOR 2 CYLINDER | SHIELD | SD-MF100-80-4 | NOS | 1 | 650 | 186 | 5 | 186 | 0 | FALSE |  |  | 0 | NULL
2.1.10 |  | DISCHARGE NOZZLE | SHIELD | SD-NXXX-XX | NOS | 10 | 200 | 58 | 5 | 580 | 0 | FALSE |  |  | 0 | NULL
2.1.11 |  | FM200 WARNING SIGNAGE | SHIELD | SD-FM-WARN | SET | 2 | 300 | 86 | 5 | 172 | 0 | FALSE |  |  | 0 | NULL
2.1.12 |  | FK-5-1-12 CYLINDER LEBEL 280X180 - UL/FM APPROVED | SHIELD | SD-FM-LBL | NOS | 2 | 60 | 18 | 5 | 36 | 0 | FALSE |  |  | 0 | NULL
2.2 |  | ELECTRICAL COMPONENTS |  |  |  | 0 | 0 | 0 | 5 | 0 | 0 | FALSE |  |  | 0 | NULL
2.2.1 |  | EXTINGUISHING CONTROL PANEL (2) DETECTION ZONE (1) RELEASE AREA COMPLETE WITH: 24VDC BACK UP BATTERY | SHIELD | AX-T | SET | 1 | 3500 | 1002 | 5 | 1002 | 0 | FALSE |  |  | 0 | NULL
2.2.2 |  | OPTICAL SMOKE DETECTOR WITH BASE | SHIELD | S-C2011 | NOS | 16 | 47 | 14 | 5 | 224 | 0 | FALSE |  |  | 0 | NULL
2.2.3 | 13006238110 | EXTINGUISHING ABORT SWITCH, SURFACE MOUNT, RED, UL LISTED, MODEL: S111R-AB - SHIELD | SHIELD | S111R-AB | NOS | 2 | 275 | 79 | 5 | 158 | 0 | FALSE |  |  | 0 | NULL
2.2.4 | 13006438060 | FIRE ALARM BELL 6", MOTOR DRIVEN TYPE, RED COLOUR, 24V DC, 20-30MA CURRENT CONSUMPTION, UL LISTED, MODEL: FB1000C6, SHIELD | SHIELD | FB1000C6 | NOS | 2 | 85 | 25 | 5 | 50 | 0 | FALSE |  |  | 0 | NULL
2.2.5 |  | HORN STROBE, WALL MOUNTED - WEATHER PROOF | E2S | SH-HSOR | NOS | 2 | 215 | 62 | 5 | 124 | 0 | FALSE |  |  | 0 | NULL
2.2.6 |  | REMOTE INDICATOR | SYSTEM SENSOR | RA100Z | NOS | 8 | 100 | 29 | 5 | 232 | 0 | FALSE |  |  | 0 | NULL
2.2.7 |  | MAIN/RESERVE SELECTOR SWITCH | SHIELD | SD-502001 | NOS | 1 | 350 | 101 | 5 | 101 | 0 | FALSE |  |  | 0 | NULL
2.2.8 |  | WARNING SIGN | NAFFCO |  | SET | 2 | 300 | 86 | 5 | 172 | 0 | FALSE |  |  | 0 | NULL
2.3 |  | MECHANICAL COMPONENTS (RESERVE) |  |  |  | 0 | 0 | 0 | 5 | 0 | 0 | FALSE |  |  | 0 | NULL
2.3.1 |  | 369 L HFC227EA AGENT CYLINDER ASSEMBLY COMPLETE WITH: CYLINDERM HEAD VALVE WITH PRESSURE GAUGE, PRESSURE SUPERVISORY SWITCH, CYLINDER MOUNTING STRAP, TOP PLUG | SHIELD | SD-369HFC-03 | SET | 2 | 13247 | 3791 | 5 | 7582 | 0 | FALSE |  |  | 0 | NULL
2.3.2 |  | SHIELD200 (SD-HFC227EA) AGENT (PER KG) | SHIELD | SD-HFC-227ea | KG | 484 | 70 | 21 | 5 | 10164 | 0 | FALSE |  |  | 0 | NULL
2.3.3 |  | REMOVABLE ELECTRIC ACTUATOR C/W SUPERVISORY SWITCH, 1 INCH CONNECTION, UL LISTED, EXT. MONITORING SWITCH WITH CLAMP, SD-EMS0025 | SHIELD | SD-REA-SS | NOS | 2 | 1690 | 484 | 5 | 968 | 0 | FALSE |  |  | 0 | NULL
2.3.4 |  | MANUAL ACTUATOR WITH PUSH TO OPERATE | SHIELD | SD-MA0025 | NOS | 1 | 200 | 58 | 5 | 58 | 0 | FALSE |  |  | 0 | NULL
2.3.5 |  | PNEUMATIC ACTUATOR | SHIELD | SD-PA0025 | NOS | 1 | 180 | 52 | 5 | 52 | 0 | FALSE |  |  | 0 | NULL
2.3.6 |  | DISCHARGE FLEXIBLE HOSE ASSEMBLY COMPLETE WITH CHECK VALVE, WITH ADAPTOR, FEMALE SWIVEL FITTINGS | SHIELD | SD-DH0050 & SD-CV0050 | NOS | 2 | 480 | 138 | 5 | 276 | 0 | FALSE |  |  | 0 | NULL
2.3.7 |  | 1/4" PNEUMATIC ACTUATION FLEXIBLE HOSE WITH FEMALE SWIVEL FITTINGS - 1 NO. X 1/4" PNEUMATIC ELBOW USED AT SLAVE CYLINDER VALVE (SD-ELWFH-092) - 6 NOS. X 1/4" NIPPLE USED AT MASTER CYLINDER VALVE (SD-NPFH-090) - 2 NOS. X PNEUMATIC TEE (SD-TFH-091) | SHIELD | SDFLXHS0015 | NOS | 1 | 40 | 12 | 5 | 12 | 0 | FALSE |  |  | 0 | NULL
2.3.8 |  | MANIFOLD FOR 2 CYLINDER | SHIELD | SD-MF100-80-4 | NOS | 1 | 650 | 186 | 5 | 186 | 0 | FALSE |  |  | 0 | NULL
3 |  | SHIELD FM 200 FIRE EXTINGUISHING SYSTEM, TOTAL FLOODING, MODULAR, 300 PSI - 220V DC BATTERY ROOM |  |  |  | 0 | 0 | 0 | 5 | 0 | 0 | FALSE |  |  | 0 | NULL
3.1 |  | MECHANICAL COMPONENTS (MAIN) |  |  |  | 0 | 0 | 0 | 5 | 0 | 0 | FALSE |  |  | 0 | NULL
3.1.1 |  | 180 L HFC227EA AGENT CYLINDER ASSEMBLY COMPLETE WITH: CYLINDERM HEAD VALVE WITH PRESSURE GAUGE, PRESSURE SUPERVISORY SWITCH, CYLINDER MOUNTING STRAP, TOP PLUG | SHIELD | SD-180HFC-02 | SET | 1 | 6253 | 1790 | 5 | 1790 | 0 | FALSE |  |  | 0 | NULL
3.1.2 |  | SHIELD200 (SD-HFC227EA) AGENT (PER KG) | SHIELD | SD-HFC-227ea | KG | 122 | 70 | 21 | 5 | 2562 | 0 | FALSE |  |  | 0 | NULL
3.1.3 |  | REMOVABLE ELECTRIC ACTUATOR C/W SUPERVISORY SWITCH, 1 INCH CONNECTION, UL LISTED, EXT. MONITORING SWITCH WITH CLAMP, SD-EMS0025 | SHIELD | SD-REA-SS | NOS | 1 | 1690 | 484 | 5 | 484 | 0 | FALSE |  |  | 0 | NULL
3.1.4 |  | MANUAL ACTUATOR WITH PUSH TO OPERATE | SHIELD | SD-MA0025 | NOS | 1 | 200 | 58 | 5 | 58 | 0 | FALSE |  |  | 0 | NULL
3.1.5 |  | DISCHARGE PRESSURE SWITCH | SHIELD | SD-DPS-B6-95-1 | NOS | 1 | 300 | 86 | 5 | 86 | 0 | FALSE |  |  | 0 | NULL
3.1.6 |  | DISCHARGE FLEXIBLE HOSE ASSEMBLY COMPLETE WITH CHECK VALVE, WITH ADAPTOR, FEMALE SWIVEL FITTINGS | SHIELD | SD-DH0050 & SD-CV0050 | NOS | 1 | 480 | 138 | 5 | 138 | 0 | FALSE |  |  | 0 | NULL
3.1.7 |  | DISCHARGE NOZZLE | SHIELD | SD-NXXX-XX | NOS | 4 | 200 | 58 | 5 | 232 | 0 | FALSE |  |  | 0 | NULL
3.1.8 |  | FM200 WARNING SIGNAGE | SHIELD | SD-FM-WARN | SET | 1 | 300 | 86 | 5 | 86 | 0 | FALSE |  |  | 0 | NULL
3.1.9 |  | FK-5-1-12 CYLINDER LEBEL 280X180 - UL/FM APPROVED | SHIELD | SD-FM-LBL | NOS | 1 | 60 | 18 | 5 | 18 | 0 | FALSE |  |  | 0 | NULL
3.2 |  | ELECTRICAL COMPONENTS |  |  |  | 0 | 0 | 0 | 5 | 0 | 0 | FALSE |  |  | 0 | NULL
3.2.1 |  | EXTINGUISHING CONTROL PANEL (2) DETECTION ZONE (1) RELEASE AREA COMPLETE WITH: 24VDC BACK UP BATTERY | SHIELD | AX-T | SET | 1 | 3500 | 1002 | 5 | 1002 | 0 | FALSE |  |  | 0 | NULL
3.2.2 |  | OPTICAL SMOKE DETECTOR WITH BASE | SHIELD | S-C2011 | NOS | 2 | 47 | 14 | 5 | 28 | 0 | FALSE |  |  | 0 | NULL
3.2.3 |  | PROBE TYPE HEAT DETECTOR WITH BASE | FIKE | 60-009 | NOS | 4 | 450 | 129 | 0 | 516 | 0 | FALSE |  |  | 0 | NULL
3.2.4 | 13006238110 | EXTINGUISHING ABORT SWITCH, SURFACE MOUNT, RED, UL LISTED, MODEL: S111R-AB - SHIELD | SHIELD | S111R-AB | NOS | 1 | 275 | 79 | 5 | 79 | 0 | FALSE |  |  | 0 | NULL
3.2.5 | 13006438060 | FIRE ALARM BELL 6", MOTOR DRIVEN TYPE, RED COLOUR, 24V DC, 20-30MA CURRENT CONSUMPTION, UL LISTED, MODEL: FB1000C6, SHIELD | SHIELD | FB1000C6 | NOS | 1 | 85 | 25 | 5 | 25 | 0 | FALSE |  |  | 0 | NULL
3.2.6 |  | HORN STROBE, WALL MOUNTED - WEATHER PROOF | E2S | SH-HSOR | NOS | 1 | 215 | 62 | 5 | 62 | 0 | FALSE |  |  | 0 | NULL
3.2.7 |  | REMOTE INDICATOR | SYSTEM SENSOR | RA100Z | NOS | 2 | 100 | 29 | 5 | 58 | 0 | FALSE |  |  | 0 | NULL
3.2.8 |  | MAIN/RESERVE SELECTOR SWITCH | SHIELD | SD-502001 | NOS | 1 | 350 | 101 | 5 | 101 | 0 | FALSE |  |  | 0 | NULL
3.2.9 |  | WARNING SIGN | NAFFCO |  | SET | 1 | 300 | 86 | 5 | 86 | 0 | FALSE |  |  | 0 | NULL
3.3 |  | MECHANICAL COMPONENTS (RESERVE) |  |  |  | 0 | 0 | 0 | 5 | 0 | 0 | FALSE |  |  | 0 | NULL
3.3.1 |  | 180 L HFC227EA AGENT CYLINDER ASSEMBLY COMPLETE WITH: CYLINDERM HEAD VALVE WITH PRESSURE GAUGE, PRESSURE SUPERVISORY SWITCH, CYLINDER MOUNTING STRAP, TOP PLUG | SHIELD | SD-180HFC-02 | SET | 1 | 6253 | 1790 | 5 | 1790 | 0 | FALSE |  |  | 0 | NULL
3.3.2 |  | SHIELD200 (SD-HFC227EA) AGENT (PER KG) | SHIELD | SD-HFC-227ea | KG | 122 | 70 | 21 | 5 | 2562 | 0 | FALSE |  |  | 0 | NULL
3.3.3 |  | REMOVABLE ELECTRIC ACTUATOR C/W SUPERVISORY SWITCH, 1 INCH CONNECTION, UL LISTED, EXT. MONITORING SWITCH WITH CLAMP, SD-EMS0025 | SHIELD | SD-REA-SS | NOS | 1 | 1690 | 484 | 5 | 484 | 0 | FALSE |  |  | 0 | NULL
3.3.4 |  | MANUAL ACTUATOR WITH PUSH TO OPERATE | SHIELD | SD-MA0025 | NOS | 1 | 200 | 58 | 5 | 58 | 0 | FALSE |  |  | 0 | NULL
3.3.5 |  | DISCHARGE FLEXIBLE HOSE ASSEMBLY COMPLETE WITH CHECK VALVE, WITH ADAPTOR, FEMALE SWIVEL FITTINGS | SHIELD | SD-DH0050 & SD-CV0050 | NOS | 1 | 480 | 138 | 5 | 138 | 0 | FALSE |  |  | 0 | NULL
4 |  | SHIELD FM 200 FIRE EXTINGUISHING SYSTEM, TOTAL FLOODING, MODULAR, 300 PSI - BATTERY ROOM |  |  |  | 0 | 0 | 0 | 5 | 0 | 0 | FALSE |  |  | 0 | NULL
4.1 |  | MECHANICAL COMPONENTS (MAIN) |  |  |  | 0 | 0 | 0 | 5 | 0 | 0 | FALSE |  |  | 0 | NULL
4.1.1 |  | 52 L HFC227EA AGENT CYLINDER ASSEMBLY COMPLETE WITH: CYLINDERM HEAD VALVE WITH PRESSURE GAUGE, PRESSURE SUPERVISORY SWITCH, CYLINDER MOUNTING STRAP, TOP PLUG | SHIELD | SD-52HFC-02 | SET | 1 | 4730 | 1354 | 5 | 1354 | 0 | FALSE |  |  | 0 | NULL
4.1.2 |  | SHIELD200 (SD-HFC227EA) AGENT (PER KG) | SHIELD | SD-HFC-227ea | KG | 30 | 70 | 21 | 5 | 630 | 0 | FALSE |  |  | 0 | NULL
4.1.3 |  | REMOVABLE ELECTRIC ACTUATOR C/W SUPERVISORY SWITCH, 1 INCH CONNECTION, UL LISTED, EXT. MONITORING SWITCH WITH CLAMP, SD-EMS0025 | SHIELD | SD-REA-SS | NOS | 1 | 1690 | 484 | 5 | 484 | 0 | FALSE |  |  | 0 | NULL
4.1.4 |  | MANUAL ACTUATOR WITH PUSH TO OPERATE | SHIELD | SD-MA0025 | NOS | 1 | 200 | 58 | 5 | 58 | 0 | FALSE |  |  | 0 | NULL
4.1.5 |  | DISCHARGE PRESSURE SWITCH | SHIELD | SD-DPS-B6-95-1 | NOS | 1 | 300 | 86 | 5 | 86 | 0 | FALSE |  |  | 0 | NULL
4.1.6 |  | DISCHARGE FLEXIBLE HOSE ASSEMBLY COMPLETE WITH CHECK VALVE, WITH ADAPTOR, FEMALE SWIVEL FITTINGS | SHIELD | SD-DH0050 & SD-CV0050 | NOS | 1 | 480 | 138 | 5 | 138 | 0 | FALSE |  |  | 0 | NULL
4.1.7 |  | MANIFOLD FOR 2 CYLINDER | SHIELD | SD-MF100-80-4 | NOS | 1 | 650 | 186 | 5 | 186 | 0 | FALSE |  |  | 0 | NULL
4.1.8 |  | DISCHARGE NOZZLE | SHIELD | SD-NXXX-XX | NOS | 4 | 200 | 58 | 5 | 232 | 0 | FALSE |  |  | 0 | NULL
4.1.9 |  | FM200 WARNING SIGNAGE | SHIELD | SD-FM-WARN | SET | 1 | 300 | 86 | 5 | 86 | 0 | FALSE |  |  | 0 | NULL
4.1.10 |  | FK-5-1-12 CYLINDER LEBEL 280X180 - UL/FM APPROVED | SHIELD | SD-FM-LBL | NOS | 1 | 60 | 18 | 5 | 18 | 0 | FALSE |  |  | 0 | NULL
4.2 |  | ELECTRICAL COMPONENTS |  |  |  |  | 0 | 0 | 5 | 0 | 0 | FALSE |  |  | 0 | NULL
4.2.1 |  | EXTINGUISHING CONTROL PANEL (2) DETECTION ZONE (1) RELEASE AREA COMPLETE WITH: 24VDC BACK UP BATTERY | SHIELD | AX-T | SET | 1 | 3500 | 1002 | 5 | 1002 | 0 | FALSE |  |  | 0 | NULL
4.2.2 |  | OPTICAL SMOKE DETECTOR WITH BASE | SHIELD | S-C2011 | NOS |  | 47 | 14 | 5 | 0 | 0 | FALSE |  |  | 0 | NULL
4.2.3 |  | PROBE TYPE HEAT DETECTOR WITH BASE | FIKE | 60-009 | NOS | 4 | 450 | 129 | 0 | 516 | 0 | FALSE |  |  | 0 | NULL
4.2.4 | 13006238110 | EXTINGUISHING ABORT SWITCH, SURFACE MOUNT, RED, UL LISTED, MODEL: S111R-AB - SHIELD | SHIELD | S111R-AB | NOS | 1 | 275 | 79 | 5 | 79 | 0 | FALSE |  |  | 0 | NULL
4.2.5 | 13006438060 | FIRE ALARM BELL 6", MOTOR DRIVEN TYPE, RED COLOUR, 24V DC, 20-30MA CURRENT CONSUMPTION, UL LISTED, MODEL: FB1000C6, SHIELD | SHIELD | FB1000C6 | NOS | 1 | 85 | 25 | 5 | 25 | 0 | FALSE |  |  | 0 | NULL
4.2.6 |  | HORN STROBE, WALL MOUNTED - WEATHER PROOF | E2S | SH-HSOR | NOS | 1 | 215 | 62 | 5 | 62 | 0 | FALSE |  |  | 0 | NULL
4.2.7 |  | REMOTE INDICATOR | SYSTEM SENSOR | RA100Z | NOS | 2 | 100 | 29 | 5 | 58 | 0 | FALSE |  |  | 0 | NULL
4.2.8 |  | MAIN/RESERVE SELECTOR SWITCH | SHIELD | SD-502001 | NOS | 1 | 350 | 101 | 5 | 101 | 0 | FALSE |  |  | 0 | NULL
4.2.9 |  | WARNING SIGN | NAFFCO |  | SET | 1 | 300 | 86 | 5 | 86 | 0 | FALSE |  |  | 0 | NULL
4.3 |  | MECHANICAL COMPONENTS (RESERVE) |  |  |  |  | 0 | 0 | 5 | 0 | 0 | FALSE |  |  | 0 | NULL
4.3.1 |  | 52 L HFC227EA AGENT CYLINDER ASSEMBLY COMPLETE WITH: CYLINDERM HEAD VALVE WITH PRESSURE GAUGE, PRESSURE SUPERVISORY SWITCH, CYLINDER MOUNTING STRAP, TOP PLUG | SHIELD | SD-52HFC-02 | SET | 1 | 4730 | 1354 | 5 | 1354 | 0 | FALSE |  |  | 0 | NULL
4.3.2 |  | SHIELD200 (SD-HFC227EA) AGENT (PER KG) | SHIELD | SD-HFC-227ea | KG | 30 | 70 | 21 | 5 | 630 | 0 | FALSE |  |  | 0 | NULL
4.3.3 |  | REMOVABLE ELECTRIC ACTUATOR C/W SUPERVISORY SWITCH, 1 INCH CONNECTION, UL LISTED, EXT. MONITORING SWITCH WITH CLAMP, SD-EMS0025 | SHIELD | SD-REA-SS | NOS | 1 | 1690 | 484 | 5 | 484 | 0 | FALSE |  |  | 0 | NULL
4.3.4 |  | MANUAL ACTUATOR WITH PUSH TO OPERATE | SHIELD | SD-MA0025 | NOS | 1 | 200 | 58 | 5 | 58 | 0 | FALSE |  |  | 0 | NULL
4.3.5 |  | DISCHARGE FLEXIBLE HOSE ASSEMBLY COMPLETE WITH CHECK VALVE, WITH ADAPTOR, FEMALE SWIVEL FITTINGS | SHIELD | SD-DH0050 & SD-CV0050 | NOS | 1 | 480 | 138 | 5 | 138 | 0 | FALSE |  |  | 0 | NULL