## FOAM SYSTEM
SLNO | ItemCode | ItemName | Brand | Model | UOM | Qty | UnitPriceAED | UnitPrice | Margin | Amount | Unitweight | Optional | COO | DeliveryStatus | CRMProductId | CRMProduct
1 |  | FOAM SPRINKLER SYSTEM - DIESEL GENERATOR ROOM |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.1 | 10450515310 | FOAM BLADDER TANK, VERTICAL TYPE, CAPACITY: 100 GLN, RED COLOUR, UL LISTED - NAFFCO, UAE. | NAFFCO |  | NOS | 1 | 19000 | 5178 | 0 | 5178 | 0 | FALSE |  |  | 0 | NULL
1.2 |  | AFFF FOAM CONCENTRATE - 3% | NAFFCO | NF3F-C6-AFFF | GAL | 106 | 37.85 | 11 | 0 | 1166 | 0 | FALSE |  |  | 0 | NULL
1.3 |  | 3" DELUGE VALVE COMPLETE WITH: | SHIELD |  | SET | 1 | 4500 | 1227 | 0 | 1227 | 0 | FALSE |  |  | 0 | NULL
1.3.1 | 10562522085 | DUCTILE IRON DELUGE VALVE 3" FLANGED, GLOBE TYPE, HORIZONTAL/VERTICAL MOUNTED, UL LISTED | SHIELD | SD-DVH3 |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.3.2 |  | BASIC - ELECTRIC/PNEUMATIC TRIM FOR 3" DELUGE VALVE WITHOUT SOLENOID VALVE | SHIELD | SD-DVH3 TRIM |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.3.3 | 10562520905 | SOLENOID 24VDC VALVE FOR MAKING ELECTRICAL ACTUATED TRIM | SHIELD |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.3.4 | 10558522120 | WATER MOTOR ALARM GONG, INT 3/4"BSPT, EPOXTY RED POWDER COATED, UL LISTED | SHIELD | SD-GA |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.3.5 | 10559022610 | PRESSURE SWITCH 0-10 PSI WITH SINGLE CONTACT UL/FM APPROVED | SHIELD | SD-PS1001 |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.3.6 | 10558522530 | PRESSURE GAUGE 0-300 PSI -3-1/2" (90MM) UL LISTED/FM APPROVED SHIELD | SHIELD | SD-P1 |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.4 | 11000108581 | OS&Y GATE VALVE 3" CLASS 125 FLANGED, 200 PSI WORKING UL/FM APPROVED | SHIELD | SD-OSY200FF-D | NOS | 1 | 510 | 139 | 0 | 139 | 0 | FALSE |  |  | 0 | NULL
1.5 | 10559022710 | TAMPER SWITCH / SUPERVISORY SWITCH FOR OS&Y GATE VALVE WITH 1 SET SPDT CONTACT UL/FM | SHIELD | SD-SVS-OSY-1 | NOS | 1 | 167 | 46 | 0 | 46 | 0 | FALSE |  |  | 0 | NULL
1.6 | 11222508730 | Y-STRAINER 3" CLASS 150 BOTH FLANGED ENDS, 300 PSI WORKING UL/ULC APPROVED WITH LISTED - FLANGED X FLANGED SS304 SCREEN -SHIELD | SHIELD | SD-YS300FF-D | NOS | 1 | 320 | 88 | 0 | 88 | 0 | FALSE |  |  | 0 | NULL
1.7 | 10556775100 | AIR FOAM WATER SPRINKLER HEAD 80LPM AT 3.5 BAR, PENDENT TYPE, BRONZE, 1/2" NPT MALE INLET, FLOW RATE K-FACTOR 42, UL/FM APPROVED, MODEL.# NH500 - NAFFCO | NAFFCO | NH500 | NOS | 16 | 160 | 44 | 0 | 704 | 0 | FALSE |  |  | 0 | NULL
1.8 |  | 1" DIA AIR RELEASE VALVE | NAFFCO | NF-25ARV | NOS | 1 | 285 | 78 | 0 | 78 | 0 | FALSE |  |  | 0 | NULL
1.9 |  | ELECTRICAL COMPONENTS |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.9.1 |  | EXTINGUISHING CONTROL PANEL (2) DETECTION ZONE (1) RELEASE AREA COMPLETE WITH: 24VDC BACK UP BATTERY | SHIELD | AX-T | SET | 1 | 3500 | 954 | 0 | 954 | 0 | FALSE |  |  | 0 | NULL
1.9.2 | 13002238210 | CONVENTIONAL HEAT DETECTOR, 135F, UL LISTED, MODEL: S-C2013 - SHIELD | SHIELD | S-C2013 | NOS | 6 | 39 | 11 | 0 | 66 | 0 | FALSE |  |  | 0 | NULL
1.9.3 |  | HORN/STROBE, INDOOR, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, UL LISTED, MODEL : SH-HSIR - SHIELD | SHIELD | SH-HSIR | NOS | 1 | 150 | 41 | 0 | 41 | 0 | FALSE |  |  | 0 | NULL
1.9.4 |  | STROBE, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, INDOOR, UL LISTED, MODEL: SH-STIR - SHIELD WITH BACKBOX | SHIELD | SH-STIR | NOS | 1 | 125 | 35 | 0 | 35 | 0 | FALSE |  |  | 0 | NULL
1.9.5 |  | WARNING SIGN | NAFFCO |  | SET | 1 | 300 | 82 | 0 | 82 | 0 | FALSE |  |  | 0 | NULL
9804