## GULF SPIC
SLNO | ItemCode | ItemName | Brand | Model | UOM | Qty | UnitPriceAED | UnitPrice | Margin | Amount | Unitweight | Optional | COO | DeliveryStatus | CRMProductId | CRMProduct
1 |  | FIRE FIGHTING EQUIPMENT BOX AND CONTENTS |  |  | EA | 4 | 15000 | 61717 | 15 | 246868 | 0 | FALSE |  |  | 0 | NULL
1.1 |  | FIRE HOSE BOX, COMPLETE MILD STEEL, DOUBLE DOOR, SELF-STANDING WITH SLOPED ROOF, WEATHER PROOF | NAFFCO | CUSTOM MADE |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.2 |  | FIRE HOSE 2-1/2" X 30 MTR, RED COLOUR, UL LISTED, MODEL: DURALEX-65-EL, WITH KITEMARK GUNMETAL QUICK COUPLING - NAFFCO (8 NOS) | NAFFCO | DURALEX-65-EL |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.3 |  | 3% FLUORO PROTEIN FOAM CONCENTRATE (PACKING IN 25 LITERS) [8 NOS] | NAFFCO |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.4 |  | BRANCHPIPE JET & SPRAY FIRE HOSE NOZZLE INLET 2 1/2" BS336 MALE INSTANTANEOUS CONNECTION ALUMINUM, LEVER OPERATED CONFIRMING TO BS 15182-1&3 WITH "BS KITE MARK", MODEL: NF-FB320 - NAFFCO (4 NOS) | NAFFCO | NF-FB-320 |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.5 |  | FOAM BRANCH PIPE 2 1/2" 450 LPM UL LISTED (2 NOS) | NAFFCO | NF-500LXB450 |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.6 |  | VALVE OPERATING KEYS (2 NOS) | NAFFCO |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
2 |  | 4 WAY FIRE HYDRANTS |  |  |  | 0 | 0 | 0 | 15 | 0 | 0 | FALSE |  |  | 0 | NULL
2.1 |  | 6" X 4 WAY WET TYPE HYDRANT, CARBON STEEL FABRICATED COMPLETE WITH ALL ACCESSORIES AS PER THE ATTACHED PROPOSED DRAWING | NAFFCO | CUSTOM MADE | EA | 38 | 13000 | 4074 | 10 | 154812 | 0 | FALSE |  |  | 0 | NULL
3 |  | FIXED FIRE WATER MONITOR |  |  |  | 0 | 0 | 0 | 15 | 0 | 0 | FALSE |  |  | 0 | NULL
3.1 |  | 6" X 4 WAY WET TYPE HYDRANT, CARBON STEEL FABRICATED COMPLETE WITH ALL ACCESSORIES INCLUDING LEVER OPERATED FOAM MONITOR MONITOR - NFM 460-100B NOZZLE - NF-500FN | NAFFCO | CUSTOM MADE | EA | 38 | 23300 | 7302 | 15 | 277476 | 0 | FALSE |  |  | 0 | NULL
4 |  | 6" - DELUGE VALVE SKID SYSTEM SETS | NAFFCO | CUSTOM MADE | EA | 3 | 556515 | 174385 | 15 | 523155 | 0 | FALSE |  |  | 0 | NULL
5 |  | DELUGE WATER SPRAY VALVE SETS WATER SPRAY APPLICATION RATES FOR VARIOUS EQUIPMENT ARE LISTED AS FOLLOWS : HYDROCARBON PUMP: 20 Lpm/m2 DIRECTLY OVER PUMP; 20s Lpm/m2 AROUND PUMP BOUNDARY VESSEL : 10 Lpm/m2 OF EQUIPMENT SURFACE GENERAL AREA COVERAGE: 10 Lmp/m2 | NAFFCO | CUSTOM MADE | EA | 1 | 556515 | 174385 | 15 | 174385 | 0 | FALSE |  |  | 0 | NULL
6 |  | DELUGE WATER SPRAY VALVE SETS WATER SPRAY APPLICATION RATES FOR VARIOUS EQUIPMENT ARE LISTED AS FOLLOWS : COMPRESSOR: 20 Lpm/m2 OVER COMPRESSOR: 8.5 Lpm/m2 OVER LUBE CONSOLE VESSEL, COLUMN, HEAT EXCHANGER: 10 Lpm/m2 OF EQUIPMENT SURFACE GENERAL AREA COVERAGE: 10 Lmp/m2 | NAFFCO | CUSTOM MADE | EA | 3 | 556515 | 174385 | 15 | 523155 | 0 | FALSE |  |  | 0 | NULL
7 |  | 9 KG (MONNEX) PORTABLE FIRE EXTINGUISHER (Incl. Fixings) |  |  |  | 0 | 0 | 0 | 15 | 0 | 0 | FALSE |  |  | 0 | NULL
7.1 |  | 9 KG MONNEX FIRE EXTINGUISHERS CATRIDGE OPERATED BRITANNIA, UK | BRITANNIA | BM9 | EA | 30 | 2401.7175 | 753 | 15 | 22590 | 0 | FALSE |  |  | 0 | NULL
7.2 |  | SUNSHADE FOR THE ABOVE FIRE EXTINGUISHER | NAFFCO | CUSTOM MADE | EA | 30 | 300 | 95 | 15 | 2850 | 0 | FALSE |  |  | 0 | NULL
8 |  | 50 KG WHEELED (MONNEX) FIRE EXTINGUISHER |  |  |  | 0 | 0 | 0 | 15 | 0 | 0 | FALSE |  |  | 0 | NULL
8.1 |  | 63 KG MONNEX FIRE EXTINGUISHERS WITH TROLLEY, BRITANNIA MANUFACTURE UK | BRITANNIA | NWM50 | EA | 3 | 19569.55 | 6133 | 15 | 18399 | 0 | FALSE |  |  | 0 | NULL
8.2 |  | SUNSHADE FOR THE ABOVE FIRE EXTINGUISHER | NAFFCO | CUSTOM MADE | EA | 3 | 350 | 110 | 15 | 330 | 0 | FALSE |  |  | 0 | NULL
9 |  | 5 KG CO2 PORTABLE FIRE EXTINGUISHER GAS CARTRIDGE (Incl. Fixings) |  |  |  | 0 | 0 | 0 | 15 | 0 | 0 | FALSE |  |  | 0 | NULL
9.1 | 10111210050 | CO2 EXTINGUISHER PORTABLE TYPE, CAPACITY: 5 KG, RED COLOR, FIRE RATING: 55B, CE/KITEMARK/MED/LPCB APPROVED, MODEL: NC 5 - NAFFCO, UAE | NAFFCO | NC 5 | EA | 15 | 171 | 54 | 15 | 810 | 0 | FALSE |  |  | 0 | NULL
9.2 |  | SUNSHADE FOR THE ABOVE FIRE EXTINGUISHER | NAFFCO | CUSTOM MADE | EA | 15 | 300 | 95 | 15 | 1425 | 0 | FALSE |  |  | 0 | NULL
10 |  | SAFETY SHOWERS (Incl. Eye Wash) |  |  |  | 0 | 0 | 0 | 15 | 0 | 0 | FALSE |  |  | 0 | NULL
10.1 |  | SUPPLY SAFETY SHOWER & EYEBATH CONFORMING TO ANSI Z358.1-2014 SPECIFICATIONS SUITABLE FOR HAZARDOUS AREA (ZONE 2, IIB, T3) – ATEX CERTIFIED – SUITABLE FOR TEMPERATURES TO +40°C POWER SUPPLY: 220-240V 1PH 50HZ MANUFACTURED IN HOUSE, CONSISTING OF 304 STAINLESS STEEL FRAME, VALVES, LINKAGES AND FASTENINGS WITH AN 1500L INSULATED GRP HEADER TANK WHICH WILL GUARANTEE 15 MINUTES OF WATER SIMULTANEOUSLY FROM SHOWER AND EYEBATH. THE CHILLER IS MOUNTED ON THE FLOOR NEXT TO THE TANK SHOWER. THERE IS ALSO A WATER LEVEL SWITCH WITHIN THE CHILLER TO ENSURE THE SYSTEM TRIPS OFF SHOULD THE TANK BECOME EMPTY. THE UNIT COMES COMPLETE WITH: ✓ GREEN(RAL6001) INSULATED 1500LITRE OVERHEAD TANK WITH WHITE INSULATED LID. ✓ PHOTO-LUMINOUS PICTORIAL SAFETY SIGNS ON ALL SIDES OF HEADER TANK ✓ 2 X ¾” STAINLESS BALL FLOAT VALVES WITH 6” PLASTIC FLOATS FOR QUICK REFILL ✓ SCREENED OVERFLOW (40MM) ✓ SCREENED VENT ✓ 304 STAINLESS STEEL FRAME WITH PHOTO LUMINOUS STRIP ON ENTRANCE ✓ 316 STAINLESS STEEL OPERATING VALVES & FASTENINGS ✓ 1” BSPM STAINLESS INLET ON BACK OF UNIT. ✓ INSPECTION HATCH (FOR MAINTENANCE PURPOSES FOR BALL FLOAT VALVES) ON LID OF HEADER TANK AT BACK ✓ INSPECTION HATCH (FOR MAINTENANCE PURPOSES FOR OPERATING VALVES) BUILT IN SHOWER ROSE COVER ✓ STAINLESS STEEL ERECTING LUGS (REMOVEABLE) ✓ OVERHEAD ABS ROSE (75LPM) ✓ STAINLESS PUSH BAR/PANIC BAR SHOWER OPERATION (POWDER COATED RED) ✓ TESTING LEVER ✓ VISUAL WATER LEVEL INDICATOR ✓ OVERHEAD WHITE GRP SUN CANOPY ✓ 3KW WATER CHILLER MOUNTED NEXT TO SAFETY SHOWER- LHS AS STANDARD. (PLEASE ADVISE IF RHS IS PREFERRED AND SEE DATA SHEET FOR FULL DETAILS OF THE CHILLER. ELECTRICAL CONNECTION- M20 ✓ INSULATED INTERCONNECTING PIPEWORK FITTED ON SHOWER TO GROUND LEVEL ✓ 2 X INSULATED STAINLESS HOSES TO CONNECT SHOWER AND CHILLER ✓ 2 X M10 EARTHING BOSSES FITTED ON EACH SIDE OF SHOWER ✓ ALL NECESSARY SAFETY SIGNS (INCLUDING GREEN/WHITE STRIPES) ✓ TANK FED EYEBATH MOUNTED INTERNALLY LHS (2 LOW PRESSURE NOZZLES AND OPERATED BY LIFTING LID) | Aqua Safety, UK | Model: TS1500-EBT-CH | EA | 1 | 181379 | 56836 | 15 | 56836 | 0 | FALSE |  |  | 0 | NULL
11 |  | 45 MINUTE SELF CONTAINED BREATHING APPARATUS (SCBA) (Incl. Harness, Cylinder, Spare Cylinder, Mask) |  |  |  | 0 | 0 | 0 | 15 | 0 | 0 | FALSE |  |  | 0 | NULL
11.1 |  | • 34580-100 INTERSPIRO QS II S9 WITH EBSS - HP VERSION (4500 PSI) • 32802–711 S-USA AMBIENT AIR HATCH MASK RUBBER HAIR NET, LARGE (L) • 99080-01 S BREATHING VALVE, AMBIENT AIR HATCH VERSION BY-PASS AND QC • 31062-51 WIRELESS HEADS-UP DISPLAY • 99695-01 CYLINDER 45 MIN SUPER LIGHT, HIGH PRESSURE ASSY. 180°-CYLINDER VALVE. CARBON FIBER. • 96036-01 SCBA CASE • 331300030 MASK BAG • 35300-2000C SPIROCOM WIRELESS (XXL/BT), EU FREQUENCY, BLUETOOTH FOR S-MASK |  |  | EA | 2 | 36010 | 11284 | 15 | 22568 | 0 | FALSE |  |  | 0 | NULL
12 |  | 15 MINUTE BREATHING APPARATUS |  |  |  | 0 | 0 | 0 | 15 | 0 | 0 | FALSE |  |  | 0 | NULL
12.1 |  | POSITIVE PRESSURE BREATHING APPARATUS DURATION: 15 MINUTES STEEL CYLINDER, 3LTR X 200 BAR MED APPROVED / CE MARKED IN ACCORDANCE WITH EN1146 | Scott Health & Safety, UK | Sabre ELSA 15B –“Hood Type” | EA | 2 | 1452 | 455 | 15 | 910 | 0 | FALSE |  |  | 0 | NULL
13 |  | WINDSOCK |  |  |  | 0 | 0 | 0 | 15 | 0 | 0 | FALSE |  |  | 0 | NULL
13.1 |  | WIND SOCK DIMENSION(LENGTH X THROAT ×TAIL):1.83M L×Φ27"×Φ18" FRAME:STAINLESS STEEL WINDSOCK COLOR:ORANGE AND WHITE POLE: 2.4M(1.2M*2) POLE MATERIAL:STAINLESS STEEL | MODEL: S-WSP-824 |  | EA | 3 | 9979 | 3127 | 15 | 9381 | 0 | FALSE |  |  | 0 | NULL
14 |  | EYE WASH STATION WITH CHILLER UNIT (Substation Battery Room) |  |  |  | 0 | 0 | 0 | 15 | 0 | 0 | FALSE |  |  | 0 | NULL
14.1 |  | MODEL: G1814 EYEWASH, WALL MOUNTED STAINSTEEL BOWL |  |  | EA | 1 | 3328 | 1043 | 15 | 1043 | 0 | FALSE |  |  | 0 | NULL
15 |  | CHEMICAL SPILL KIT |  |  |  | 0 | 0 | 0 | 15 | 0 | 0 | FALSE |  |  | 0 | NULL
15.1 |  | SPILL KIT CHEMICAL 120 LTR SAFETY GOGGLE, CHEMICAL SPLASH PROOF 1 EA GLOVE - NITRILE 1 EA DISPOSAL BAG - YELLOW COLOR 3 EA INSTRUCTION SHEET 1 EA PLASTIC SCOOP & BRUSH 1 EA CHEMICAL SORBENT PAD, 40 CM X 50 CM (16''X20'') 70 EA SPILL KIT BIN - YELLOW, 120 LTR 1 EA SPILL KIT LABEL - CHEMICAL 1 EA CHEMICAL SORBENT PILLOW, 25 CM X 40 CM (10"X16") 3 EA CHEMICAL SORBENT SOCKS, 8 CM X 1.2 MTR (3"X4') 4 EA | DSORB, UK |  | EA | 2 | 345 | 109 | 15 | 218 | 0 | FALSE |  |  | 0 | NULL
16 |  | FIRST AID KIT |  |  |  | 0 | 0 | 0 | 15 | 0 | 0 | FALSE |  |  | 0 | NULL
16.1 |  | FIRST AID KIT - CUSTOMISED | NAFFCO | CUSTOM MADE | EA | 5 | 1076 | 338 | 15 | 1690 | 0 | FALSE |  |  | 0 | NULL
17 |  | NRS GATE VALVE |  |  |  | 0 | 0 | 0 | 15 | 0 | 0 | FALSE |  |  | 0 | NULL
17.1 |  | NRS GATE VALVE 18" CLASS 125 FLANGED, 250 PSI WORKING UL/FM APPROVED ANSI FLANGED | SHIELD | SD-NRS250FF-D | EA | 19 | 15340 | 4807 | 15 | 91333 | 0 | FALSE |  |  | 0 | NULL
17.2 |  | ADJUSTABLE INDICATOR POST - VERTICAL TYPE WITH BUILT IN GEAR 14" TO 24" UL LISTED | SHIELD | SD-800 | EA | 19 | 6530 | 2047 | 15 | 38893 | 0 | FALSE |  |  | 0 | NULL
2169127