## FOR UPLOAD
SLNO | ItemCode | ItemName | Brand | Model | UOM | Qty | UnitPriceAED | UnitPrice | Margin | Amount | Unitweight | Optional | COO | DeliveryStatus | CRMProductId | CRMProduct
1 |  | SUCTION COLLECTION HEAD |  |  |  | 0 | 0 | 0 | 10 | 0 | 0 | FALSE |  |  | 0 | NULL
1.1 |  | SUCTION COLLECTION HEAD COMPLETE WITH ALL REQUIRED ACCESSORIES AS PER THE ATTACHED DRAWING | NAFFCO |  | NOS | 2 | 5000 | 1499 | 10 | 2998 | 0 | FALSE |  |  | 0 | NULL
2 |  | FIRE HYDRANT (6" FEED) [FOR PROCESS AREA] |  |  |  | 0 | 0 | 0 | 10 | 0 | 0 | FALSE |  |  | 0 | NULL
2.1 |  | 6" X 4 WAY WET TYPE FIRE HYDRANT, CARBON STEEL FABRICATED, AS PER THE ATTACHED PROPOSED DRAWING | NAFFCO | CUSTOM MADE | SET | 21 | 12800 | 3837 | 10 | 80577 | 0 | FALSE |  |  | 0 | NULL
3 |  | FIRE HYDRANT (6" FEED) [FOR GENERAL] |  |  |  | 0 | 0 | 0 | 10 | 0 | 0 | FALSE |  |  | 0 | NULL
3.1 |  | 6" X 4 WAY WET TYPE FIRE HYDRANT, CARBON STEEL FABRICATED, AS PER THE ATTACHED PROPOSED DRAWING | NAFFCO | CUSTOM MADE | SET | 3 | 12800 | 3837 | 10 | 11511 | 0 | FALSE |  |  | 0 | NULL
4 |  | WATER MONITOR MANUAL (6" FEED) |  |  | SET | 2 | 14349 | 4301 | 10 | 8602 | 0 | FALSE |  |  | 0 | NULL
4.1 |  | FIXED WATER MONITOR, CAPACITY: 1000 USGPM BODY MOC: BRONZE INLET SIZE: 4" ANSI 150# FF FLANGE OUTLET SIZE: 2 1/2" NH MALE, SS DOUBLE BALL RACE BEARING WORM WHEEL BRASS, SHAFT SS,STANDARD 4" ANSI FLANGE OUTLET 4" BSP | NAFFCO | BZM450 |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
4.2 |  | SINGLE GALLON MASTER STREAM NOZZLE CAPACITY: 1000 USGPM BODY MOC: CAST BRONZE ASTM C83600 INLET SIZE: 2 1/2" NH FEMALE | NAFFCO | MSN2000 |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
5 |  | FOAM CONCENTRATE TANK |  |  |  | 0 | 0 | 0 | 10 | 0 | 0 | FALSE |  |  | 0 | NULL
5.1 |  | FOAM BLADDER TANK, HORIZONTAL TYPE, CAPACITY 700 GLN., RED COLOUR WITH CAPILLARY TUBE, MODEL # NHBT-700 - NAFFCO, U.A.E. | NAFFCO | NHBT-700 | SET | 1 | 38600 | 11570 | 10 | 11570 | 0 | FALSE |  |  | 0 | NULL
6 |  | INLINE FOAM PROPORTIONING UNIT |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
6.1 | 10451515742 | RATIO CONTROLLER 4" (100NB), WAFER TYPE (VENTURI), BRONZE CONSTRUCTION, MODEL: WRC-B - NAFFCO | NAFFCO | WRC-B | SET | 1 | 2350 | 705 | 10 | 705 | 0 | FALSE |  |  | 0 | NULL
7 |  | FOAM CHAMBER |  |  |  | 0 | 0 | 0 | 10 | 0 | 0 | FALSE |  |  | 0 | NULL
7.1 |  | FOAM CHAMBER-FCA 2-1/2" (65NB) INLET AND OUTLET 4" (100NB) 75 GPM/312 LPM, HEAVY DUTY WITH VAPOUR SEAL FOR PROTECTION OF FIXED ROOF TANK WITH SPLIT DIFLECTOR, UL LISTED, MODEL: NF-FC65 - NAFFCO | NAFFCO | NF-FC65 | SET | 4 | 2010 | 603 | 10 | 2412 | 0 | FALSE |  |  | 0 | NULL
8 |  | FOAM CHAMBER |  |  |  | 0 | 0 | 0 | 10 | 0 | 0 | FALSE |  |  | 0 | NULL
8.1 |  | FOAM CHAMBER-FCA 2-1/2" (65NB) INLET AND OUTLET 4" (100NB) 39 GPM/137 LPM, HEAVY DUTY WITH VAPOUR SEAL FOR PROTECTION OF FIXED ROOF TANK WITH SPLIT DIFLECTOR, UL LISTED, MODEL: NF-FC65 - NAFFCO | NAFFCO | NF-FC65 | SET | 3 | 2010 | 603 | 10 | 1809 | 0 | FALSE |  |  | 0 | NULL
9 |  | DELUGE VALVE UNIT - 3" |  |  |  | 0 | 0 | 0 | 10 | 0 | 0 | FALSE |  |  | 0 | NULL
9.1 |  | 3" DELUGE VALVE ASSEMBLED IN A SKID COMPLETE WITH ALL REQUIRED ACCESSORIES - DELUGE VALVE WITH TRIM, PIPES AND FITTINGS INCLUDING ALL NECESSARY EQUIPMENT TO BE INCLUDED WITHIN THE SKID | NAFFCO / OCV | CUSTOM MADE | SET | 1 | 94029.045 | 28184 | 10 | 28184 | 0 | FALSE |  |  | 0 | NULL
10 |  | DELUGE VALVE UNIT - 2" |  |  |  | 0 | 0 | 0 | 10 | 0 | 0 | FALSE |  |  | 0 | NULL
10.1 |  | 2" DELUGE VALVE ASSEMBLED IN A SKID COMPLETE WITH ALL REQUIRED ACCESSORIES - DELUGE VALVE WITH TRIM, PIPES AND FITTINGS INCLUDING ALL NECESSARY EQUIPMENT TO BE INCLUDED WITHIN THE SKID | NAFFCO / OCV | CUSTOM MADE | SET | 1 | 93619.045 | 28061 | 10 | 28061 | 0 | FALSE |  |  | 0 | NULL
11 |  | IG541 INERT GASEOUS EXTINGUISHMENT SYSTEM - SUBSTATION |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
|  | 140 LITER, 300 BAR INERT GAS CYLINDER - MODEL: NF IG541-300-140 - NAFFCO COMPLETE WITH ALL ACCESSORIES | NAFFCO |  | LOT | 1 | 233738.63 | 63689 | 10 | 63689 | 0 | FALSE |  |  | 0 | NULL
12 |  | IG541 INERT GASEOUS EXTINGUISHMENT SYSTEM - CCR |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
|  | 140 LITER, 300 BAR INERT GAS CYLINDER - MODEL: NF IG541-300-140 - NAFFCO COMPLETE WITH ALL ACCESSORIES | NAFFCO |  | LOT | 1 | 138351.66 | 37698 | 10 | 37698 | 0 | FALSE |  |  | 0 | NULL
13 |  | 63 KG WHEELED TYPE FIRE EXTINGUISHER |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
13.1 |  | 63 KG MONNEX FIRE EXTINGUISHERS WITH TROLLEY, BRITANNIA MANUFACTURE UK | BRITANNIA | NW M63 | NOS | 6 | 19734 | 5646 | 5 | 33876 | 0 | FALSE |  |  | 0 | NULL
14 |  | 9 KG PORTABLE FIRE EXTINGUISHER |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
14.1 |  | DRY POWDER EXTINGUISHER, PORTABLE PRESSURE TYPE, CAPACITY 9 KG, RED COLOR, ABC 40% DRY CHEMICAL POWDER, FIRE RATING: 43A & 233B, CE/KITEMARK/MED APPROVED, MODEL: NP9 - NAFFCO, UAE. | NAFFCO | NP9 | NOS | 20 | 125 | 36 | 5 | 720 | 0 | FALSE |  |  | 0 | NULL
15 |  | 5 KG CO2 FIRE EXTINGUISHER |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
15.1 |  | CO2 EXTINGUISHER PORTABLE TYPE, CAPACITY: 5 KG, RED COLOR, FIRE RATING: 55B, CE/KITEMARK/MED/LPCB APPROVED, MODEL: NC 5 - NAFFCO, UAE | NAFFCO | NC 5 | NOS | 4 | 171 | 49 | 5 | 196 | 0 | FALSE |  |  | 0 | NULL
16 |  | 9 L PORTABLE WATER FIRE EXTINGUISHER |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
16.1 |  | WATER EXTINGUISHER PORTABLE PRESSURE TYPE, CAPACITY 9 LTRS, RED COLOR, FIRE RATING: 21A, CE/ KITEMARK/MED/LPCB APPROVED, MODEL: NW-9 - NAFFCO, UAE | NAFFCO | NW9 | NOS | 4 | 126 | 37 | 5 | 148 | 0 | FALSE |  |  | 0 | NULL