## FOR UPLOAD
SLNO | ItemCode | ItemName | Brand | Model | UOM | Qty | UnitPriceAED | UnitPrice | Margin | Amount | Unitweight | Optional | COO | DeliveryStatus | CRMProductId | CRMProduct
1 |  | UNIT 38 - OSBL SCOPE - HPU FEED GAS PRE-TREATMENT PLANT |  |  |  | 0 | 0 | 0 | 10 | 0 | 0 | FALSE |  |  | 0 | NULL
1.1 |  | FIRE FIGHTING EQUIPMENT BOX AND CONTENTS |  |  | SET | 4 | 14768 | 4427 | 10 | 17708 | 0 | FALSE |  |  | 0 | NULL
1.1.1 |  | FIRE HOSE BOX, COMPLETE MILD STEEL, DOUBLE DOOR, SELF-STANDING WITH SLOPED ROOF, WEATHER PROOF | NAFFCO | CUSTOM MADE |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.1.2 |  | FIRE HOSE 2-1/2" X 30 MTR, RED COLOUR, UL LISTED, MODEL: DURALEX-65-EL, WITH KITEMARK GUNMETAL QUICK COUPLING - NAFFCO (8 NOS) | NAFFCO | DURALEX-65-EL |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.1.3 |  | 3% FLUORO PROTEIN FOAM CONCENTRATE (PACKING IN 25 LITERS) [8 NOS] | NAFFCO |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.1.4 |  | BRANCHPIPE JET & SPRAY FIRE HOSE NOZZLE INLET 2 1/2" BS336 MALE INSTANTANEOUS CONNECTION ALUMINUM, LEVER OPERATED CONFIRMING TO BS 15182-1&3 WITH "BS KITE MARK", MODEL: NF-FB320 - NAFFCO (4 NOS) | NAFFCO | NF-FB-320 |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.1.5 |  | FOAM BRANCH PIPE 2 1/2" 450 LPM UL LISTED (2 NOS) | NAFFCO | NF-500LXB450 |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.1.6 |  | VALVE OPERATING KEYS (2 NOS) | NAFFCO |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.2 |  | FIRE HYDRANTS |  |  |  | 0 | 0 | 0 | 10 | 0 | 0 | FALSE |  |  | 0 | NULL
1.2.1 |  | 6" X 4 WAY WET TYPE FIRE HYDRANT, CARBON STEEL FABRICATED, AS PER THE ATTACHED PROPOSED DRAWING | NAFFCO | CUSTOM MADE | SET | 12 | 12800 | 3837 | 10 | 46044 | 0 | FALSE |  |  | 0 | NULL
1.3 |  | FIXED MONITOR |  |  | SET | 2 | 11531.306 | 3457 | 10 | 6914 | 0 | FALSE |  |  | 0 | NULL
1.3.1 |  | FIXED WATER MONITOR, CAPACITY: 1000 USGPM BODY MOC: BRONZE INLET SIZE: 4" ANSI 150# FF FLANGE OUTLET SIZE: 2 1/2" NH MALE, SS DOUBLE BALL RACE BEARING WORM WHEEL BRASS, SHAFT SS,STANDARD 4" ANSI FLANGE OUTLET 4" BSP | NAFFCO | BZM450 |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.3.2 |  | SINGLE GALLON MASTER STREAM NOZZLE CAPACITY: 1000 USGPM BODY MOC: CAST BRONZE ASTM C83600 INLET SIZE: 2 1/2" NH FEMALE | NAFFCO | MSN2000 |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.4 |  | DELUGE WATER SPRAY VALVE SETS - 6" |  |  |  | 0 | 0 | 0 | 10 | 0 | 0 | FALSE |  |  | 0 | NULL
1.4.1 |  | 6" DELUGE VALVE ASSEMBLED IN A SKID COMPLETE WITH ALL REQUIRED ACCESSORIES - DELUGE VALVE WITH TRIM, PIPES AND FITTINGS INCLUDING ALL NECESSARY EQUIPMENT TO BE INCLUDED WITHIN THE SKID | NAFFCO / OCV | CUSTOM MADE | NOS | 1 | 388000 | 116295 | 10 | 116295 | 0 | FALSE |  |  | 0 | NULL
1.4.2 |  | MEDIUM VELOCITY WATER SPRAY NOZZLE, K-41 (2.87) X 120 DEG. SPRAY ANGLE, 1/2" NPT, MAX. W/P 12 BAR (175 PSI), ALUMINUM BRONZE (NATURAL FINISH), UL/FM APPROVED, MODEL: MV-E - SHIELD | SHIELD | MV-E | NOS | 36 | 150 | 45 | 10 | 1620 | 0 | FALSE |  |  | 0 | NULL
1.5 |  | DELUGE WATER SPRAY VALVE SETS - 4" |  |  |  | 0 | 0 | 0 | 10 | 0 | 0 | FALSE |  |  | 0 | NULL
1.5.1 |  | 4" DELUGE VALVE ASSEMBLED IN A SKID COMPLETE WITH ALL REQUIRED ACCESSORIES | NAFFCO | CUSTOM MADE | NOS | 1 | 375000 | 112398 | 10 | 112398 | 0 | FALSE |  |  | 0 | NULL
1.5.2 |  | MEDIUM VELOCITY WATER SPRAY NOZZLE, K-41 (2.87) X 120 DEG. SPRAY ANGLE, 1/2" NPT, MAX. W/P 12 BAR (175 PSI), ALUMINUM BRONZE (NATURAL FINISH), UL/FM APPROVED, MODEL: MV-E - SHIELD | SHIELD | MV-E | NOS | 36 | 150 | 45 | 10 | 1620 | 0 | FALSE |  |  | 0 | NULL
1.6 |  | 9 KG (MONNEX) PORTABLE FIRE EXTINGUISHER (INCL. FIXINGS) |  |  |  | 0 | 0 | 0 | 10 | 0 | 0 | FALSE |  |  | 0 | NULL
1.6.1 |  | 9 KG (MONNEX) PORTABLE FIRE EXTINGUISHER | BRITANNIA | BM9 | NOS | 60 | 1483.2 | 445 | 10 | 26700 | 0 | FALSE |  |  | 0 | NULL
1.7 |  | 50 KG WHEELED (MONNEX) FIRE EXTINGUISHER |  |  |  | 0 | 0 | 0 | 10 | 0 | 0 | FALSE |  |  | 0 | NULL
1.7.1 |  | 50 KG WHEELED (MONNEX) WHEELED DRY POWDER FIRE EXTINGUISHER | BRITANNIA | NWM50 | NOS | 10 | 9926.4 | 2976 | 10 | 29760 | 0 | FALSE |  |  | 0 | NULL
1.8 |  | 5 KG CO2 PORTABLE FIRE EXTINGUISHER GAS CARTRIDGE (INCL. FIXINGS) |  |  |  | 0 | 0 | 0 | 10 | 0 | 0 | FALSE |  |  | 0 | NULL
1.8.1 |  | 5 KG CO2 FIRE EXTINGUISHER - CE,KITEMARK & MED, LPCB | NAFFCO | NC5 | NOS | 15 | 171 | 52 | 10 | 780 | 0 | FALSE |  |  | 0 | NULL
1.9 |  | 9 LITRE PORTABLE WATER GAS CARTRIDGE EXTINGUISHER (INC FIXINGS) |  |  |  | 0 | 0 | 0 | 10 | 0 | 0 | FALSE |  |  | 0 | NULL
1.9.1 |  | 9 LTR. WATER FIRE EXTINGUISHER - CE,KITEMARK & MED | NAFFCO | NW9 | NOS | 5 | 126 | 38 | 10 | 190 | 0 | FALSE |  |  | 0 | NULL
1.10 |  | 2 KG CO2 PORTABLE FIRE EXTINGUISHER GAS CARTRIDGE (INC FIXINGS) |  |  |  | 0 | 0 | 0 | 10 | 0 | 0 | FALSE |  |  | 0 | NULL
1.10.1 |  | 2 KG CO2 FIRE EXTI W/NORMAL HORN - CE,KITEMARK, MED, LPCB | NAFFCO | NC2 | NOS | 5 | 94 | 29 | 10 | 145 | 0 | FALSE |  |  | 0 | NULL
1.11 |  | GASEOUS EXTINGUISHMENT SYSTEMS |  |  | LOT | 1 | 202958.0499 | 60833 | 10 | 60833 | 0 | FALSE |  |  | 0 | NULL
1.11.1 |  | INERT GAS SUPPRESSION SYSTEM - IG-541, 300 BAR SYSTEM - CENTRAL BANKING @ 38-FAR-01 (UNIT 38) - MECHANICAL COMPONENTS (MAIN) |  |  |  | 0 | 0 | 0 | 10 | 0 | 0 | FALSE |  |  | 0 | NULL
1.11.1.1 |  | 140 LITER, 300 BAR INERT GAS CYLINDER - MODEL: NF IG541-300-140 - NAFFCO COMPLETE WITH: - 140 LITER 356 MM DIA. CYLINDER FILLED WITH FILLED WITH IG-100 AGENT - 300 BAR DISCHARGE HEAD VALVE WITH PRESSURE GAUGE/PRESSURE SWITCH FOR 300 BAR; SAFETY PROTECTION CAP - CYLINDER ID LABEL FOR 300 BAR, IG 100 GAS, 140 LITER CONSTANTS PRESSURE REGULATOR FOR 200/300 BAR WITH GASKET | NAFFCO | NF IG541-300-140 | SETS | 12 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.11.1.2 | 10341512133 | ELECTRO MAGNETIC DEVICE WITH DIODE, INLET THREADED TO M42 X 1.5, 24V DC, 0.5 A, IP 65 RATED, P/N.# B04425146 FOR UL LISTED FIRE SUPPRESSION SYSTEM (REFER ITEM.# 10341512136) | NAFFCO | B04425148 | NOS | 1 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.11.1.3 | 10349012810 | RESET TOOL FOR ELECTRO MAGNETIC DEVICE FOR INERT GAS SYSTEM, P/N.# 029210064 (OLD P/N.# 023000064) - NAFFCO | NAFFCO | 029210064 (023000064) | NOS | 1 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.11.1.4 | 10341512120 | MANUAL / PNEUMATIC RELEASE DEVICE, WP 300 BAR, INLET THREADED TO M42 X 1.5, PNEUMATIC LINE CONNECTION G 1/8", P/N.# B04420065-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B04420065 | NOS | 1 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.11.1.5 | 10341512122 | PNEUMATIC RELEASE DEVICE, WP 300 BAR, INLET THREADED TO M42 X 1.5, PNEUMATIC LINE CONNECTION G 1/8", P/N.# B04420066NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B04420066 | NOS | 11 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.11.1.6 | 10343512025 | DISCHARGE HOSE, DN16, WP 350 BAR, B/P 1400 BAR, 400MM LENGTH, INLET FEMALE THREAD TO W 21.8 X 1/14" TO DIN 477 & OUTLET FEMALE THREAD TO G 3/4", P/N.# B06920225-NF FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | B06920225-NF | NOS | 12 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.11.1.7 | 10343012208 | MANIFOLD CHECK VALVE, BRASS, MAX W/P 100 BAR, TP 150 BAR, HOSE CONNECTION THREAD G3/4", MANIFOLD CONNECTION THREAD R1" DN12, P/N.# B04600008-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B04600008 | NOS | 12 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.11.1.8 | 10343512032 | PILOT HOSE, SYNTHETIC RUBBER OIL RESISTANT W/STRAIGHT FITTINGS M12 X 1.5 FEMALE THREAD IN BOTH ENDS, 700MM LONG, W/P 400 BAR, B/P 1600 BAR, TEMP RANGE: -40 C. TO 100 C, P/N.# B06920212 FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B06920212-NF | NOS | 4 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.11.1.9 | 10343512033 | PILOT HOSE, SYNTHETIC RUBBER OIL RESISTANT W/STRAIGHT FITTINGS M12 X 1.5 FEMALE THREAD IN BOTH ENDS, 500MM LONG, W/P 400 BAR, B/P 1600 BAR, TEMP RANGE: -40 C. TO 100 C, P/N.# B06920213 FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B06920213-NF | NOS | 7 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.11.1.10 | 10349012606 | CONNECTING ADAPTOR, M12 X 1.5 MALE THREADED & G 1/8" MALE THREADED, P/N.# 029510006 FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | 029510006 | NOS | 23 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.11.1.11 | 10346012640 | BLEED VALVE, P/N.# 029730040-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | 029730040 | NOS | 1 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.11.1.12 | 10344012325 | MANIFOLD FOR 5 CYLINDER NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM, 360 DIA CYLINDER, P/N.# NFIG-360-SRM5 - NAFFCO | NAFFCO | NFIG-360-SRM5 | NOS | 2 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.11.1.13 |  | MANIFOLD FOR 2 CYLINDER NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM, 360 DIA CYLINDER, P/N.# NFIG-360-SRM2 - NAFFCO | NAFFCO | NFIG-360-SRM2 | NOS | 1 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.11.1.14 | 10344212380 | RACK ASSEMBLY FOR 10 CYLINDERS, DOUBLE ROW, FLOOR MOUNTING TYPE, CYLINDER DIA: 360MM, CAPACITY: 67L, 80L & 140L, PRESSURE RATING: 200 / 300BAR, MODEL: NFIG-RA02-050F FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM - NAFFCO | NAFFCO | NFIG-RA02-050F | NOS | 1 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.11.1.15 |  | RACK ASSEMBLY FOR 2 CYLINDERS, SINGLE ROW, FLOOR MOUNTING TYPE, CYLINDER DIA: 267MM, CAPACITY: 67L, 80L & 140L, PRESSURE RATING: 200 / 300BAR, MODEL: NFIG-RA01-002F FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM - NAFFCO | NAFFCO | NFIG-RA01-002F | NOS | 1 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.11.1.16 |  | DISCHARGE NOZZLE | NAFFCO | NAFFCO | NOS | 10 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.11.1.17 | 10341512137 | PRESSURE RELIEF DEVICE FOR MANIFOLD, P/N.# 029730037 FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | P/N #29730037 | NOS | 1 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.11.1.18 | 10341512022 | PRESSURE & FLOW DETECTOR SWITCH, P/N.# 028250050 FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | P/N # 28250050 | NOS | 2 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.11.1.19 |  | WARNING SIGN | NAFFCO |  | SETS | 2 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.11.1.20 |  | ELECTRICAL COMPONENTS |  |  |  |  | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.11.1.21 |  | 2 LOOP ADDRESSABLE FIRE EXTINGUISHING PANEL, COMPLETE WITH: 24V DC BACK UP BATTERY WITH 75 AH BATTERY ENCLOSURE 2 NOS. CRM4 RELAY MODULE | Cheetah Xi - FIKE | 10-068-R-2-L | SETS | 1 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.11.1.22 |  | PHOTOELECTRIC SMOKE DETECTOR w/base | FIKE | 63-1058 & 63-1061 | NOS | 10 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.11.1.23 |  | BELL, 6" WITH BACKBOX | SHIELD | FB-1000C6 | NOS | 1 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.11.1.24 |  | FIRE ALARM STROBE (OUTDOOR SAFE AREA) | SHIELD | SH-STOR | NOS | 2 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.11.1.25 |  | HORN/STROBE, INDOOR, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, UL LISTED, MODEL : SH-HSIR - SHIELD | SHIELD | SH-HSIR | NOS | 1 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.11.1.26 |  | MAIN RESERVE SELECTOR SWITCH WITH BACKBOX | FIKE | 10-2967 | NOS | 1 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.11.1.27 |  | ABORT SWITCHES, c/w Back box | FIKE | 10-1639 | NOS | 1 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.11.1.28 |  | MANUAL RELEASE SWITCH, W/ Back Box | FIKE | 10‐2963 | NOS | 2 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.11.1.29 |  | KEYED INPUT SWITCH FOR AUTO MANUAL OPERATION & ACTIVE/INHIBIT MODE OPERATION | FIKE | 10-2969 | NOS | 1 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.11.1.30 |  | SOLENOID DISCONNECTOR SWITCH | FIKE | RCDS-1 | NOS | 1 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.11.1.31 | 13109938065 | WEATHER PROOF COVER, SURFACE MOUNT, WITH 50MM SPACER AND GASKET SET, UL LISTED, MODEL: STI 3150 - STI | STI | STI 3150 | NOS | 5 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.11.1.32 |  | RELEASE CONTROL MODULE W/ ISOLATOR BASE | FIKE | 55 -053 | NOS | 1 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.11.1.33 |  | MINI MONITOR MODULE W/ ISOLATOR BASE | FIKE | 55 -050 | NOS | 4 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.11.1.34 |  | MONITOR MODULE W/ ISOLATOR | FIKE | 55 -046 | NOS | 12 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.11.1.35 |  | CONTROL MODULE W/ ISOLATOR | FIKE | 55 -047 | NOS | 4 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.11.1.36 |  | POWER SUPPLY UNIT, 24V DC ,10 Amps, W / battery | FIKE | 10-2829-1-0-01-0-1-01 | NOS | 1 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.11.1.37 |  | MECHANICAL COMPONENTS (RESERVE) |  |  |  |  | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.11.1.38 |  | 140 LITER, 300 BAR INERT GAS CYLINDER - MODEL: NF IG541-300-140 - NAFFCO COMPLETE WITH: - 140 LITER 356 MM DIA. CYLINDER FILLED WITH FILLED WITH IG-100 AGENT - 300 BAR DISCHARGE HEAD VALVE WITH PRESSURE GAUGE/PRESSURE SWITCH FOR 300 BAR; SAFETY PROTECTION CAP - CYLINDER ID LABEL FOR 300 BAR, IG 100 GAS, 140 LITER CONSTANTS PRESSURE REGULATOR FOR 200/300 BAR WITH GASKET | NAFFCO | NF IG541-300-140 | SETS | 12 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.11.1.39 | 10341512133 | ELECTRO MAGNETIC DEVICE WITH DIODE, INLET THREADED TO M42 X 1.5, 24V DC, 0.5 A, IP 65 RATED, P/N.# B04425146 FOR UL LISTED FIRE SUPPRESSION SYSTEM (REFER ITEM.# 10341512136) | NAFFCO | B04425148 | NOS | 1 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.11.1.40 | 10341512120 | MANUAL / PNEUMATIC RELEASE DEVICE, WP 300 BAR, INLET THREADED TO M42 X 1.5, PNEUMATIC LINE CONNECTION G 1/8", P/N.# B04420065-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B04420065 | NOS | 1 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.11.1.41 | 10341512122 | PNEUMATIC RELEASE DEVICE, WP 300 BAR, INLET THREADED TO M42 X 1.5, PNEUMATIC LINE CONNECTION G 1/8", P/N.# B04420066NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B04420066 | NOS | 11 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.11.1.42 | 10343512025 | DISCHARGE HOSE, DN16, WP 350 BAR, B/P 1400 BAR, 400MM LENGTH, INLET FEMALE THREAD TO W 21.8 X 1/14" TO DIN 477 & OUTLET FEMALE THREAD TO G 3/4", P/N.# B06920225-NF FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | B06920225-NF | NOS | 12 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.11.1.43 | 10343012208 | MANIFOLD CHECK VALVE, BRASS, MAX W/P 100 BAR, TP 150 BAR, HOSE CONNECTION THREAD G3/4", MANIFOLD CONNECTION THREAD R1" DN12, P/N.# B04600008-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B04600008 | NOS | 12 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.11.1.44 | 10343512032 | PILOT HOSE, SYNTHETIC RUBBER OIL RESISTANT W/STRAIGHT FITTINGS M12 X 1.5 FEMALE THREAD IN BOTH ENDS, 700MM LONG, W/P 400 BAR, B/P 1600 BAR, TEMP RANGE: -40 C. TO 100 C, P/N.# B06920212 FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B06920212-NF | NOS | 4 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.11.1.45 | 10343512033 | PILOT HOSE, SYNTHETIC RUBBER OIL RESISTANT W/STRAIGHT FITTINGS M12 X 1.5 FEMALE THREAD IN BOTH ENDS, 500MM LONG, W/P 400 BAR, B/P 1600 BAR, TEMP RANGE: -40 C. TO 100 C, P/N.# B06920213 FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B06920213-NF | NOS | 7 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.11.1.46 | 10349012606 | CONNECTING ADAPTOR, M12 X 1.5 MALE THREADED & G 1/8" MALE THREADED, P/N.# 029510006 FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | 029510006 | NOS | 22 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.11.1.47 | 10346012640 | BLEED VALVE, P/N.# 029730040-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | 029730040 | NOS | 1 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.11.1.48 | 10344012325 | MANIFOLD FOR 5 CYLINDER NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM, 360 DIA CYLINDER, P/N.# NFIG-360-SRM5 - NAFFCO | NAFFCO | NFIG-360-SRM5 | NOS | 2 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.11.1.49 |  | MANIFOLD FOR 2 CYLINDER NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM, 360 DIA CYLINDER, P/N.# NFIG-360-SRM2 - NAFFCO | NAFFCO | NFIG-360-SRM2 | NOS | 1 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.11.1.50 | 10344212380 | RACK ASSEMBLY FOR 10 CYLINDERS, DOUBLE ROW, FLOOR MOUNTING TYPE, CYLINDER DIA: 360MM, CAPACITY: 67L, 80L & 140L, PRESSURE RATING: 200 / 300BAR, MODEL: NFIG-RA02-050F FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM - NAFFCO | NAFFCO | NFIG-RA02-050F | NOS | 1 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.11.1.51 |  | RACK ASSEMBLY FOR 2 CYLINDERS, SINGLE ROW, FLOOR MOUNTING TYPE, CYLINDER DIA: 267MM, CAPACITY: 67L, 80L & 140L, PRESSURE RATING: 200 / 300BAR, MODEL: NFIG-RA01-002F FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM - NAFFCO | NAFFCO | NFIG-RA01-002F | NOS | 1 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.11.1.52 | 15466240162 | PRESSURE RELIEF DAMPER, SIZE: 620 X 620 X 120MM, MODEL: SHXUN500 - AFP | AFP | SHXUN500 | NOS | 2 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.11.1.53 |  | WEATHER PROOF LOUVERS FOR PRV - AFP SHXUN500 | AFP | DWL500 | NOS | 2 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.12 |  | SAFETY SHOWERS (Incl. Eye Wash) |  |  | SETS | 1 | 181379 | 54365 | 10 | 54365 | 0 | FALSE |  |  | 0 | NULL
1.13 |  | 45 MINUTE SELF CONTAINED BREATHING APPARATUS (SCBA) (Incl. Harness, Cylinder, Spare Cylinder, Mask) |  |  | SETS | 2 | 36010 | 10794 | 10 | 21588 | 0 | FALSE |  |  | 0 | NULL
1.14 |  | 15 MINUTE BREATHING APPARATUS |  |  | NOS | 2 | 1452 | 436 | 10 | 872 | 0 | FALSE |  |  | 0 | NULL
1.15 |  | WINDSOCK |  |  | SETS | 3 | 9979 | 2991 | 10 | 8973 | 0 | FALSE |  |  | 0 | NULL
1.16 |  | EYE WASH STATION (Substation Battery Room) |  |  | SETS | 1 | 3328 | 998 | 10 | 998 | 0 | FALSE |  |  | 0 | NULL
1.17 |  | CHEMICAL SPILL KIT |  |  | KITS | 2 | 345 | 104 | 10 | 208 | 0 | FALSE |  |  | 0 | NULL
1.18 |  | FIRST AID KIT |  |  | SETS | 5 | 1076 | 323 | 10 | 1615 | 0 | FALSE |  |  | 0 | NULL
2 |  | UNIT 33 - ISBL MODIFICATIONS TO HPU | [5 empty] | 0 | 10 | 0 | 0 | FALSE |  |  | 0 | NULL
2.1 |  | 9 KG (MONNEX) PORTABLE FIRE EXTINGUISHER (Incl. Fixings) | [5 empty] | 0 | 10 | 0 | 0 | FALSE |  |  | 0 | NULL
2.1.1 |  | 9 KG (MONNEX) PORTABLE FIRE EXTINGUISHER | BRITANNIA | BM9 | NOS | 8 | 1483.2 | 445 | 10 | 3560 | 0 | FALSE |  |  | 0 | NULL
2.2 |  | 50 KG WHEELED (MONNEX) FIRE EXTINGUISHER | [5 empty] | 0 | 10 | 0 | 0 | FALSE |  |  | 0 | NULL
2.2.1 |  | 50 KG WHEELED (MONNEX) WHEELED DRY POWDER FIRE EXTINGUISHER | BRITANNIA | NWM50 | NOS | 4 | 9926.4 | 2976 | 10 | 11904 | 0 | FALSE |  |  | 0 | NULL
3 |  | UNIT 60 - BOILERS | [5 empty] | 0 | 10 | 0 | 0 | FALSE |  |  | 0 | NULL
3.1 |  | 9 KG (MONNEX) PORTABLE FIRE EXTINGUISHER (Incl. Fixings) | [5 empty] | 0 | 10 | 0 | 0 | FALSE |  |  | 0 | NULL
3.1.1 |  | 9 KG (MONNEX) PORTABLE FIRE EXTINGUISHER | BRITANNIA | BM9 | NOS | 4 | 1483.2 | 445 | 10 | 1780 | 0 | FALSE |  |  | 0 | NULL
3.2 |  | 5 KG CO2 PORTABLE FIRE EXTINGUISHER GAS CARTRIDGE (Incl. Fixings) | [5 empty] | 0 | 10 | 0 | 0 | FALSE |  |  | 0 | NULL
3.2.1 |  | 50 KG WHEELED (MONNEX) WHEELED DRY POWDER FIRE EXTINGUISHER | BRITANNIA | NWM50 | NOS | 2 | 9926.4 | 2976 | 10 | 5952 | 0 | FALSE |  |  | 0 | NULL