## VOCO
SLNO | ItemCode | ItemName | Brand | Model | UOM | Qty | UnitPriceAED | UnitPrice | Margin | Amount | Unitweight | Optional | COO | DeliveryStatus | CRMProductId | CRMProduct
1 | 10111035145 | CO2 EXTINGUISHER PORTABLE TYPE, CAPACITY: 10 LBS, ALUMINIUM, FIRE RATING: 10-B:C, RED COLOR, UL LISTED, MODEL: NC 10L - NAFFCO, UAE | NAFFCO | NC 10L | NOS | 1 | 403 | 116 | 5 | 116 | 0 | FALSE |  |  | 0 | NULL
2 | 10101035045 | DRY POWDER FIRE EXTINGUISHER, PORTABLE ABC, CAPACITY: 10 LBS, FIRE RATING: 4-A:60-B:C, MODEL: NP 10L, UL LISTED - NAFFCO | NAFFCO | NP 10L | NOS | 1 | 155 | 45 | 5 | 45 | 0 | FALSE |  |  | 0 | NULL
3 | 10114210030 | CO2 EXTINGUISHER, SINGLE CYLINDER, TROLLEY TYPE, CAPACITY: 30 KG, FIRE RATING: 113B, RED COLOR, CE/MED/BSI KITEMARK APPROVED, MODEL: NTC 30X - NAFFCO, UAE | NAFFCO | NTC 30X | NOS | 1 | 1220 | 350 | 5 | 350 | 0 | FALSE |  |  | 0 | NULL
4 | 10114210030 | CO2 EXTINGUISHER, SINGLE CYLINDER, TROLLEY TYPE, CAPACITY: 30 KG, FIRE RATING: 113B, RED COLOR, CE/MED/BSI KITEMARK APPROVED, MODEL: NTC 30X - NAFFCO, UAE | NAFFCO | NTC 30X | NOS | 1 | 1220 | 350 | 5 | 350 | 0 | FALSE |  |  | 0 | NULL
5 | 11081008540 | 1-1/2" PRESSURE REDUCING/REGULATING VALVE, FEMALE THREADED, W/P 25BAR (360 PSI), NICKEL PLATED, P/N.# 1430.112, MODEL: SD-91430N - SHIELD | SHIELD | SD-91430N | NOS | 19 | 166 | 48 | 5 | 912 | 0 | FALSE |  |  | 0 | NULL
6 | 30607071852 | FLOW METER 6" GROOVED TYPE, CLASS 150, FLOW RANGE 250-1000 GPM, VENTURI TYPE, FM APPROVED, MODEL: 6-500-G - GLOBAL VISION, USA | GLOBAL VISION | 6-500-G | NOS | 1 | 6500 | 1860 | 5 | 1860 | 0 | FALSE |  |  | 0 | NULL
7 | 10558822125 | TEST & DRAIN VALVE, SIZE: 1", FEMALE X FEMALE NPT THREADED, K-FACTOR 5.6, BRASS, MODEL: SD-TDV50T, UL/FM APPROVED - SHIELD | SHIELD | SD-TDV50T | NOS | 17 | 177 | 51 | 5 | 867 | 0 | FALSE |  |  | 0 | NULL
8 |  | ALARM CHECK VALVE - DN150 DIA |  |  |  | 0 | 0 | 0 | 5 | 0 | 0 | FALSE |  |  | 0 | NULL
8.1 | 10557022152 | WET ALARM VALVE 6" (150NB), FLANGED ENDS, W/P 250 PSI, UL/FM APPROVED, MOD. SDH-AVA - SHIELD | SHIELD | SDH-AVA | NOS | 1 | 860 | 247 | 5 | 247 | 0 | FALSE |  |  | 0 | NULL
8.2 | 10557022562 | BASIC TRIM FOR WET ALARM VALVE 6" (150NB), CONSTANT PRESSURE TYPE, MODEL: SDH-AVA - SHIELD | SHIELD | SDH-AVA | NOS | 1 | 540 | 155 | 5 | 155 | 0 | FALSE |  |  | 0 | NULL
8.3 | 10558522120 | WATER MOTOR ALARM GONG, UL/FM APPROVED, MODEL # SDGA - SHIELD | SHIELD | SDGA | NOS | 1 | 280 | 81 | 5 | 81 | 0 | FALSE |  |  | 0 | NULL
8.4 | 10558522020 | RETARD CHAMBER, CONNECTION: 3/4" BSPT (F), RATED PRESSURE: 250PSI (17.5BAR), S/STEEL-RED PAINTED, PART OF UL/FM APPROVED ALARM VALVE, MOD: RC9 - SHIELD | SHIELD | RC9 | NOS | 1 | 340 | 98 | 5 | 98 | 0 | FALSE |  |  | 0 | NULL
8.5 | 10559022610 | PRESSURE SWITCH WITH ONE SET SPDT CONTACT, MAX. OPERATING PRESSURE : 300 PSI, MAX. ADJUSTMENT PRESSURE RANGE: 4 - 20 PSI, MODEL: SD-PS1001, UL/FM APPROVED - SHIELD | SHIELD | SD-PS1001 | NOS | 1 | 165 | 48 | 5 | 48 | 0 | FALSE |  |  | 0 | NULL
9 | 11023008354 | CHECK VALVE 2" GROOVED ENDS, DUCTILE IRON BODY ASTM A536 65-45-12, SWING TYPE, W/P 300 PSI, FUSION BONDED EPOXY COATED, RED, MODEL: SD-NRV300GG-D, UL/FM APPROVED - SHIELD | SHIELD | SD-NRV300GG-D | NOS | 1 | 170 | 49 | 5 | 49 | 0 | FALSE |  |  | 0 | NULL
10 | 11023008454 | CHECK VALVE 6" (168) GROOVED ENDS, DUCTILE IRON BODY ASTM A536 65-45-12, SWING TYPE, W/P 300 PSI, FUSION BONDED EPOXY COATED, RED, MODEL: SD-NRV300GG-D, UL/FM APPROVED - SHIELD | SHIELD | SD-NRV300GG-D | NOS | 3 | 460 | 132 | 5 | 396 | 0 | FALSE |  |  | 0 | NULL
11 | 11051808050 | 2" BUTTERFLY VALVE, GROOVED TYPE C/W TAMPER SWICH, BRONZE, 175 PSI, UL/FM APPROVED, MODEL: SDBB-G - SHIELD | SHIELD | SDBB-G | NOS | 1 | 412 | 118 | 5 | 118 | 0 | FALSE |  |  | 0 | NULL
12 | 11050408102 | 4" GEAR OPERATED BUTTERFLY VALVE GROOVED, AMERICAN STANDARD, UL/FM APPROVED, W/TAMPER SWITCH, W/P 300 PSI, MODEL: SDBV-G300 - SHIELD | SHIELD | SDBV-G300 | NOS | 3 | 396 | 114 | 5 | 342 | 0 | FALSE |  |  | 0 | NULL
13 | 11050108157 | 6" GEAR OPERATED BUTTERFLY VALVE WAFER WITH TAMPER SWITCH, W/P 300 PSI, UL/FM APPROVED, MODEL: SD-300W-BV - SHIELD | SHIELD | SD-300W-BV | NOS | 8 | 509.4 | 146 | 5 | 1168 | 0 | FALSE |  |  | 0 | NULL
14 | 10559022040 | WATER FLOW SWITCH 4" (100MM), 450 PSI, MODEL: SD-WFD40, UL/FM APPROVED - SHIELD | SHIELD | SD-WFD40 | NOS | 3 | 235 | 68 | 5 | 204 | 0 | FALSE |  |  | 0 | NULL
15 | 10559022060 | WATER FLOW SWITCH 6" (150MM), 450 PSI, MODEL: SD-WFD60, UL/FM APPROVED - SHIELD | SHIELD | SD-WFD60 | NOS | 2 | 235 | 68 | 5 | 136 | 0 | FALSE |  |  | 0 | NULL
16 |  | PRESSURE REDUCING STATION - DN100 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
16.1 | 11081008105 | PRESSURE REDUCING VALVE 4", GLOBE TYPE, DUCTILE IRON BODY, GROOVED ENDS, CLASS # 300, MAX INLET PRESSURE: 300PSI, DOWN STREAM SET AT 30-165 PSI, UL LISTED, MODEL: SD-PRV-G300 - SHIELD | SHIELD | SD-PRV-G | NOS | 2 | 2690 | 770 | 5 | 1540 | 0 | FALSE |  |  | 0 | NULL
16.2 | 11050408102 | 4" GEAR OPERATED BUTTERFLY VALVE GROOVED, AMERICAN STANDARD, UL/FM APPROVED, W/TAMPER SWITCH, W/P 300 PSI, MODEL: SDBV-G300 - SHIELD | SHIELD | SDBV-G300 | NOS | 6 | 396 | 114 | 5 | 684 | 0 | FALSE |  |  | 0 | NULL
16.3 | 10558522530 | PRESSURE GAUGE 0-300 PSI, 3-1/2" (90MM) DIA, 1/4" BSPT END CONNECTION, WITH SS CASING, UL LISTED/FM APPROVED, MODEL.# SD-P1 - SHIELD (REF. ALTERNATE CODE 10558522531) | SHIELD | SD-P1 | NOS | 4 | 33 | 10 | 5 | 40 | 0 | FALSE |  |  | 0 | NULL
16.4 | 11080154909 | PRESSURE RELIEF VALVE 3/4", PRESSURE RANGE100 TO 300 PSI, CAST BRONZE ASTM B62, UL/ULC LISTED / FM APPROVED, MODEL: 55L-60 - CLA-VAL | CLA-VAL | 55L-60 | NOS | 2 | 1500 | 430 | 5 | 860 | 0 | FALSE |  |  | 0 | NULL
17 | 11900510125 | AUTOMATIC AIR RELEASE VALVE, 1" FNPT INLET X 1/2" FNPT OUTLET, 175 PSI WATER, UL/FM APPROVED, MODEL: NF-25ARV - NAFFCO | NAFFCO | NF-25ARV | NOS | 3 | 285 | 82 | 5 | 246 | 0 | FALSE |  |  | 0 | NULL
18 |  | ZONE CONTROL VALVE ASSEMBLY - DN100 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
18.1 | 11050408102 | 4" GEAR OPERATED BUTTERFLY VALVE GROOVED, AMERICAN STANDARD, UL/FM APPROVED, W/TAMPER SWITCH, W/P 300 PSI, MODEL: SDBV-G300 - SHIELD | SHIELD | SDBV-G300 | NOS | 16 | 396 | 114 | 5 | 1824 | 0 | FALSE |  |  | 0 | NULL
18.2 | 10558522530 | PRESSURE GAUGE 0-300 PSI, 3-1/2" (90MM) DIA, 1/4" BSPT END CONNECTION, WITH SS CASING, UL LISTED/FM APPROVED, MODEL.# SD-P1 - SHIELD (REF. ALTERNATE CODE 10558522531) | SHIELD | SD-P1 | NOS | 16 | 33 | 10 | 5 | 160 | 0 | FALSE |  |  | 0 | NULL
18.3 | 10559022040 | WATER FLOW SWITCH 4" (100MM), 450 PSI, MODEL: SD-WFD40, UL/FM APPROVED - SHIELD | SHIELD | SD-WFD40 | NOS | 16 | 235 | 68 | 5 | 1088 | 0 | FALSE |  |  | 0 | NULL
18.4 | 11023008404 | CHECK VALVE 4" GROOVED ENDS, DUCTILE IRON BODY ASTM A536 65-45-12, SWING TYPE, W/P 300 PSI, FUSION BONDED EPOXY COATED, RED, MODEL: SD-NRV300GG-D, UL/FM APPROVED - SHIELD | SHIELD | SD-NRV300GG-D | NOS | 16 | 240 | 69 | 5 | 1104 | 0 | FALSE |  |  | 0 | NULL
18.5 | 10558822151 | TEST & DRAIN VALVE, SIZE: 2", FEMALE X FEMALE NPT THREADED, RATED PRESSURE: 300PSI, K-FACTOR 5.6, BRASS BODY, UL/FM APPROVED, MODEL: SD-TDV50T-E - SHIELD | SHIELD | SD-TDV50T-E | NOS | 16 | 392 | 113 | 5 | 1808 | 0 | FALSE |  |  | 0 | NULL
19 | 11202008065 | 2-1/2" ANGLE VALVE DOUBLE FEMALE NPT THREADED, BRASS FINISH, W/P 300 PSI, UL/FM APPROVED, MODEL: SHIELD-AV - SHIELD WITH MATCHING 2-1/2" ADAPTOR: 2 1/2" MALE NPT X BS336 CONNECTION WITH CAP AND CHAIN, BRASS CHROME PLATED | SHIELD | SHIELD-AV | NOS | 40 | 204 | 59 | 5 | 2360 | 0 | FALSE |  |  | 0 | NULL
20 | 11000708050 | OS&Y GATE VALVE 2" BRONZE, 175 PSI, UL LISTED, MODEL: SDOSY-T 50, SHIELD | SHIELD | SDOSY-T | NOS | 1 | 510 | 146 | 5 | 146 | 0 | FALSE |  |  | 0 | NULL
21 | 10559022710 | TAMPER SWITCH (SUPERVISORY) WITH 1 X SPDT CONTACT FOR GATE VALVES, MODEL: SD-SVS OSY-1, UL/FM APPROVED - SHIELD | SHIELD | SD-SVS-OSY-1 | NOS | 1 | 167 | 48 | 5 | 48 | 0 | FALSE |  |  | 0 | NULL
22 | 11000108707 | OS&Y GATE VALVE 8", DUCTILE IRON BODY TO AWWA C515, RISING STEM WITH EPDM COATED RESILIENT WEDGE, FLANGED ENDS TO ANSI B16.1, CLASS 125,FF FLANGE, W/P 300 PSI, RED RAL3000 FBE COATING, UL/FM APPROVED, MODEL: SD-OSY300FF-D - SHIELD | SHIELD | SD-OSY300FF-D | NOS | 4 | 1700 | 487 | 5 | 1948 | 0 | FALSE |  |  | 0
23 | 10559022710 | TAMPER SWITCH (SUPERVISORY) WITH 1 X SPDT CONTACT FOR GATE VALVES, MODEL: SD-SVS OSY-1, UL/FM APPROVED - SHIELD | SHIELD | SD-SVS-OSY-1 | NOS | 4 | 167 | 48 | 5 | 192 | 0 | FALSE |  |  | 0 | NULL
24 | 11230410152 | BREECHING INLET ASSEMBLY, 6" FLANGED OUTLET, 4 WAY 2-1/2" INLET TO BS 336, SPHEROIDAL GRAPHITE CAST IRON, RED PAINTED, BS 5041, BSI KITEMARK/LPCB APPROVED, MODEL: NWR-115 - NAFFCO | NAFFCO | NWR-115 | NOS | 1 | 831 | 238 | 5 | 238 | 0 | FALSE |  |  | 0 | NULL
25 | 10550522568 | SPRINKLER HEAD 68 DEG. PENDENT, 1/2" NPT, CHROME FINISH, QUICK RESPONSE, UL/ULC/FM/WATERMARK APPROVED, MODEL: SD1030QR - SHIELD | SHIELD | SD1030 QR | NOS | 902 | 12.204 | 4 | 5 | 3608 | 0 | FALSE |  |  | 0 | NULL
26 | 10555522120 | ESCUTCHEON PLATE 1/2", TWO PIECE, CHROME FINISH, UL/FM APPROVED, MODEL: SD-ESC-2 - SHIELD | SHIELD | SD-ESC 2 | NOS | 902 | 2 | 1 | 5 | 902 | 0 | FALSE |  |  | 0 | NULL
27 | 10550522579 | SPRINKLER HEAD 79 DEG. PENDENT, 1/2" NPT, CHROME FINISH, QUICK RESPONSE, UL/ULC/FM/WATERMARK APPROVED, MODEL: SD1030QR - SHIELD | SHIELD | SD1030 QR | NOS | 24 | 12.204 | 4 | 5 | 96 | 0 | FALSE |  |  | 0 | NULL
28 | 10555522120 | ESCUTCHEON PLATE 1/2", TWO PIECE, CHROME FINISH, UL/FM APPROVED, MODEL: SD-ESC-2 - SHIELD | SHIELD | SD-ESC 2 | NOS | 24 | 2 | 1 | 5 | 24 | 0 | FALSE |  |  | 0 | NULL
29 | 10551022468 | SPRINKLER HEAD 68 DEG. UPRIGHT, 1/2" NPT, BRASS FINISH, QUICK RESPONSE, UL/FM/WATERMARK APPROVED, MODEL: SD1032QR-SSU - SHIELD | SHIELD | SD1032 QR | NOS | 51 | 10.7 | 4 | 5 | 204 | 0 | FALSE |  |  | 0 | NULL
30 | 10551522776 | SPRINKLER HEAD, HORIZONTAL SIDEWALL, 1/2" NPT, 79 DEGREE C, EXTENDED COVERAGE, QUICK RESPONSE, K-FACTOR 80 (5.6), CHROME FINISH, UL/ULC/WATERMARK APPROVED, MODEL: SD1125 - SHIELD | SHIELD | SD1125 | NOS | 178 | 18.2 | 6 | 5 | 1068 | 0 | FALSE |  |  | 0 | NULL
27730