## FOR UPLOAD
SLNO | ItemCode | ItemName | Brand | Model | UOM | Qty | UnitPriceAED | UnitPrice | Margin | Amount | Unitweight | Optional | COO | DeliveryStatus | CRMProductId | CRMProduct
1 |  | Fourway Fire Hydrant |  |  |  | 0 | 0 | 0 | 10 | 0 | 0 | FALSE |  |  | 0 | NULL
1.1 |  | 6" X 4 WAY WET TYPE FIRE HYDRANT, CARBON STEEL FABRICATED, AS PER THE ATTACHED PROPOSED DRAWING | NAFFCO | CUSTOM MADE | SET | 12 | 32000 | 9156 | 5 | 109872 | 0 | FALSE |  |  | 0 | NULL
2 |  | Firewater Monitor (228 m3/hr) |  |  |  | 0 | 0 | 0 | 10 | 0 | 0 | FALSE |  |  | 0 | NULL
2.1 |  | FIXED WATER MONITOR, CAPACITY: 1000 USGPM BODY MOC: BRONZE INLET SIZE: 4" ANSI 150# FF FLANGE OUTLET SIZE: 2 1/2" NH MALE, SS DOUBLE BALL RACE BEARING WORM WHEEL BRASS, SHAFT SS,STANDARD 4" ANSI FLANGE OUTLET 4" BSP | NAFFCO | BZM450 | NOS | 7 | 11850 | 3552 | 10 | 24864 | 0 | FALSE |  |  | 0 | NULL
2.2 |  | SINGLE GALLON MASTER STREAM NOZZLE CAPACITY: 1000 USGPM BODY MOC: CAST BRONZE ASTM C83600 INLET SIZE: 2 1/2" NH FEMALE | NAFFCO | MSN2000 | NOS | 7 | 2499 | 750 | 10 | 5250 | 0 | FALSE |  |  | 0 | NULL
3 |  | Deluge Valve Skid Assembly (4") |  |  |  | 0 | 0 | 0 | 10 | 0 | 0 | FALSE |  |  | 0 | NULL
3.1 |  | 4" DELUGE VALVE ASSEMBLED IN A SKID COMPLETE WITH ALL REQUIRED ACCESSORIES - DELUGE VALVE WITH TRIM, PIPES AND FITTINGS INCLUDING ALL NECESSARY EQUIPMENT TO BE INCLUDED WITHIN THE SKID | NAFFCO | CUSTOM MADE | SET | 1 | 313482.125 | 93960 | 10 | 93960 | 0 | FALSE |  |  | 0 | NULL
4 |  | Deluge Valve Skid Assembly (6") |  |  |  | 0 | 0 | 0 | 10 | 0 | 0 | FALSE |  |  | 0 | NULL
4.1 |  | 6" DELUGE VALVE ASSEMBLED IN A SKID COMPLETE WITH ALL REQUIRED ACCESSORIES - DELUGE VALVE WITH TRIM, PIPES AND FITTINGS INCLUDING ALL NECESSARY EQUIPMENT TO BE INCLUDED WITHIN THE SKID | NAFFCO / OCV | CUSTOM MADE | SET | 3 | 368777.4217 | 110533 | 10 | 331599 | 0 | FALSE |  |  | 0 | NULL
5 |  | 5 KG CO2 PORTABLE FIRE EXTINGUISHER GAS CARTRIDGE (INCL. FIXINGS)Portable Fire Extinguisher CO2 – 5 kg |  |  |  | 0 | 0 | 0 | 10 | 0 | 0 | FALSE |  |  | 0 | NULL
5.1 |  | 5 KG CO2 FIRE EXTINGUISHER - CE,KITEMARK & MED, LPCB | NAFFCO | NC5 | NOS | 7 | 171 | 52 | 10 | 364 | 0 | FALSE |  |  | 0 | NULL
6 |  | Portable Fire Extinguisher – 9 kg Monnex DCP, Cartridge operated, UL or EN-3 approved. Make: ANGUS, UK |  |  |  | 0 | 0 | 0 | 10 | 0 | 0 | FALSE |  |  | 0 | NULL
6.1 |  | 9 KG MONEX DCP FIRE EXTINGUISHER, GAS CARTRIDGE TYPE, MODEL: MX9G, ANGUS FIRE - UK | ANGUS | MX9G | NOS | 20 | 1800 | 540 | 10 | 10800 | 0 | FALSE |  |  | 0 | NULL
7 |  | Portable Fire Extinguisher - Wheeled – 50 kg Monnex DCP, gas cylinder operated, UL or EN-3 approved. |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
7.1 | 10105010053 | Dry Powder Extinguisher, MONEX with External Co2/N2 Cartridge, Capacity: 50 Kg, Red Color, NTDPCS-M50 - Naffco, UAE | NAFFCO | NTDPCS-M50 | NOS | 3 | 2100 | 630 | 10 | 1890 | 0 | FALSE |  |  | 0 | NULL
8 |  | Emergency Escape Breathing Apparatus (EEBA) as per EN 137 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
8.1 |  | 15 MINUTE BREATHING APPARATUS |  |  | NOS | 1 | 1452 | 436 | 10 | 436 | 0 | FALSE |  |  | 0 | NULL
9 |  | Wind Sock inline with Kuwait Environmental Protection Authority requirements |  |  | NOS | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
9.1 |  | WINDSOCK |  |  | SETS | 1 | 9979 | 2991 | 10 | 2991 | 0 | FALSE |  |  | 0 | NULL
10 |  | Eye Wash/Safety Shower Station (Exterior) - potable water inlet at a temperature 15 deg c and 36 deg c. - safety shower shall be activated by a pull rod / step on platform - design as per ISEA Z358.1 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
10.1 |  | EYE WASH STATION |  |  | SETS | 3 | 3328 | 998 | 10 | 2994 | 0 | FALSE |  |  | 0 | NULL
585020