## al mawarid
SLNO | ItemCode | ItemName | Brand | Model | UOM | Qty | UnitPriceAED | UnitPrice | Margin | Amount | Unitweight | Optional | COO | DeliveryStatus | CRMProductId | CRMProduct
1 |  | SHIELD FM200 FIRE EXTINGUISHING SYSTEM, TOTAL FLOODING - ELECTRICAL ROOM @ 2ND BASEMENT |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.1 |  | MECHANICAL COMPONENTS |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.1.1 |  | 106.0 L HFC-227EA CYLINDER ASSECMBLY COMPLETE WITH: CYLINDER, HEAD VALVE WITH PRESSURE GAUGE, PRESSURE SUPERVISORY SWITCH, CYLINDER LABEL, CYLINDER MOUNTING STRAP, TOP PLUG | SHIELD | SD-106HFC-02 | SET | 1 | 5600.0163 | 1525.89 | 0 | 1525.89 | 0 | FALSE |  |  | 0 | NULL
1.1.2 |  | SHIELD200 (SD-HFC227EA) AGENT | SHIELD | SD-HFC227EA | KG | 79 | 73.4 | 20 | 0 | 1580 | 0 | FALSE |  |  | 0 | NULL
1.1.3 |  | REMOVABLE ELECTRIC ACTUATOR COMPLETE WITH SUPERVISORY SWITCH, 1 INCH CONNECTION | SHIELD | SD-REA-SS | NO | 1 | 1689.9983 | 460.49 | 0 | 460.49 | 0 | FALSE |  |  | 0 | NULL
1.1.4 |  | MANUAL ACTUATOR WITH PUSH TO OPERATE | SHIELD | SD-MA0025 | NO | 1 | 200.015 | 54.5 | 0 | 54.5 | 0 | FALSE |  |  | 0 | NULL
1.1.5 |  | DISCHARGE PRESSURE SWITCH | SHIELD | SD-DPS-B6-95-2 | NO | 1 | 300.94 | 82 | 0 | 82 | 0 | FALSE |  |  | 0 | NULL
1.1.6 |  | DISCHARGE HOSE 2" (50 MM) WITH FEMALE SWIVEL FITTINGS | SHIELD | SD-DH0050 | NO | 1 | 479.9993 | 130.79 | 0 | 130.79 | 0 | FALSE |  |  | 0 | NULL
1.1.7 |  | DISCHARGE NOZZLE | SHIELD | SD-NXXX-XX | NO | 1 | 290.9943 | 79.29 | 0 | 79.29 | 0 | FALSE |  |  | 0 | NULL
1.1.8 |  | FM200 WARNING SIGNAGE (P0ER SET) EACH SET 3 NOS | SHIELD |  | SET | 3 | 300.94 | 82 | 0 | 246 | 0 | FALSE |  |  | 0 | NULL
1.2 |  | ELECTRICAL COMPONENTS |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.2.1 |  | EXTINGUISHING CONTROL PANEL (2) DETECTION ZONE (1) RELEASE AREA COMPLETE WITH: 24 VDC BACK-UP BATTERY | SHIELD | AX-T | NO | 1 | 3500 | 954 | 0 | 954 | 0 | FALSE |  |  | 0 | NULL
1.2.2 | 13001838211 | CONVENTIONAL PHOTOELECTRIC SMOKE DETECTOR, UL LISTED, MODEL: S-C2011 - SHIELD WITH BASE | SHIELD | S-C2011 | NO | 2 | 47 | 13 | 0 | 26 | 0 | FALSE |  |  | 0 | NULL
1.2.3 |  | EXTINGUISHING ABORT SWITCH, SURFACE MOUNT, RED, UL LISTED, MODEL: S111R-AB - SHIELD | SHIELD | S111R-AB | NO | 1 | 275 | 75 | 0 | 75 | 0 | FALSE |  |  | 0 | NULL
1.2.4 |  | FIRE ALARM BELL 6", MOTOR DRIVEN TYPE, RED COLOUR, 24V DC, 20-30MA CURRENT CONSUMPTION, UL LISTED, MODEL: FB1000C6, SHIELD | SHIELD | FB1000C6 | NO | 1 | 85 | 24 | 0 | 24 | 0 | FALSE |  |  | 0 | NULL
1.2.5 |  | HORN/STROBE, INDOOR, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, UL LISTED, MODEL : SH-HSIR - SHIELD | SHIELD | SH-HSIR | NO | 1 | 150 | 41 | 0 | 41 | 0 | FALSE |  |  | 0 | NULL
1.2.6 |  | STROBE, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, INDOOR, UL LISTED, MODEL: SH-STIR - SHIELD WITH BACKBOX | SHIELD | SH-STIR | NO | 1 | 125 | 35 | 0 | 35 | 0 | FALSE |  |  | 0 | NULL
2 |  | SHIELD FM200 FIRE EXTINGUISHING SYSTEM, TOTAL FLOODING - ELECTRICAL ROOM @ 3RD BASEMENT |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
2.1 |  | MECHANICAL COMPONENTS |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
2.1.1 |  | 52.0 L HFC-227EA CYLINDER ASSECMBLY COMPLETE WITH: CYLINDER, HEAD VALVE WITH PRESSURE GAUGE, PRESSURE SUPERVISORY SWITCH, CYLINDER LABEL, CYLINDER MOUNTING STRAP, TOP PLUG | SHIELD | SD-52HFC-02 | SET | 1 | 4730.0061 | 1288.83 | 0 | 1288.83 | 0 | FALSE |  |  | 0 | NULL
2.1.2 |  | SHIELD200 (SD-HFC227EA) AGENT | SHIELD | SD-HFC227EA | KG | 35 | 73.4 | 20 | 0 | 700 | 0 | FALSE |  |  | 0 | NULL
2.1.3 |  | REMOVABLE ELECTRIC ACTUATOR COMPLETE WITH SUPERVISORY SWITCH, 1 INCH CONNECTION | SHIELD | SD-REA-SS | NO | 1 | 1689.9983 | 460.49 | 0 | 460.49 | 0 | FALSE |  |  | 0 | NULL
2.1.4 |  | MANUAL ACTUATOR WITH PUSH TO OPERATE | SHIELD | SD-MA0025 | NO | 1 | 200.015 | 54.5 | 0 | 54.5 | 0 | FALSE |  |  | 0 | NULL
2.1.5 |  | DISCHARGE PRESSURE SWITCH | SHIELD | SD-DPS-B6-95-2 | NO | 1 | 300.94 | 82 | 0 | 82 | 0 | FALSE |  |  | 0 | NULL
2.1.6 |  | DISCHARGE HOSE 2" (50 MM) WITH FEMALE SWIVEL FITTINGS | SHIELD | SD-DH0050 | NO | 1 | 479.9993 | 130.79 | 0 | 130.79 | 0 | FALSE |  |  | 0 | NULL
2.1.7 |  | DISCHARGE NOZZLE | SHIELD | SD-NXXX-XX | NO | 1 | 290.9943 | 79.29 | 0 | 79.29 | 0 | FALSE |  |  | 0 | NULL
2.1.8 |  | FM200 WARNING SIGNAGE (P0ER SET) EACH SET 3 NOS | SHIELD |  | SET | 1 | 300.94 | 82 | 0 | 82 | 0 | FALSE |  |  | 0 | NULL
2.2 |  | ELECTRICAL COMPONENTS |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
2.2.1 |  | EXTINGUISHING CONTROL PANEL (2) DETECTION ZONE (1) RELEASE AREA COMPLETE WITH: 24 VDC BACK-UP BATTERY | SHIELD | AX-T | NO | 1 | 3500 | 954 | 0 | 954 | 0 | FALSE |  |  | 0 | NULL
2.2.2 | 13001838211 | CONVENTIONAL PHOTOELECTRIC SMOKE DETECTOR, UL LISTED, MODEL: S-C2011 - SHIELD WITH BASE | SHIELD | S-C2011 | NO | 2 | 47 | 13 | 0 | 26 | 0 | FALSE |  |  | 0 | NULL
2.2.3 |  | EXTINGUISHING ABORT SWITCH, SURFACE MOUNT, RED, UL LISTED, MODEL: S111R-AB - SHIELD | SHIELD | S111R-AB | NO | 1 | 275 | 75 | 0 | 75 | 0 | FALSE |  |  | 0 | NULL
2.2.4 |  | FIRE ALARM BELL 6", MOTOR DRIVEN TYPE, RED COLOUR, 24V DC, 20-30MA CURRENT CONSUMPTION, UL LISTED, MODEL: FB1000C6, SHIELD | SHIELD | FB1000C6 | NO | 1 | 85 | 24 | 0 | 24 | 0 | FALSE |  |  | 0 | NULL
2.2.5 |  | HORN/STROBE, INDOOR, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, UL LISTED, MODEL : SH-HSIR - SHIELD | SHIELD | SH-HSIR | NO | 1 | 150 | 41 | 0 | 41 | 0 | FALSE |  |  | 0 | NULL
2.2.6 |  | STROBE, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, INDOOR, UL LISTED, MODEL: SH-STIR - SHIELD WITH BACKBOX | SHIELD | SH-STIR | NO | 1 | 125 | 35 | 0 | 35 | 0 | FALSE |  |  | 0 | NULL
3 |  | SHIELD FM200 FIRE EXTINGUISHING SYSTEM, TOTAL FLOODING - ARCHIVE ROOM @ 5TH BASEMENT |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
3.1 |  | MECHANICAL COMPONENTS |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
3.1.1 |  | 180.0 L HFC-227EA CYLINDER ASSECMBLY COMPLETE WITH: CYLINDER, HEAD VALVE WITH PRESSURE GAUGE, PRESSURE SUPERVISORY SWITCH, CYLINDER LABEL, CYLINDER MOUNTING STRAP, TOP PLUG | SHIELD | SD-180HFC-02 | SET | 2 | 7000.0112 | 1907.36 | 0 | 3814.72 | 0 | FALSE |  |  | 0 | NULL
3.1.2 |  | SHIELD200 (SD-HFC227EA) AGENT | SHIELD | SD-HFC227EA | KG | 256 | 73.4 | 20 | 0 | 5120 | 0 | FALSE |  |  | 0 | NULL
3.1.3 |  | REMOVABLE ELECTRIC ACTUATOR COMPLETE WITH SUPERVISORY SWITCH, 1 INCH CONNECTION | SHIELD | SD-REA-SS | NO | 2 | 1689.9983 | 460.49 | 0 | 920.98 | 0 | FALSE |  |  | 0 | NULL
3.1.4 |  | MANUAL ACTUATOR WITH PUSH TO OPERATE | SHIELD | SD-MA0025 | NO | 2 | 200.015 | 54.5 | 0 | 109 | 0 | FALSE |  |  | 0 | NULL
3.1.5 |  | DISCHARGE PRESSURE SWITCH | SHIELD | SD-DPS-B6-95-2 | NO | 2 | 300.94 | 82 | 0 | 164 | 0 | FALSE |  |  | 0 | NULL
3.1.6 |  | DISCHARGE HOSE 2" (50 MM) WITH FEMALE SWIVEL FITTINGS | SHIELD | SD-DH0050 | NO | 2 | 479.9993 | 130.79 | 0 | 261.58 | 0 | FALSE |  |  | 0 | NULL
3.1.7 |  | DISCHARGE NOZZLE | SHIELD | SD-NXXX-XX | NO | 6 | 290.9943 | 79.29 | 0 | 475.74 | 0 | FALSE |  |  | 0 | NULL
3.1.8 |  | FM200 WARNING SIGNAGE (P0ER SET) EACH SET 3 NOS | SHIELD | SD-FM-WARN | SET | 1 | 300.94 | 82 | 0 | 82 | 0 | FALSE |  |  | 0 | NULL
3.2 |  | ELECTRICAL COMPONENTS |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
3.2.1 |  | ADD. EXTINGUISHING CONTROL PANEL - 2 LOOP, COMPLETE WITH: 1 NOS. X NETWORK MODULE 2 NOS. X CRM4 RELAY MODULE | CHETTAH XI - FIKE | 10-068-R-2-L | NO | 1 | 8500 | 2317 | 0 | 2317 | 0 | FALSE |  |  | 0 | NULL
3.2.2 | 13001838211 | CONVENTIONAL PHOTOELECTRIC SMOKE DETECTOR, UL LISTED, MODEL: S-C2011 - SHIELD WITH BASE | SHIELD | S-C2011 | NO | 8 | 47 | 13 | 0 | 104 | 0 | FALSE |  |  | 0 | NULL
3.2.3 |  | ADDRESSABLE MANUAL RELEASE STATION | FIKE | 20-1343 | NO | 2 | 395 | 108 | 0 | 216 | 0 | FALSE |  |  | 0 | NULL
3.2.4 |  | ABORT SWITCH WITH BACKBOX | FIKE | 10-1639 | NO | 2 | 395 | 108 | 0 | 216 | 0 | FALSE |  |  | 0 | NULL
3.2.5 |  | FIRE ALARM BELL 6", MOTOR DRIVEN TYPE, RED COLOUR, 24V DC, 20-30MA CURRENT CONSUMPTION, UL LISTED, MODEL: FB1000C6, SHIELD | SHIELD | FB1000C6 | NO | 2 | 85 | 24 | 0 | 48 | 0 | FALSE |  |  | 0 | NULL
3.2.6 |  | HORN/STROBE, INDOOR, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, UL LISTED, MODEL : SH-HSIR - SHIELD | SHIELD | SH-HSIR | NO | 2 | 150 | 41 | 0 | 82 | 0 | FALSE |  |  | 0 | NULL
3.2.7 |  | STROBE, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, INDOOR, UL LISTED, MODEL: SH-STIR - SHIELD WITH BACKBOX | SHIELD | SH-STIR | NO | 2 | 125 | 35 | 0 | 70 | 0 | FALSE |  |  | 0 | NULL
3.2.8 | 13108625050 | ADDRESSABLE MINI MONITOR MODULE WITH BUILT IN ISOLATOR (EM-1MMI), MODEL: 55-050 - FIKE WITH BACKBOX | FIKE | 55-050 | NOS | 2 | 340 | 93 | 0 | 186 | 0 | FALSE |  |  | 0 | NULL
3.2.9 | 13108625046 | ADDRESSABLE SQUARE MONITOR MODULE 4" WITH ISOLATOR (EM-1SMI), MODEL: 55-046 - FIKE WITH BACKBOX | FIKE | 55-046 | NOS | 8 | 380 | 104 | 0 | 832 | 0 | FALSE |  |  | 0 | NULL
3.2.10 | 13108425015 | SUPERVISED CONTROL MODULE WITH BUILT IN ISOLATOR (EM-1SMI), MODEL: 55-047 - FIKE WITH BACKBOX | FIKE | 55-047 | NOS | 6 | 435 | 119 | 0 | 714 | 0 | FALSE |  |  | 0 | NULL
3.2.11 | 13108425153 | RELEASING CONTROL MODULE WITH ISOLATOR (EM-1RMI), MODEL.# 55-053 - FIKE WITH BACKBOX | FIKE | 55-053 | NOS | 2 | 1140 | 311 | 0 | 622 | 0 | FALSE |  |  | 0 | NULL
3.2.12 |  | POWER SUPPLY UNIT, 24V DC ,10 Amps, W / battery | FIKE | 10-2829-1-0-01-0-1-01 | NOS | 1 | 1676 | 457 | 0 | 457 | 0 | FALSE |  |  | 0 | NULL
4 |  | SHIELD FM200 FIRE EXTINGUISHING SYSTEM, TOTAL FLOODING - ARCHIVE ROOM @ 6TH BASEMENT |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
4.1 |  | MECHANICAL COMPONENTS |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
4.1.1 |  | 369 L HFC-227EA CYLINDER ASSECMBLY COMPLETE WITH: CYLINDER, HEAD VALVE WITH PRESSURE GAUGE, PRESSURE SUPERVISORY SWITCH, CYLINDER LABEL, CYLINDER MOUNTING STRAP, TOP PLUG | SHIELD | SD-369HFC-02 | SET | 2 | 12999.9841 | 3542.23 | 0 | 7084.46 | 0 | FALSE |  |  | 0 | NULL
4.1.2 |  | SHIELD200 (SD-HFC227EA) AGENT | SHIELD | SD-HFC227EA | KG | 558 | 73.4 | 20 | 0 | 11160 | 0 | FALSE |  |  | 0 | NULL
4.1.3 |  | 3 INCH (80MM) OUTLET ADAPTOR USED TO 369*L CYLINDER VALVE OUTLET | SHIELD | SD-VOA0080 | NO | 2 | 200.015 | 54.5 | 0 | 109 | 0 | FALSE |  |  | 0 | NULL
4.1.4 |  | REMOVABLE ELECTRIC ACTUATOR COMPLETE WITH SUPERVISORY SWITCH, 1 INCH CONNECTION | SHIELD | SD-REA-SS | NO | 2 | 1689.9983 | 460.49 | 0 | 920.98 | 0 | FALSE |  |  | 0 | NULL
4.1.5 |  | MANUAL ACTUATOR WITH PUSH TO OPERATE | SHIELD | SD-MA0025 | NO | 2 | 200.015 | 54.5 | 0 | 109 | 0 | FALSE |  |  | 0 | NULL
4.1.6 |  | DISCHARGE PRESSURE SWITCH | SHIELD | SD-DPS-B6-95-2 | NO | 2 | 300.94 | 82 | 0 | 164 | 0 | FALSE |  |  | 0 | NULL
4.1.7 |  | DISCHARGE HOSE 3" (80 MM) WITH CHECK VALVE WITH FEMALE SWIVEL FITTINGS | SHIELD | SD-DHCV0080 | NO | 2 | 2640.0145 | 719.35 | 0 | 1438.7 | 0 | FALSE |  |  | 0 | NULL
4.1.8 |  | DISCHARGE NOZZLE | SHIELD | SD-NXXX-XX | 8 | 8 | 290.9943 | 79.29 | 0 | 634.32 | 0 | FALSE |  |  | 0 | NULL
4.1.9 |  | FM200 WARNING SIGNAGE (P0ER SET) EACH SET 3 NOS | SHIELD | SD-FM-WARN | SET | 1 | 300.94 | 82 | 0 | 82 | 0 | FALSE |  |  | 0 | NULL
4.2 |  | ELECTRICAL COMPONENTS |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
4.2.1 | 13001838211 | CONVENTIONAL PHOTOELECTRIC SMOKE DETECTOR, UL LISTED, MODEL: S-C2011 - SHIELD WITH BASE | SHIELD | S-C2011 | NO | 16 | 47 | 13 | 0 | 208 | 0 | FALSE |  |  | 0 | NULL
4.2.2 |  | ADDRESSABLE MANUAL RELEASE STATION | FIKE | 20-1343 | NO | 2 | 395 | 108 | 0 | 216 | 0 | FALSE |  |  | 0 | NULL
4.2.3 |  | ABORT SWITCH WITH BACKBOX | FIKE | 10-1639 | NO | 2 | 395 | 108 | 0 | 216 | 0 | FALSE |  |  | 0 | NULL
4.2.4 |  | FIRE ALARM BELL 6", MOTOR DRIVEN TYPE, RED COLOUR, 24V DC, 20-30MA CURRENT CONSUMPTION, UL LISTED, MODEL: FB1000C6, SHIELD | SHIELD | FB1000C6 | NO | 2 | 85 | 24 | 0 | 48 | 0 | FALSE |  |  | 0 | NULL
4.2.5 |  | HORN/STROBE, INDOOR, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, UL LISTED, MODEL : SH-HSIR - SHIELD | SHIELD | SH-HSIR | NO | 2 | 150 | 41 | 0 | 82 | 0 | FALSE |  |  | 0 | NULL
4.2.6 |  | STROBE, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, INDOOR, UL LISTED, MODEL: SH-STIR - SHIELD WITH BACKBOX | SHIELD | SH-STIR | NO | 2 | 125 | 35 | 0 | 70 | 0 | FALSE |  |  | 0 | NULL
4.2.7 | 13108625050 | ADDRESSABLE MINI MONITOR MODULE WITH BUILT IN ISOLATOR (EM-1MMI), MODEL: 55-050 - FIKE WITH BACKBOX | FIKE | 55-050 | NOS | 2 | 340 | 93 | 0 | 186 | 0 | FALSE |  |  | 0 | NULL
4.2.8 | 13108625046 | ADDRESSABLE SQUARE MONITOR MODULE 4" WITH ISOLATOR (EM-1SMI), MODEL: 55-046 - FIKE WITH BACKBOX | FIKE | 55-046 | NOS | 8 | 380 | 104 | 0 | 832 | 0 | FALSE |  |  | 0 | NULL
4.2.9 | 13108425015 | SUPERVISED CONTROL MODULE WITH BUILT IN ISOLATOR (EM-1SMI), MODEL: 55-047 - FIKE WITH BACKBOX | FIKE | 55-047 | NOS | 6 | 435 | 119 | 0 | 714 | 0 | FALSE |  |  | 0 | NULL
4.2.10 | 13108425153 | RELEASING CONTROL MODULE WITH ISOLATOR (EM-1RMI), MODEL.# 55-053 - FIKE WITH BACKBOX | FIKE | 55-053 | NOS | 2 | 1140 | 311 | 0 | 622 | 0 | FALSE |  |  | 0 | NULL
4.2.11 |  | POWER SUPPLY UNIT, 24V DC ,10 Amps, W / battery | FIKE | 10-2829-1-0-01-0-1-01 | NOS | 1 | 1676 | 457 | 0 | 457 | 0 | FALSE |  |  | 0 | NULL
5 |  | CO2 FIRE SUPPRESSION SYSTEM - GENERATOR ROOM @ 2ND BASEMENT |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
5.1 |  | MECHANICAL COMPONENTS |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
5.1.1 | 10350512545 | CO2 SYSTEM MASTER CYLINDER ASSEMBLY 45 KG. WITH 24V DCSOLENOID OPERATED HEAD VALVE B04390031-NF, UL LISTED, MODEL: NCS45M-1 - NAFFCO, U.A.E. | NAFFCO | NCS45M | NO | 2 | 1441.3321 | 393 | 0 | 786 | 0 | FALSE |  |  | 0 | NULL
5.1.2 | 10350512547 | CO2 SYSTEM SLAVE CYLINDER ASSEMBLY 45 KG. WITH DIFFERENTIAL PRESSURE HEAD VALVE B04800121-NF, UL LISTED, MODEL: NCS45S - NAFFCO, U.A.E. | NAFFCO | NCS45S | NO | 8 | 1078.584 | 294 | 0 | 2352 | 0 | FALSE |  |  | 0 | NULL
5.1.3 | 10341512120 | MANUAL / PNEUMATIC RELEASE DEVICE, WP 300 BAR, INLET THREADED TO M42 X 1.5, PNEUMATIC LINE CONNECTION G 1/8", P/N.# B04420065-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B04420065-NF | NO | 1 | 120 | 33 | 0 | 33 | 0 | FALSE |  |  | 0 | NULL
5.1.4 | 10341512122 | PNEUMATIC RELEASE DEVICE, WP 300 BAR, INLET THREADED TO M42 X 1.5, PNEUMATIC LINE CONNECTION G 1/8", P/N.# B04420066NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B04420066NF | NO | 7 | 80 | 22 | 0 | 154 | 0 | FALSE |  |  | 0 | NULL
5.1.5 | 10351012068 | DISCHARGE HOSE, SYNTHETIC RUBBER OIL RESISTANT, DN16, WP 350 BAR, B/P1400 BAR, INLET FEMALE THREAD TO W 21.8 X 1/14" TO DIN 477 & OUTLET FEMALE THREAD TO G 3/4", 520MM LENGTH, TEMP RANGE -40 DEG C TO +100 DEG.C, P/N.# NHC18 - NAFFCO | NAFFCO | NHC18 | NO | 10 | 156 | 43 | 0 | 430 | 0 | FALSE |  |  | 0 | NULL
5.1.6 | 10343012208 | MANIFOLD CHECK VALVE, BRASS, W/P 300 BAR AT 20 DEG.C, MAX.W/P: 360 BAR, HOSE CONNECTION THREAD G3/4", MANIFOLD CONNECTION THREAD R1" DN12, P/N.# B04600008-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B04600008-NF | NO | 10 | 130 | 36 | 0 | 360 | 0 | FALSE |  |  | 0 | NULL
5.1.7 | 10343512033 | PILOT HOSE, SYNTHETIC RUBBER OIL RESISTANT W/STRAIGHT FITTINGS M12 X 1.5 FEMALE THREAD IN BOTH ENDS, 500MM LONG, W/P 400 BAR, B/P 1600 BAR, TEMP RANGE: -40 C. TO 100 C, P/N.# B06920213 FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B06920213 | NO | 6 | 70 | 20 | 0 | 120 | 0 | FALSE |  |  | 0 | NULL
5.1.8 | 10343512032 | PILOT HOSE, SYNTHETIC RUBBER OIL RESISTANT W/STRAIGHT FITTINGS M12 X 1.5 FEMALE THREAD IN BOTH ENDS, 700MM LONG, W/P 400 BAR, B/P 1600 BAR, TEMP RANGE: -40 C. TO 100 C, P/N.# B06920212 FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B06920212 | NO | 2 | 70 | 20 | 0 | 40 | 0 | FALSE |  |  | 0 | NULL
5.1.9 | 10349012606 | CONNECTING ADAPTOR, M12 X 1.5 MALE THREADED & G 1/8" MALE THREADED, P/N.# 029510006 FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | 029510006 | NO | 16 | 20 | 6 | 0 | 96 | 0 | FALSE |  |  | 0 | NULL
5.1.10 | 10353512525 | MANIFOLD FOR 5 CYLINDER NAFFCO 45 KG CO2 UL SYSTEM, 267MM DIA CYLINDER, RED COLOR, P/N.# NFCO2-267-SRM5 - NAFFCO | NAFFCO | NFCO2-267-SRM5 | NO | 2 | 600 | 164 | 0 | 328 | 0 | FALSE |  |  | 0 | NULL
5.1.11 | 10354012380 | RACK ASSEMBLY FOR 10 CYLINDERS, DOUBLE ROW, FLOOR MOUNTING TYPE, CYLINDER DIA: 267MM, CAPACITY: 45 KG, MODEL: NFCO2-RA02-050F FOR UL LISTED CO2 EXTINGUISHING SYSTEM - NAFFCO | NAFFCO | NFCO2-RA02-050F | NO | 1 | 386.84 | 106 | 0 | 106 | 0 | FALSE |  |  | 0 | NULL
5.1.12 |  | DISCHARGE NOZZZLE | NAFFCO |  | NO | 6 | 20 | 6 | 0 | 36 | 0 | FALSE |  |  | 0 | NULL
5.1.13 | 10341512022 | PRESSURE & FLOW DETECTOR SWITCH, P/N.# 028250050 FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | 028250050 | NO | 1 | 690 | 189 | 0 | 189 | 0 | FALSE |  |  | 0 | NULL
5.1.14 | 10352528139 | CO2 HEADER SAFETY RELIEF VALVE, P/N.# 029730039 | NAFFCO | 029730039 | NO | 1 | 500.0326 | 137 | 0 | 137 | 0 | FALSE |  |  | 0 | NULL
5.1.15 | 10346012640 | BLEED VALVE, P/N.# 029730040-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | 029730040-NF | NO | 1 | 170 | 47 | 0 | 47 | 0 | FALSE |  |  | 0 | NULL
5.2 |  | ELECTRICAL COMPONENTS |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
5.2.1 |  | EXTINGUISHING CONTROL PANEL (2) DETECTION ZONE (1) RELEASE AREA COMPLETE WITH: 24 VDC BACK-UP BATTERY | SHIELD | AX-T | NO | 1 | 3500 | 954 | 0 | 954 | 0 | FALSE |  |  | 0 | NULL
5.2.2 | 13002238210 | CONVENTIONAL HEAT DETECTOR, 135F, UL LISTED, MODEL: S-C2013 - SHIELD | SHIELD | S-C2013 | NO | 6 | 39 | 11 | 0 | 66 | 0 | FALSE |  |  | 0 | NULL
5.2.3 |  | FIRE ALARM BELL 6", MOTOR DRIVEN TYPE, RED COLOUR, 24V DC, 20-30MA CURRENT CONSUMPTION, UL LISTED, MODEL: FB1000C6, SHIELD | SHIELD | FB1000C6 | NO | 1 | 85 | 24 | 0 | 24 | 0 | FALSE |  |  | 0 | NULL
5.2.4 |  | HORN/STROBE, INDOOR, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, UL LISTED, MODEL : SH-HSIR - SHIELD | SHIELD | SH-HSIR | NO | 1 | 150 | 41 | 0 | 41 | 0 | FALSE |  |  | 0 | NULL
5.2.5 |  | STROBE, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, INDOOR, UL LISTED, MODEL: SH-STIR - SHIELD WITH BACKBOX | SHIELD | SH-STIR | NO | 1 | 125 | 35 | 0 | 35 | 0 | FALSE |  |  | 0 | NULL
5.2.6 |  | WARNING SIGN (3 NOS. PER SET) | NAFFCO |  | SET | 1 | 300 | 82 | 0 | 82 | 0 | FALSE |  |  | 0 | NULL
57928.34