## BURKINA FASO
SLNO | ItemCode | ItemName | Brand | Model | UOM | Qty | UnitPriceAED | UnitPrice | Margin | Amount | Unitweight | Optional | COO | DeliveryStatus | CRMProductId | CRMProduct
1 |  | ECRAN DE CANTONEMENT (2010 SQM) |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.1 |  | FOAM SYSTEM |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.1.1 |  | MECHANICAL COMPONENTS |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.1.1 | 10450515410 | 1100 GALLON VERTICAL BLADDER TANK UL LISTED | NAFFCO | NF-VBT1100 | SET | 1 | 56600 | 15423 | 0 | 15423 | 0 | FALSE |  |  | 0 | NULL
1.1.2 |  | 2% HIGH EXPANSION FOAM | NAFFCO | NF HEFC 2% | GAL | 1056 | 34.065 | 10 | 0 | 10560 | 0 | FALSE |  |  | 0 | NULL
1.1.3 | 10451515782 | RATIO CONTROLLER 8" (200NB), WAFER TYPE (VENTURI), BRONZE CONSTRUCTION, MODEL: WRC-B - NAFFCO | NAFFCO | WRC-B | NOS | 1 | 4750 | 1295 | 0 | 1295 | 0 | FALSE |  |  | 0 | NULL
1.1.4 |  | WATER POWERED BALL VALVE 2" WITH VISUAL INDICATOR, SS FLANGED TO ANSI B 16.5 CLASS 150 RF, FM APPROVED | NAFFCO | NF-WPV | NOS | 1 | 4520 | 1232 | 0 | 1232 | 0 | FALSE |  |  | 0 | NULL
1.1.5 | 10457515500 | HIGH EXPANSION FOAM GENERATOR, FLOW: 110 - 175 GPM, 10000-22000 CFM, STAINLESS STEEL 316, RED PAINTED, MODEL: NFG 21000 - NAFFCO | NAFFCO | NFG 21000 | SET | 12 | 32500 | 8856 | 0 | 106272 | 0 | FALSE |  |  | 0 | NULL
1.1.6 |  | 8" DELUGE VALVE ASSEMBLY COMPLETE WITH: BASIC WET PILOT, ELECTRIC TRIM, 24V DC SOLENOID VALVE, MANUAL RELEASE STATION, WATER MOTOR ALARM GONG, PRESSURE SWITCH, PRESSURE GAUGE, MAIN DRAIN VALVE | SHIELD | DVH3 | SET | 1 | 7913 | 2157 | 0 | 2157 | 0 | FALSE |  |  | 0 | NULL
1.1.7 | 11000108701 | OS&Y GATE VALVE 8" CLASS 125 FLANGED, 200 PSI WORKING UL/FM APPROVED | SHIELD | SD-OSY200FF-D | NOS | 3 | 1470 | 401 | 0 | 1203 | 0 | FALSE |  |  | 0 | NULL
1.1.8 | 10559022710 | TAMPER SWITCH / SUPERVISORY SWITCH FOR OS&Y GATE VALVE WITH 1 SET SPDT CONTACT UL/FM | SHIELD | SD-SVS-OSY-1 | NOS | 3 | 167 | 46 | 0 | 138 | 0 | FALSE |  |  | 0 | NULL
1.1.9 | 11222508780 | Y-STRAINER 8" CLASS 150 BOTH FLANGED ENDS, 300 PSI WORKING UL/ULC APPROVED WITH LISTED - FLANGED X FLANGED SS304 SCREEN -SHIELD | SHIELD | SD-YS300FF-D | NOS | 1 | 1670 | 456 | 0 | 456 | 0 | FALSE |  |  | 0 | NULL
1.1.2 |  | ELECTRICAL COMPONENTS |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.1.2.1 |  | EXTINGUISHING CONTROL PANEL (2) DETECTION ZONE (1) RELEASE AREA COMPLETE WITH: 24 VDC BACK-UP BATTERY | SHIELD | AX-T | SET | 1 | 3500 | 954 | 0 | 954 | 0 | FALSE |  |  | 0 | NULL
2 |  | AREA 1 ZONE 1 & 2 - MAGASIN 01 @ BLOCK 01 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
2.1 |  | FOAM SYSTEM |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
2.1.1 |  | MECHANICAL COMPONENTS |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
2.1.1.1 | 10450515380 | 800 GALLON VERTICAL BLADDER TANK UL LISTED | NAFFCO | NF-VBT800 | SET | 1 | 46500 | 12671 | 0 | 12671 | 0 | FALSE |  |  | 0 | NULL
2.1.1.2 |  | 2% HIGH EXPANSION FOAM | NAFFCO | NF HEFC 2% | GAL | 792 | 34.065 | 10 | 0 | 7920 | 0 | FALSE |  |  | 0 | NULL
2.1.1.3 | 10451515782 | RATIO CONTROLLER 8" (200NB), WAFER TYPE (VENTURI), BRONZE CONSTRUCTION, MODEL: WRC-B - NAFFCO | NAFFCO | WRC-B | NOS | 2 | 4750 | 1295 | 0 | 2590 | 0 | FALSE |  |  | 0 | NULL
2.1.1.4 |  | WATER POWERED BALL VALVE 2" WITH VISUAL INDICATOR, SS FLANGED TO ANSI B 16.5 CLASS 150 RF, FM APPROVED | NAFFCO | NF-WPV | NOS | 2 | 4520 | 1232 | 0 | 2464 | 0 | FALSE |  |  | 0 | NULL
2.1.1.5 | 10457515500 | HIGH EXPANSION FOAM GENERATOR, FLOW: 110 - 175 GPM, 10000-22000 CFM, STAINLESS STEEL 316, RED PAINTED, MODEL: NFG 21000 - NAFFCO | NAFFCO | NFG 21000 | SET | 18 | 32500 | 8856 | 0 | 159408 | 0 | FALSE |  |  | 0 | NULL
2.1.1.6 |  | 8" DELUGE VALVE ASSEMBLY COMPLETE WITH: BASIC WET PILOT, ELECTRIC TRIM, 24V DC SOLENOID VALVE, MANUAL RELEASE STATION, WATER MOTOR ALARM GONG, PRESSURE SWITCH, PRESSURE GAUGE, MAIN DRAIN VALVE | SHIELD | DVH3 | SET | 2 | 7913 | 2157 | 0 | 4314 | 0 | FALSE |  |  | 0 | NULL
2.1.1.7 | 11000108701 | OS&Y GATE VALVE 8" CLASS 125 FLANGED, 200 PSI WORKING UL/FM APPROVED | SHIELD | SD-OSY200FF-D | NOS | 6 | 1470 | 401 | 0 | 2406 | 0 | FALSE |  |  | 0 | NULL
2.1.1.8 | 10559022710 | TAMPER SWITCH / SUPERVISORY SWITCH FOR OS&Y GATE VALVE WITH 1 SET SPDT CONTACT UL/FM | SHIELD | SD-SVS-OSY-1 | NOS | 6 | 167 | 46 | 0 | 276 | 0 | FALSE |  |  | 0 | NULL
2.1.1.9 | 11222508780 | Y-STRAINER 8" CLASS 150 BOTH FLANGED ENDS, 300 PSI WORKING UL/ULC APPROVED WITH LISTED - FLANGED X FLANGED SS304 SCREEN -SHIELD | SHIELD | SD-YS300FF-D | NOS | 1 | 1670 | 456 | 0 | 456 | 0 | FALSE |  |  | 0 | NULL
2.1.2 |  | ACCESSORIES RELATED TO MANIFOLD - 250 MM INLET & 2 OUTLET |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
2.1.2.1 | 11000108751 | OS&Y GATE VALVE 10" CLASS 125 FLANGED, 200 PSI WORKING UL/FM APPROVED | SHIELD | SD-OSY200FF-D | NOS | 1 | 2410 | 657 | 0 | 657 | 0 | FALSE |  |  | 0 | NULL
2.1.2.2 | 10559022710 | TAMPER SWITCH / SUPERVISORY SWITCH FOR OS&Y GATE VALVE WITH 1 SET SPDT CONTACT UL/FM | SHIELD | SD-SVS-OSY-1 | NOS | 1 | 167 | 46 | 0 | 46 | 0 | FALSE |  |  | 0 | NULL
2.1.2.3 | 11222508800 | Y-STRAINER 10" CLASS 150 BOTH FLANGED ENDS, 300 PSI WORKING UL/ULC APPROVED WITH LISTED - FLANGED X FLANGED SS304 SCREEN -SHIELD | SHIELD | SD-YS300FF-D | NOS | 1 | 2620 | 714 | 0 | 714 | 0 | FALSE |  |  | 0 | NULL
2.1.2.4 | 10558822125 | TEST AND DRAIN VALVE 1" NPT THREADED UL LISTED / FM APPROVED -SHIELD | SHIELD | SD-TDV50T | NOS | 1 | 177 | 49 | 0 | 49 | 0 | FALSE |  |  | 0 | NULL
2.1.3 |  | ELECTRICAL COMPONENTS |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
2.1.3.1 |  | EXTINGUISHING CONTROL PANEL (2) DETECTION ZONE (1) RELEASE AREA COMPLETE WITH: 24 VDC BACK-UP BATTERY | SHIELD | AX-T | SET | 2 | 3500 | 954 | 0 | 1908 | 0 | FALSE |  |  | 0 | NULL
3 |  | AREA 2 ZONE 1 & 2 - MAGASIN 01 @ BLOCK 01 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
3.1 |  | FOAM SYSTEM |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
3.1.1 |  | MECHANICAL COMPONENTS |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
3.1.1.1 | 10450515380 | 800 GALLON VERTICAL BLADDER TANK UL LISTED | NAFFCO | NF-VBT800 | SET | 1 | 46500 | 12671 | 0 | 12671 | 0 | FALSE |  |  | 0 | NULL
3.1.1.2 |  | 2% HIGH EXPANSION FOAM | NAFFCO | NF HEFC 2% | GAL | 792 | 34.065 | 10 | 0 | 7920 | 0 | FALSE |  |  | 0 | NULL
3.1.1.3 | 10451515782 | RATIO CONTROLLER 8" (200NB), WAFER TYPE (VENTURI), BRONZE CONSTRUCTION, MODEL: WRC-B - NAFFCO | NAFFCO | WRC-B | NOS | 2 | 4750 | 1295 | 0 | 2590 | 0 | FALSE |  |  | 0 | NULL
3.1.1.4 |  | WATER POWERED BALL VALVE 2" WITH VISUAL INDICATOR, SS FLANGED TO ANSI B 16.5 CLASS 150 RF, FM APPROVED | NAFFCO | NF-WPV | NOS | 2 | 4520 | 1232 | 0 | 2464 | 0 | FALSE |  |  | 0 | NULL
3.1.1.5 | 10457515500 | HIGH EXPANSION FOAM GENERATOR, FLOW: 110 - 175 GPM, 10000-22000 CFM, STAINLESS STEEL 316, RED PAINTED, MODEL: NFG 21000 - NAFFCO | NAFFCO | NFG 21000 | SET | 18 | 32500 | 8856 | 0 | 159408 | 0 | FALSE |  |  | 0 | NULL
3.1.1.6 |  | 8" DELUGE VALVE ASSEMBLY COMPLETE WITH: BASIC WET PILOT, ELECTRIC TRIM, 24V DC SOLENOID VALVE, MANUAL RELEASE STATION, WATER MOTOR ALARM GONG, PRESSURE SWITCH, PRESSURE GAUGE, MAIN DRAIN VALVE | SHIELD | DVH3 | SET | 2 | 7913 | 2157 | 0 | 4314 | 0 | FALSE |  |  | 0 | NULL
3.1.1.7 | 11000108701 | OS&Y GATE VALVE 8" CLASS 125 FLANGED, 200 PSI WORKING UL/FM APPROVED | SHIELD | SD-OSY200FF-D | NOS | 6 | 1470 | 401 | 0 | 2406 | 0 | FALSE |  |  | 0 | NULL
3.1.1.8 | 10559022710 | TAMPER SWITCH / SUPERVISORY SWITCH FOR OS&Y GATE VALVE WITH 1 SET SPDT CONTACT UL/FM | SHIELD | SD-SVS-OSY-1 | NOS | 6 | 167 | 46 | 0 | 276 | 0 | FALSE |  |  | 0 | NULL
3.1.1.9 | 11222508780 | Y-STRAINER 8" CLASS 150 BOTH FLANGED ENDS, 300 PSI WORKING UL/ULC APPROVED WITH LISTED - FLANGED X FLANGED SS304 SCREEN -SHIELD | SHIELD | SD-YS300FF-D | NOS | 1 | 1670 | 456 | 0 | 456 | 0 | FALSE |  |  | 0 | NULL
3.1.2 |  | ACCESSORIES RELATED TO MANIFOLD - 250 MM INLET & 2 OUTLET |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
3.1.2.1 | 11000108751 | OS&Y GATE VALVE 10" CLASS 125 FLANGED, 200 PSI WORKING UL/FM APPROVED | SHIELD | SD-OSY200FF-D | NOS | 1 | 2410 | 657 | 0 | 657 | 0 | FALSE |  |  | 0 | NULL
3.1.2.2 | 10559022710 | TAMPER SWITCH / SUPERVISORY SWITCH FOR OS&Y GATE VALVE WITH 1 SET SPDT CONTACT UL/FM | SHIELD | SD-SVS-OSY-1 | NOS | 1 | 167 | 46 | 0 | 46 | 0 | FALSE |  |  | 0 | NULL
3.1.2.3 | 11222508800 | Y-STRAINER 10" CLASS 150 BOTH FLANGED ENDS, 300 PSI WORKING UL/ULC APPROVED WITH LISTED - FLANGED X FLANGED SS304 SCREEN -SHIELD | SHIELD | SD-YS300FF-D | NOS | 1 | 2620 | 714 | 0 | 714 | 0 | FALSE |  |  | 0 | NULL
3.1.2.4 | 10558822125 | TEST AND DRAIN VALVE 1" NPT THREADED UL LISTED / FM APPROVED -SHIELD | SHIELD | SD-TDV50T | NOS | 1 | 177 | 49 | 0 | 49 | 0 | FALSE |  |  | 0 | NULL
3.1.3 |  | ELECTRICAL COMPONENTS |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
3.1.3.1 |  | EXTINGUISHING CONTROL PANEL (2) DETECTION ZONE (1) RELEASE AREA COMPLETE WITH: 24 VDC BACK-UP BATTERY | SHIELD | AX-T | SET | 2 | 3500 | 954 | 0 | 1908 | 0 | FALSE |  |  | 0 | NULL
4 |  | ZONE DE STOCKAGE 1 & 2 AND MAGASIN PRODUIT INFLAMMABLE @ MAGASIN DE STOCKAGE ET ADMINISTRATION |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
4.1 |  | FOAM SYSTEM |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
4.1.1 |  | MECHANICAL COMPONENTS |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
4.1.1.1 | 10450515410 | 1100 GALLON VERTICAL BLADDER TANK UL LISTED | NAFFCO | NF-VBT1100 | SET | 1 | 56600 | 15423 | 0 | 15423 | 0 | FALSE |  |  | 0 | NULL
4.1.1.2 |  | 2% HIGH EXPANSION FOAM | NAFFCO | NF HEFC 2% | GAL | 1056 | 34.065 | 10 | 0 | 10560 | 0 | FALSE |  |  | 0 | NULL
4.1.1.3 | 10451515742 | RATIO CONTROLLER 4" (100NB), WAFER TYPE (VENTURI), BRONZE CONSTRUCTION, MODEL: WRC-B - NAFFCO | NAFFCO | WRC-B | NOS | 1 | 2350 | 641 | 0 | 641 | 0 | FALSE |  |  | 0 | NULL
4.1.1.4 | 10451515782 | RATIO CONTROLLER 8" (200NB), WAFER TYPE (VENTURI), BRONZE CONSTRUCTION, MODEL: WRC-B - NAFFCO | NAFFCO | WRC-B | NOS | 1 | 4750 | 1295 | 0 | 1295 | 0 | FALSE |  |  | 0 | NULL
4.1.1.5 |  | WATER POWERED BALL VALVE 2" WITH VISUAL INDICATOR, SS FLANGED TO ANSI B 16.5 CLASS 150 RF, FM APPROVED | NAFFCO | NF-WPV | NOS | 2 | 4520 | 1232 | 0 | 2464 | 0 | FALSE |  |  | 0 | NULL
4.1.1.6 | 10457515500 | HIGH EXPANSION FOAM GENERATOR, FLOW: 110 - 175 GPM, 10000-22000 CFM, STAINLESS STEEL 316, RED PAINTED, MODEL: NFG 21000 - NAFFCO | NAFFCO | NFG 21000 | SET | 12 | 32500 | 8856 | 0 | 106272 | 0 | FALSE |  |  | 0 | NULL
4.1.1.7 |  | HIGH EXPANSION FOAM GENERATOR, FLOW: 69 - 98 GPM, 6000-10000 CFM, STAINLESS STEEL 316, RED PAINTED, MODEL: NFG 10000 - NAFFCO | NAFFCO | NFG 10000 | SET | 4 | 40000 | 10900 | 0 | 43600 | 0 | FALSE |  |  | 0 | NULL
4.1.1.8 |  | 8" DELUGE VALVE ASSEMBLY COMPLETE WITH: BASIC WET PILOT, ELECTRIC TRIM, 24V DC SOLENOID VALVE, MANUAL RELEASE STATION, WATER MOTOR ALARM GONG, PRESSURE SWITCH, PRESSURE GAUGE, MAIN DRAIN VALVE | SHIELD | DVH3 | SET | 1 | 7913 | 2157 | 0 | 2157 | 0 | FALSE |  |  | 0 | NULL
4.1.1.9 |  | 4" DELUGE VALVE ASSEMBLY COMPLETE WITH: BASIC WET PILOT, ELECTRIC TRIM, 24V DC SOLENOID VALVE, MANUAL RELEASE STATION, WATER MOTOR ALARM GONG, PRESSURE SWITCH, PRESSURE GAUGE, MAIN DRAIN VALVE | SHIELD | DVH3 | SET | 1 | 4519 | 1232 | 0 | 1232 | 0 | FALSE |  |  | 0 | NULL
4.1.1.10 | 11000108701 | OS&Y GATE VALVE 8" CLASS 125 FLANGED, 200 PSI WORKING UL/FM APPROVED | SHIELD | SD-OSY200FF-D | NOS | 3 | 1470 | 401 | 0 | 1203 | 0 | FALSE |  |  | 0 | NULL
4.1.1.11 | 11000108601 | OS&Y GATE VALVE 4" CLASS 125 FLANGED, 200 PSI WORKING UL/FM APPROVED | SHIELD | SD-OSY200FF-D | NOS | 3 | 610 | 167 | 0 | 501 | 0 | FALSE |  |  | 0 | NULL
4.1.1.12 | 10559022710 | TAMPER SWITCH / SUPERVISORY SWITCH FOR OS&Y GATE VALVE WITH 1 SET SPDT CONTACT UL/FM | SHIELD | SD-SVS-OSY-1 | NOS | 6 | 167 | 46 | 0 | 276 | 0 | FALSE |  |  | 0 | NULL
4.1.2 |  | ACCESSORIES RELATED TO MANIFOLD - 250 MM INLET & 2 OUTLET |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
4.1.2.1 | 11000108751 | OS&Y GATE VALVE 10" CLASS 125 FLANGED, 200 PSI WORKING UL/FM APPROVED | SHIELD | SD-OSY200FF-D | NOS | 1 | 2410 | 657 | 0 | 657 | 0 | FALSE |  |  | 0 | NULL
4.1.2.2 | 10559022710 | TAMPER SWITCH / SUPERVISORY SWITCH FOR OS&Y GATE VALVE WITH 1 SET SPDT CONTACT UL/FM | SHIELD | SD-SVS-OSY-1 | NOS | 1 | 167 | 46 | 0 | 46 | 0 | FALSE |  |  | 0 | NULL
4.1.2.3 | 11222508800 | Y-STRAINER 10" CLASS 150 BOTH FLANGED ENDS, 300 PSI WORKING UL/ULC APPROVED WITH LISTED - FLANGED X FLANGED SS304 SCREEN -SHIELD | SHIELD | SD-YS300FF-D | NOS | 1 | 2620 | 714 | 0 | 714 | 0 | FALSE |  |  | 0 | NULL
4.1.2.4 | 10558822125 | TEST AND DRAIN VALVE 1" NPT THREADED UL LISTED / FM APPROVED -SHIELD | SHIELD | SD-TDV50T | NOS | 1 | 177 | 49 | 0 | 49 | 0 | FALSE |  |  | 0 | NULL
4.1.3 |  | ELECTRICAL COMPONENTS |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
4.1.3.1 |  | EXTINGUISHING CONTROL PANEL (2) DETECTION ZONE (1) RELEASE AREA COMPLETE WITH: 24 VDC BACK-UP BATTERY | SHIELD | AX-T | SET | 2 | 3500 | 954 | 0 | 1908 | 0 | FALSE |  |  | 0 | NULL
5 |  | MAGASIN DE STOCKAGE @ NIVEAU RDC CONTROLE D ACCESS |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
5.1 |  | FOAM SYSTEM |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
5.1.1 |  | MECHANICAL COMPONENTS |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
5.1.1.1 | 10450515410 | 1100 GALLON VERTICAL BLADDER TANK UL LISTED | NAFFCO | NF-VBT1100 | SET | 1 | 56600 | 15423 | 0 | 15423 | 0 | FALSE |  |  | 0 | NULL
5.1.1.2 |  | 2% HIGH EXPANSION FOAM | NAFFCO | NF HEFC 2% | GAL | 1056 | 34.065 | 10 | 0 | 10560 | 0 | FALSE |  |  | 0 | NULL
5.1.1.3 | 10451515782 | RATIO CONTROLLER 8" (200NB), WAFER TYPE (VENTURI), BRONZE CONSTRUCTION, MODEL: WRC-B - NAFFCO | NAFFCO | WRC-B | NOS | 1 | 4750 | 1295 | 0 | 1295 | 0 | FALSE |  |  | 0 | NULL
5.1.1.4 |  | WATER POWERED BALL VALVE 2" WITH VISUAL INDICATOR, SS FLANGED TO ANSI B 16.5 CLASS 150 RF, FM APPROVED | NAFFCO | NF-WPV | NOS | 1 | 4520 | 1232 | 0 | 1232 | 0 | FALSE |  |  | 0 | NULL
5.1.1.5 | 10457515500 | HIGH EXPANSION FOAM GENERATOR, FLOW: 110 - 175 GPM, 10000-22000 CFM, STAINLESS STEEL 316, RED PAINTED, MODEL: NFG 21000 - NAFFCO | NAFFCO | NFG 21000 | SET | 12 | 32500 | 8856 | 0 | 106272 | 0 | FALSE |  |  | 0 | NULL
5.1.1.6 |  | 8" DELUGE VALVE ASSEMBLY COMPLETE WITH: BASIC WET PILOT, ELECTRIC TRIM, 24V DC SOLENOID VALVE, MANUAL RELEASE STATION, WATER MOTOR ALARM GONG, PRESSURE SWITCH, PRESSURE GAUGE, MAIN DRAIN VALVE | SHIELD | DVH3 | SET | 1 | 7913 | 2157 | 0 | 2157 | 0 | FALSE |  |  | 0 | NULL
5.1.1.7 | 11000108701 | OS&Y GATE VALVE 8" CLASS 125 FLANGED, 200 PSI WORKING UL/FM APPROVED | SHIELD | SD-OSY200FF-D | NOS | 3 | 1470 | 401 | 0 | 1203 | 0 | FALSE |  |  | 0 | NULL
5.1.1.8 | 10559022710 | TAMPER SWITCH / SUPERVISORY SWITCH FOR OS&Y GATE VALVE WITH 1 SET SPDT CONTACT UL/FM | SHIELD | SD-SVS-OSY-1 | NOS | 3 | 167 | 46 | 0 | 138 | 0 | FALSE |  |  | 0 | NULL
5.1.1.9 | 11222508780 | Y-STRAINER 8" CLASS 150 BOTH FLANGED ENDS, 300 PSI WORKING UL/ULC APPROVED WITH LISTED - FLANGED X FLANGED SS304 SCREEN -SHIELD | SHIELD | SD-YS300FF-D | NOS | 1 | 1670 | 456 | 0 | 456 | 0 | FALSE |  |  | 0 | NULL
5.1.2 |  | ELECTRICAL COMPONENTS |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
5.1.2.1 |  | EXTINGUISHING CONTROL PANEL (2) DETECTION ZONE (1) RELEASE AREA COMPLETE WITH: 24 VDC BACK-UP BATTERY | SHIELD | AX-T | SET | 1 | 3500 | 954 | 0 | 954 | 0 | FALSE |  |  | 0 | NULL
6 |  | MAGASIN - 2335 SQM |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
6.1 |  | FOAM SYSTEM |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
6.1.1 |  | MECHANICAL COMPONENTS |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
6.1.1.1 | 10450515410 | 1100 GALLON VERTICAL BLADDER TANK UL LISTED | NAFFCO | NF-VBT1100 | SET | 1 | 56600 | 15423 | 0 | 15423 | 0 | FALSE |  |  | 0 | NULL
6.1.1.2 |  | 2% HIGH EXPANSION FOAM | NAFFCO | NF HEFC 2% | GAL | 1056 | 34.065 | 10 | 0 | 10560 | 0 | FALSE |  |  | 0 | NULL
6.1.1.3 | 10451515782 | RATIO CONTROLLER 8" (200NB), WAFER TYPE (VENTURI), BRONZE CONSTRUCTION, MODEL: WRC-B - NAFFCO | NAFFCO | WRC-B | NOS | 1 | 4750 | 1295 | 0 | 1295 | 0 | FALSE |  |  | 0 | NULL
6.1.1.4 |  | WATER POWERED BALL VALVE 2" WITH VISUAL INDICATOR, SS FLANGED TO ANSI B 16.5 CLASS 150 RF, FM APPROVED | NAFFCO | NF-WPV | NOS | 1 | 4520 | 1232 | 0 | 1232 | 0 | FALSE |  |  | 0 | NULL
6.1.1.5 | 10457515500 | HIGH EXPANSION FOAM GENERATOR, FLOW: 110 - 175 GPM, 10000-22000 CFM, STAINLESS STEEL 316, RED PAINTED, MODEL: NFG 21000 - NAFFCO | NAFFCO | NFG 21000 | SET | 12 | 32500 | 8856 | 0 | 106272 | 0 | FALSE |  |  | 0 | NULL
6.1.1.6 |  | 8" DELUGE VALVE ASSEMBLY COMPLETE WITH: BASIC WET PILOT, ELECTRIC TRIM, 24V DC SOLENOID VALVE, MANUAL RELEASE STATION, WATER MOTOR ALARM GONG, PRESSURE SWITCH, PRESSURE GAUGE, MAIN DRAIN VALVE | SHIELD | DVH3 | SET | 1 | 7913 | 2157 | 0 | 2157 | 0 | FALSE |  |  | 0 | NULL
6.1.1.7 | 11000108701 | OS&Y GATE VALVE 8" CLASS 125 FLANGED, 200 PSI WORKING UL/FM APPROVED | SHIELD | SD-OSY200FF-D | NOS | 3 | 1470 | 401 | 0 | 1203 | 0 | FALSE |  |  | 0 | NULL
6.1.1.8 | 10559022710 | TAMPER SWITCH / SUPERVISORY SWITCH FOR OS&Y GATE VALVE WITH 1 SET SPDT CONTACT UL/FM | SHIELD | SD-SVS-OSY-1 | NOS | 3 | 167 | 46 | 0 | 138 | 0 | FALSE |  |  | 0 | NULL
6.1.1.9 | 11222508780 | Y-STRAINER 8" CLASS 150 BOTH FLANGED ENDS, 300 PSI WORKING UL/ULC APPROVED WITH LISTED - FLANGED X FLANGED SS304 SCREEN -SHIELD | SHIELD | SD-YS300FF-D | NOS | 1 | 1670 | 456 | 0 | 456 | 0 | FALSE |  |  | 0 | NULL
6.1.2 |  | ELECTRICAL COMPONENTS |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
6.1.2.1 |  | EXTINGUISHING CONTROL PANEL (2) DETECTION ZONE (1) RELEASE AREA COMPLETE WITH: 24 VDC BACK-UP BATTERY | SHIELD | AX-T | SET | 1 | 3500 | 954 | 0 | 954 | 0 | FALSE |  |  | 0 | NULL
7 |  | MAGASIN - 690 SQM |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
7.1 |  | FOAM SYSTEM |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
7.1.1 |  | MECHANICAL COMPONENTS |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
7.1.1.1 | 10450515340 | 400 GALLON VERTICAL BLADDER TANK UL LISTED | NAFFCO | NF-VBT400 | SET | 1 | 32600 | 8883 | 0 | 8883 | 0 | FALSE |  |  | 0 | NULL
7.1.1.2 |  | 2% HIGH EXPANSION FOAM | NAFFCO | NF HEFC 2% | GAL | 352 | 34.065 | 10 | 0 | 3520 | 0 | FALSE |  |  | 0 | NULL
7.1.1.3 | 10451515762 | RATIO CONTROLLER 6" (150NB), WAFER TYPE (VENTURI), BRONZE CONSTRUCTION, MODEL: WRC-B - NAFFCO | NAFFCO | WRC-B | NOS | 1 | 3200 | 872 | 0 | 872 | 0 | FALSE |  |  | 0 | NULL
7.1.1.4 |  | WATER POWERED BALL VALVE 2" WITH VISUAL INDICATOR, SS FLANGED TO ANSI B 16.5 CLASS 150 RF, FM APPROVED | NAFFCO | NF-WPV | NOS | 1 | 4520 | 1232 | 0 | 1232 | 0 | FALSE |  |  | 0 | NULL
7.1.1.5 | 10457515500 | HIGH EXPANSION FOAM GENERATOR, FLOW: 110 - 175 GPM, 10000-22000 CFM, STAINLESS STEEL 316, RED PAINTED, MODEL: NFG 21000 - NAFFCO | NAFFCO | NFG 21000 | SET | 4 | 32500 | 8856 | 0 | 35424 | 0 | FALSE |  |  | 0 | NULL
7.1.1.6 |  | 6" DELUGE VALVE ASSEMBLY COMPLETE WITH: BASIC WET PILOT, ELECTRIC TRIM, 24V DC SOLENOID VALVE, MANUAL RELEASE STATION, WATER MOTOR ALARM GONG, PRESSURE SWITCH, PRESSURE GAUGE, MAIN DRAIN VALVE | SHIELD | DVH3 | SET | 1 | 5813 | 1584 | 0 | 1584 | 0 | FALSE |  |  | 0 | NULL
7.1.1.7 | 11000108651 | OS&Y GATE VALVE 6" CLASS 125 FLANGED, 200 PSI WORKING UL/FM APPROVED | SHIELD | SD-OSY200FF-D | NOS | 3 | 920 | 251 | 0 | 753 | 0 | FALSE |  |  | 0 | NULL
7.1.1.8 | 10559022710 | TAMPER SWITCH / SUPERVISORY SWITCH FOR OS&Y GATE VALVE WITH 1 SET SPDT CONTACT UL/FM | SHIELD | SD-SVS-OSY-1 | NOS | 3 | 167 | 46 | 0 | 138 | 0 | FALSE |  |  | 0 | NULL
7.1.1.9 | 11222508760 | Y-STRAINER 6" CLASS 150 BOTH FLANGED ENDS, 300 PSI WORKING UL/ULC APPROVED WITH LISTED - FLANGED X FLANGED SS304 SCREEN -SHIELD | SHIELD | SD-YS300FF-D | NOS | 1 | 980 | 268 | 0 | 268 | 0 | FALSE |  |  | 0 | NULL
7.1.2 |  | ELECTRICAL COMPONENTS |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
7.1.2.1 |  | EXTINGUISHING CONTROL PANEL (2) DETECTION ZONE (1) RELEASE AREA COMPLETE WITH: 24 VDC BACK-UP BATTERY | SHIELD | AX-T | SET | 1 | 3500 | 954 | 0 | 954 | 0 | FALSE |  |  | 0 | NULL
1053454