## VOCO
SLNO | ItemCode | ItemName | Brand | Model | UOM | Qty | UnitPriceAED | UnitPrice | Margin | Amount | Unitweight | Optional | COO | DeliveryStatus | CRMProductId | CRMProduct
1 | 11140108065 | 2-1/2" BALL VALVE, BSP DOUBLE FEMALE THREADED, BRASS NICKEL PLATED, MODEL: SD-BVLT90 - SHIELD. | SHIELD | SDBLVT90 | pcs | 2 | 131 | 36 | 0 | 72 | 0 | FALSE |  |  | 0 | NULL
2 |  | FIRE HYDRANT CABINET, SELF-STANDING, COMPLETE MILD STEEL, POWDER COATED (AS PER ATTACHED PROPOSED DRAWING) | NAFFCO | CUSTOM MADE | pcs | 2 | 450 | 123 | 0 | 246 | 0 | FALSE |  |  | 0 | NULL
3 | 10802512530 | FIRE HOSE 2-1/2" X 30 MTR, RED COLOUR CONFORMING TO ANSI/UL 19, UL LISTED, MODEL: DURALEX-65 WITH KITEMARKED GUNMETAL COUPLING - NAFFCO | NAFFCO | DURALEX65 | pcs | 4 | 915 | 250 | 0 | 1000 | 0 | FALSE |  |  | 0 | NULL
4 | 10943008540 | SELECTABLE GALLONAGE NOZZLE 1-1/2" WITH 2-1/2" BS 336 MALE INSTANTANEOUS INLET, SELECTABLE MULTI FLOW RANGE: 115-225-355-475 LPM AT 7 BAR, UL LISTED, MODEL: SD-PFN40 - SHIELD | SHIELD | SD-PFN40 | pcs | 2 | 908 | 248 | 0 | 496 | 0 | FALSE |  |  | 0 | NULL
5 | 11202008067 | ANGLE HOSE VALVE 2-1/2" NST DOUBLE FEMALE- BRASS, CHROME FINISH - UL /FM APPROVED | SHIELD | SHIELD-AV | pcs | 4 | 215 | 59 | 0 | 236 | 0 | FALSE |  |  | 0 | NULL
6 | 10885875563 | ADAPTOR 2 1/2" NPT 11 PITCH 8 MALE THREADED X 2 1/2" FEMALE INSTANTANEOUS MORRIS ALUMINIUM-CHROME FINISH WITH PVC BLACK CAP AND CHAIN, MODEL: NA-FQCMT (NFMIS009A) - NAFFCO | NAFFCO | NA-FQCMT (NFMIS009A) | pcs | 4 | 50 | 14 | 0 | 56 | 0 | FALSE |  |  | 0 | NULL
7 |  | FOAM CABINET, SELF-STANDING, COMPLETE MILD STEEL COMPLETE WITH ALL ACCESSORIES AS PER THE ATTACHED DRAWING: | NAFFCO | CUSTOM MADE | SET | 5 | 7000 | 1908 | 0 | 9540 | 0 | FALSE |  |  | 0 | NULL
7.1 | 10802512530 | FIRE HOSE 2-1/2" X 30 MTR, RED COLOUR CONFORMING TO ANSI/UL 19, UL LISTED, MODEL: DURALEX-65 WITH KITEMARKED GUNMETAL COUPLING - NAFFCO (2 NOS / SET) | NAFFCO | DURALEX65 |  |  |  |  | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
7.2 |  | FOAM BRANCH PIPE WITH INSTANTANEOUS ADAPTOR - NAFFCO, NF-17PS (1 NO / SET) | NAFFCO | NF-17PS |  |  |  |  | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
7.3 |  | FOAM INDUCTOR - AWG, Z4R (1 NO / SET) | AWG | Z4R |  |  |  |  | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
7.4 |  | 2" GATE VALVE - SHIELD, SD-157 (1 NO / SET) | SHIELD | SD-157 |  |  |  |  | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
7.5 |  | 20 L FOAM CONCENTRATE (AFFF 3%) (2 CONTAINERS / SET) | [6 empty] | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
11646