## PIPES
SLNO | ItemCode | ItemName | Brand | Model | UOM | Qty | UnitPriceAED | UnitPrice | Margin | Amount | Unitweight | Optional | COO | DeliveryStatus | CRMProductId | CRMProduct
1 |  | PIPES - SHIELD |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.1 |  | CON-MTO-ME-002_PLUMING MTO - PLUMBING SYSTEM |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.1.1 |  | 2-1/2" ERW Galvanized Pipe, PLAIN Ends, Conforming to ASTM A-53, Grade B, Sch-40, 5.8 Mtr Length, UL Listed - SHIELD | SHIELD |  | Pcs | 6 | 204.32 | 55.673 | 0 | 334.0381 | 0 | FALSE |  |  | 0 | NULL
1.1.2 |  | 2" ERW Galvanized Pipe, PLAIN Ends, Conforming to ASTM A-53, Grade B, Sch-40, 5.8 Mtr Length, UL Listed - SHIELD | SHIELD |  | Pcs | 6 | 128.8 | 35.0954 | 0 | 210.5722 | 0 | FALSE |  |  | 0 | NULL
1.1.3 |  | 1-1/2" ERW Galvanized Pipe, PLAIN Ends, Conforming to ASTM A-53, Grade B, Sch-40, 5.8 Mtr Length, UL Listed - SHIELD | SHIELD |  | Pcs | 13 | 95.88 | 26.1253 | 0 | 339.6294 | 0 | FALSE |  |  | 0 | NULL
1.1.4 |  | 1" ERW Galvanized Pipe, PLAIN Ends, Conforming to ASTM A-53, Grade B, Sch-40, 5.8 Mtr Length, UL Listed - SHIELD | SHIELD |  | Pcs | 18 | 59.59 | 16.2371 | 0 | 292.267 | 0 | FALSE |  |  | 0 | NULL
1.1.5 |  | 3/4" ERW Galvanized Pipe, PLAIN Ends, Conforming to ASTM A-53, Grade B, Sch-40, 5.8 Mtr Length, UL Listed- SHIELD | SHIELD |  | Pcs | 55 | 46.02 | 12.5395 | 0 | 689.673 | 0 | FALSE |  |  | 0 | NULL
1.1.6 |  | 1/2" ERW Galvanized Pipe, PLAIN Ends Conforming to ASTM A-53, Grade B, Sch-40, 5.8 Mtr Length, UL Listed - SHIELD | SHIELD |  | Pcs | 69 | 33.63 | 9.1635 | 0 | 632.2807 | 0 | FALSE |  |  | 0 | NULL
1.2 |  | CON-MTO-ME-001_FIRE FIGHTING SYSTEM-MTO_REV-A - BM FOR UG PIPING |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.2.1 |  | HDPE Pipe 250mm, SDR 9, PN 20, ISO 4427, FM Approved, 6 & 11.8 Mtr Long - SHIELD | SHIELD |  | Mtrs | 1044.4 | 113.29 | 30.8692 | 0 | 32239.8027 | 0 | FALSE |  |  | 0 | NULL
1.2.2 |  | HDPE Pipe 200mm, SDR 9, PN 20, ISO 4427, FM Approved, 6 Mtr Long - SHIELD | SHIELD |  | Mtrs | 102 | 72.83 | 19.8447 | 0 | 2024.158 | 0 | FALSE |  |  | 0 | NULL
1.2.3 |  | HDPE Pipe 160mm, SDR 9, PN 20, ISO 4427, FM Approved, 6 & 11.8 Mtr Long - SHIELD | SHIELD |  | Mtrs | 194.8 | 46.55 | 12.6839 | 0 | 2470.8283 | 0 | FALSE |  |  | 0 | NULL
1.3 |  | CON-MTO-ME-001_FIRE FIGHTING SYSTEM-MTO_REV-A - BM FOR AG PIPING |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.3.1 |  | 10" ERW Galvanized Pipe, PLAIN Ends, Conforming to ASTM A-53, Grade B, Sch-40, 5.8 Mtr Length, UL Listed - SHIELD | SHIELD |  | Pcs | 20 | 1572.35 | 428.4332 | 0 | 8568.6649 | 0 | FALSE |  |  | 0 | NULL
1.3.2 |  | 8" ERW Galvanized Pipe, PLAIN Ends, Conforming to ASTM A-53, Grade B, Sch-40, 5.8 Mtr Length, UL Listed - SHIELD | SHIELD |  | Pcs | 10 | 1103.3 | 300.6267 | 0 | 3006.267 | 0 | FALSE |  |  | 0 | NULL
1.3.3 |  | 6" ERW Galvanized Pipe, PLAIN Ends, Conforming to ASTM A-53, Grade B, Sch-40, 5.8 Mtr Length, UL Listed - SHIELD | SHIELD |  | Pcs | 27 | 666.7 | 181.6621 | 0 | 4904.8774 | 0 | FALSE |  |  | 0 | NULL
1.3.4 |  | 4" ERW Galvanized Pipe, PLAIN Ends, Conforming to ASTM A-53, Grade B, Sch-40, 5.8 Mtr Length, UL Listed - SHIELD | SHIELD |  | Pcs | 50 | 380.55 | 103.6921 | 0 | 5184.6049 | 0 | FALSE |  |  | 0 | NULL
1.3.5 |  | 3" ERW Galvanized Pipe, PLAIN Ends, Conforming to ASTM A-53, Grade B, Sch-40, 5.8 Mtr Length, UL Listed - SHIELD | SHIELD |  | Pcs | 44 | 267.27 | 72.8256 | 0 | 3204.327 | 0 | FALSE |  |  | 0 | NULL
1.3.6 |  | 2-1/2" ERW Galvanized Pipe, PLAIN Ends, Conforming to ASTM A-53, Grade B, Sch-40, 5.8 Mtr Length, UL Listed - SHIELD | SHIELD |  | Pcs | 14 | 204.32 | 55.673 | 0 | 779.4223 | 0 | FALSE |  |  | 0 | NULL
1.3.7 |  | G.I. Seamless Pipe 2", Plain End as per ASTM A53, Grade B, Sch-80, UL Listed, 5.8 Mtr Long - SHIELD | SHIELD |  | Pcs | 32 | 355.73 | 96.9292 | 0 | 3101.733 | 0 | FALSE |  |  | 0 | NULL
1.3.8 |  | G.I. Seamless Pipe 1-1/2", Plain End as per ASTM A53, Grade B, Sch-80, UL Listed, 5.8 Mtr Long - SHIELD | SHIELD |  | Pcs | 77 | 267.37 | 72.8529 | 0 | 5609.6703 | 0 | FALSE |  |  | 0 | NULL
1.3.9 |  | G.I. Seamless Pipe 1", Plain End as per ASTM A53, Grade B, Sch-80, UL Listed, 5.8 Mtr Long - SHIELD | SHIELD |  | Pcs | 164 | 166.39 | 45.3379 | 0 | 7435.4114 | 0 | FALSE |  |  | 0 | NULL
1.4 |  | CON-MTO-ME-002_HVAC MTO - PLUMBING SYSTEM |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.4.1 |  | 2-1/2" ERW Galvanized Pipe, PLAIN Ends, Conforming to ASTM A-53, Grade B, Sch-40, 5.8 Mtr Length, UL Listed - SHIELD | SHIELD |  | Pcs | 6 | 204.32 | 55.673 | 0 | 334.0381 | 0 | FALSE |  |  | 0 | NULL
1.4.2 |  | 2" ERW Galvanized Pipe, PLAIN Ends, Conforming to ASTM A-53, Grade B, Sch-40, 5.8 Mtr Length, UL Listed - SHIELD | SHIELD |  | Pcs | 6 | 128.8 | 35.0954 | 0 | 210.5722 | 0 | FALSE |  |  | 0 | NULL
1.4.3 |  | 1-1/2" ERW Galvanized Pipe, PLAIN Ends, Conforming to ASTM A-53, Grade B, Sch-40, 5.8 Mtr Length, UL Listed - SHIELD | SHIELD |  | Pcs | 13 | 95.88 | 26.1253 | 0 | 339.6294 | 0 | FALSE |  |  | 0 | NULL
1.4.4 |  | 1" ERW Galvanized Pipe, PLAIN Ends, Conforming to ASTM A-53, Grade B, Sch-40, 5.8 Mtr Length, UL Listed - SHIELD | SHIELD |  | Pcs | 18 | 59.59 | 16.2371 | 0 | 292.267 | 0 | FALSE |  |  | 0 | NULL
1.4.5 |  | 3/4" ERW Galvanized Pipe, PLAIN Ends, Conforming to ASTM A-53, Grade B, Sch-40, 5.8 Mtr Length, UL Listed- SHIELD | SHIELD |  | Pcs | 55 | 46.02 | 12.5395 | 0 | 689.673 | 0 | FALSE |  |  | 0 | NULL
1.4.6 |  | 1/2" ERW Galvanized Pipe, PLAIN Ends Conforming to ASTM A-53, Grade B, Sch-40, 5.8 Mtr Length, UL Listed - SHIELD | SHIELD |  | Pcs | 69 | 33.63 | 9.1635 | 0 | 632.2807 | 0 | FALSE |  |  | 0 | NULL
2 |  | FITTINGS - SHIELD |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
2.1 |  | CON-MTO-ME-001_FIRE FIGHTING SYSTEM-MTO_REV-A - BM FOR UG PIPING |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
2.1.1 |  | HDPE Molded 90 Deg. Elbow 250mm, SDR 9, PE 100, PN-20, Butt Fusion, FM Approved - Shield | SHIELD |  | Pcs | 9 | 456 | 124.2507 | 0 | 1118.2561 | 0 | FALSE |  |  | 0 | NULL
2.1.2 |  | HDPE Molded 90 Deg. Elbow 200mm, SDR 9, PE 100, PN-20, Butt Fusion, FM Approved - Shield | SHIELD |  | Pcs | 9 | 311 | 84.7411 | 0 | 762.6703 | 0 | FALSE |  |  | 0 | NULL
2.1.3 |  | HDPE Molded 90 Deg. Elbow 160mm, SDR 9, PE 100, PN-20, Butt Fusion, FM Approved - Shield | SHIELD |  | Pcs | 17 | 212 | 57.7657 | 0 | 982.0163 | 0 | FALSE |  |  | 0 | NULL
2.1.4 |  | HDPE Molded Equal Tee 250mm, SDR 9, PE 100, PN-20, Butt Fusion, FM Approved - Shield | SHIELD |  | Pcs | 7 | 524 | 142.7793 | 0 | 999.455 | 0 | FALSE |  |  | 0 | NULL
2.1.5 |  | HDPE Reducer Tee 250 x 200mm, SDR 9, PE 100, PN20, Butt Fusion - Shield [Combination of Equal Tee 250mm & Conc. Reducer 250x200mm] | SHIELD |  | Pcs | 9 | 812 | 221.2534 | 0 | 1991.2807 | 0 | FALSE |  |  | 0 | NULL
2.1.6 |  | HDPE Reducer Tee 250 x 160mm, SDR 9, PE 100, PN20, Butt Fusion - Shield [Combination of Equal Tee 250mm & Conc. Reducer 250x160mm] | SHIELD |  | Pcs | 17 | 812 | 221.2534 | 0 | 3761.3079 | 0 | FALSE |  |  | 0 | NULL
2.1.7 |  | HDPE Flange Adaptor 250mm, SDR9, PE 100, PN-20, B/F, FM Approved - Shield with ANSI 150 G.I Back Ring - Shield & EPDM Rubber Gasket 3mm Thickness | SHIELD |  | Pcs | 30 | 730 | 198.9101 | 0 | 5967.3025 | 0 | FALSE |  |  | 0 | NULL
2.1.8 |  | HDPE Flange Adaptor 200mm, SDR9, PE 100, PN-20, B/F, FM Approved - Shield with ANSI 150 G.I Back Ring - Shield & EPDM Rubber Gasket 3mm Thickness | SHIELD |  | Pcs | 6 | 411 | 111.9891 | 0 | 671.9346 | 0 | FALSE |  |  | 0 | NULL
2.1.9 |  | HDPE Flange Adaptor 160mm, SDR9, PE 100, PN-20, B/F, FM Approved - Shield with ANSI 150 G.I Back Ring - Shield & EPDM Rubber Gasket 3mm Thickness | SHIELD |  | Pcs | 16 | 310 | 84.4687 | 0 | 1351.4986 | 0 | FALSE |  |  | 0 | NULL
2.2 |  | CON-MTO-ME-001_FIRE FIGHTING SYSTEM-MTO_REV-A - BM FOR AG PIPING | SHIELD |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
2.2.1 |  | Grooved Elbow 90 Deg 10", Ductile Iron, Mod. SDG-100, G.I - SHIELD | SHIELD |  | Pcs | 36 | 501 | 136.5123 | 0 | 4914.4414 | 0 | FALSE |  |  | 0 | NULL
2.2.2 |  | Grooved Elbow 90 Deg. 6", Ductile Iron, "S" Type, Mod. SDG-105, G.I - SHIELD | SHIELD |  | Pcs | 61 | 90.09 | 24.5477 | 0 | 1497.4087 | 0 | FALSE |  |  | 0 | NULL
2.2.3 |  | Grooved Elbow 90 Deg. 4", Ductile Iron, "S" Type, Mod. SDG-105, G.I - SHIELD | SHIELD |  | Pcs | 118 | 33.03 | 9 | 0 | 1062 | 0 | FALSE |  |  | 0 | NULL
2.2.4 |  | Grooved Elbow 90 Deg. 3", Ductile Iron, "S" Type, Mod. SDG-105, G.I - SHIELD | SHIELD |  | Pcs | 99 | 23.02 | 6.2725 | 0 | 620.9755 | 0 | FALSE |  |  | 0 | NULL
2.2.5 |  | Grooved Elbow 90 Deg 2 1/2", Ductile Iron, "S" Type, Mod. SDG-105, G.I - SHIELD | SHIELD |  | Pcs | 29 | 17.02 | 4.6376 | 0 | 134.4905 | 0 | FALSE |  |  | 0 | NULL
2.2.6 |  | Grooved Tee 10", Ductile Iron, Mod. SDG-12, G.I - SHIELD | SHIELD |  | Pcs | 3 | 801.6 | 218.4196 | 0 | 655.2589 | 0 | FALSE |  |  | 0 | NULL
2.2.7 |  | Grooved Tee 6", Ductile Iron, "S" Type, Mod. SDG-102, G.I - SHIELD | SHIELD |  | Pcs | 17 | 135.14 | 36.8229 | 0 | 625.9891 | 0 | FALSE |  |  | 0 | NULL
2.2.8 |  | Grooved Tee 4", Ductile Iron, "S" Type, Mod. SDG-102, G.I - SHIELD | SHIELD |  | Pcs | 31 | 48.04 | 13.0899 | 0 | 405.7875 | 0 | FALSE |  |  | 0 | NULL
2.2.9 |  | Grooved Tee 3", Ductile Iron, "S" Type, Mod. SDG-102, G.I - SHIELD | SHIELD |  | Pcs | 17 | 34.03 | 9.2725 | 0 | 157.6322 | 0 | FALSE |  |  | 0 | NULL
2.2.10 |  | Grooved Tee 2-1/2", Ductile Iron, "S" Type, Mod. SDG-102, G.I - SHIELD | SHIELD |  | Pcs | 1 | 25.03 | 6.8202 | 0 | 6.8202 | 0 | FALSE |  |  | 0 | NULL
2.2.11 |  | Grooved Reducing Tee 10" x 6", Ductile Iron, Mod. SDG-53, G.I - SHIELD | SHIELD |  | Pcs | 26 | 650.65 | 177.2888 | 0 | 4609.5095 | 0 | FALSE |  |  | 0 | NULL
2.2.12 |  | Grooved Reducing Tee 10" x 6", Ductile Iron, Mod. SDG-53, G.I - SHIELD | SHIELD |  | Pcs | 9 | 650.65 | 177.2888 | 0 | 1595.5995 | 0 | FALSE |  |  | 0 | NULL
2.2.13 |  | Grooved Coupling 6", Ductile Iron, Mod. SDG-22, G.I - SHIELD | SHIELD |  | Pcs | 9 | 41.04 | 11.1826 | 0 | 100.6431 | 0 | FALSE |  |  | 0 | NULL
2.2.14 |  | Grooved Concentric Reducer 6" x 4", Ductile Iron, Mod. SDG-35, G.I - SHIELD | SHIELD |  | Pcs | 9 | 68.07 | 18.5477 | 0 | 166.9292 | 0 | FALSE |  |  | 0 | NULL
2.2.15 |  | Grooved Reducing Tee 6" x 4", Ductile Iron, Mod. SDG-53, G.I - SHIELD | SHIELD |  | Pcs | 4 | 152.15 | 41.4578 | 0 | 165.8311 | 0 | FALSE |  |  | 0 | NULL
2.2.16 |  | Grooved Reducing Tee 6" x 3", Ductile Iron, Mod. SDG-53, G.I - SHIELD | SHIELD |  | Pcs | 4 | 152.15 | 41.4578 | 0 | 165.8311 | 0 | FALSE |  |  | 0 | NULL
2.2.17 |  | Grooved Reducing Tee 4" x 3", Ductile Iron, Mod. SDG-53, G.I - SHIELD | SHIELD |  | Pcs | 14 | 58.06 | 15.8202 | 0 | 221.4823 | 0 | FALSE |  |  | 0 | NULL
2.2.18 |  | Grooved Reducing Tee 2 1/2" x 2", Ductile Iron, Mod. SDG-53, G.I - SHIELD | SHIELD |  | Pcs | 2 | 41.04 | 11.1826 | 0 | 22.3651 | 0 | FALSE |  |  | 0 | NULL
2.2.19 |  | Grooved Reducing Tee 10" x 6", Ductile Iron, Mod. SDG-53, G.I - SHIELD | SHIELD |  | Pcs | 6 | 650.65 | 177.2888 | 0 | 1063.733 | 0 | FALSE |  |  | 0 | NULL
2.2.20 |  | Grooved Coupling 10", Ductile Iron, Mod. SDG-22, G.I - SHIELD | SHIELD |  | Pcs | 12 | 180.18 | 49.0954 | 0 | 589.1444 | 0 | FALSE |  |  | 0 | NULL
2.2.21 |  | Grooved Reducer Coupling 6" x 3", Ductile Iron, Mod. SDG-30, G.I - SHIELD | SHIELD |  | Pcs | 6 | 82.08 | 22.3651 | 0 | 134.1907 | 0 | FALSE |  |  | 0 | NULL
2.2.22 |  | Grooved Concentric Reducer 3 x 1", Threaded, Ductile Iron, Mod. SDG-37, G.I - SHIELD | SHIELD |  | Pcs | 6 | 37.04 | 10.0926 | 0 | 60.5559 | 0 | FALSE |  |  | 0 | NULL
2.2.23 |  | Grooved Mechanical Tee 6" x 2", BS Threaded, Ductile Iron, Mod. SDG-42, G.I - SHIELD | SHIELD |  | Pcs | 8 | 53.05 | 14.455 | 0 | 115.6403 | 0 | FALSE |  |  | 0 | NULL
2.2.24 |  | Grooved Mechanical Tee 6" x 1", BS Threaded, Ductile Iron, Mod. SDG-42, G.I - SHIELD | SHIELD |  | Pcs | 3 | 52.05 | 14.1826 | 0 | 42.5477 | 0 | FALSE |  |  | 0 | NULL
2.2.25 |  | Grooved Mechanical Tee 4" x 2", BS Threaded, Ductile Iron, Mod. SDG-42, G.I - SHIELD | SHIELD |  | Pcs | 14 | 38.04 | 10.3651 | 0 | 145.1117 | 0 | FALSE |  |  | 0 | NULL
2.2.26 |  | Grooved Mechanical Tee 4" x 1", BS Threaded, Ductile Iron, Mod. SDG-42, G.I - SHIELD | SHIELD |  | Pcs | 444 | 38.04 | 10.3651 | 0 | 4602.1144 | 0 | FALSE |  |  | 0 | NULL
2.2.27 |  | Grooved Mechanical Tee 3" x 2", BS Threaded, Ductile Iron, Mod. SDG-42, G.I - SHIELD | SHIELD |  | Pcs | 11 | 34.03 | 9.2725 | 0 | 101.9973 | 0 | FALSE |  |  | 0 | NULL
2.2.28 |  | Grooved Mechanical Tee 3" x 11/2", BS Threaded, Ductile Iron, Mod. SDG-42, G.I - SHIELD | SHIELD |  | Pcs | 124 | 33.03 | 9 | 0 | 1116 | 0 | FALSE |  |  | 0 | NULL
2.2.29 |  | Grooved Mechanical Tee 3" x 1", BS Threaded, Ductile Iron, Mod. SDG-42, G.I - SHIELD | SHIELD |  | Pcs | 119 | 33.03 | 9 | 0 | 1071 | 0 | FALSE |  |  | 0 | NULL
2.2.30 |  | Grooved Mechanical Tee 2-1/2" x 1-1/2", BS Threaded, Ductile Iron, Mod. SDG-42, G.I - SHIELD | SHIELD |  | Pcs | 4 | 25.03 | 6.8202 | 0 | 27.2807 | 0 | FALSE |  |  | 0 | NULL
2.2.31 |  | Grooved Mechanical Tee 2 1/2" x 1", BS Threaded, Ductile Iron, Mod. SDG-42, G.I - SHIELD | SHIELD |  | Pcs | 78 | 24.02 | 6.545 | 0 | 510.5068 | 0 | FALSE |  |  | 0 | NULL
2.2.32 |  | Grooved Concentric Reducer 10" x 8", Ductile Iron, Mod. SDG-35, G.I - SHIELD | SHIELD |  | Pcs | 2 | 175.18 | 47.733 | 0 | 95.4659 | 0 | FALSE |  |  | 0 | NULL
2.2.33 |  | Grooved Concentric Reducer 6" x 4", Ductile Iron, Mod. SDG-35, G.I - SHIELD | SHIELD |  | Pcs | 31 | 68.07 | 18.5477 | 0 | 574.9782 | 0 | FALSE |  |  | 0 | NULL
2.2.34 |  | Grooved Concentric Reducer 6" x 3", Ductile Iron, Mod. SDG-35, G.I - SHIELD | SHIELD |  | Pcs | 1 | 68.07 | 18.5477 | 0 | 18.5477 | 0 | FALSE |  |  | 0 | NULL
2.2.35 |  | Grooved Concentric Reducer 4" x 3", Ductile Iron, Mod. SDG-35, G.I - SHIELD | SHIELD |  | Pcs | 28 | 38.04 | 10.3651 | 0 | 290.2234 | 0 | FALSE |  |  | 0 | NULL
2.2.36 |  | Grooved Concentric Reducer 4" x 2 1/2", Ductile Iron, Mod. SDG-35, G.I - SHIELD | SHIELD |  | Pcs | 8 | 38.04 | 10.3651 | 0 | 82.921 | 0 | FALSE |  |  | 0 | NULL
2.2.37 |  | Grooved Concentric Reducer 4" x 2", Ductile Iron, Mod. SDG-35, G.I - SHIELD | SHIELD |  | Pcs | 3 | 38.04 | 10.3651 | 0 | 31.0954 | 0 | FALSE |  |  | 0 | NULL
2.2.38 |  | Grooved Concentric Reducer 3" x 2 1/2", Ductile Iron, Mod. SDG-35, G.I - SHIELD | SHIELD |  | Pcs | 15 | 30.03 | 8.1826 | 0 | 122.7384 | 0 | FALSE |  |  | 0 | NULL
2.2.39 |  | Grooved Concentric Reducer 3" x 2", Threaded, Ductile Iron, Mod. SDG-37, GI - SHIELD | SHIELD |  | Pcs | 10 | 37.04 | 10.0926 | 0 | 100.9264 | 0 | FALSE |  |  | 0 | NULL
2.2.40 |  | Grooved Concentric Reducer 2 1/2" x 2", Threaded, Ductile Iron, Mod. SDG-37, GI - SHIELD | SHIELD |  | Pcs | 15 | 33.03 | 9 | 0 | 135 | 0 | FALSE |  |  | 0 | NULL
2.2.41 |  | Grooved Concentric Reducer 2 1/2" x 1 1/2", Threaded, Ductile Iron, Mod. SDG-37, GI- SHIELD | SHIELD |  | Pcs | 1 | 33.03 | 9 | 0 | 9 | 0 | FALSE |  |  | 0 | NULL
2.2.42 |  | Grooved Coupling 10", Ductile Iron, Mod. SDG-22, G.I - SHIELD | SHIELD |  | Pcs | 74 | 180.18 | 49.0954 | 0 | 3633.0572 | 0 | FALSE |  |  | 0 | NULL
2.2.43 |  | Grooved Coupling 6", Ductile Iron, Mod. SDG-22, G.I - SHIELD | SHIELD |  | Pcs | 193 | 41.04 | 11.1826 | 0 | 2158.2343 | 0 | FALSE |  |  | 0 | NULL
2.2.44 |  | Grooved Coupling 4", Ductile Iron, Mod. SDG-22, G.I - SHIELD | SHIELD |  | Pcs | 511 | 27.03 | 7.3651 | 0 | 3763.5777 | 0 | FALSE |  |  | 0 | NULL
2.2.45 |  | Grooved Coupling 3", Ductile Iron, Mod. SDG-22, G.I - SHIELD | SHIELD |  | Pcs | 561 | 19.02 | 5.1826 | 0 | 2907.4169 | 0 | FALSE |  |  | 0 | NULL
2.2.46 |  | Grooved Coupling 2-1/2", Ductile Iron, Mod. SDG-22, G.I - SHIELD | SHIELD |  | Pcs | 280 | 15.71 | 4.2807 | 0 | 1198.5831 | 0 | FALSE |  |  | 0 | NULL
2.2.47 |  | Grooved Flange 10", Ductile Iron, PCD 362mm, 12 Holes, Hole Dia. 25mm, Mod. SDG-15, Class-150, G.I - SHIELD | SHIELD |  | Pcs | 4 | 262.76 | 71.5967 | 0 | 286.3869 | 0 | FALSE |  |  | 0 | NULL
2.2.48 |  | Grooved Flange 8", Ductile Iron, PCD 298mm, 8 Holes, Hole Dia. 22mm, Mod. SDG-15, Class-150, G.I - SHIELD | SHIELD |  | Pcs | 5 | 140.14 | 38.1853 | 0 | 190.9264 | 0 | FALSE |  |  | 0 | NULL
2.2.49 |  | Grooved Flange 6", Ductile Iron, Class 150, PCD 241mm, 8 Holes, Hole Dia 22mm, Mod.SDG-15, G.I - SHIELD | SHIELD |  | Pcs | 4 | 100.1 | 27.2752 | 0 | 109.1008 | 0 | FALSE |  |  | 0 | NULL
2.2.50 |  | Grooved Flange 4", Ductile Iron, Class 150, PCD 191mm, 8 Holes, Hole Dia 19mm, Mod.SDG-15, G.I - SHIELD | SHIELD |  | Pcs | 1 | 70.07 | 19.0926 | 0 | 19.0926 | 0 | FALSE |  |  | 0 | NULL
2.2.51 |  | Grooved Flange 3", Ductile Iron, PCD 152mm, 4 Holes, Hole Dia. 19mm, Mod. SDG-15, Class-150, G.I - SHIELD | SHIELD |  | Pcs | 16 | 60.06 | 16.3651 | 0 | 261.842 | 0 | FALSE |  |  | 0 | NULL
2.2.52 |  | Flange 8", BLIND Type, OD 345mm, PCD 298.5mm, Thickness 28.6mm, 8 Holes, Hole Size: 22mm, Class 150, ANSI/ASME B16.5, Raising Face, ASTM A105, Carbon Steel Forged, Black - Shield | SHIELD |  | Pcs | 5 | 145.83 | 39.7357 | 0 | 198.6785 | 0 | FALSE |  |  | 0 | NULL
2.2.53 |  | Flange 6", BLIND Type, OD 280mm, PCD 241.3mm, Thickness 25.4mm, 8 Holes, Hole Size: 22mm, Class 150, ANSI/ASME B16.5, Raising Face, ASTM A105, Carbon Steel Forged, Black - Shield | SHIELD |  | Pcs | 3 | 85.42 | 23.2752 | 0 | 69.8256 | 0 | FALSE |  |  | 0 | NULL
2.2.54 |  | Grooved Cap 3", Ductile Iron, Mod. SDG-14, G.I - SHIELD | SHIELD |  | Pcs | 6 | 13.01 | 3.545 | 0 | 21.2698 | 0 | FALSE |  |  | 0 | NULL
2.2.55 |  | Grooved Cap 2 1/2", Ductile Iron, Mod. SDG-14, G.I - SHIELD | SHIELD |  | Pcs | 2 | 10.01 | 2.7275 | 0 | 5.455 | 0 | FALSE |  |  | 0 | NULL
2.3 |  | CON-MTO-ME-001_FIRE FIGHTING SYSTEM-MTO_REV-A - BM FOR PIPE SUPPORTS | SHIELD |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
2.3.1 |  | U -Bolt 10" x 20mm With 2 Nut & 2 Washers, HDG, Model: SD-UB - SHIELD | SHIELD |  | Pcs | 38 | 19.3 | 5.2589 | 0 | 199.8365 | 0 | FALSE |  |  | 0 | NULL
2.3.2 |  | U -Bolt 8" x 12mm With 2 Nut & 2 Washers, HDG, Model: SD-UB - SHIELD | SHIELD |  | Pcs | 18 | 15.47 | 4.2153 | 0 | 75.8747 | 0 | FALSE |  |  | 0 | NULL
2.3.3 |  | U -Bolt 6" x 12mm With 2 Nut & 2 Washers, HDG, Model: SD-UB - SHIELD | SHIELD |  | Pcs | 52 | 12.4 | 3.3787 | 0 | 175.6948 | 0 | FALSE |  |  | 0 | NULL
2.3.4 |  | U -Bolt 4" x 10mm With 2 Nut & 2 Washers, HDG, Model: SD-UB - SHIELD | SHIELD |  | Pcs | 73 | 8.22 | 2.2398 | 0 | 163.5041 | 0 | FALSE |  |  | 0 | NULL
2.3.5 |  | U -Bolt 3" x 10mm With 2 Nut & 2 Washers, HDG, Model: SD-UB - SHIELD | SHIELD |  | Pcs | 85 | 6.66 | 1.8147 | 0 | 154.2507 | 0 | FALSE |  |  | 0 | NULL
2.3.6 |  | U -Bolt 2-1/2" x 10mm With 2 Nut & 2 Washers, HDG, Model: SD-UB - SHIELD | SHIELD |  | Pcs | 27 | 6.07 | 1.654 | 0 | 44.6567 | 0 | FALSE |  |  | 0 | NULL
2.3.7 |  | U -Bolt 2" x 10mm With 2 Nut & 2 Washers, HDG, Model: SD-UB - SHIELD | SHIELD |  | Pcs | 62 | 5.06 | 1.3787 | 0 | 85.4823 | 0 | FALSE |  |  | 0 | NULL
2.3.8 |  | U -Bolt 1-1/2" x 10mm With 2 Nut & 2 Washers, HDG, Model: SD-UB - SHIELD | SHIELD |  | Pcs | 148 | 4.82 | 1.3134 | 0 | 194.376 | 0 | FALSE |  |  | 0 | NULL
2.3.9 |  | U -Bolt 1" x 10mm With 2 Nut & 2 Washers, HDG, Model: SD-UB - SHIELD | SHIELD |  | Pcs | 317 | 4.41 | 1.2016 | 0 | 380.9183 | 0 | FALSE |  |  | 0 | NULL
2.3.10 |  | Adjustable Pipe Hanger M10 x 4", Galvanized with 10mm Swivel Nut, UL/FM Approved, Model: SD-HB - Shield | SHIELD |  | Pcs | 47 | 3.15 | 0.85831 | 0 | 40.3406 | 0 | FALSE |  |  | 0 | NULL
2.3.11 |  | Threaded Bar 10mm x 2 Mtr G.I-DIN 975 - SHIELD | SHIELD |  | Pcs | 47 | 4.81 | 1.3106 | 0 | 61.5995 | 0 | FALSE |  |  | 0 | NULL
2.3.12 |  | G.I. Nut, DIN 934, Size: 10mm - SHIELD | SHIELD |  | Pcs | 188 | 0.09 | 0.024523 | 0 | 4.6104 | 0 | FALSE |  |  | 0 | NULL
2.3.13 |  | Adjustable Pipe Hanger M10 x 3", Galvanized with 10mm Swivel Nut, UL/FM Approved, Model: SD-HB - Shield | SHIELD |  | Pcs | 41 | 2.36 | 0.64305 | 0 | 26.3651 | 0 | FALSE |  |  | 0 | NULL
2.3.14 |  | Threaded Bar 10mm x 2 Mtr G.I-DIN 975 - SHIELD | SHIELD |  | Pcs | 41 | 4.81 | 1.3106 | 0 | 53.7357 | 0 | FALSE |  |  | 0 | NULL
2.3.15 |  | G.I. Nut, DIN 934, Size: 10mm - SHIELD | SHIELD |  | Pcs | 164 | 0.09 | 0.024523 | 0 | 4.0218 | 0 | FALSE |  |  | 0 | NULL
2.3.16 |  | Adjustable Pipe Hanger M10 x 2 1/2", Galvanized with 10mm Swivel Nut, UL/FM Approved, Model: SD-HB - Shield | SHIELD |  | Pcs | 23 | 2.13 | 0.58038 | 0 | 13.3488 | 0 | FALSE |  |  | 0 | NULL
2.3.17 |  | Threaded Bar 10mm x 2 Mtr G.I-DIN 975 - SHIELD | SHIELD |  | Pcs | 23 | 4.81 | 1.3106 | 0 | 30.1444 | 0 | FALSE |  |  | 0 | NULL
2.3.18 |  | G.I. Nut, DIN 934, Size: 10mm - SHIELD | SHIELD |  | Pcs | 92 | 0.09 | 0.024523 | 0 | 2.2561 | 0 | FALSE |  |  | 0 | NULL
2.3.19 |  | Adjustable Pipe Hanger M10 x 2", Galvanized with 10mm Swivel Nut, UL/FM Approved, Model: SD-HB - Shield | SHIELD |  | Pcs | 32 | 1.36 | 0.37057 | 0 | 11.8583 | 0 | FALSE |  |  | 0 | NULL
2.3.20 |  | Threaded Bar 10mm x 2 Mtr G.I-DIN 975 - SHIELD | SHIELD |  | Pcs | 32 | 4.81 | 1.3106 | 0 | 41.9401 | 0 | FALSE |  |  | 0 | NULL
2.3.21 |  | G.I. Nut, DIN 934, Size: 10mm - SHIELD | SHIELD |  | Pcs | 128 | 0.09 | 0.024523 | 0 | 3.139 | 0 | FALSE |  |  | 0 | NULL
2.3.22 |  | Adjustable Pipe Hanger M10 x 1 1/2", Galvanized with 10mm Swivel Nut, UL/FM Approved, Model: SD-HB - Shield | SHIELD |  | Pcs | 141 | 1.27 | 0.34605 | 0 | 48.7929 | 0 | FALSE |  |  | 0 | NULL
2.3.23 |  | Threaded Bar 10mm x 2 Mtr G.I-DIN 975 - SHIELD | SHIELD |  | Pcs | 141 | 4.81 | 1.3106 | 0 | 184.7984 | 0 | FALSE |  |  | 0 | NULL
2.3.24 |  | G.I. Nut, DIN 934, Size: 10mm - SHIELD | SHIELD |  | Pcs | 564 | 0.09 | 0.024523 | 0 | 13.8311 | 0 | FALSE |  |  | 0 | NULL
2.3.25 |  | Adjustable Pipe Hanger M10 x 1", Galvanized with 10mm Swivel Nut, UL/FM Approved, Model: SD-HB - Shield | SHIELD |  | Pcs | 298 | 1.07 | 0.29155 | 0 | 86.8828 | 0 | FALSE |  |  | 0 | NULL
2.3.26 |  | Threaded Bar 10mm x 2 Mtr G.I-DIN 975 - SHIELD | SHIELD |  | Pcs | 298 | 4.81 | 1.3106 | 0 | 390.5668 | 0 | FALSE |  |  | 0 | NULL
2.3.27 |  | G.I. Nut, DIN 934, Size: 10mm - SHIELD | SHIELD |  | Pcs | 1192 | 0.09 | 0.024523 | 0 | 29.2316 | 0 | FALSE |  |  | 0 | NULL
2.3.28 |  | Grooved Flange 4", Ductile Iron, PCD 191mm, 8 Holes, Hole Dia. 19mm, Mod. SDG-15, Class-150, Red - SHIELD | SHIELD |  | Pcs | 23 | 53.9 | 14.6866 | 0 | 337.7929 | 0 | FALSE |  |  | 0 | NULL
2.3.29 |  | Grooved Flange 3", Ductile Iron, PCD 152mm, 4 Holes, Hole Dia. 19mm, Mod. SDG-15, Class-150, Red - SHIELD | SHIELD |  | Pcs | 15 | 46.2 | 12.5886 | 0 | 188.8283 | 0 | FALSE |  |  | 0 | NULL