## SHIELD 200
SLNO | ItemCode | ItemName | Brand | Model | UOM | Qty | UnitPriceAED | UnitPrice | Margin | Amount | Unitweight | Optional | COO | DeliveryStatus | CRMProductId | CRMProduct
1 |  | SHIELD FM 200 FIRE EXTINGUISHING SYSTEM, TOTAL FLOODING, MODULAR, 300 PSI - GENERATOR ROOM @ 2ND BASEMENT FLOOR |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.1 |  | MECHANICAL COMPONENTS (MAIN) |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.1.1 |  | SHIELD200 369.0L CYLINDER ASSEMBLY (184.6KG-442.8KG) COMPLETE WITH 3" VALVE AND PRESSURE GAUGE PRESSURE SWITCH, CYLINDER LABEL & BRACKET WITHOUT LLI | SHIELD | SD-369HFC-03 | SET | 1 | 13000 | 3542.2343 | 0 | 3542.2343 | 0 | FALSE |  |  | 0 | NULL
1.1.2 |  | CYLINDER MOUNTING STRAP - SD-CBKT-790 | SHIELD | SD-CBKT-790 | NOS | 1 | 247 | 67.3025 | 0 | 67.3025 | 0 | FALSE |  |  | 0 | NULL
1.1.3 |  | SHIELD200 (SD-HFC227EA) AGENT (PER KG) | SHIELD | SD-HFC-227ea | KG | 233 | 70 | 19.0736 | 0 | 4444.1417 | 0 | FALSE |  |  | 0 | NULL
1.1.4 |  | 3 INCH (80MM) OUTLET ADAPTOR USED TO 369L CYLINDER VALVE OUTLET | SHIELD | SD-VOA0080 | NOS | 1 | 200 | 54.4959 | 0 | 54.4959 | 0 | FALSE |  |  | 0 | NULL
1.1.5 |  | REMOVABLE ELECTRIC ACTUATOR C/W SUPERVISORY SWITCH, 1 INCH CONNECTION | SHIELD | SD-REA-SS | NOS | 1 | 1690 | 460.4905 | 0 | 460.4905 | 0 | FALSE |  |  | 0 | NULL
1.1.6 |  | MANUAL ACTUATOR WITH PUSH TO OPERATE | SHIELD | SD-MA0025 | NOS | 1 | 200 | 54.4959 | 0 | 54.4959 | 0 | FALSE |  |  | 0 | NULL
1.1.7 |  | DISCHARGE PRESSURE SWITCH | SHIELD | SD-DPS-B6-95-1 | NOS | 1 | 300 | 81.7439 | 0 | 81.7439 | 0 | FALSE |  |  | 0 | NULL
1.1.8 |  | DISCHARGE HOSE 3 INCH (80MM) C/W CHECK VALVE WITH FEMALE SWIVEL FITTINGS | SHIELD | SD-DHCV0080 | NOS | 1 | 2640 | 719.346 | 0 | 719.346 | 0 | FALSE |  |  | 0 | NULL
1.1.9 |  | MANIFOLD FOR 2 CYLINDER | SHIELD | SD-MF150-80-2 | NOS | 1 | 650 | 177.1117 | 0 | 177.1117 | 0 | FALSE |  |  | 0 | NULL
1.1.10 |  | DISCHARGE NOZZLE | SHIELD | SD-NXXX-XX | NOS | 4 | 200 | 54.4959 | 0 | 217.9837 | 0 | FALSE |  |  | 0 | NULL
1.1.11 |  | FM200 WARNING SIGNAGE | SHIELD | SD-FM-WARN | SET | 1 | 300 | 81.7439 | 0 | 81.7439 | 0 | FALSE |  |  | 0 | NULL
1.1.12 |  | FK-5-1-12 CYLINDER LEBEL 280X180 - UL/FM APPROVED | SHIELD | SD-FM-LBL | NOS | 2 | 60 | 16.3488 | 0 | 32.6975 | 0 | FALSE |  |  | 0 | NULL
1.2 |  | ELECTRICAL COMPONENTS |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.2.1 |  | EXTINGUISHING CONTROL PANEL (2) DETECTION ZONE (1) RELEASE AREA COMPLETE WITH: 24VDC BACK UP BATTERY | SHIELD | AX-T | SET | 1 | 3500 | 953.6785 | 0 | 953.6785 | 0 | FALSE |  |  | 0 | NULL
1.2.2 | 13002238214 | CONVENTIONAL HEAT DETECTOR, 170F, UL LISTED, MODEL: S-C2014 - SHIELD | SHIELD | S-C2014 | NOS | 4 | 32 | 8.7193 | 0 | 34.8774 | 0 | FALSE |  |  | 0 | NULL
1.2.3 | 13009938421 | STANDARD MOUNTING BASE, UL LISTED, MODEL: S-C2001 - SHIELD | SHIELD | S-C2001 | NOS | 4 | 7 | 1.9074 | 0 | 7.6294 | 0 | FALSE |  |  | 0 | NULL
1.2.4 | 13006238110 | EXTINGUISHING ABORT SWITCH, SURFACE MOUNT, RED, UL LISTED, MODEL: S111R-AB - SHIELD | SHIELD | S111R-AB | NOS | 1 | 275 | 74.9319 | 0 | 74.9319 | 0 | FALSE |  |  | 0 | NULL
1.2.5 | 13006438060 | FIRE ALARM BELL 6", MOTOR DRIVEN TYPE, RED COLOUR, 24V DC, 20-30MA CURRENT CONSUMPTION, UL LISTED, MODEL: FB1000C6, SHIELD | SHIELD | FB1000C6 | NOS | 1 | 85 | 23.1608 | 0 | 23.1608 | 0 | FALSE |  |  | 0 | NULL
1.2.6 |  | HORN/STROBE, INDOOR, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, UL LISTED, MODEL : SH-HSIR - SHIELD | SHIELD | SH-HSIR | NOS | 1 | 150 | 40.8719 | 0 | 40.8719 | 0 | FALSE |  |  | 0 | NULL
1.2.7 |  | STROBE, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, INDOOR, UL LISTED, MODEL: SH-STIR - SHIELD WITH BACKBOX | SHIELD | SH-STIR | NOS | 1 | 125 | 34.0599 | 0 | 34.0599 | 0 | FALSE |  |  | 0 | NULL
1.2.8 |  | MAIN/RESERVE SELECTOR SWITCH | SHIELD | SD-502001 | NOS | 1 | 350 | 95.3678 | 0 | 95.3678 | 0 | FALSE |  |  | 0 | NULL
1.3 |  | MECHANICAL COMPONENTS (RESERVE) |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.3.1 |  | SHIELD200 369.0L CYLINDER ASSEMBLY (184.6KG-442.8KG) COMPLETE WITH 3" VALVE AND PRESSURE GAUGE PRESSURE SWITCH, CYLINDER LABEL & BRACKET WITHOUT LLI | SHIELD | SD-369HFC-03 | SET | 1 | 13000 | 3542.2343 | 0 | 3542.2343 | 0 | FALSE |  |  | 0 | NULL
1.3.2 |  | CYLINDER MOUNTING STRAP - SD-CBKT-790 | SHIELD | SD-CBKT-790 | NOS | 1 | 247 | 67.3025 | 0 | 67.3025 | 0 | FALSE |  |  | 0 | NULL
1.3.3 |  | SHIELD200 (SD-HFC227EA) AGENT (PER KG) | SHIELD | SD-HFC-227ea | KG | 233 | 70 | 19.0736 | 0 | 4444.1417 | 0 | FALSE |  |  | 0 | NULL
1.3.4 |  | 3 INCH (80MM) OUTLET ADAPTOR USED TO 369L CYLINDER VALVE OUTLET | SHIELD | SD-VOA0080 | NOS | 1 | 200 | 54.4959 | 0 | 54.4959 | 0 | FALSE |  |  | 0 | NULL
1.3.5 |  | REMOVABLE ELECTRIC ACTUATOR C/W SUPERVISORY SWITCH, 1 INCH CONNECTION | SHIELD | SD-REA-SS | NOS | 1 | 1690 | 460.4905 | 0 | 460.4905 | 0 | FALSE |  |  | 0 | NULL
1.3.6 |  | MANUAL ACTUATOR WITH PUSH TO OPERATE | SHIELD | SD-MA0025 | NOS | 1 | 200 | 54.4959 | 0 | 54.4959 | 0 | FALSE |  |  | 0 | NULL
1.3.7 |  | DISCHARGE HOSE 3 INCH (80MM) C/W CHECK VALVE WITH FEMALE SWIVEL FITTINGS | SHIELD | SD-DHCV0080 | NOS | 1 | 2640 | 719.346 | 0 | 719.346 | 0 | FALSE |  |  | 0 | NULL
2 |  | SHIELD FM 200 FIRE EXTINGUISHING SYSTEM, TOTAL FLOODING, MODULAR, 300 PSI - FUEL TANK ROOM @ END BASEMENT FLOOR |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
2.1 |  | MECHANICAL COMPONENTS (MAIN) |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
2.1.1 |  | SHIELD200 147.0L CYLINDER ASSEMBLY (73.6KG-176.4KG) COMPLETE WITH 2" VALVE AND PRESSURE GAUGE PRESSURE SWITCH, CYLINDER LABEL & BRACKET WITHOUT LLI | SHIELD | SD-147HFC-02 | SET | 1 | 6320 | 1722.0708 | 0 | 1722.0708 | 0 | FALSE |  |  | 0 | NULL
2.1.2 |  | CYLINDER MOUNTING STRAP - SD-CBKT-600 | SHIELD | SD-CBKT-600 | NOS | 1 | 247 | 67.3025 | 0 | 67.3025 | 0 | FALSE |  |  | 0 | NULL
2.1.3 |  | SHIELD200 (SD-HFC227EA) AGENT (PER KG) | SHIELD | SD-HFC-227ea | KG | 109 | 70 | 19.0736 | 0 | 2079.0191 | 0 | FALSE |  |  | 0 | NULL
2.1.4 |  | REMOVABLE ELECTRIC ACTUATOR C/W SUPERVISORY SWITCH, 1 INCH CONNECTION | SHIELD | SD-REA-SS | NOS | 1 | 1690 | 460.4905 | 0 | 460.4905 | 0 | FALSE |  |  | 0 | NULL
2.1.5 |  | MANUAL ACTUATOR WITH PUSH TO OPERATE | SHIELD | SD-MA0025 | NOS | 1 | 200 | 54.4959 | 0 | 54.4959 | 0 | FALSE |  |  | 0 | NULL
2.1.6 |  | DISCHARGE PRESSURE SWITCH | SHIELD | SD-DPS-B6-95-1 | NOS | 1 | 300 | 81.7439 | 0 | 81.7439 | 0 | FALSE |  |  | 0 | NULL
2.1.7 |  | DISCHARGE HOSE 2 INCH (50MM) WITH FEMALE SWIVEL FITTINGS | SHIELD | SD-DH0050 | NOS | 1 | 480 | 130.7902 | 0 | 130.7902 | 0 | FALSE |  |  | 0 | NULL
2.1.8 |  | 2 INCH (50MM) CHECK VALVE | SHIELD | SD-CV0050 | NOS | 1 | 430 | 117.1662 | 0 | 117.1662 | 0 | FALSE |  |  | 0 | NULL
2.1.9 |  | MANIFOLD FOR 2 CYLINDER | SHIELD | SD-MF150-80-2 | NOS | 1 | 650 | 177.1117 | 0 | 177.1117 | 0 | FALSE |  |  | 0 | NULL
2.1.10 |  | DISCHARGE NOZZLE | SHIELD | SD-NXXX-XX | NOS | 2 | 200 | 54.4959 | 0 | 108.9918 | 0 | FALSE |  |  | 0 | NULL
2.1.11 |  | FM200 WARNING SIGNAGE | SHIELD | SD-FM-WARN | SET | 1 | 300 | 81.7439 | 0 | 81.7439 | 0 | FALSE |  |  | 0 | NULL
2.1.12 |  | FK-5-1-12 CYLINDER LEBEL 280X180 - UL/FM APPROVED | SHIELD | SD-FM-LBL | NOS | 2 | 60 | 16.3488 | 0 | 32.6975 | 0 | FALSE |  |  | 0 | NULL
2.2 |  | ELECTRICAL COMPONENTS |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
2.2.1 |  | EXTINGUISHING CONTROL PANEL (2) DETECTION ZONE (1) RELEASE AREA COMPLETE WITH: 24VDC BACK UP BATTERY | SHIELD | AX-T | SET | 1 | 3500 | 953.6785 | 0 | 953.6785 | 0 | FALSE |  |  | 0 | NULL
2.2.2 |  | EXPLOSION PROOF TRIPLE IR FLAME DETECTOR, 24V DC, DETECTION RANGE: 197FT (60M), SS 316 ENCLOSURE, ATEX APPROVED, MODEL: RFD-3000X - REZONTECH | SHIELD | RFD-3000X | NOS | 2 | 7500 | 2043.5967 | 0 | 4087.1935 | 0 | FALSE |  |  | 0 | NULL
2.2.3 | 13006238110 | EXTINGUISHING ABORT SWITCH, SURFACE MOUNT, RED, UL LISTED, MODEL: S111R-AB - SHIELD | SHIELD | S111R-AB | NOS | 1 | 275 | 74.9319 | 0 | 74.9319 | 0 | FALSE |  |  | 0 | NULL
2.2.4 | 13006438060 | FIRE ALARM BELL 6", MOTOR DRIVEN TYPE, RED COLOUR, 24V DC, 20-30MA CURRENT CONSUMPTION, UL LISTED, MODEL: FB1000C6, SHIELD | SHIELD | FB1000C6 | NOS | 1 | 85 | 23.1608 | 0 | 23.1608 | 0 | FALSE |  |  | 0 | NULL
2.2.5 |  | HORN/STROBE, INDOOR, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, UL LISTED, MODEL : SH-HSIR - SHIELD | SHIELD | SH-HSIR | NOS | 1 | 150 | 40.8719 | 0 | 40.8719 | 0 | FALSE |  |  | 0 | NULL
2.2.6 |  | STROBE, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, INDOOR, UL LISTED, MODEL: SH-STIR - SHIELD WITH BACKBOX | SHIELD | SH-STIR | NOS | 1 | 125 | 34.0599 | 0 | 34.0599 | 0 | FALSE |  |  | 0 | NULL
2.2.7 |  | MAIN/RESERVE SELECTOR SWITCH | SHIELD | SD-502001 | NOS | 1 | 350 | 95.3678 | 0 | 95.3678 | 0 | FALSE |  |  | 0 | NULL
2.3 |  | MECHANICAL COMPONENTS (RESERVE) |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
2.3.1 |  | SHIELD200 147.0L CYLINDER ASSEMBLY (73.6KG-176.4KG) COMPLETE WITH 2" VALVE AND PRESSURE GAUGE PRESSURE SWITCH, CYLINDER LABEL & BRACKET WITHOUT LLI | SHIELD | SD-147HFC-02 | SET | 1 | 6320 | 1722.0708 | 0 | 1722.0708 | 0 | FALSE |  |  | 0 | NULL
2.3.2 |  | CYLINDER MOUNTING STRAP - SD-CBKT-600 | SHIELD | SD-CBKT-600 | NOS | 1 | 247 | 67.3025 | 0 | 67.3025 | 0 | FALSE |  |  | 0 | NULL
2.3.3 |  | SHIELD200 (SD-HFC227EA) AGENT (PER KG) | SHIELD | SD-HFC-227ea | KG | 109 | 70 | 19.0736 | 0 | 2079.0191 | 0 | FALSE |  |  | 0 | NULL
2.3.4 |  | REMOVABLE ELECTRIC ACTUATOR C/W SUPERVISORY SWITCH, 1 INCH CONNECTION | SHIELD | SD-REA-SS | NOS | 1 | 1690 | 460.4905 | 0 | 460.4905 | 0 | FALSE |  |  | 0 | NULL
2.3.5 |  | MANUAL ACTUATOR WITH PUSH TO OPERATE | SHIELD | SD-MA0025 | NOS | 1 | 200 | 54.4959 | 0 | 54.4959 | 0 | FALSE |  |  | 0 | NULL
2.3.6 |  | DISCHARGE HOSE 2 INCH (50MM) WITH FEMALE SWIVEL FITTINGS | SHIELD | SD-DH0050 | NOS | 1 | 480 | 130.7902 | 0 | 130.7902 | 0 | FALSE |  |  | 0 | NULL
2.3.7 |  | 2 INCH (50MM) CHECK VALVE | SHIELD | SD-CV0050 | NOS | 1 | 430 | 117.1662 | 0 | 117.1662 | 0 | FALSE |  |  | 0 | NULL
3 |  | SHIELD FM 200 FIRE EXTINGUISHING SYSTEM, TOTAL FLOODING, MODULAR, 300 PSI - MDB ROOM @ BASEMENT FLOOR |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
3.1 |  | MECHANICAL COMPONENTS (MAIN) |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
3.1.1 |  | SHIELD200 52.0L CYLINDER ASSEMBLY (26.1KG-62.4KG) COMPLETE WITH 2" VALVE AND PRESSURE GAUGE PRESSURE SWITCH, CYLINDER LABEL & BRACKET WITHOUT LLI | SHIELD | SD-52HFC-02 | SET | 1 | 4730 | 1288.8283 | 0 | 1288.8283 | 0 | FALSE |  |  | 0 | NULL
3.1.2 |  | CYLINDER MOUNTING STRAP - SD-CBKT-600 | SHIELD | SD-CBKT-600 | NOS | 1 | 247 | 67.3025 | 0 | 67.3025 | 0 | FALSE |  |  | 0 | NULL
3.1.3 |  | SHIELD200 (SD-HFC227EA) AGENT (PER KG) | SHIELD | SD-HFC-227ea | KG | 35 | 70 | 19.0736 | 0 | 667.5749 | 0 | FALSE |  |  | 0 | NULL
3.1.4 |  | REMOVABLE ELECTRIC ACTUATOR C/W SUPERVISORY SWITCH, 1 INCH CONNECTION | SHIELD | SD-REA-SS | NOS | 1 | 1690 | 460.4905 | 0 | 460.4905 | 0 | FALSE |  |  | 0 | NULL
3.1.5 |  | MANUAL ACTUATOR WITH PUSH TO OPERATE | SHIELD | SD-MA0025 | NOS | 1 | 200 | 54.4959 | 0 | 54.4959 | 0 | FALSE |  |  | 0 | NULL
3.1.6 |  | DISCHARGE PRESSURE SWITCH | SHIELD | SD-DPS-B6-95-1 | NOS | 1 | 300 | 81.7439 | 0 | 81.7439 | 0 | FALSE |  |  | 0 | NULL
3.1.7 |  | DISCHARGE HOSE 2 INCH (50MM) WITH FEMALE SWIVEL FITTINGS | SHIELD | SD-DH0050 | NOS | 1 | 480 | 130.7902 | 0 | 130.7902 | 0 | FALSE |  |  | 0 | NULL
3.1.8 |  | 2 INCH (50MM) CHECK VALVE | SHIELD | SD-CV0050 | NOS | 1 | 430 | 117.1662 | 0 | 117.1662 | 0 | FALSE |  |  | 0 | NULL
3.1.9 |  | MANIFOLD FOR 2 CYLINDER | SHIELD | SD-MF150-80-2 | NOS | 1 | 650 | 177.1117 | 0 | 177.1117 | 0 | FALSE |  |  | 0 | NULL
3.1.10 |  | DISCHARGE NOZZLE | SHIELD | SD-NXXX-XX | NOS | 1 | 200 | 54.4959 | 0 | 54.4959 | 0 | FALSE |  |  | 0 | NULL
3.1.11 |  | FM200 WARNING SIGNAGE | SHIELD | SD-FM-WARN | SET | 1 | 300 | 81.7439 | 0 | 81.7439 | 0 | FALSE |  |  | 0 | NULL
3.1.12 |  | FK-5-1-12 CYLINDER LEBEL 280X180 - UL/FM APPROVED | SHIELD | SD-FM-LBL | NOS | 2 | 60 | 16.3488 | 0 | 32.6975 | 0 | FALSE |  |  | 0 | NULL
3.2 |  | ELECTRICAL COMPONENTS |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
3.2.1 |  | EXTINGUISHING CONTROL PANEL (2) DETECTION ZONE (1) RELEASE AREA COMPLETE WITH: 24VDC BACK UP BATTERY | SHIELD | AX-T | SET | 1 | 3500 | 953.6785 | 0 | 953.6785 | 0 | FALSE |  |  | 0 | NULL
3.2.2 | 13001838211 | CONVENTIONAL PHOTOELECTRIC SMOKE DETECTOR, UL LISTED, MODEL: S-C2011 - SHIELD | SHIELD | S-C2011 | NOS | 2 | 38 | 10.3542 | 0 | 20.7084 | 0 | FALSE |  |  | 0 | NULL
3.2.3 | 13009938421 | STANDARD MOUNTING BASE, UL LISTED, MODEL: S-C2001 - SHIELD | SHIELD | S-C2001 | NOS | 2 | 7 | 1.9074 | 0 | 3.8147 | 0 | FALSE |  |  | 0 | NULL
3.2.4 | 13006238110 | EXTINGUISHING ABORT SWITCH, SURFACE MOUNT, RED, UL LISTED, MODEL: S111R-AB - SHIELD | SHIELD | S111R-AB | NOS | 1 | 275 | 74.9319 | 0 | 74.9319 | 0 | FALSE |  |  | 0 | NULL
3.2.5 | 13006438060 | FIRE ALARM BELL 6", MOTOR DRIVEN TYPE, RED COLOUR, 24V DC, 20-30MA CURRENT CONSUMPTION, UL LISTED, MODEL: FB1000C6, SHIELD | SHIELD | FB1000C6 | NOS | 1 | 85 | 23.1608 | 0 | 23.1608 | 0 | FALSE |  |  | 0 | NULL
3.2.6 |  | HORN/STROBE, INDOOR, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, UL LISTED, MODEL : SH-HSIR - SHIELD | SHIELD | SH-HSIR | NOS | 1 | 150 | 40.8719 | 0 | 40.8719 | 0 | FALSE |  |  | 0 | NULL
3.2.7 |  | STROBE, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, INDOOR, UL LISTED, MODEL: SH-STIR - SHIELD WITH BACKBOX | SHIELD | SH-STIR | NOS | 1 | 125 | 34.0599 | 0 | 34.0599 | 0 | FALSE |  |  | 0 | NULL
3.2.8 |  | MAIN/RESERVE SELECTOR SWITCH | SHIELD | SD-502001 | NOS | 1 | 350 | 95.3678 | 0 | 95.3678 | 0 | FALSE |  |  | 0 | NULL
3.3 |  | MECHANICAL COMPONENTS (RESERVE) |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
3.3.1 |  | SHIELD200 52.0L CYLINDER ASSEMBLY (26.1KG-62.4KG) COMPLETE WITH 2" VALVE AND PRESSURE GAUGE PRESSURE SWITCH, CYLINDER LABEL & BRACKET WITHOUT LLI | SHIELD | SD-52HFC-02 | SET | 1 | 4730 | 1288.8283 | 0 | 1288.8283 | 0 | FALSE |  |  | 0 | NULL
3.3.2 |  | CYLINDER MOUNTING STRAP - SD-CBKT-600 | SHIELD | SD-CBKT-600 | NOS | 1 | 247 | 67.3025 | 0 | 67.3025 | 0 | FALSE |  |  | 0 | NULL
3.3.3 |  | SHIELD200 (SD-HFC227EA) AGENT (PER KG) | SHIELD | SD-HFC-227ea | KG | 35 | 70 | 19.0736 | 0 | 667.5749 | 0 | FALSE |  |  | 0 | NULL
3.3.4 |  | REMOVABLE ELECTRIC ACTUATOR C/W SUPERVISORY SWITCH, 1 INCH CONNECTION | SHIELD | SD-REA-SS | NOS | 1 | 1690 | 460.4905 | 0 | 460.4905 | 0 | FALSE |  |  | 0 | NULL
3.3.5 |  | MANUAL ACTUATOR WITH PUSH TO OPERATE | SHIELD | SD-MA0025 | NOS | 1 | 200 | 54.4959 | 0 | 54.4959 | 0 | FALSE |  |  | 0 | NULL
3.3.6 |  | DISCHARGE HOSE 2 INCH (50MM) WITH FEMALE SWIVEL FITTINGS | SHIELD | SD-DH0050 | NOS | 1 | 480 | 130.7902 | 0 | 130.7902 | 0 | FALSE |  |  | 0 | NULL
3.3.7 |  | 2 INCH (50MM) CHECK VALVE | SHIELD | SD-CV0050 | NOS | 1 | 430 | 117.1662 | 0 | 117.1662 | 0 | FALSE |  |  | 0 | NULL
4 |  | SHIELD FM 200 FIRE EXTINGUISHING SYSTEM, TOTAL FLOODING, MODULAR, 300 PSI - ELECTRIC BROADBAND ROOM @ 2ND BASEMENT FLOOR |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
4.1 |  | MECHANICAL COMPONENTS (MAIN) |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
4.1.1 |  | SHIELD200 28.3L CYLINDER ASSEMBLY (14.2KG-33.9KG) COMPLETE WITH 1" VALVE AND PRESSURE GAUGE PRESSURE SWITCH, CYLINDER LABEL & BRACKET WITHOUT LLI | SHIELD | SD-28HFC-01 | SET | 1 | 3600 | 980.9264 | 0 | 980.9264 | 0 | FALSE |  |  | 0 | NULL
4.1.2 |  | CYLINDER MOUNTING STRAP - SD-CBKT-400 | SHIELD | SD-CBKT-400 | NOS | 1 | 247 | 67.3025 | 0 | 67.3025 | 0 | FALSE |  |  | 0 | NULL
4.1.3 |  | SHIELD200 (SD-HFC227EA) AGENT (PER KG) | SHIELD | SD-HFC-227ea | KG | 22 | 70 | 19.0736 | 0 | 419.6185 | 0 | FALSE |  |  | 0 | NULL
4.1.4 |  | REMOVABLE ELECTRIC ACTUATOR C/W SUPERVISORY SWITCH, 1 INCH CONNECTION | SHIELD | SD-REA-SS | NOS | 1 | 1690 | 460.4905 | 0 | 460.4905 | 0 | FALSE |  |  | 0 | NULL
4.1.5 |  | MANUAL ACTUATOR WITH PUSH TO OPERATE | SHIELD | SD-MA0025 | NOS | 1 | 200 | 54.4959 | 0 | 54.4959 | 0 | FALSE |  |  | 0 | NULL
4.1.6 |  | DISCHARGE PRESSURE SWITCH | SHIELD | SD-DPS-B6-95-1 | NOS | 1 | 300 | 81.7439 | 0 | 81.7439 | 0 | FALSE |  |  | 0 | NULL
4.1.7 |  | DISCHARGE HOSE 1 INCH (25MM) WITH FEMALE SWIVEL FITTINGS | SHIELD | SD-DH0025 | NOS | 1 | 110 | 29.9728 | 0 | 29.9728 | 0 | FALSE |  |  | 0 | NULL
4.1.8 |  | 1 INCH (25MM) CHECK VALVE | SHIELD | SD-CV0025 | NOS | 1 | 320 | 87.1935 | 0 | 87.1935 | 0 | FALSE |  |  | 0 | NULL
4.1.9 |  | MANIFOLD FOR 2 CYLINDER | SHIELD | SD-MF150-80-2 | NOS | 1 | 650 | 177.1117 | 0 | 177.1117 | 0 | FALSE |  |  | 0 | NULL
4.1.10 |  | DISCHARGE NOZZLE | SHIELD | SD-NXXX-XX | NOS | 1 | 200 | 54.4959 | 0 | 54.4959 | 0 | FALSE |  |  | 0 | NULL
4.1.11 |  | FM200 WARNING SIGNAGE | SHIELD | SD-FM-WARN | SET | 1 | 300 | 81.7439 | 0 | 81.7439 | 0 | FALSE |  |  | 0 | NULL
4.1.12 |  | FK-5-1-12 CYLINDER LEBEL 280X180 - UL/FM APPROVED | SHIELD | SD-FM-LBL | NOS | 2 | 60 | 16.3488 | 0 | 32.6975 | 0 | FALSE |  |  | 0 | NULL
4.2 |  | ELECTRICAL COMPONENTS |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
4.2.1 |  | EXTINGUISHING CONTROL PANEL (2) DETECTION ZONE (1) RELEASE AREA COMPLETE WITH: 24VDC BACK UP BATTERY | SHIELD | AX-T | SET | 1 | 3500 | 953.6785 | 0 | 953.6785 | 0 | FALSE |  |  | 0 | NULL
4.2.2 | 13001838211 | CONVENTIONAL PHOTOELECTRIC SMOKE DETECTOR, UL LISTED, MODEL: S-C2011 - SHIELD | SHIELD | S-C2011 | NOS | 2 | 38 | 10.3542 | 0 | 20.7084 | 0 | FALSE |  |  | 0 | NULL
4.2.3 | 13009938421 | STANDARD MOUNTING BASE, UL LISTED, MODEL: S-C2001 - SHIELD | SHIELD | S-C2001 | NOS | 2 | 7 | 1.9074 | 0 | 3.8147 | 0 | FALSE |  |  | 0 | NULL
4.2.4 | 13006238110 | EXTINGUISHING ABORT SWITCH, SURFACE MOUNT, RED, UL LISTED, MODEL: S111R-AB - SHIELD | SHIELD | S111R-AB | NOS | 1 | 275 | 74.9319 | 0 | 74.9319 | 0 | FALSE |  |  | 0 | NULL
4.2.5 | 13006438060 | FIRE ALARM BELL 6", MOTOR DRIVEN TYPE, RED COLOUR, 24V DC, 20-30MA CURRENT CONSUMPTION, UL LISTED, MODEL: FB1000C6, SHIELD | SHIELD | FB1000C6 | NOS | 1 | 85 | 23.1608 | 0 | 23.1608 | 0 | FALSE |  |  | 0 | NULL
4.2.6 |  | HORN/STROBE, INDOOR, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, UL LISTED, MODEL : SH-HSIR - SHIELD | SHIELD | SH-HSIR | NOS | 1 | 150 | 40.8719 | 0 | 40.8719 | 0 | FALSE |  |  | 0 | NULL
4.2.7 |  | STROBE, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, INDOOR, UL LISTED, MODEL: SH-STIR - SHIELD WITH BACKBOX | SHIELD | SH-STIR | NOS | 1 | 125 | 34.0599 | 0 | 34.0599 | 0 | FALSE |  |  | 0 | NULL
4.2.8 |  | MAIN/RESERVE SELECTOR SWITCH | SHIELD | SD-502001 | NOS | 1 | 350 | 95.3678 | 0 | 95.3678 | 0 | FALSE |  |  | 0 | NULL
4.3 |  | MECHANICAL COMPONENTS (RESERVE) |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
4.3.1 |  | SHIELD200 28.3L CYLINDER ASSEMBLY (14.2KG-33.9KG) COMPLETE WITH 1" VALVE AND PRESSURE GAUGE PRESSURE SWITCH, CYLINDER LABEL & BRACKET WITHOUT LLI | SHIELD | SD-28HFC-01 | SET | 1 | 3600 | 980.9264 | 0 | 980.9264 | 0 | FALSE |  |  | 0 | NULL
4.3.2 |  | CYLINDER MOUNTING STRAP - SD-CBKT-400 | SHIELD | SD-CBKT-400 | NOS | 1 | 247 | 67.3025 | 0 | 67.3025 | 0 | FALSE |  |  | 0 | NULL
4.3.3 |  | SHIELD200 (SD-HFC227EA) AGENT (PER KG) | SHIELD | SD-HFC-227ea | KG | 22 | 70 | 19.0736 | 0 | 419.6185 | 0 | FALSE |  |  | 0 | NULL
4.3.4 |  | REMOVABLE ELECTRIC ACTUATOR C/W SUPERVISORY SWITCH, 1 INCH CONNECTION | SHIELD | SD-REA-SS | NOS | 1 | 1690 | 460.4905 | 0 | 460.4905 | 0 | FALSE |  |  | 0 | NULL
4.3.5 |  | MANUAL ACTUATOR WITH PUSH TO OPERATE | SHIELD | SD-MA0025 | NOS | 1 | 200 | 54.4959 | 0 | 54.4959 | 0 | FALSE |  |  | 0 | NULL
4.3.6 |  | DISCHARGE HOSE 1 INCH (25MM) WITH FEMALE SWIVEL FITTINGS | SHIELD | SD-DH0025 | NOS | 1 | 110 | 29.9728 | 0 | 29.9728 | 0 | FALSE |  |  | 0 | NULL
4.3.7 |  | 1 INCH (25MM) CHECK VALVE | SHIELD | SD-CV0025 | NOS | 1 | 320 | 87.1935 | 0 | 87.1935 | 0 | FALSE |  |  | 0 | NULL
5 |  | SHIELD FM 200 FIRE EXTINGUISHING SYSTEM, TOTAL FLOODING, MODULAR, 300 PSI - SECURITY AND BMS ROOM @ 2ND BASEMENT FLOOR |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
5.1 |  | MECHANICAL COMPONENTS (MAIN) |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
5.1.1 |  | SHIELD200 106.0L CYLINDER ASSEMBLY (53.1KG-127.2KG) COMPLETE WITH 2" VALVE AND PRESSURE GAUGE PRESSURE SWITCH, CYLINDER LABEL & BRACKET WITHOUT LLI | SHIELD | SD-106HFC-02 | SET | 1 | 5600 | 1525.8856 | 0 | 1525.8856 | 0 | FALSE |  |  | 0 | NULL
5.1.2 |  | CYLINDER MOUNTING STRAP - SD-CBKT-600 | SHIELD | SD-CBKT-600 | NOS | 1 | 247 | 67.3025 | 0 | 67.3025 | 0 | FALSE |  |  | 0 | NULL
5.1.3 |  | SHIELD200 (SD-HFC227EA) AGENT (PER KG) | SHIELD | SD-HFC-227ea | KG | 55 | 70 | 19.0736 | 0 | 1049.0463 | 0 | FALSE |  |  | 0 | NULL
5.1.4 |  | REMOVABLE ELECTRIC ACTUATOR C/W SUPERVISORY SWITCH, 1 INCH CONNECTION | SHIELD | SD-REA-SS | NOS | 1 | 1690 | 460.4905 | 0 | 460.4905 | 0 | FALSE |  |  | 0 | NULL
5.1.5 |  | MANUAL ACTUATOR WITH PUSH TO OPERATE | SHIELD | SD-MA0025 | NOS | 1 | 200 | 54.4959 | 0 | 54.4959 | 0 | FALSE |  |  | 0 | NULL
5.1.6 |  | DISCHARGE PRESSURE SWITCH | SHIELD | SD-DPS-B6-95-1 | NOS | 1 | 300 | 81.7439 | 0 | 81.7439 | 0 | FALSE |  |  | 0 | NULL
5.1.7 |  | DISCHARGE HOSE 2 INCH (50MM) WITH FEMALE SWIVEL FITTINGS | SHIELD | SD-DH0050 | NOS | 1 | 480 | 130.7902 | 0 | 130.7902 | 0 | FALSE |  |  | 0 | NULL
5.1.8 |  | 2 INCH (50MM) CHECK VALVE | SHIELD | SD-CV0050 | NOS | 1 | 430 | 117.1662 | 0 | 117.1662 | 0 | FALSE |  |  | 0 | NULL
5.1.9 |  | MANIFOLD FOR 2 CYLINDER | SHIELD | SD-MF150-80-2 | NOS | 1 | 650 | 177.1117 | 0 | 177.1117 | 0 | FALSE |  |  | 0 | NULL
5.1.10 |  | DISCHARGE NOZZLE | SHIELD | SD-NXXX-XX | NOS | 1 | 200 | 54.4959 | 0 | 54.4959 | 0 | FALSE |  |  | 0 | NULL
5.1.11 |  | FM200 WARNING SIGNAGE | SHIELD | SD-FM-WARN | SET | 1 | 300 | 81.7439 | 0 | 81.7439 | 0 | FALSE |  |  | 0 | NULL
5.1.12 |  | FK-5-1-12 CYLINDER LEBEL 280X180 - UL/FM APPROVED | SHIELD | SD-FM-LBL | NOS | 2 | 60 | 16.3488 | 0 | 32.6975 | 0 | FALSE |  |  | 0 | NULL
5.2 |  | ELECTRICAL COMPONENTS |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
5.2.1 |  | EXTINGUISHING CONTROL PANEL (2) DETECTION ZONE (1) RELEASE AREA COMPLETE WITH: 24VDC BACK UP BATTERY | SHIELD | AX-T | SET | 1 | 3500 | 953.6785 | 0 | 953.6785 | 0 | FALSE |  |  | 0 | NULL
5.2.2 | 13001838211 | CONVENTIONAL PHOTOELECTRIC SMOKE DETECTOR, UL LISTED, MODEL: S-C2011 - SHIELD | SHIELD | S-C2011 | NOS | 2 | 38 | 10.3542 | 0 | 20.7084 | 0 | FALSE |  |  | 0 | NULL
5.2.3 | 13009938421 | STANDARD MOUNTING BASE, UL LISTED, MODEL: S-C2001 - SHIELD | SHIELD | S-C2001 | NOS | 2 | 7 | 1.9074 | 0 | 3.8147 | 0 | FALSE |  |  | 0 | NULL
5.2.4 | 13006238110 | EXTINGUISHING ABORT SWITCH, SURFACE MOUNT, RED, UL LISTED, MODEL: S111R-AB - SHIELD | SHIELD | S111R-AB | NOS | 1 | 275 | 74.9319 | 0 | 74.9319 | 0 | FALSE |  |  | 0 | NULL
5.2.5 | 13006438060 | FIRE ALARM BELL 6", MOTOR DRIVEN TYPE, RED COLOUR, 24V DC, 20-30MA CURRENT CONSUMPTION, UL LISTED, MODEL: FB1000C6, SHIELD | SHIELD | FB1000C6 | NOS | 1 | 85 | 23.1608 | 0 | 23.1608 | 0 | FALSE |  |  | 0 | NULL
5.2.6 |  | HORN/STROBE, INDOOR, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, UL LISTED, MODEL : SH-HSIR - SHIELD | SHIELD | SH-HSIR | NOS | 1 | 150 | 40.8719 | 0 | 40.8719 | 0 | FALSE |  |  | 0 | NULL
5.2.7 |  | STROBE, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, INDOOR, UL LISTED, MODEL: SH-STIR - SHIELD WITH BACKBOX | SHIELD | SH-STIR | NOS | 1 | 125 | 34.0599 | 0 | 34.0599 | 0 | FALSE |  |  | 0 | NULL
5.2.8 |  | MAIN/RESERVE SELECTOR SWITCH | SHIELD | SD-502001 | NOS | 1 | 350 | 95.3678 | 0 | 95.3678 | 0 | FALSE |  |  | 0 | NULL
5.3 |  | MECHANICAL COMPONENTS (RESERVE) |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
5.3.1 |  | SHIELD200 106.0L CYLINDER ASSEMBLY (53.1KG-127.2KG) COMPLETE WITH 2" VALVE AND PRESSURE GAUGE PRESSURE SWITCH, CYLINDER LABEL & BRACKET WITHOUT LLI | SHIELD | SD-106HFC-02 | SET | 1 | 5600 | 1525.8856 | 0 | 1525.8856 | 0 | FALSE |  |  | 0 | NULL
5.3.2 |  | CYLINDER MOUNTING STRAP - SD-CBKT-600 | SHIELD | SD-CBKT-600 | NOS | 1 | 247 | 67.3025 | 0 | 67.3025 | 0 | FALSE |  |  | 0 | NULL
5.3.3 |  | SHIELD200 (SD-HFC227EA) AGENT (PER KG) | SHIELD | SD-HFC-227ea | KG | 55 | 70 | 19.0736 | 0 | 1049.0463 | 0 | FALSE |  |  | 0 | NULL
5.3.4 |  | REMOVABLE ELECTRIC ACTUATOR C/W SUPERVISORY SWITCH, 1 INCH CONNECTION | SHIELD | SD-REA-SS | NOS | 1 | 1690 | 460.4905 | 0 | 460.4905 | 0 | FALSE |  |  | 0 | NULL
5.3.5 |  | MANUAL ACTUATOR WITH PUSH TO OPERATE | SHIELD | SD-MA0025 | NOS | 1 | 200 | 54.4959 | 0 | 54.4959 | 0 | FALSE |  |  | 0 | NULL
5.3.6 |  | DISCHARGE HOSE 2 INCH (50MM) WITH FEMALE SWIVEL FITTINGS | SHIELD | SD-DH0050 | NOS | 1 | 480 | 130.7902 | 0 | 130.7902 | 0 | FALSE |  |  | 0 | NULL
5.3.7 |  | 2 INCH (50MM) CHECK VALVE | SHIELD | SD-CV0050 | NOS | 1 | 430 | 117.1662 | 0 | 117.1662 | 0 | FALSE |  |  | 0 | NULL