## SSI
SLNO | ItemCode | ItemName | Brand | Model | UOM | Qty | UnitPriceAED | UnitPrice | Margin | Amount | Unitweight | Optional | COO | DeliveryStatus | CRMProductGroupId | CRMProductGroup
1 |  | SPRINKLER SYSTEM |  |  |  |  | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | NULL | NULL
1.1 | 10550522918 | SPRINKLER HEAD 68 DEG. PENDENT, 3/4" NPT, CHROME FINISH, QUICK RESPONSE, K-114 (8.0), UL/ULC/WATERMARK APPROVED, MODEL: SD6220 - SHIELD | SD6220 | SHIELD | NOS | 18 | 18.9 | 6 | 0 | 108 | 0 | FALSE |  |  | NULL | NULL
1.2 | 11000708050 | OS&Y GATE VALVE 2" BRONZE, 175 PSI, UL LISTED, MODEL: SDOSY-T 50, SHIELD | SDOSY-T | SHIELD | NOS | 1 | 510 | 139 | 0 | 139 | 0 | FALSE |  |  | NULL | NULL
2 |  | FIRE FIGHTING |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | NULL | NULL
2.1 |  | FIRE HOSE CABINET, SINGLE DOOR, SURFACE MOUNTED, COMPLETE MILD STEEL, 1.2MM | CUSTOM MADE | NAFFCO | NOS | 8 | 275 | 75 | 0 | 600 | 0 | FALSE |  |  | NULL | NULL
2.2 | 11080708069 | 2-1/2" PRESSURE RESTRICTING VALVE, FEMALE NPT INLET X MALE NST OUTLET, POLISHED CHROME FINISH, 175 PSI, UL/FM APPROVED, MOD: SD-PRV205 - SHIELD | SD-PRV205 | SHIELD | NOS | 8 | 320 | 88 | 0 | 704 | 0 | FALSE |  |  | NULL | NULL
2.3 | 10752610130 | FIRE HOSE (TWO LAYERS) SINGLE JACKET 2 1/2" X 30 MTR, RED COLOUR WITH ALUMINIUM QUICK COUPLING, KITEMARKED BS-6391, MODEL: NF-DH2 65R - NAFFCO | NF-DH2 65R | NAFFCO | NOS | 8 | 393 | 108 | 0 | 864 | 0 | FALSE |  |  | NULL | NULL
2.4 | 10942515060 | BRANCHPIPE JET & SPRAY FIRE HOSE NOZZLE INLET 2 1/2" BS336 MALE INSTANTANEOUS CONNECTION ALUMINUM, LEVER OPERATED CONFIRMING TO BS 15182-1&3 WITH "BS KITE MARK", MODEL: NF-FB320 - NAFFCO | NF-FB-320 | NAFFCO | NOS | 8 | 52 | 15 | 0 | 120 | 0 | FALSE |  |  | NULL | NULL
2.5 | 10111210050 | CO2 EXTINGUISHER PORTABLE TYPE, CAPACITY: 5 KG, RED COLOR, FIRE RATING: 55B, CE/KITEMARK/MED/LPCB APPROVED, MODEL: NC 5 - NAFFCO, UAE | NC 5 | NAFFCO | NOS | 14 | 171 | 47 | 0 | 658 | 0 | FALSE |  |  | NULL | NULL
2.6 | 10101210094 | DRY POWDER EXTINGUISHER, PORTABLE PRESSURE TYPE, CAPACITY 9 KG, RED COLOR, ABC 40% DRY CHEMICAL POWDER, FIRE RATING: 43A & 233B, CE/KITEMARK/MED APPROVED, MODEL: NP9 - NAFFCO, UAE. | NP9 | NAFFCO | NOS | 35 | 125 | 35 | 0 | 1225 | 0 | FALSE |  |  | NULL | NULL
2.7 | 10104210050 | DRY POWDER EXTINGUISHER, MOBILE PRESSURE TYPE, CAPACITY: 50 KG, FIRE RATING: IVB, RED COLOR, CE/LPCB/MED//BSI KITEMARK APPROVED, MODEL: NTP50 - NAFFCO, UAE | NTP50 | NAFFCO | NOS | 10 | 1150 | 314 | 0 | 3140 | 0 | FALSE |  |  | NULL | NULL
2.8 | 10185110100 | FOAM EXTINGUISHER AFFF WITH CE APPROVED CO2 EXTERNAL CARTRIDGE, MOBILE TYPE, CAPACITY: 100 LTR, RED COLOR, FIRE RATING: IVB, CE/LPCB /MED/BSI KITEMARK APPROVED, MODEL: NTFC100X - NAFFCO, UAE | NTFC100X | NAFFCO | NOS | 2 | 1380 | 377 | 0 | 754 | 0 | FALSE |  |  | NULL | NULL
2.9 | 11000108655 | OS&Y GATE VALVE 6", DUCTILE IRON BODY TO AWWA C515, RISING STEM WITH EPDM COATED RESILIENT WEDGE, FLANGED ENDS TO ANSI B16.1, CLASS 125,FF FLANGE, W/P 250 PSI , RED RAL3000 FBE COATING, UL / FM APPROVED, MODEL: SD-OSY250FF-D - SHIELD | SD-OSY250FF-D | SHIELD | NOS | 2 | 1000 | 273 | 0 | 546 | 0 | FALSE |  |  | NULL | NULL
2.10 | 10559022710 | TAMPER SWITCH (SUPERVISORY) WITH 1 X SPDT CONTACT FOR GATE VALVES, MODEL: SD-SVS OSY-1, UL/FM APPROVED - SHIELD | SD-SVS-OSY-1 | SHIELD | NOS | 2 | 167 | 46 | 0 | 92 | 0 | FALSE |  |  | NULL | NULL
2.11 | 11000108605 | OS&Y GATE VALVE 4", DUCTILE IRON BODY TO AWWA C515, RISING STEM WITH EPDM COATED RESILIENT WEDGE, FLANGED ENDS TO ANSI B16.1, CLASS 125,FF FLANGE, W/P 250 PSI , RED RAL3000 FBE COATING, UL / FM APPROVED, MODEL: SD-OSY250FF-D - SHIELD | SD-OSY250FF-D | SHIELD | NOS | 2 | 550 | 150 | 0 | 300 | 0 | FALSE |  |  | NULL | NULL
2.12 | 10559022710 | TAMPER SWITCH (SUPERVISORY) WITH 1 X SPDT CONTACT FOR GATE VALVES, MODEL: SD-SVS OSY-1, UL/FM APPROVED - SHIELD | SD-SVS-OSY-1 | SHIELD | NOS | 2 | 167 | 46 | 0 | 92 | 0 | FALSE |  |  | NULL | NULL
2.13 | 10558522530 | PRESSURE GAUGE 0-300 PSI, 3-1/2" (90MM) DIA, 1/4" BSPT END CONNECTION, WITH SS CASING, UL LISTED/FM APPROVED, MODEL.# SD-P1 - SHIELD (REF. ALTERNATE CODE 10558522531) | SD-P1 | SHIELD | NOS | 3 | 33 | 9 | 0 | 27 | 0 | FALSE |  |  | NULL | NULL
2.14 | 11140108006 | 1/4" BALL VALVE, BSP DOUBLE FEMALE THREADED, BRASS NICKEL PLATED, MODEL: SD-BVLT90 - SHIELD. | SDBLVT90 | SHIELD | NOS | 3 | 9 | 3 | 0 | 9 | 0 | FALSE |  |  | NULL | NULL
2.15 | 11900510125 | AUTOMATIC AIR RELEASE VALVE, 1" FNPT INLET X 1/2" FNPT OUTLET, 175 PSI WATER, UL/FM APPROVED, MODEL: NF-25ARV - NAFFCO | NF-25ARV | NAFFCO | NOS | 3 | 285 | 78 | 0 | 234 | 0 | FALSE |  |  | NULL | NULL
3 |  | FOAM SYSTEM |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | NULL | NULL
3.1 | 10451015550 | FOAM BLADDER TANK, HORIZONTAL TYPE, CAPACITY: 500 GLN, RED COLOUR, UL LISTED - NAFFCO, UAE. |  | NAFFCO | NOS | 1 | 40600 | 11063 | 0 | 11063 | 0 | FALSE |  |  | NULL | NULL
3.2 |  | AFFF CONCENTRATE - 3% | NF3F-C6-AFFF | NAFFCO | LITERS | 2000 | 10 | 3 | 0 | 6000 | 0 | FALSE |  |  | NULL | NULL
3.3 | 10457016065 | FIRE WATER MONITOR BRONZE CONSTRUCTION, ANSI #150, 2-1/2" F.F FLANGE AND 2-1/2" NH MALE OUTLET, FLANGE IS CAST IRON | NFM-460-65 | NAFFCO | NOS | 2 | 4500 | 1227 | 0 | 2454 | 0 | FALSE |  |  | NULL | NULL
3.4 | 10455515064 | MONITOR NOZZLE BLACK ALUMINUM CONSTRUCTION, 2-1/2" NH FEMALE SWIVEL INLET, 350 GPM AT 7 BAR FOR AFFF 3% C/W FOAM PICK UP TUBE | NF-500FNA | NAFFCO | NOS | 2 | 2500 | 682 | 0 | 1364 | 0 | FALSE |  |  | NULL | NULL
3.5 | 11050408067 | 2-1/2" GEAR OPERATED BUTTERFLY VALVE GROOVED, AMERICAN STANDARD, UL/FM APPROVED, W/TAMPER SWITCH, W/P 300 PSI, MODEL: SDBV-G300 - SHIELD | SDBV-G300 | SHIELD | NOS | 2 | 339 | 93 | 0 | 186 | 0 | FALSE |  |  | NULL | NULL
4 |  | FIRE HYDRANT SYSTEM |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | NULL | NULL
4.1 | 11703212110 | WET BARREL HYDRANT, INLET 6" FLANGED TO ANSI B16.1 CLASS125, COMPLETE D.I, 1 X 4.5" & 2 X 2.5" MALE NST WITH CAP &CHAIN, FB EPOXY PAINTED RED RAL3000, C/W 1.5" OPERATING NUT & KEY, MAX. W/P: 250PSI, UL/FM APPROVED, MODEL: 150-NFH-W - NAFFCO | 150 NFH-W | NAFFCO | NOS | 11 | 5150 | 1404 | 0 | 15444 | 0 | FALSE |  |  | NULL | NULL
4.2 | 11001308651 | GATE VALVE 6", D.I BODY TO AWWA C515, NON-RISING STEM, EPDM COATED RESILIENT WEDGE WITH HANDLE W/O POST INDICATOR FLANGE, FLANGED ENDS TO ANSI B16.1, CLASS 125, WP 200 PSI, RED RAL3000 FBE COATING, MODEL:SD-NRS200FF-D, UL/FM APPROV -SHIELD | SD-NRS200FF-D | SHIELD | NOS | 11 | 890 | 243 | 0 | 2673 | 0 | FALSE |  |  | NULL | NULL
4.3 | 11001308701 | GATE VALVE 8", D.I BODY TO AWWA C515, NON-RISING STEM, EPDM COATED RESILIENT WEDGE WITH HANDLE W/O POST INDICATOR FLANGE, FLANGED ENDS TO ANSI B16.1, CLASS 125, WP 200 PSI, RED RAL3000 FBE COATING, MODEL:SD-NRS200FF-D, UL/FM APPROV -SHIELD | SD-NRS200FF-D | SHIELD | NOS | 8 | 1480 | 404 | 0 | 3232 | 0 | FALSE |  |  | NULL | NULL
4.4 | 11702511080 | POST INDICATOR, SUITABLE FOR 4"-16", VERTICAL TYPE, UL/FM APPROVED, MODEL: SD-800 - SHIELD | SD-800 | SHIELD | NOS | 11 | 1320 | 360 | 0 | 3960 | 0 | FALSE |  |  | NULL | NULL
4.5 | 11702511080 | POST INDICATOR, SUITABLE FOR 4"-16", VERTICAL TYPE, UL/FM APPROVED, MODEL: SD-800 - SHIELD | SD-800 | SHIELD | NOS | 8 | 1320 | 360 | 0 | 2880 | 0 | FALSE |  |  | NULL | NULL
4.6 | 11611010107 | SELF STANDING TYPE FIRE HYDRANT CABINET, SOLID DOOR, MODEL: NHC/750 - NAFFCO | NHC-750 | NAFFCO | NOS | 11 | 460 | 126 | 0 | 1386 | 0 | FALSE |  |  | NULL | NULL
4.7 | 10752610130 | FIRE HOSE (TWO LAYERS) SINGLE JACKET 2 1/2" X 30 MTR, RED COLOUR WITH ALUMINIUM QUICK COUPLING, KITEMARKED BS-6391, MODEL: NF-DH2 65R - NAFFCO | NF-DH2 65R | NAFFCO | NOS | 22 | 393 | 108 | 0 | 2376 | 0 | FALSE |  |  | NULL | NULL
4.8 | 10942515060 | BRANCHPIPE JET & SPRAY FIRE HOSE NOZZLE INLET 2 1/2" BS336 MALE INSTANTANEOUS CONNECTION ALUMINUM, LEVER OPERATED CONFIRMING TO BS 15182-1&3 WITH "BS KITE MARK", MODEL: NF-FB320 - NAFFCO | NF-FB-320 | NAFFCO | NOS | 11 | 52 | 15 | 0 | 165 | 0 | FALSE |  |  | NULL | NULL
4.9 |  | HYDRANT WRENCH |  | NAFFCO | NOS | 11 | 250 | 69 | 0 | 759 | 0 | FALSE |  |  | NULL | NULL
4.10 |  | LUG SPANNER |  | NAFFCO | NOS | 11 | 250 | 69 | 0 | 759 | 0 | FALSE |  |  | NULL | NULL
4.11 |  | 2.5" RUBBER COUPLING GASKET |  | NAFFCO | NOS | 44 | 50 | 14 | 0 | 616 | 0 | FALSE |  |  | NULL | NULL
4.12 |  | FIRE WATER MONITOR BRONZE CONSTRUCTION, ANSI #150, 4" F.F FLANGE AND 2-1/2" NH MALE OUTLET, FLANGE IS CAST IRON | NFM-460-100 | NAFFCO | NOS | 4 | 4800 | 1308 | 0 | 5232 | 0 | FALSE |  |  | NULL | NULL
4.13 |  | MONITOR NOZZLE BLACK ALUMINUM CONSTRUCTION, 2-1/2" NH FEMALE SWIVEL INLET, 500 GPM AT 7 BAR FOR AFFF 3% C/W FOAM PICK UP TUBE | NF-500FNA | NAFFCO | NOS | 4 | 2500 | 682 | 0 | 2728 | 0 | FALSE |  |  | NULL | NULL
4.14 | 11050408102 | 4" GEAR OPERATED BUTTERFLY VALVE GROOVED, AMERICAN STANDARD, UL/FM APPROVED, W/TAMPER SWITCH, W/P 300 PSI, MODEL: SDBV-G300 - SHIELD | SDBV-G300 | SHIELD | NOS | 4 | 396 | 108 | 0 | 432 | 0 | FALSE |  |  | NULL | NULL