## SSI
SLNO | ItemCode | ItemName | Brand | Model | UOM | Qty | UnitPriceAED | UnitPrice | Margin | Amount | Unitweight | Optional | COO | DeliveryStatus | CRMProductId | CRMProduct
1 |  | TAG # : 1E+1D+1J [PUMP FOR DUTY POINT 1000.00 USGPM @ 6.97 BAR] | NAFFCO |  | SET | 1 | 128000 | 34878 | 0 | 34878 | 0 | FALSE |  |  | 0 | NULL
1.1 |  | FIRE PUMPS: NAFFCO (UL/FM) HORIZONTAL SPLIT CASE |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.2 |  | DRIVERS: TEFC MOTOR AND DIESEL ENGINE |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.3 |  | JOCKEY PUMP: VERTICAL MULTISTAGE - 15.85 GPM @ 7.67 BAR |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.4 |  | ELECTRIC CONTROLLER: NAFFCO (UL/FM), Y-DELTA OPEN TYPE TRANSITION, ENCLOSURE: NEMA 4 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.5 |  | DIESEL CONTROLLER: NAFFCO (UL/FM), ENCLOSURE: NEMA 4 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.6 |  | JOCKEY CONTROLLER: NAFFCO (UL), ENCLOSURE: NEMA 4 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.7 |  | ACCESSORIES: STANDARD |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
1.8 |  | SPECIAL NOTE: PROPOSED OUR MINIMUM PRESSURE AVAILABLE IN THIS UL/FM APPROVED FLOW RANGE |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
2 |  | TAG # : 1E+1D+1J [PUMP FOR DUTY POINT 1000.00 USGPM @ 130 M] |  |  | SET | 1 | 160000 | 43597 | 0 | 43597 | 0 | FALSE |  |  | 0 | NULL
2.1 |  | FIRE PUMPS: NAFFCO (UL/FM) HORIZONTAL SPLIT CASE |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
2.2 |  | DRIVERS: TEFC MOTOR AND DIESEL ENGINE |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
2.3 |  | JOCKEY PUMP: VERTICAL MULTISTAGE - 15.85 GPM @ 137 M |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
2.4 |  | ELECTRIC CONTROLLER: NAFFCO (UL/FM), Y-DELTA OPEN TYPE TRANSITION, ENCLOSURE: NEMA 4 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
2.5 |  | DIESEL CONTROLLER: NAFFCO (UL/FM), ENCLOSURE: NEMA 4 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
2.6 |  | JOCKEY CONTROLLER: NAFFCO (UL), ENCLOSURE: NEMA 4 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL
2.7 |  | ACCESSORIES: STANDARD |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | NULL