## FAWAZ
SLNO | ItemCode | ItemName | Brand | Model | UOM | Qty | UnitPriceAED | UnitPrice | Margin | Amount | Unitweight | Optional | COO | DeliveryStatus | CRMProductGroupId | CRMProductGroup
1 |  | KSC AHMADI |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | NULL | NULL
1.1 |  | MECHANICAL COMPONENTS (MAIN) |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | NULL | NULL
1.1.1 | 10340512160 | CONTAINER ASSEMBLY 140 LTR (IG100) KIT FILLED WITH MIN 99.9% NITROGEN - 300BAR, MODEL: NFIG100-300-140 FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | NF-IG100-140-300 | SET | 13 | 3830 | 1044 | 0 | 13572 | 0 | FALSE |  |  | NULL | NULL
1.1.2 | 10341512065 | PRESSURE GAUGE, M10 X 1 MALE THREADED WITH SWITCH FOR IG100 INERT GAS SYSTEM WITH 0-6100 PSI, SWITCH POINT 3743 PSI, P.N.# 029720215 FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | 029720215 | NOS | 13 | 340 | 93 | 0 | 1209 | 0 | FALSE |  |  | NULL | NULL
1.1.3 | 10341512236 | CONSTANT DISCHARGE PRESSURE REGULATOR WITH 12MM ORIFICE SIZE, MAXIMUM INLET PRESSURE 360 BAR, INLET W 21.8 X 1/14" DIN 477 & OUTLET W 21.8 X 1/14" DIN 477, P/N.# B08400003-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM (REF.# 10341512235) | NAFFCO | B08400003-NF | NOS | 13 | 600 | 164 | 0 | 2132 | 0 | FALSE |  |  | NULL | NULL
1.1.4 | 10341512133 | ELECTRO MAGNETIC DEVICE WITH DIODE, INLET THREADED TO M42 X 1.5, 24V DC, 0.5 A, IP 65 RATED, P/N.# B04425146 FOR UL LISTED FIRE SUPPRESSION SYSTEM (REFER ITEM.# 10341512136) | NAFFCO | B04425148 | NOS | 2 | 790 | 216 | 0 | 432 | 0 | FALSE |  |  | NULL | NULL
1.1.5 | 10349012810 | RESET TOOL FOR ELECTRO MAGNETIC DEVICE FOR INERT GAS SYSTEM, P/N.# 029210064 (OLD P/N.# 023000064) - NAFFCO | NAFFCO | 029210064 (023000064) | NOS | 2 | 110 | 30 | 0 | 60 | 0 | FALSE |  |  | NULL | NULL
1.1.6 | 10341512520 | MONITORING SWITCH FOR ELECTROMAGNETIC DEVICE FOR UL LISTED NAFFCOINERT SYSTEM, PART NO: 029905200-NF - NAFFCO | NAFFCO | 029905200-NF | NOS | 2 | 350 | 96 | 0 | 192 | 0 | FALSE |  |  | NULL | NULL
1.1.7 | 10341512120 | MANUAL / PNEUMATIC RELEASE DEVICE, WP 300 BAR, INLET THREADED TO M42 X 1.5, PNEUMATIC LINE CONNECTION G 1/8", P/N.# B04420065-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B04420065 | NOS | 2 | 120 | 33 | 0 | 66 | 0 | FALSE |  |  | NULL | NULL
1.1.8 | 10341512122 | PNEUMATIC RELEASE DEVICE, WP 300 BAR, INLET THREADED TO M42 X 1.5, PNEUMATIC LINE CONNECTION G 1/8", P/N.# B04420066NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B04420066 | NOS | 11 | 80 | 22 | 0 | 242 | 0 | FALSE |  |  | NULL | NULL
1.1.9 | 10343512025 | DISCHARGE HOSE, DN16, WP 350 BAR, B/P 1400 BAR, 400MM LENGTH, INLET FEMALE THREAD TO W 21.8 X 1/14" TO DIN 477 & OUTLET FEMALE THREAD TO G 3/4", P/N.# B06920225-NF FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | B06920225-NF | NOS | 13 | 180 | 50 | 0 | 650 | 0 | FALSE |  |  | NULL | NULL
1.1.10 | 10343012208 | MANIFOLD CHECK VALVE, BRASS, MAX W/P 100 BAR, TP 150 BAR, HOSE CONNECTION THREAD G3/4", MANIFOLD CONNECTION THREAD R1" DN12, P/N.# B04600008-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B04600008 | NOS | 13 | 130 | 36 | 0 | 468 | 0 | FALSE |  |  | NULL | NULL
1.1.11 | 10343512032 | PILOT HOSE, SYNTHETIC RUBBER OIL RESISTANT W/STRAIGHT FITTINGS M12 X 1.5 FEMALE THREAD IN BOTH ENDS, 700MM LONG, W/P 400 BAR, B/P 1600 BAR, TEMP RANGE: -40 C. TO 100 C, P/N.# B06920212 FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B06920212-NF | NOS | 5 | 70 | 20 | 0 | 100 | 0 | FALSE |  |  | NULL | NULL
1.1.12 | 10343512033 | PILOT HOSE, SYNTHETIC RUBBER OIL RESISTANT W/STRAIGHT FITTINGS M12 X 1.5 FEMALE THREAD IN BOTH ENDS, 500MM LONG, W/P 400 BAR, B/P 1600 BAR, TEMP RANGE: -40 C. TO 100 C, P/N.# B06920213 FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B06920213-NF | NOS | 7 | 70 | 20 | 0 | 140 | 0 | FALSE |  |  | NULL | NULL
1.1.13 | 10349012606 | CONNECTING ADAPTOR, M12 X 1.5 MALE THREADED & G 1/8" MALE THREADED, P/N.# 029510006 FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | 029510006 | NOS | 12 | 20 | 6 | 0 | 72 | 0 | FALSE |  |  | NULL | NULL
1.1.14 | 10346012640 | BLEED VALVE, P/N.# 029730040-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | 029730040 | NOS | 2 | 170 | 47 | 0 | 94 | 0 | FALSE |  |  | NULL | NULL
1.1.15 | 10344012323 | MANIFOLD FOR 3 CYLINDER NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM, 360 DIA CYLINDER, P/N.# NFIG-360-SRM3 - NAFFCO | NAFFCO | NFIG-360-SRM3 | NOS | 1 | 880 | 240 | 0 | 240 | 0 | FALSE |  |  | NULL | NULL
1.1.16 | 10344012325 | MANIFOLD FOR 5 CYLINDER NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM, 360 DIA CYLINDER, P/N.# NFIG-360-SRM5 - NAFFCO | NAFFCO | NFIG-360-SRM5 | NOS | 2 | 1060 | 289 | 0 | 578 | 0 | FALSE |  |  | NULL | NULL
1.1.17 | 10344253110 | SELECTOR VALVE 1" (25MM) W/NPT 1000 PSI SS316 C/W PNUEMATIC ACTUATOR RAT052-DA, LIMIT SWITCH IP67 RES-210N, SOLENOID 4V310-08B NAMUR-24VDC 50/60HZ FULL ASSEMBLY - NAFFCO | NAFFCO | NF-SVA25 | NOS | 1 | 680 | 186 | 0 | 186 | 0 | FALSE |  |  | NULL | NULL
1.1.18 | 10344253120 | SELECTOR VALVE 2" (50MM) W/NPT 1000 PSI SS316 C/W PNUEMATIC ACTUATOR RAT075-DA, LIMIT SWITCH IP67 RES-210N, SOLENOID 4V310-08B NAMUR-24VDC 50/60HZ FULL ASSEMBLY - NAFFCO | NAFFCO | NF-SVA50 | NOS | 1 | 1370 | 374 | 0 | 374 | 0 | FALSE |  |  | NULL | NULL
1.1.19 | 10344212380 | RACK ASSEMBLY FOR 10 CYLINDERS, DOUBLE ROW, FLOOR MOUNTING TYPE, CYLINDER DIA: 360MM, CAPACITY: 67L, 80L & 140L, PRESSURE RATING: 200 / 300BAR, MODEL: NFIG-RA02-050F FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM - NAFFCO | NAFFCO | NFIG-RA02-050F | NOS | 1 | 680 | 186 | 0 | 186 | 0 | FALSE |  |  | NULL | NULL
1.1.20 | 10344212352 | RACK ASSEMBLY FOR 2 CYLINDERS, SINGLE ROW, FLOOR MOUNTING TYPE, CYLINDER DIA: 360MM, CAPACITY: 67L, 80L & 140L, PRESSURE RATING: 200 / 300BAR, MODEL: NFIG-RA02-002F FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM - NAFFCO | NAFFCO | NFIG-RA02-002F | NOS | 1 | 460 | 126 | 0 | 126 | 0 | FALSE |  |  | NULL | NULL
1.1.21 | 1034201XXXX | DISCHARGE NOZZLE | NAFFCO | B046111XXX | NOS | 22 | 180 | 50 | 0 | 1100 | 0 | FALSE |  |  | NULL | NULL
1.1.22 | 10341512137 | PRESSURE RELIEF DEVICE FOR MANIFOLD, P/N.# 029730037 FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | 029730037 | NOS | 1 | 1900 | 518 | 0 | 518 | 0 | FALSE |  |  | NULL | NULL
1.1.23 | 10341512022 | PRESSURE & FLOW DETECTOR SWITCH, P/N.# 028250050 FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | 028250050 | NOS | 2 | 690 | 189 | 0 | 378 | 0 | FALSE |  |  | NULL | NULL
1.1.24 | 10352012025 | STOP MAINTENANCE VALVE, SIZE: DN25, THREAD SIZE: G 1" WITH CARBON STEEL HOUSING AND SS BALL C/W SUPERVISORY SWITCH, 24V DC/240V AC, PW 315BAR, P/N# B05512300-NF - NAFFCO | NAFFCO | B05512300-NF | NOS | 2 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | NULL | NULL
1.2 |  | ELECTRICAL COMPONENTS (OPTIONAL) |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | NULL | NULL
1.2.1 |  | CHEETAH XI CONTROL SYSTEM W/LEXAN INCLUDING: CHEETAH XI CONTROLLER P/N 10-2542 TRANSFORMER 120VAC P/N 02-10881 RED ENCLOSURE P/N 10-2541-R | CHEETAH Xi | 10-068-R-1-L | SET | 1 | 12000 | 3270 | 0 | 3270 | 0 | FALSE |  |  | NULL | NULL
1.2.2 | 13109925229 | REMOTE POWER SUPPLY UNIT WITH ENCLOSURE AND PCB BOARD, 10A, P/N.# 10-2829-1-0-01-0-1-01 - FIKE | FIKE | 10-2829-1-0-01-0-1-01 | NOS | 1 | 2519 | 687 | 0 | 687 | 0 | FALSE |  |  | NULL | NULL
1.2.3 | 10341512541 | RELEASING CIRCUIT DISABLE SWITCH,24V DC, UL LISTED, MODEL: RCDS-1 (POTTER) | POTTER | RCDS-1 | NOS | 1 | 225 | 62 | 0 | 62 | 0 | FALSE |  |  | NULL | NULL
1.2.4 | 13007325531 | REMOTE DISPLAY 10 BUTTONS (FRD), 24VDC, UL/FM APPROVED, P/N.# 10-2631 - FIKE | FIKE | 10-2631 | NOS | 1 | 2125 | 580 | 0 | 580 | 0 | FALSE |  |  | NULL | NULL
1.2.5 | 13101825018 | SMOKE DETECTOR, PHOTOELECTRIC WITH BUILT IN ISOLATORS (ED-PI), MODEL: 63-1058 - FIKE | FIKE | 63-1058 | NOS | 16 | 306 | 84 | 0 | 1344 | 0 | FALSE |  |  | NULL | NULL
1.2.6 | 13122825505 | EXPLOSION PROOF HEAT DETECTOR 135F, PROBE TYPE, RATE ANTICIPATED, INTERIOR USE, THERMOTECH, PART.# 60-008 - FIKE | FIKE | 60-008 | NOS | 4 | 750 | 205 | 0 | 820 | 0 | FALSE |  |  | NULL | NULL
1.2.7 | 13105025064 | ADDRESSABLE MANUAL PULL STATION WITH ISOLATOR, RED COLOR, P/N.# 20-1064 - FIKE WITH BACKBOX | FIKE | 20-1064 | NOS | 4 | 360 | 99 | 0 | 396 | 0 | FALSE |  |  | NULL | NULL
1.2.8 | 13109938065 | WEATHER PROOF COVER, SURFACE MOUNT, WITH 50MM SPACER AND GASKET SET, UL LISTED, MODEL: STI 3150 - STI | STI | STI-3150 | NOS | 4 | 292 | 80 | 0 | 320 | 0 | FALSE |  |  | NULL | NULL
1.2.9 |  | SYSTEM ABORT SWITCH, MODEL.# 20-1639, UL/FM - FIKE WITH BACKBOX | FIKE | 20-1639 | NOS | 4 | 235 | 65 | 0 | 260 | 0 | FALSE |  |  | NULL | NULL
1.2.10 | 13007138210 | HORN/STROBE, INDOOR, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, UL LISTED, MODEL : SH-HSIR - SHIELD | SHIELD | SH-HSIR | NOS | 4 | 150 | 41 | 0 | 164 | 0 | FALSE |  |  | NULL | NULL
1.2.11 | 13007138220 | HORN/STROBE, OUTDOOR, 75 FIXED CANDELA, WALL MOUNT, SHIPPED WITH GOE ENCLOSURE, RED, UL LISTED, MODEL : SH-HSOR - SHIELD | SHIELD | SH-HSOR | NOS | 4 | 215 | 59 | 0 | 236 | 0 | FALSE |  |  | NULL | NULL
1.2.12 | 13006438060 | FIRE ALARM BELL 6", MOTOR DRIVEN TYPE, RED COLOUR, 24V DC, 20-30MA CURRENT CONSUMPTION, UL LISTED, MODEL: FB1000C6, SHIELD | SHIELD | FB1000C6 | NOS | 4 | 56 | 16 | 0 | 64 | 0 | FALSE |  |  | NULL | NULL
1.2.13 |  | ILLUMINATED WARNING SIGN "DONT ENTER GAS DISCHARGED" - WEATHER PROOF | NAFFCO | SK27202/ Enclosure: 4210-0120 & Fascia Plate: 4210-013 | NOS | 4 | 2950 | 804 | 0 | 3216 | 0 | FALSE |  |  | NULL | NULL
1.2.14 |  | ILLUMINATED WARNING SIGN "DONT ENTER GAS DISCHARGED" | NAFFCO | SK27202/ Enclosure: 4210-0120 & Fascia Plate: 4210-013 | NOS | 4 | 2750 | 750 | 0 | 3000 | 0 | FALSE |  |  | NULL | NULL
1.2.15 |  | REMOTE INDICATOR | SHIELD | RA100Z | NOS | 6 | 95 | 26 | 0 | 156 | 0 | FALSE |  |  | NULL | NULL
1.2.16 | 13108425153 | RELEASING CONTROL MODULE WITH ISOLATOR (EM-1RMI), MODEL.# 55-053 - FIKE WITH BACKBOX | FIKE | 55-053 | NOS | 4 | 1180 | 322 | 0 | 1288 | 0 | FALSE |  |  | NULL | NULL
1.2.17 | 13108625050 | ADDRESSABLE MINI MONITOR MODULE WITH BUILT IN ISOLATOR (EM-1MMI), MODEL: 55-050 - FIKE WITH BACKBOX | FIKE | 55-050 | NOS | 2 | 380 | 104 | 0 | 208 | 0 | FALSE |  |  | NULL | NULL
1.2.18 | 13108625046 | ADDRESSABLE SQUARE MONITOR MODULE 4" WITH ISOLATOR (EM-1SMI), MODEL: 55-046 - FIKE WITH BACKBOX | FIKE | 55-046 | NOS | 35 | 375 | 103 | 0 | 3605 | 0 | FALSE |  |  | NULL | NULL
1.2.19 | 13108425015 | SUPERVISED CONTROL MODULE WITH BUILT IN ISOLATOR (EM-1SMI), MODEL: 55-047 - FIKE WITH BACKBOX | FIKE | 55-047 | NOS | 28 | 432 | 118 | 0 | 3304 | 0 | FALSE |  |  | NULL | NULL
1.2.20 |  | POWER SUPPLY UNIT, 24V DC, 6 AMPS |  |  | NOS | 2 | 750 | 205 | 0 | 410 | 0 | FALSE |  |  | NULL | NULL
1.2.21 |  | CRM4 RELAY MODULE WITH ISOLATOR WITH BACKBOX | FIKE | 10-2204 | NOS | 2 | 790 | 216 | 0 | 432 | 0 | FALSE |  |  | NULL | NULL
1.2.22 | 13006392143 | MAIN TO RESERVE TRANSFER SWITCH FOR SYSTEMS, MODEL: 10-1640, UL/FM APPROVED | FIKE | 10-1640 | NOS | 1 | 350 | 96 | 0 | 96 | 0 | FALSE |  |  | NULL | NULL
1.2.23 | 10341512541 | RELEASING CIRCUIT DISABLE SWITCH,24V DC, UL LISTED, MODEL: RCDS-1 (POTTER) WITH BACKBOX | POTTER | RCDS-1 | NOS | 2 | 225 | 62 | 0 | 124 | 0 | FALSE |  |  | NULL | NULL
1.2.24 |  | STATUS PANEL | FIKE | 02-13946 | NOS | 2 | 4750 | 1295 | 0 | 2590 | 0 | FALSE |  |  | NULL | NULL
1.3 |  | VESDA SYSTEM |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | NULL | NULL
1.3.1 | 13001526120 | VESDA-E VES WITH LEDS, PLASTIC ENCLOSURE, MODEL: VES-A00-P - X-TRALIS | X-TRALIS | VES-A00-P | NOS | 1 | 26400 | 7194 | 0 | 7194 | 0 | FALSE |  |  | NULL | NULL
1.3.2 | 13001526315 | POWER SUPPLY UNIT, 24V, 0.5A, MODEL: VPS-215-E5 (OLD MODEL: VPS-251-E) - X-TRALIS | X-TRALIS | VPS-215-E5 | NOS | 1 | 1750 | 477 | 0 | 477 | 0 | FALSE |  |  | NULL | NULL
1.3.3 | 13001525246 | VESDA PIPE 25MM, 3 MTR LONG/ MODEL: PIP 001 - VESDA X-TRALIS | X-TRALIS | PIP 001 | NOS | 2 | 1250 | 341 | 0 | 682 | 0 | FALSE |  |  | NULL | NULL
1.3.4 | 13001525307 | VESDA SOCKET 25MM, MODEL: PIP 002 - VESDA X-TRALIS | X-TRALIS | PIP 002 | NOS | 1 | 150 | 41 | 0 | 41 | 0 | FALSE |  |  | NULL | NULL
1.3.5 | 13001525303 | VESDA SOCKET UNION-1", MODEL: PIP-003 - X-TRALIS | X-TRALIS | PIP 003 | NOS | 1 | 350 | 96 | 0 | 96 | 0 | FALSE |  |  | NULL | NULL
1.3.6 | 13001525262 | VESDA ELBOW 90 DEG, 25MM CPVC EL, MODEL: PIP005 - X-TRALIS | X-TRALIS | PIP 005 | NOS | 1 | 250 | 69 | 0 | 69 | 0 | FALSE |  |  | NULL | NULL
1.3.7 | 13001525317 | VESDA END CAP, MODEL: PIP 007 - X-TRALIS | X-TRALIS | PIP 007 | NOS | 1 | 175 | 48 | 0 | 48 | 0 | FALSE |  |  | NULL | NULL
1.3.8 | 13001525386 | VESDA 25MM PIPE CLIP, MODEL: PIP 009 - X-TRALIS | X-TRALIS | PIP 009 | NOS | 1 | 175 | 48 | 0 | 48 | 0 | FALSE |  |  | NULL | NULL
1.3.9 | 13001525511 | VESDA LABEL SAMPLIMG POINT, (ROLL OF 100) P/N.# 128-014-XTR - X-TRALIS | X-TRALIS | 128-014 | NOS | 1 | 110 | 30 | 0 | 30 | 0 | FALSE |  |  | NULL | NULL
1.3.10 | 13001525515 | VESDA LABEL SMOKE DETECTOR PIPE, (ROLL OF 100 NOS.), P/N.# 128-015 - X-TRALIS | X-TRALIS | 128-015 | NOS | 1 | 110 | 30 | 0 | 30 | 0 | FALSE |  |  | NULL | NULL
1.3.11 | 13001525206 | VESDA FLUSH SAMPLE POINT KIT, MODEL: 059-001 - X-TRALIS | X-TRALIS | 059-001 | NOS | 30 | 110 | 30 | 0 | 900 | 0 | FALSE |  |  | NULL | NULL
1.3.12 | 13001526310 | VESDA HIL PROGRAMMER FOR COMMISSIONING, MODEL: VHX-0200 - XTRALIS | X-TRALIS | VHX-0200 | NOS | 1 | 5500 | 1499 | 0 | 1499 | 0 | FALSE |  |  | NULL | NULL
1.4 |  | MECHANICAL COMPONENTS (RESERVE) |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | NULL | NULL
1.4.1 | 10340512160 | CONTAINER ASSEMBLY 140 LTR (IG100) KIT FILLED WITH MIN 99.9% NITROGEN - 300BAR, MODEL: NFIG100-300-140 FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | NF-IG100-140-300 | SET | 13 | 3830 | 1044 | 0 | 13572 | 0 | FALSE |  |  | NULL | NULL
1.4.2 | 10341512065 | PRESSURE GAUGE, M10 X 1 MALE THREADED WITH SWITCH FOR IG100 INERT GAS SYSTEM WITH 0-6100 PSI, SWITCH POINT 3743 PSI, P.N.# 029720215 FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | 029720215 | NOS | 13 | 340 | 93 | 0 | 1209 | 0 | FALSE |  |  | NULL | NULL
1.4.3 | 10341512236 | CONSTANT DISCHARGE PRESSURE REGULATOR WITH 12MM ORIFICE SIZE, MAXIMUM INLET PRESSURE 360 BAR, INLET W 21.8 X 1/14" DIN 477 & OUTLET W 21.8 X 1/14" DIN 477, P/N.# B08400003-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM (REF.# 10341512235) | NAFFCO | B08400003-NF | NOS | 13 | 600 | 164 | 0 | 2132 | 0 | FALSE |  |  | NULL | NULL
1.4.4 | 10341512133 | ELECTRO MAGNETIC DEVICE WITH DIODE, INLET THREADED TO M42 X 1.5, 24V DC, 0.5 A, IP 65 RATED, P/N.# B04425146 FOR UL LISTED FIRE SUPPRESSION SYSTEM (REFER ITEM.# 10341512136) | NAFFCO | B04425148 | NOS | 2 | 790 | 216 | 0 | 432 | 0 | FALSE |  |  | NULL | NULL
1.4.5 | 10349012810 | RESET TOOL FOR ELECTRO MAGNETIC DEVICE FOR INERT GAS SYSTEM, P/N.# 029210064 (OLD P/N.# 023000064) - NAFFCO | NAFFCO | 029210064 (023000064) | NOS | 2 | 110 | 30 | 0 | 60 | 0 | FALSE |  |  | NULL | NULL
1.4.6 | 10341512520 | MONITORING SWITCH FOR ELECTROMAGNETIC DEVICE FOR UL LISTED NAFFCOINERT SYSTEM, PART NO: 029905200-NF - NAFFCO | NAFFCO | 029905200-NF | NOS | 2 | 350 | 96 | 0 | 192 | 0 | FALSE |  |  | NULL | NULL
1.4.7 | 10341512120 | MANUAL / PNEUMATIC RELEASE DEVICE, WP 300 BAR, INLET THREADED TO M42 X 1.5, PNEUMATIC LINE CONNECTION G 1/8", P/N.# B04420065-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B04420065 | NOS | 2 | 120 | 33 | 0 | 66 | 0 | FALSE |  |  | NULL | NULL
1.4.8 | 10341512122 | PNEUMATIC RELEASE DEVICE, WP 300 BAR, INLET THREADED TO M42 X 1.5, PNEUMATIC LINE CONNECTION G 1/8", P/N.# B04420066NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B04420066 | NOS | 11 | 80 | 22 | 0 | 242 | 0 | FALSE |  |  | NULL | NULL
1.4.9 | 10343512025 | DISCHARGE HOSE, DN16, WP 350 BAR, B/P 1400 BAR, 400MM LENGTH, INLET FEMALE THREAD TO W 21.8 X 1/14" TO DIN 477 & OUTLET FEMALE THREAD TO G 3/4", P/N.# B06920225-NF FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | B06920225-NF | NOS | 13 | 180 | 50 | 0 | 650 | 0 | FALSE |  |  | NULL | NULL
1.4.10 | 10343012208 | MANIFOLD CHECK VALVE, BRASS, MAX W/P 100 BAR, TP 150 BAR, HOSE CONNECTION THREAD G3/4", MANIFOLD CONNECTION THREAD R1" DN12, P/N.# B04600008-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B04600008 | NOS | 13 | 130 | 36 | 0 | 468 | 0 | FALSE |  |  | NULL | NULL
1.4.11 | 10343512032 | PILOT HOSE, SYNTHETIC RUBBER OIL RESISTANT W/STRAIGHT FITTINGS M12 X 1.5 FEMALE THREAD IN BOTH ENDS, 700MM LONG, W/P 400 BAR, B/P 1600 BAR, TEMP RANGE: -40 C. TO 100 C, P/N.# B06920212 FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B06920212-NF | NOS | 5 | 70 | 20 | 0 | 100 | 0 | FALSE |  |  | NULL | NULL
1.4.12 | 10343512033 | PILOT HOSE, SYNTHETIC RUBBER OIL RESISTANT W/STRAIGHT FITTINGS M12 X 1.5 FEMALE THREAD IN BOTH ENDS, 500MM LONG, W/P 400 BAR, B/P 1600 BAR, TEMP RANGE: -40 C. TO 100 C, P/N.# B06920213 FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B06920213-NF | NOS | 7 | 70 | 20 | 0 | 140 | 0 | FALSE |  |  | NULL | NULL
1.4.13 | 10349012606 | CONNECTING ADAPTOR, M12 X 1.5 MALE THREADED & G 1/8" MALE THREADED, P/N.# 029510006 FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | 029510006 | NOS | 12 | 20 | 6 | 0 | 72 | 0 | FALSE |  |  | NULL | NULL
1.4.14 | 10346012640 | BLEED VALVE, P/N.# 029730040-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | 029730040 | NOS | 2 | 170 | 47 | 0 | 94 | 0 | FALSE |  |  | NULL | NULL
1.4.15 | 10344012323 | MANIFOLD FOR 3 CYLINDER NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM, 360 DIA CYLINDER, P/N.# NFIG-360-SRM3 - NAFFCO | NAFFCO | NFIG-360-SRM3 | NOS | 1 | 880 | 240 | 0 | 240 | 0 | FALSE |  |  | NULL | NULL
1.4.16 | 10344012325 | MANIFOLD FOR 5 CYLINDER NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM, 360 DIA CYLINDER, P/N.# NFIG-360-SRM5 - NAFFCO | NAFFCO | NFIG-360-SRM5 | NOS | 2 | 1060 | 289 | 0 | 578 | 0 | FALSE |  |  | NULL | NULL
1.4.17 | 10344212380 | RACK ASSEMBLY FOR 10 CYLINDERS, DOUBLE ROW, FLOOR MOUNTING TYPE, CYLINDER DIA: 360MM, CAPACITY: 67L, 80L & 140L, PRESSURE RATING: 200 / 300BAR, MODEL: NFIG-RA02-050F FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM - NAFFCO | NAFFCO | NFIG-RA02-050F | NOS | 1 | 680 | 186 | 0 | 186 | 0 | FALSE |  |  | NULL | NULL
1.4.18 | 10344212352 | RACK ASSEMBLY FOR 2 CYLINDERS, SINGLE ROW, FLOOR MOUNTING TYPE, CYLINDER DIA: 360MM, CAPACITY: 67L, 80L & 140L, PRESSURE RATING: 200 / 300BAR, MODEL: NFIG-RA02-002F FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM - NAFFCO | NAFFCO | NFIG-RA02-002F | NOS | 1 | 460 | 126 | 0 | 126 | 0 | FALSE |  |  | NULL | NULL
1.4.19 | 15466240212 | PRESSURE RELIEF DAMPER, SIZE: 1120 X 1120 X 120MM, MODEL: SHXUN1000 - AFP | AFP | SHXUN1000 | NOS | 1 | 4500 | 1227 | 0 | 1227 | 0 | FALSE |  |  | NULL | NULL
2 |  | KSC AHMADI |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | NULL | NULL
2.1 |  | MECHANICAL COMPONENTS (MAIN) |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | NULL | NULL
2.1.1 | 10340512160 | CONTAINER ASSEMBLY 140 LTR (IG100) KIT FILLED WITH MIN 99.9% NITROGEN - 300BAR, MODEL: NFIG100-300-140 FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | NF-IG100-140-300 | SET | 7 | 3830 | 1044 | 0 | 7308 | 0 | FALSE |  |  | NULL | NULL
2.1.2 | 10341512065 | PRESSURE GAUGE, M10 X 1 MALE THREADED WITH SWITCH FOR IG100 INERT GAS SYSTEM WITH 0-6100 PSI, SWITCH POINT 3743 PSI, P.N.# 029720215 FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | 029720215 | NOS | 7 | 340 | 93 | 0 | 651 | 0 | FALSE |  |  | NULL | NULL
2.1.3 | 10341512236 | CONSTANT DISCHARGE PRESSURE REGULATOR WITH 12MM ORIFICE SIZE, MAXIMUM INLET PRESSURE 360 BAR, INLET W 21.8 X 1/14" DIN 477 & OUTLET W 21.8 X 1/14" DIN 477, P/N.# B08400003-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM (REF.# 10341512235) | NAFFCO | B08400003-NF | NOS | 7 | 600 | 164 | 0 | 1148 | 0 | FALSE |  |  | NULL | NULL
2.1.4 | 10341512133 | ELECTRO MAGNETIC DEVICE WITH DIODE, INLET THREADED TO M42 X 1.5, 24V DC, 0.5 A, IP 65 RATED, P/N.# B04425146 FOR UL LISTED FIRE SUPPRESSION SYSTEM (REFER ITEM.# 10341512136) | NAFFCO | B04425148 | NOS | 1 | 790 | 216 | 0 | 216 | 0 | FALSE |  |  | NULL | NULL
2.1.5 | 10349012810 | RESET TOOL FOR ELECTRO MAGNETIC DEVICE FOR INERT GAS SYSTEM, P/N.# 029210064 (OLD P/N.# 023000064) - NAFFCO | NAFFCO | 029210064 (023000064) | NOS | 1 | 110 | 30 | 0 | 30 | 0 | FALSE |  |  | NULL | NULL
2.1.6 | 10341512520 | MONITORING SWITCH FOR ELECTROMAGNETIC DEVICE FOR UL LISTED NAFFCOINERT SYSTEM, PART NO: 029905200-NF - NAFFCO | NAFFCO | 029905200-NF | NOS | 1 | 350 | 96 | 0 | 96 | 0 | FALSE |  |  | NULL | NULL
2.1.7 | 10341512120 | MANUAL / PNEUMATIC RELEASE DEVICE, WP 300 BAR, INLET THREADED TO M42 X 1.5, PNEUMATIC LINE CONNECTION G 1/8", P/N.# B04420065-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B04420065 | NOS | 1 | 120 | 33 | 0 | 33 | 0 | FALSE |  |  | NULL | NULL
2.1.8 | 10341512122 | PNEUMATIC RELEASE DEVICE, WP 300 BAR, INLET THREADED TO M42 X 1.5, PNEUMATIC LINE CONNECTION G 1/8", P/N.# B04420066NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B04420066 | NOS | 6 | 80 | 22 | 0 | 132 | 0 | FALSE |  |  | NULL | NULL
2.1.9 | 10343512025 | DISCHARGE HOSE, DN16, WP 350 BAR, B/P 1400 BAR, 400MM LENGTH, INLET FEMALE THREAD TO W 21.8 X 1/14" TO DIN 477 & OUTLET FEMALE THREAD TO G 3/4", P/N.# B06920225-NF FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | B06920225-NF | NOS | 7 | 180 | 50 | 0 | 350 | 0 | FALSE |  |  | NULL | NULL
2.1.10 | 10343012208 | MANIFOLD CHECK VALVE, BRASS, MAX W/P 100 BAR, TP 150 BAR, HOSE CONNECTION THREAD G3/4", MANIFOLD CONNECTION THREAD R1" DN12, P/N.# B04600008-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B04600008 | NOS | 7 | 130 | 36 | 0 | 252 | 0 | FALSE |  |  | NULL | NULL
2.1.11 | 10343512032 | PILOT HOSE, SYNTHETIC RUBBER OIL RESISTANT W/STRAIGHT FITTINGS M12 X 1.5 FEMALE THREAD IN BOTH ENDS, 700MM LONG, W/P 400 BAR, B/P 1600 BAR, TEMP RANGE: -40 C. TO 100 C, P/N.# B06920212 FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B06920212-NF | NOS | 4 | 70 | 20 | 0 | 80 | 0 | FALSE |  |  | NULL | NULL
2.1.12 | 10343512033 | PILOT HOSE, SYNTHETIC RUBBER OIL RESISTANT W/STRAIGHT FITTINGS M12 X 1.5 FEMALE THREAD IN BOTH ENDS, 500MM LONG, W/P 400 BAR, B/P 1600 BAR, TEMP RANGE: -40 C. TO 100 C, P/N.# B06920213 FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B06920213-NF | NOS | 2 | 70 | 20 | 0 | 40 | 0 | FALSE |  |  | NULL | NULL
2.1.13 | 10349012606 | CONNECTING ADAPTOR, M12 X 1.5 MALE THREADED & G 1/8" MALE THREADED, P/N.# 029510006 FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | 029510006 | NOS | 6 | 20 | 6 | 0 | 36 | 0 | FALSE |  |  | NULL | NULL
2.1.14 | 10346012640 | BLEED VALVE, P/N.# 029730040-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | 029730040 | NOS | 1 | 170 | 47 | 0 | 47 | 0 | FALSE |  |  | NULL | NULL
2.1.15 | 10344012322 | MANIFOLD FOR 2 CYLINDER NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM, 360 DIA CYLINDER, P/N.# NFIG-360-SRM2 - NAFFCO | NAFFCO | NFIG-360-SRM2 | NOS | 1 | 630 | 172 | 0 | 172 | 0 | FALSE |  |  | NULL | NULL
2.1.16 | 10344012325 | MANIFOLD FOR 5 CYLINDER NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM, 360 DIA CYLINDER, P/N.# NFIG-360-SRM5 - NAFFCO | NAFFCO | NFIG-360-SRM5 | NOS | 1 | 1060 | 289 | 0 | 289 | 0 | FALSE |  |  | NULL | NULL
2.1.17 | 10344212377 | RACK ASSEMBLY FOR 7 CYLINDERS, DOUBLE ROW, FLOOR MOUNTING TYPE, CYLINDER DIA: 360MM, CAPACITY: 67L, 80L & 140L, PRESSURE RATING: 200 / 300BAR, MODEL: NFIG-RA02-041F FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM - NAFFCO | NAFFCO | NFIG-RA02-041F | NOS | 1 | 610 | 167 | 0 | 167 | 0 | FALSE |  |  | NULL | NULL
2.1.18 | 1034201XXXX | DISCHARGE NOZZLE | NAFFCO | B046111XXX | NOS | 6 | 180 | 50 | 0 | 300 | 0 | FALSE |  |  | NULL | NULL
2.1.19 | 10341512137 | PRESSURE RELIEF DEVICE FOR MANIFOLD, P/N.# 029730037 FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | 029730037 | NOS | 1 | 1900 | 518 | 0 | 518 | 0 | FALSE |  |  | NULL | NULL
2.1.20 | 10341512022 | PRESSURE & FLOW DETECTOR SWITCH, P/N.# 028250050 FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | 028250050 | NOS | 1 | 690 | 189 | 0 | 189 | 0 | FALSE |  |  | NULL | NULL
2.1.21 | 10352012025 | STOP MAINTENANCE VALVE, SIZE: DN25, THREAD SIZE: G 1" WITH CARBON STEEL HOUSING AND SS BALL C/W SUPERVISORY SWITCH, 24V DC/240V AC, PW 315BAR, P/N# B05512300-NF - NAFFCO | NAFFCO | B05512300-NF | NOS | 1 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | NULL | NULL
2.2 |  | ELECTRICAL COMPONENTS (OPTIONAL) |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | NULL | NULL
2.2.1 |  | CHEETAH XI CONTROL SYSTEM W/LEXAN INCLUDING: CHEETAH XI CONTROLLER P/N 10-2542 TRANSFORMER 120VAC P/N 02-10881 RED ENCLOSURE P/N 10-2541-R | CHEETAH Xi | 10-068-R-1-L | SET | 1 | 12000 | 3270 | 0 | 3270 | 0 | FALSE |  |  | NULL | NULL
2.2.2 | 13109925229 | REMOTE POWER SUPPLY UNIT WITH ENCLOSURE AND PCB BOARD, 10A, P/N.# 10-2829-1-0-01-0-1-01 - FIKE | FIKE | 10-2829-1-0-01-0-1-01 | NOS | 1 | 2519 | 687 | 0 | 687 | 0 | FALSE |  |  | NULL | NULL
2.2.3 | 10341512541 | RELEASING CIRCUIT DISABLE SWITCH,24V DC, UL LISTED, MODEL: RCDS-1 (POTTER) | POTTER | RCDS-1 | NOS | 1 | 225 | 62 | 0 | 62 | 0 | FALSE |  |  | NULL | NULL
2.2.4 | 13007325531 | REMOTE DISPLAY 10 BUTTONS (FRD), 24VDC, UL/FM APPROVED, P/N.# 10-2631 - FIKE | FIKE | 10-2631 | NOS | 1 | 2125 | 580 | 0 | 580 | 0 | FALSE |  |  | NULL | NULL
2.2.5 | 13101825018 | SMOKE DETECTOR, PHOTOELECTRIC WITH BUILT IN ISOLATORS (ED-PI), MODEL: 63-1058 - FIKE | FIKE | 63-1058 | NOS | 6 | 306 | 84 | 0 | 504 | 0 | FALSE |  |  | NULL | NULL
2.2.6 | 13105025064 | ADDRESSABLE MANUAL PULL STATION WITH ISOLATOR, RED COLOR, P/N.# 20-1064 - FIKE WITH BACKBOX | FIKE | 20-1064 | NOS | 2 | 360 | 99 | 0 | 198 | 0 | FALSE |  |  | NULL | NULL
2.2.7 | 13109938065 | WEATHER PROOF COVER, SURFACE MOUNT, WITH 50MM SPACER AND GASKET SET, UL LISTED, MODEL: STI 3150 - STI | STI | STI-3150 | NOS | 2 | 292 | 80 | 0 | 160 | 0 | FALSE |  |  | NULL | NULL
2.2.8 |  | SYSTEM ABORT SWITCH, MODEL.# 20-1639, UL/FM - FIKE WITH BACKBOX | FIKE | 20-1639 | NOS | 2 | 235 | 65 | 0 | 130 | 0 | FALSE |  |  | NULL | NULL
2.2.9 | 13007138210 | HORN/STROBE, INDOOR, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, UL LISTED, MODEL : SH-HSIR - SHIELD | SHIELD | SH-HSIR | NOS | 2 | 150 | 41 | 0 | 82 | 0 | FALSE |  |  | NULL | NULL
2.2.10 | 13007138220 | HORN/STROBE, OUTDOOR, 75 FIXED CANDELA, WALL MOUNT, SHIPPED WITH GOE ENCLOSURE, RED, UL LISTED, MODEL : SH-HSOR - SHIELD | SHIELD | SH-HSOR | NOS | 2 | 215 | 59 | 0 | 118 | 0 | FALSE |  |  | NULL | NULL
2.2.11 | 13006438060 | FIRE ALARM BELL 6", MOTOR DRIVEN TYPE, RED COLOUR, 24V DC, 20-30MA CURRENT CONSUMPTION, UL LISTED, MODEL: FB1000C6, SHIELD | SHIELD | FB1000C6 | NOS | 2 | 56 | 16 | 0 | 32 | 0 | FALSE |  |  | NULL | NULL
2.2.12 |  | ILLUMINATED WARNING SIGN "DONT ENTER GAS DISCHARGED" - WEATHER PROOF | NAFFCO | SK27202/ Enclosure: 4210-0120 & Fascia Plate: 4210-013 | NOS | 2 | 2950 | 804 | 0 | 1608 | 0 | FALSE |  |  | NULL | NULL
2.2.13 |  | ILLUMINATED WARNING SIGN "DONT ENTER GAS DISCHARGED" | NAFFCO | SK27202/ Enclosure: 4210-0120 & Fascia Plate: 4210-013 | NOS | 2 | 2750 | 750 | 0 | 1500 | 0 | FALSE |  |  | NULL | NULL
2.2.14 | 13108425153 | RELEASING CONTROL MODULE WITH ISOLATOR (EM-1RMI), MODEL.# 55-053 - FIKE WITH BACKBOX | FIKE | 55-053 | NOS | 1 | 1180 | 322 | 0 | 322 | 0 | FALSE |  |  | NULL | NULL
2.2.15 | 13108625050 | ADDRESSABLE MINI MONITOR MODULE WITH BUILT IN ISOLATOR (EM-1MMI), MODEL: 55-050 - FIKE WITH BACKBOX | FIKE | 55-050 | NOS | 2 | 380 | 104 | 0 | 208 | 0 | FALSE |  |  | NULL | NULL
2.2.16 | 13108625046 | ADDRESSABLE SQUARE MONITOR MODULE 4" WITH ISOLATOR (EM-1SMI), MODEL: 55-046 - FIKE WITH BACKBOX | FIKE | 55-046 | NOS | 19 | 375 | 103 | 0 | 1957 | 0 | FALSE |  |  | NULL | NULL
2.2.17 | 13108425015 | SUPERVISED CONTROL MODULE WITH BUILT IN ISOLATOR (EM-1SMI), MODEL: 55-047 - FIKE WITH BACKBOX | FIKE | 55-047 | NOS | 14 | 432 | 118 | 0 | 1652 | 0 | FALSE |  |  | NULL | NULL
2.2.18 |  | POWER SUPPLY UNIT, 24V DC, 6 AMPS |  |  | NOS | 1 | 750 | 205 | 0 | 205 | 0 | FALSE |  |  | NULL | NULL
2.2.19 |  | CRM4 RELAY MODULE WITH ISOLATOR WITH BACKBOX | FIKE | 10-2204 | NOS | 2 | 790 | 216 | 0 | 432 | 0 | FALSE |  |  | NULL | NULL
2.2.20 | 13006392143 | MAIN TO RESERVE TRANSFER SWITCH FOR SYSTEMS, MODEL: 10-1640, UL/FM APPROVED | FIKE | 10-1640 | NOS | 1 | 350 | 96 | 0 | 96 | 0 | FALSE |  |  | NULL | NULL
2.2.21 | 10341512541 | RELEASING CIRCUIT DISABLE SWITCH,24V DC, UL LISTED, MODEL: RCDS-1 (POTTER) WITH BACKBOX | POTTER | RCDS-1 | NOS | 1 | 225 | 62 | 0 | 62 | 0 | FALSE |  |  | NULL | NULL
2.2.22 |  | STATUS PANEL | FIKE | 02-13946 | NOS | 1 | 4750 | 1295 | 0 | 1295 | 0 | FALSE |  |  | NULL | NULL
2.3 |  | VESDA SYSTEM |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | NULL | NULL
2.3.1 | 13001526120 | VESDA-E VES WITH LEDS, PLASTIC ENCLOSURE, MODEL: VES-A00-P - X-TRALIS | X-TRALIS | VES-A00-P | NOS | 1 | 26400 | 7194 | 0 | 7194 | 0 | FALSE |  |  | NULL | NULL
2.3.2 | 13001526315 | POWER SUPPLY UNIT, 24V, 0.5A, MODEL: VPS-215-E5 (OLD MODEL: VPS-251-E) - X-TRALIS | X-TRALIS | VPS-215-E5 | NOS | 1 | 1750 | 477 | 0 | 477 | 0 | FALSE |  |  | NULL | NULL
2.3.3 | 13001525246 | VESDA PIPE 25MM, 3 MTR LONG/ MODEL: PIP 001 - VESDA X-TRALIS | X-TRALIS | PIP 001 | NOS | 1 | 1250 | 341 | 0 | 341 | 0 | FALSE |  |  | NULL | NULL
2.3.4 | 13001525307 | VESDA SOCKET 25MM, MODEL: PIP 002 - VESDA X-TRALIS | X-TRALIS | PIP 002 | NOS | 1 | 150 | 41 | 0 | 41 | 0 | FALSE |  |  | NULL | NULL
2.3.5 | 13001525303 | VESDA SOCKET UNION-1", MODEL: PIP-003 - X-TRALIS | X-TRALIS | PIP 003 | NOS | 1 | 350 | 96 | 0 | 96 | 0 | FALSE |  |  | NULL | NULL
2.3.6 | 13001525262 | VESDA ELBOW 90 DEG, 25MM CPVC EL, MODEL: PIP005 - X-TRALIS | X-TRALIS | PIP 005 | NOS | 1 | 250 | 69 | 0 | 69 | 0 | FALSE |  |  | NULL | NULL
2.3.7 | 13001525317 | VESDA END CAP, MODEL: PIP 007 - X-TRALIS | X-TRALIS | PIP 007 | NOS | 1 | 175 | 48 | 0 | 48 | 0 | FALSE |  |  | NULL | NULL
2.3.8 | 13001525386 | VESDA 25MM PIPE CLIP, MODEL: PIP 009 - X-TRALIS | X-TRALIS | PIP 009 | NOS | 1 | 175 | 48 | 0 | 48 | 0 | FALSE |  |  | NULL | NULL
2.3.9 | 13001525511 | VESDA LABEL SAMPLIMG POINT, (ROLL OF 100) P/N.# 128-014-XTR - X-TRALIS | X-TRALIS | 128-014 | NOS | 1 | 110 | 30 | 0 | 30 | 0 | FALSE |  |  | NULL | NULL
2.3.10 | 13001525515 | VESDA LABEL SMOKE DETECTOR PIPE, (ROLL OF 100 NOS.), P/N.# 128-015 - X-TRALIS | X-TRALIS | 128-015 | NOS | 1 | 110 | 30 | 0 | 30 | 0 | FALSE |  |  | NULL | NULL
2.3.11 | 13001525206 | VESDA FLUSH SAMPLE POINT KIT, MODEL: 059-001 - X-TRALIS | X-TRALIS | 059-001 | NOS | 30 | 110 | 30 | 0 | 900 | 0 | FALSE |  |  | NULL | NULL
2.3.12 | 13001526310 | VESDA HIL PROGRAMMER FOR COMMISSIONING, MODEL: VHX-0200 - XTRALIS | X-TRALIS | VHX-0200 | NOS | 1 | 5500 | 1499 | 0 | 1499 | 0 | FALSE |  |  | NULL | NULL
2.4 |  | MECHANICAL COMPONENTS (RESERVE) |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | NULL | NULL
2.4.1 | 10340512160 | CONTAINER ASSEMBLY 140 LTR (IG100) KIT FILLED WITH MIN 99.9% NITROGEN - 300BAR, MODEL: NFIG100-300-140 FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | NF-IG100-140-300 | SET | 7 | 3830 | 1044 | 0 | 7308 | 0 | FALSE |  |  | NULL | NULL
2.4.2 | 10341512065 | PRESSURE GAUGE, M10 X 1 MALE THREADED WITH SWITCH FOR IG100 INERT GAS SYSTEM WITH 0-6100 PSI, SWITCH POINT 3743 PSI, P.N.# 029720215 FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | 029720215 | NOS | 7 | 340 | 93 | 0 | 651 | 0 | FALSE |  |  | NULL | NULL
2.4.3 | 10341512236 | CONSTANT DISCHARGE PRESSURE REGULATOR WITH 12MM ORIFICE SIZE, MAXIMUM INLET PRESSURE 360 BAR, INLET W 21.8 X 1/14" DIN 477 & OUTLET W 21.8 X 1/14" DIN 477, P/N.# B08400003-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM (REF.# 10341512235) | NAFFCO | B08400003-NF | NOS | 7 | 600 | 164 | 0 | 1148 | 0 | FALSE |  |  | NULL | NULL
2.4.4 | 10341512133 | ELECTRO MAGNETIC DEVICE WITH DIODE, INLET THREADED TO M42 X 1.5, 24V DC, 0.5 A, IP 65 RATED, P/N.# B04425146 FOR UL LISTED FIRE SUPPRESSION SYSTEM (REFER ITEM.# 10341512136) | NAFFCO | B04425148 | NOS | 1 | 790 | 216 | 0 | 216 | 0 | FALSE |  |  | NULL | NULL
2.4.5 | 10349012810 | RESET TOOL FOR ELECTRO MAGNETIC DEVICE FOR INERT GAS SYSTEM, P/N.# 029210064 (OLD P/N.# 023000064) - NAFFCO | NAFFCO | 029210064 (023000064) | NOS | 1 | 110 | 30 | 0 | 30 | 0 | FALSE |  |  | NULL | NULL
2.4.6 | 10341512520 | MONITORING SWITCH FOR ELECTROMAGNETIC DEVICE FOR UL LISTED NAFFCOINERT SYSTEM, PART NO: 029905200-NF - NAFFCO | NAFFCO | 029905200-NF | NOS | 1 | 350 | 96 | 0 | 96 | 0 | FALSE |  |  | NULL | NULL
2.4.7 | 10341512120 | MANUAL / PNEUMATIC RELEASE DEVICE, WP 300 BAR, INLET THREADED TO M42 X 1.5, PNEUMATIC LINE CONNECTION G 1/8", P/N.# B04420065-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B04420065 | NOS | 1 | 120 | 33 | 0 | 33 | 0 | FALSE |  |  | NULL | NULL
2.4.8 | 10341512122 | PNEUMATIC RELEASE DEVICE, WP 300 BAR, INLET THREADED TO M42 X 1.5, PNEUMATIC LINE CONNECTION G 1/8", P/N.# B04420066NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B04420066 | NOS | 6 | 80 | 22 | 0 | 132 | 0 | FALSE |  |  | NULL | NULL
2.4.9 | 10343512025 | DISCHARGE HOSE, DN16, WP 350 BAR, B/P 1400 BAR, 400MM LENGTH, INLET FEMALE THREAD TO W 21.8 X 1/14" TO DIN 477 & OUTLET FEMALE THREAD TO G 3/4", P/N.# B06920225-NF FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | B06920225-NF | NOS | 7 | 180 | 50 | 0 | 350 | 0 | FALSE |  |  | NULL | NULL
2.4.10 | 10343012208 | MANIFOLD CHECK VALVE, BRASS, MAX W/P 100 BAR, TP 150 BAR, HOSE CONNECTION THREAD G3/4", MANIFOLD CONNECTION THREAD R1" DN12, P/N.# B04600008-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B04600008 | NOS | 7 | 130 | 36 | 0 | 252 | 0 | FALSE |  |  | NULL | NULL
2.4.11 | 10343512032 | PILOT HOSE, SYNTHETIC RUBBER OIL RESISTANT W/STRAIGHT FITTINGS M12 X 1.5 FEMALE THREAD IN BOTH ENDS, 700MM LONG, W/P 400 BAR, B/P 1600 BAR, TEMP RANGE: -40 C. TO 100 C, P/N.# B06920212 FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B06920212-NF | NOS | 4 | 70 | 20 | 0 | 80 | 0 | FALSE |  |  | NULL | NULL
2.4.12 | 10343512033 | PILOT HOSE, SYNTHETIC RUBBER OIL RESISTANT W/STRAIGHT FITTINGS M12 X 1.5 FEMALE THREAD IN BOTH ENDS, 500MM LONG, W/P 400 BAR, B/P 1600 BAR, TEMP RANGE: -40 C. TO 100 C, P/N.# B06920213 FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B06920213-NF | NOS | 2 | 70 | 20 | 0 | 40 | 0 | FALSE |  |  | NULL | NULL
2.4.13 | 10349012606 | CONNECTING ADAPTOR, M12 X 1.5 MALE THREADED & G 1/8" MALE THREADED, P/N.# 029510006 FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | 029510006 | NOS | 6 | 20 | 6 | 0 | 36 | 0 | FALSE |  |  | NULL | NULL
2.4.14 | 10346012640 | BLEED VALVE, P/N.# 029730040-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | 029730040 | NOS | 1 | 170 | 47 | 0 | 47 | 0 | FALSE |  |  | NULL | NULL
2.4.15 | 10344012324 | MANIFOLD FOR 4 CYLINDER NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM, 360 DIA CYLINDER, P/N.# NFIG-360-SRM4 - NAFFCO | NAFFCO | NFIG-360-SRM4 | NOS | 1 | 880 | 240 | 0 | 240 | 0 | FALSE |  |  | NULL | NULL
2.4.16 | 10344012323 | MANIFOLD FOR 3 CYLINDER NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM, 360 DIA CYLINDER, P/N.# NFIG-360-SRM3 - NAFFCO | NAFFCO | NFIG-360-SRM3 | NOS | 1 | 880 | 240 | 0 | 240 | 0 | FALSE |  |  | NULL | NULL
2.4.17 | 10344212377 | RACK ASSEMBLY FOR 7 CYLINDERS, DOUBLE ROW, FLOOR MOUNTING TYPE, CYLINDER DIA: 360MM, CAPACITY: 67L, 80L & 140L, PRESSURE RATING: 200 / 300BAR, MODEL: NFIG-RA02-041F FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM - NAFFCO | NAFFCO | NFIG-RA02-041F | NOS | 1 | 610 | 167 | 0 | 167 | 0 | FALSE |  |  | NULL | NULL
2.4.18 | 15466240212 | PRESSURE RELIEF DAMPER, SIZE: 1120 X 1120 X 120MM, MODEL: SHXUN1000 - AFP | AFP | SHXUN1000 | NOS | 2 | 4500 | 1227 | 0 | 2454 | 0 | FALSE |  |  | NULL | NULL
3 |  | ASC WEST KUWAIT |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | NULL | NULL
3.1 |  | MECHANICAL COMPONENTS (MAIN) |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | NULL | NULL
3.1.1 | 10340512160 | CONTAINER ASSEMBLY 140 LTR (IG100) KIT FILLED WITH MIN 99.9% NITROGEN - 300BAR, MODEL: NFIG100-300-140 FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | NF-IG100-140-300 | SET | 7 | 3830 | 1044 | 0 | 7308 | 0 | FALSE |  |  | NULL | NULL
3.1.2 | 10341512065 | PRESSURE GAUGE, M10 X 1 MALE THREADED WITH SWITCH FOR IG100 INERT GAS SYSTEM WITH 0-6100 PSI, SWITCH POINT 3743 PSI, P.N.# 029720215 FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | 029720215 | NOS | 7 | 340 | 93 | 0 | 651 | 0 | FALSE |  |  | NULL | NULL
3.1.3 | 10341512236 | CONSTANT DISCHARGE PRESSURE REGULATOR WITH 12MM ORIFICE SIZE, MAXIMUM INLET PRESSURE 360 BAR, INLET W 21.8 X 1/14" DIN 477 & OUTLET W 21.8 X 1/14" DIN 477, P/N.# B08400003-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM (REF.# 10341512235) | NAFFCO | B08400003-NF | NOS | 7 | 600 | 164 | 0 | 1148 | 0 | FALSE |  |  | NULL | NULL
3.1.4 | 10341512133 | ELECTRO MAGNETIC DEVICE WITH DIODE, INLET THREADED TO M42 X 1.5, 24V DC, 0.5 A, IP 65 RATED, P/N.# B04425146 FOR UL LISTED FIRE SUPPRESSION SYSTEM (REFER ITEM.# 10341512136) | NAFFCO | B04425148 | NOS | 1 | 790 | 216 | 0 | 216 | 0 | FALSE |  |  | NULL | NULL
3.1.5 | 10349012810 | RESET TOOL FOR ELECTRO MAGNETIC DEVICE FOR INERT GAS SYSTEM, P/N.# 029210064 (OLD P/N.# 023000064) - NAFFCO | NAFFCO | 029210064 (023000064) | NOS | 1 | 110 | 30 | 0 | 30 | 0 | FALSE |  |  | NULL | NULL
3.1.6 | 10341512520 | MONITORING SWITCH FOR ELECTROMAGNETIC DEVICE FOR UL LISTED NAFFCOINERT SYSTEM, PART NO: 029905200-NF - NAFFCO | NAFFCO | 029905200-NF | NOS | 1 | 350 | 96 | 0 | 96 | 0 | FALSE |  |  | NULL | NULL
3.1.7 | 10341512120 | MANUAL / PNEUMATIC RELEASE DEVICE, WP 300 BAR, INLET THREADED TO M42 X 1.5, PNEUMATIC LINE CONNECTION G 1/8", P/N.# B04420065-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B04420065 | NOS | 1 | 120 | 33 | 0 | 33 | 0 | FALSE |  |  | NULL | NULL
3.1.8 | 10341512122 | PNEUMATIC RELEASE DEVICE, WP 300 BAR, INLET THREADED TO M42 X 1.5, PNEUMATIC LINE CONNECTION G 1/8", P/N.# B04420066NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B04420066 | NOS | 6 | 80 | 22 | 0 | 132 | 0 | FALSE |  |  | NULL | NULL
3.1.9 | 10343512025 | DISCHARGE HOSE, DN16, WP 350 BAR, B/P 1400 BAR, 400MM LENGTH, INLET FEMALE THREAD TO W 21.8 X 1/14" TO DIN 477 & OUTLET FEMALE THREAD TO G 3/4", P/N.# B06920225-NF FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | B06920225-NF | NOS | 7 | 180 | 50 | 0 | 350 | 0 | FALSE |  |  | NULL | NULL
3.1.10 | 10343012208 | MANIFOLD CHECK VALVE, BRASS, MAX W/P 100 BAR, TP 150 BAR, HOSE CONNECTION THREAD G3/4", MANIFOLD CONNECTION THREAD R1" DN12, P/N.# B04600008-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B04600008 | NOS | 7 | 130 | 36 | 0 | 252 | 0 | FALSE |  |  | NULL | NULL
3.1.11 | 10343512032 | PILOT HOSE, SYNTHETIC RUBBER OIL RESISTANT W/STRAIGHT FITTINGS M12 X 1.5 FEMALE THREAD IN BOTH ENDS, 700MM LONG, W/P 400 BAR, B/P 1600 BAR, TEMP RANGE: -40 C. TO 100 C, P/N.# B06920212 FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B06920212-NF | NOS | 4 | 70 | 20 | 0 | 80 | 0 | FALSE |  |  | NULL | NULL
3.1.12 | 10343512033 | PILOT HOSE, SYNTHETIC RUBBER OIL RESISTANT W/STRAIGHT FITTINGS M12 X 1.5 FEMALE THREAD IN BOTH ENDS, 500MM LONG, W/P 400 BAR, B/P 1600 BAR, TEMP RANGE: -40 C. TO 100 C, P/N.# B06920213 FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B06920213-NF | NOS | 2 | 70 | 20 | 0 | 40 | 0 | FALSE |  |  | NULL | NULL
3.1.13 | 10349012606 | CONNECTING ADAPTOR, M12 X 1.5 MALE THREADED & G 1/8" MALE THREADED, P/N.# 029510006 FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | 029510006 | NOS | 6 | 20 | 6 | 0 | 36 | 0 | FALSE |  |  | NULL | NULL
3.1.14 | 10346012640 | BLEED VALVE, P/N.# 029730040-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | 029730040 | NOS | 1 | 170 | 47 | 0 | 47 | 0 | FALSE |  |  | NULL | NULL
3.1.15 | 10344012322 | MANIFOLD FOR 2 CYLINDER NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM, 360 DIA CYLINDER, P/N.# NFIG-360-SRM2 - NAFFCO | NAFFCO | NFIG-360-SRM2 | NOS | 1 | 630 | 172 | 0 | 172 | 0 | FALSE |  |  | NULL | NULL
3.1.16 | 10344012325 | MANIFOLD FOR 5 CYLINDER NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM, 360 DIA CYLINDER, P/N.# NFIG-360-SRM5 - NAFFCO | NAFFCO | NFIG-360-SRM5 | NOS | 1 | 1060 | 289 | 0 | 289 | 0 | FALSE |  |  | NULL | NULL
3.1.17 | 10344212377 | RACK ASSEMBLY FOR 7 CYLINDERS, DOUBLE ROW, FLOOR MOUNTING TYPE, CYLINDER DIA: 360MM, CAPACITY: 67L, 80L & 140L, PRESSURE RATING: 200 / 300BAR, MODEL: NFIG-RA02-041F FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM - NAFFCO | NAFFCO | NFIG-RA02-041F | NOS | 1 | 610 | 167 | 0 | 167 | 0 | FALSE |  |  | NULL | NULL
3.1.18 | 1034201XXXX | DISCHARGE NOZZLE | NAFFCO | B046111XXX | NOS | 6 | 180 | 50 | 0 | 300 | 0 | FALSE |  |  | NULL | NULL
3.1.19 | 10341512137 | PRESSURE RELIEF DEVICE FOR MANIFOLD, P/N.# 029730037 FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | 029730037 | NOS | 1 | 1900 | 518 | 0 | 518 | 0 | FALSE |  |  | NULL | NULL
3.1.20 | 10341512022 | PRESSURE & FLOW DETECTOR SWITCH, P/N.# 028250050 FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | 028250050 | NOS | 1 | 690 | 189 | 0 | 189 | 0 | FALSE |  |  | NULL | NULL
3.1.21 | 10352012025 | STOP MAINTENANCE VALVE, SIZE: DN25, THREAD SIZE: G 1" WITH CARBON STEEL HOUSING AND SS BALL C/W SUPERVISORY SWITCH, 24V DC/240V AC, PW 315BAR, P/N# B05512300-NF - NAFFCO | NAFFCO | B05512300-NF | NOS | 1 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | NULL | NULL
3.2 |  | ELECTRICAL COMPONENTS (OPTIONAL) |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | NULL | NULL
3.2.1 |  | CHEETAH XI CONTROL SYSTEM W/LEXAN INCLUDING: CHEETAH XI CONTROLLER P/N 10-2542 TRANSFORMER 120VAC P/N 02-10881 RED ENCLOSURE P/N 10-2541-R | CHEETAH Xi | 10-068-R-1-L | SET | 1 | 12000 | 3270 | 0 | 3270 | 0 | FALSE |  |  | NULL | NULL
3.2.2 | 13109925229 | REMOTE POWER SUPPLY UNIT WITH ENCLOSURE AND PCB BOARD, 10A, P/N.# 10-2829-1-0-01-0-1-01 - FIKE | FIKE | 10-2829-1-0-01-0-1-01 | NOS | 1 | 2519 | 687 | 0 | 687 | 0 | FALSE |  |  | NULL | NULL
3.2.3 | 10341512541 | RELEASING CIRCUIT DISABLE SWITCH,24V DC, UL LISTED, MODEL: RCDS-1 (POTTER) | POTTER | RCDS-1 | NOS | 1 | 225 | 62 | 0 | 62 | 0 | FALSE |  |  | NULL | NULL
3.2.4 | 13007325531 | REMOTE DISPLAY 10 BUTTONS (FRD), 24VDC, UL/FM APPROVED, P/N.# 10-2631 - FIKE | FIKE | 10-2631 | NOS | 1 | 2125 | 580 | 0 | 580 | 0 | FALSE |  |  | NULL | NULL
3.2.5 | 13101825018 | SMOKE DETECTOR, PHOTOELECTRIC WITH BUILT IN ISOLATORS (ED-PI), MODEL: 63-1058 - FIKE | FIKE | 63-1058 | NOS | 6 | 306 | 84 | 0 | 504 | 0 | FALSE |  |  | NULL | NULL
3.2.6 | 13105025064 | ADDRESSABLE MANUAL PULL STATION WITH ISOLATOR, RED COLOR, P/N.# 20-1064 - FIKE WITH BACKBOX | FIKE | 20-1064 | NOS | 2 | 360 | 99 | 0 | 198 | 0 | FALSE |  |  | NULL | NULL
3.2.7 | 13109938065 | WEATHER PROOF COVER, SURFACE MOUNT, WITH 50MM SPACER AND GASKET SET, UL LISTED, MODEL: STI 3150 - STI | STI | STI-3150 | NOS | 2 | 292 | 80 | 0 | 160 | 0 | FALSE |  |  | NULL | NULL
3.2.8 |  | SYSTEM ABORT SWITCH, MODEL.# 20-1639, UL/FM - FIKE WITH BACKBOX | FIKE | 20-1639 | NOS | 2 | 235 | 65 | 0 | 130 | 0 | FALSE |  |  | NULL | NULL
3.2.9 | 13007138210 | HORN/STROBE, INDOOR, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, UL LISTED, MODEL : SH-HSIR - SHIELD | SHIELD | SH-HSIR | NOS | 2 | 150 | 41 | 0 | 82 | 0 | FALSE |  |  | NULL | NULL
3.2.10 | 13007138220 | HORN/STROBE, OUTDOOR, 75 FIXED CANDELA, WALL MOUNT, SHIPPED WITH GOE ENCLOSURE, RED, UL LISTED, MODEL : SH-HSOR - SHIELD | SHIELD | SH-HSOR | NOS | 2 | 215 | 59 | 0 | 118 | 0 | FALSE |  |  | NULL | NULL
3.2.11 | 13006438060 | FIRE ALARM BELL 6", MOTOR DRIVEN TYPE, RED COLOUR, 24V DC, 20-30MA CURRENT CONSUMPTION, UL LISTED, MODEL: FB1000C6, SHIELD | SHIELD | FB1000C6 | NOS | 2 | 56 | 16 | 0 | 32 | 0 | FALSE |  |  | NULL | NULL
3.2.12 |  | ILLUMINATED WARNING SIGN "DONT ENTER GAS DISCHARGED" - WEATHER PROOF | NAFFCO | SK27202/ Enclosure: 4210-0120 & Fascia Plate: 4210-013 | NOS | 2 | 2950 | 804 | 0 | 1608 | 0 | FALSE |  |  | NULL | NULL
3.2.13 |  | ILLUMINATED WARNING SIGN "DONT ENTER GAS DISCHARGED" | NAFFCO | SK27202/ Enclosure: 4210-0120 & Fascia Plate: 4210-013 | NOS | 2 | 2750 | 750 | 0 | 1500 | 0 | FALSE |  |  | NULL | NULL
3.2.14 | 13108425153 | RELEASING CONTROL MODULE WITH ISOLATOR (EM-1RMI), MODEL.# 55-053 - FIKE WITH BACKBOX | FIKE | 55-053 | NOS | 1 | 1180 | 322 | 0 | 322 | 0 | FALSE |  |  | NULL | NULL
3.2.15 | 13108625050 | ADDRESSABLE MINI MONITOR MODULE WITH BUILT IN ISOLATOR (EM-1MMI), MODEL: 55-050 - FIKE WITH BACKBOX | FIKE | 55-050 | NOS | 2 | 380 | 104 | 0 | 208 | 0 | FALSE |  |  | NULL | NULL
3.2.16 | 13108625046 | ADDRESSABLE SQUARE MONITOR MODULE 4" WITH ISOLATOR (EM-1SMI), MODEL: 55-046 - FIKE WITH BACKBOX | FIKE | 55-046 | NOS | 19 | 375 | 103 | 0 | 1957 | 0 | FALSE |  |  | NULL | NULL
3.2.17 | 13108425015 | SUPERVISED CONTROL MODULE WITH BUILT IN ISOLATOR (EM-1SMI), MODEL: 55-047 - FIKE WITH BACKBOX | FIKE | 55-047 | NOS | 14 | 432 | 118 | 0 | 1652 | 0 | FALSE |  |  | NULL | NULL
3.2.18 |  | POWER SUPPLY UNIT, 24V DC, 6 AMPS |  |  | NOS | 1 | 750 | 205 | 0 | 205 | 0 | FALSE |  |  | NULL | NULL
3.2.19 |  | CRM4 RELAY MODULE WITH ISOLATOR WITH BACKBOX | FIKE | 10-2204 | NOS | 2 | 790 | 216 | 0 | 432 | 0 | FALSE |  |  | NULL | NULL
3.2.20 | 13006392143 | MAIN TO RESERVE TRANSFER SWITCH FOR SYSTEMS, MODEL: 10-1640, UL/FM APPROVED | FIKE | 10-1640 | NOS | 1 | 350 | 96 | 0 | 96 | 0 | FALSE |  |  | NULL | NULL
3.2.21 | 10341512541 | RELEASING CIRCUIT DISABLE SWITCH,24V DC, UL LISTED, MODEL: RCDS-1 (POTTER) WITH BACKBOX | POTTER | RCDS-1 | NOS | 1 | 225 | 62 | 0 | 62 | 0 | FALSE |  |  | NULL | NULL
3.2.22 |  | STATUS PANEL | FIKE | 02-13946 | NOS | 1 | 4750 | 1295 | 0 | 1295 | 0 | FALSE |  |  | NULL | NULL
3.3 |  | VESDA SYSTEM |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | NULL | NULL
3.3.1 | 13001526120 | VESDA-E VES WITH LEDS, PLASTIC ENCLOSURE, MODEL: VES-A00-P - X-TRALIS | X-TRALIS | VES-A00-P | NOS | 1 | 26400 | 7194 | 0 | 7194 | 0 | FALSE |  |  | NULL | NULL
3.3.2 | 13001526315 | POWER SUPPLY UNIT, 24V, 0.5A, MODEL: VPS-215-E5 (OLD MODEL: VPS-251-E) - X-TRALIS | X-TRALIS | VPS-215-E5 | NOS | 1 | 1750 | 477 | 0 | 477 | 0 | FALSE |  |  | NULL | NULL
3.3.3 | 13001525246 | VESDA PIPE 25MM, 3 MTR LONG/ MODEL: PIP 001 - VESDA X-TRALIS | X-TRALIS | PIP 001 | NOS | 1 | 1250 | 341 | 0 | 341 | 0 | FALSE |  |  | NULL | NULL
3.3.4 | 13001525307 | VESDA SOCKET 25MM, MODEL: PIP 002 - VESDA X-TRALIS | X-TRALIS | PIP 002 | NOS | 1 | 150 | 41 | 0 | 41 | 0 | FALSE |  |  | NULL | NULL
3.3.5 | 13001525303 | VESDA SOCKET UNION-1", MODEL: PIP-003 - X-TRALIS | X-TRALIS | PIP 003 | NOS | 1 | 350 | 96 | 0 | 96 | 0 | FALSE |  |  | NULL | NULL
3.3.6 | 13001525262 | VESDA ELBOW 90 DEG, 25MM CPVC EL, MODEL: PIP005 - X-TRALIS | X-TRALIS | PIP 005 | NOS | 1 | 250 | 69 | 0 | 69 | 0 | FALSE |  |  | NULL | NULL
3.3.7 | 13001525317 | VESDA END CAP, MODEL: PIP 007 - X-TRALIS | X-TRALIS | PIP 007 | NOS | 1 | 175 | 48 | 0 | 48 | 0 | FALSE |  |  | NULL | NULL
3.3.8 | 13001525386 | VESDA 25MM PIPE CLIP, MODEL: PIP 009 - X-TRALIS | X-TRALIS | PIP 009 | NOS | 1 | 175 | 48 | 0 | 48 | 0 | FALSE |  |  | NULL | NULL
3.3.9 | 13001525511 | VESDA LABEL SAMPLIMG POINT, (ROLL OF 100) P/N.# 128-014-XTR - X-TRALIS | X-TRALIS | 128-014 | NOS | 1 | 110 | 30 | 0 | 30 | 0 | FALSE |  |  | NULL | NULL
3.3.10 | 13001525515 | VESDA LABEL SMOKE DETECTOR PIPE, (ROLL OF 100 NOS.), P/N.# 128-015 - X-TRALIS | X-TRALIS | 128-015 | NOS | 1 | 110 | 30 | 0 | 30 | 0 | FALSE |  |  | NULL | NULL
3.3.11 | 13001525206 | VESDA FLUSH SAMPLE POINT KIT, MODEL: 059-001 - X-TRALIS | X-TRALIS | 059-001 | NOS | 30 | 110 | 30 | 0 | 900 | 0 | FALSE |  |  | NULL | NULL
3.3.12 | 13001526310 | VESDA HIL PROGRAMMER FOR COMMISSIONING, MODEL: VHX-0200 - XTRALIS | X-TRALIS | VHX-0200 | NOS | 1 | 5500 | 1499 | 0 | 1499 | 0 | FALSE |  |  | NULL | NULL
3.4 |  | MECHANICAL COMPONENTS (RESERVE) |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | NULL | NULL
3.4.1 | 10340512160 | CONTAINER ASSEMBLY 140 LTR (IG100) KIT FILLED WITH MIN 99.9% NITROGEN - 300BAR, MODEL: NFIG100-300-140 FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | NF-IG100-140-300 | SET | 7 | 3830 | 1044 | 0 | 7308 | 0 | FALSE |  |  | NULL | NULL
3.4.2 | 10341512065 | PRESSURE GAUGE, M10 X 1 MALE THREADED WITH SWITCH FOR IG100 INERT GAS SYSTEM WITH 0-6100 PSI, SWITCH POINT 3743 PSI, P.N.# 029720215 FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | 029720215 | NOS | 7 | 340 | 93 | 0 | 651 | 0 | FALSE |  |  | NULL | NULL
3.4.3 | 10341512236 | CONSTANT DISCHARGE PRESSURE REGULATOR WITH 12MM ORIFICE SIZE, MAXIMUM INLET PRESSURE 360 BAR, INLET W 21.8 X 1/14" DIN 477 & OUTLET W 21.8 X 1/14" DIN 477, P/N.# B08400003-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM (REF.# 10341512235) | NAFFCO | B08400003-NF | NOS | 7 | 600 | 164 | 0 | 1148 | 0 | FALSE |  |  | NULL | NULL
3.4.4 | 10341512133 | ELECTRO MAGNETIC DEVICE WITH DIODE, INLET THREADED TO M42 X 1.5, 24V DC, 0.5 A, IP 65 RATED, P/N.# B04425146 FOR UL LISTED FIRE SUPPRESSION SYSTEM (REFER ITEM.# 10341512136) | NAFFCO | B04425148 | NOS | 1 | 790 | 216 | 0 | 216 | 0 | FALSE |  |  | NULL | NULL
3.4.5 | 10349012810 | RESET TOOL FOR ELECTRO MAGNETIC DEVICE FOR INERT GAS SYSTEM, P/N.# 029210064 (OLD P/N.# 023000064) - NAFFCO | NAFFCO | 029210064 (023000064) | NOS | 1 | 110 | 30 | 0 | 30 | 0 | FALSE |  |  | NULL | NULL
3.4.6 | 10341512520 | MONITORING SWITCH FOR ELECTROMAGNETIC DEVICE FOR UL LISTED NAFFCOINERT SYSTEM, PART NO: 029905200-NF - NAFFCO | NAFFCO | 029905200-NF | NOS | 1 | 350 | 96 | 0 | 96 | 0 | FALSE |  |  | NULL | NULL
3.4.7 | 10341512120 | MANUAL / PNEUMATIC RELEASE DEVICE, WP 300 BAR, INLET THREADED TO M42 X 1.5, PNEUMATIC LINE CONNECTION G 1/8", P/N.# B04420065-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B04420065 | NOS | 1 | 120 | 33 | 0 | 33 | 0 | FALSE |  |  | NULL | NULL
3.4.8 | 10341512122 | PNEUMATIC RELEASE DEVICE, WP 300 BAR, INLET THREADED TO M42 X 1.5, PNEUMATIC LINE CONNECTION G 1/8", P/N.# B04420066NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B04420066 | NOS | 6 | 80 | 22 | 0 | 132 | 0 | FALSE |  |  | NULL | NULL
3.4.9 | 10343512025 | DISCHARGE HOSE, DN16, WP 350 BAR, B/P 1400 BAR, 400MM LENGTH, INLET FEMALE THREAD TO W 21.8 X 1/14" TO DIN 477 & OUTLET FEMALE THREAD TO G 3/4", P/N.# B06920225-NF FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | B06920225-NF | NOS | 7 | 180 | 50 | 0 | 350 | 0 | FALSE |  |  | NULL | NULL
3.4.10 | 10343012208 | MANIFOLD CHECK VALVE, BRASS, MAX W/P 100 BAR, TP 150 BAR, HOSE CONNECTION THREAD G3/4", MANIFOLD CONNECTION THREAD R1" DN12, P/N.# B04600008-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B04600008 | NOS | 7 | 130 | 36 | 0 | 252 | 0 | FALSE |  |  | NULL | NULL
3.4.11 | 10343512032 | PILOT HOSE, SYNTHETIC RUBBER OIL RESISTANT W/STRAIGHT FITTINGS M12 X 1.5 FEMALE THREAD IN BOTH ENDS, 700MM LONG, W/P 400 BAR, B/P 1600 BAR, TEMP RANGE: -40 C. TO 100 C, P/N.# B06920212 FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B06920212-NF | NOS | 4 | 70 | 20 | 0 | 80 | 0 | FALSE |  |  | NULL | NULL
3.4.12 | 10343512033 | PILOT HOSE, SYNTHETIC RUBBER OIL RESISTANT W/STRAIGHT FITTINGS M12 X 1.5 FEMALE THREAD IN BOTH ENDS, 500MM LONG, W/P 400 BAR, B/P 1600 BAR, TEMP RANGE: -40 C. TO 100 C, P/N.# B06920213 FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B06920213-NF | NOS | 2 | 70 | 20 | 0 | 40 | 0 | FALSE |  |  | NULL | NULL
3.4.13 | 10349012606 | CONNECTING ADAPTOR, M12 X 1.5 MALE THREADED & G 1/8" MALE THREADED, P/N.# 029510006 FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | 029510006 | NOS | 6 | 20 | 6 | 0 | 36 | 0 | FALSE |  |  | NULL | NULL
3.4.14 | 10346012640 | BLEED VALVE, P/N.# 029730040-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | 029730040 | NOS | 1 | 170 | 47 | 0 | 47 | 0 | FALSE |  |  | NULL | NULL
3.4.15 | 10344012322 | MANIFOLD FOR 2 CYLINDER NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM, 360 DIA CYLINDER, P/N.# NFIG-360-SRM2 - NAFFCO | NAFFCO | NFIG-360-SRM2 | NOS | 1 | 630 | 172 | 0 | 172 | 0 | FALSE |  |  | NULL | NULL
3.4.16 | 10344012325 | MANIFOLD FOR 5 CYLINDER NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM, 360 DIA CYLINDER, P/N.# NFIG-360-SRM5 - NAFFCO | NAFFCO | NFIG-360-SRM5 | NOS | 1 | 1060 | 289 | 0 | 289 | 0 | FALSE |  |  | NULL | NULL
3.4.17 | 10344212377 | RACK ASSEMBLY FOR 7 CYLINDERS, DOUBLE ROW, FLOOR MOUNTING TYPE, CYLINDER DIA: 360MM, CAPACITY: 67L, 80L & 140L, PRESSURE RATING: 200 / 300BAR, MODEL: NFIG-RA02-041F FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM - NAFFCO | NAFFCO | NFIG-RA02-041F | NOS | 1 | 610 | 167 | 0 | 167 | 0 | FALSE |  |  | NULL | NULL
3.4.18 | 15466240212 | PRESSURE RELIEF DAMPER, SIZE: 1120 X 1120 X 120MM, MODEL: SHXUN1000 - AFP | AFP | SHXUN1000 | NOS | 2 | 4500 | 1227 | 0 | 2454 | 0 | FALSE |  |  | NULL | NULL
4 |  | ASC NORTH KUWAIT |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | NULL | NULL
4.1 |  | MECHANICAL COMPONENTS (MAIN) |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | NULL | NULL
4.1.1 | 10340512160 | CONTAINER ASSEMBLY 140 LTR (IG100) KIT FILLED WITH MIN 99.9% NITROGEN - 300BAR, MODEL: NFIG100-300-140 FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | NF-IG100-140-300 | SET | 7 | 3830 | 1044 | 0 | 7308 | 0 | FALSE |  |  | NULL | NULL
4.1.2 | 10341512065 | PRESSURE GAUGE, M10 X 1 MALE THREADED WITH SWITCH FOR IG100 INERT GAS SYSTEM WITH 0-6100 PSI, SWITCH POINT 3743 PSI, P.N.# 029720215 FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | 029720215 | NOS | 7 | 340 | 93 | 0 | 651 | 0 | FALSE |  |  | NULL | NULL
4.1.3 | 10341512236 | CONSTANT DISCHARGE PRESSURE REGULATOR WITH 12MM ORIFICE SIZE, MAXIMUM INLET PRESSURE 360 BAR, INLET W 21.8 X 1/14" DIN 477 & OUTLET W 21.8 X 1/14" DIN 477, P/N.# B08400003-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM (REF.# 10341512235) | NAFFCO | B08400003-NF | NOS | 7 | 600 | 164 | 0 | 1148 | 0 | FALSE |  |  | NULL | NULL
4.1.4 | 10341512133 | ELECTRO MAGNETIC DEVICE WITH DIODE, INLET THREADED TO M42 X 1.5, 24V DC, 0.5 A, IP 65 RATED, P/N.# B04425146 FOR UL LISTED FIRE SUPPRESSION SYSTEM (REFER ITEM.# 10341512136) | NAFFCO | B04425148 | NOS | 1 | 790 | 216 | 0 | 216 | 0 | FALSE |  |  | NULL | NULL
4.1.5 | 10349012810 | RESET TOOL FOR ELECTRO MAGNETIC DEVICE FOR INERT GAS SYSTEM, P/N.# 029210064 (OLD P/N.# 023000064) - NAFFCO | NAFFCO | 029210064 (023000064) | NOS | 1 | 110 | 30 | 0 | 30 | 0 | FALSE |  |  | NULL | NULL
4.1.6 | 10341512520 | MONITORING SWITCH FOR ELECTROMAGNETIC DEVICE FOR UL LISTED NAFFCOINERT SYSTEM, PART NO: 029905200-NF - NAFFCO | NAFFCO | 029905200-NF | NOS | 1 | 350 | 96 | 0 | 96 | 0 | FALSE |  |  | NULL | NULL
4.1.7 | 10341512120 | MANUAL / PNEUMATIC RELEASE DEVICE, WP 300 BAR, INLET THREADED TO M42 X 1.5, PNEUMATIC LINE CONNECTION G 1/8", P/N.# B04420065-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B04420065 | NOS | 1 | 120 | 33 | 0 | 33 | 0 | FALSE |  |  | NULL | NULL
4.1.8 | 10341512122 | PNEUMATIC RELEASE DEVICE, WP 300 BAR, INLET THREADED TO M42 X 1.5, PNEUMATIC LINE CONNECTION G 1/8", P/N.# B04420066NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B04420066 | NOS | 6 | 80 | 22 | 0 | 132 | 0 | FALSE |  |  | NULL | NULL
4.1.9 | 10343512025 | DISCHARGE HOSE, DN16, WP 350 BAR, B/P 1400 BAR, 400MM LENGTH, INLET FEMALE THREAD TO W 21.8 X 1/14" TO DIN 477 & OUTLET FEMALE THREAD TO G 3/4", P/N.# B06920225-NF FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | B06920225-NF | NOS | 7 | 180 | 50 | 0 | 350 | 0 | FALSE |  |  | NULL | NULL
4.1.10 | 10343012208 | MANIFOLD CHECK VALVE, BRASS, MAX W/P 100 BAR, TP 150 BAR, HOSE CONNECTION THREAD G3/4", MANIFOLD CONNECTION THREAD R1" DN12, P/N.# B04600008-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B04600008 | NOS | 7 | 130 | 36 | 0 | 252 | 0 | FALSE |  |  | NULL | NULL
4.1.11 | 10343512032 | PILOT HOSE, SYNTHETIC RUBBER OIL RESISTANT W/STRAIGHT FITTINGS M12 X 1.5 FEMALE THREAD IN BOTH ENDS, 700MM LONG, W/P 400 BAR, B/P 1600 BAR, TEMP RANGE: -40 C. TO 100 C, P/N.# B06920212 FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B06920212-NF | NOS | 4 | 70 | 20 | 0 | 80 | 0 | FALSE |  |  | NULL | NULL
4.1.12 | 10343512033 | PILOT HOSE, SYNTHETIC RUBBER OIL RESISTANT W/STRAIGHT FITTINGS M12 X 1.5 FEMALE THREAD IN BOTH ENDS, 500MM LONG, W/P 400 BAR, B/P 1600 BAR, TEMP RANGE: -40 C. TO 100 C, P/N.# B06920213 FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B06920213-NF | NOS | 2 | 70 | 20 | 0 | 40 | 0 | FALSE |  |  | NULL | NULL
4.1.13 | 10349012606 | CONNECTING ADAPTOR, M12 X 1.5 MALE THREADED & G 1/8" MALE THREADED, P/N.# 029510006 FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | 029510006 | NOS | 6 | 20 | 6 | 0 | 36 | 0 | FALSE |  |  | NULL | NULL
4.1.14 | 10346012640 | BLEED VALVE, P/N.# 029730040-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | 029730040 | NOS | 1 | 170 | 47 | 0 | 47 | 0 | FALSE |  |  | NULL | NULL
4.1.15 | 10344012322 | MANIFOLD FOR 2 CYLINDER NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM, 360 DIA CYLINDER, P/N.# NFIG-360-SRM2 - NAFFCO | NAFFCO | NFIG-360-SRM2 | NOS | 1 | 630 | 172 | 0 | 172 | 0 | FALSE |  |  | NULL | NULL
4.1.16 | 10344012325 | MANIFOLD FOR 5 CYLINDER NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM, 360 DIA CYLINDER, P/N.# NFIG-360-SRM5 - NAFFCO | NAFFCO | NFIG-360-SRM5 | NOS | 1 | 1060 | 289 | 0 | 289 | 0 | FALSE |  |  | NULL | NULL
4.1.17 | 10344212377 | RACK ASSEMBLY FOR 7 CYLINDERS, DOUBLE ROW, FLOOR MOUNTING TYPE, CYLINDER DIA: 360MM, CAPACITY: 67L, 80L & 140L, PRESSURE RATING: 200 / 300BAR, MODEL: NFIG-RA02-041F FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM - NAFFCO | NAFFCO | NFIG-RA02-041F | NOS | 1 | 610 | 167 | 0 | 167 | 0 | FALSE |  |  | NULL | NULL
4.1.18 | 1034201XXXX | DISCHARGE NOZZLE | NAFFCO | B046111XXX | NOS | 6 | 180 | 50 | 0 | 300 | 0 | FALSE |  |  | NULL | NULL
4.1.19 | 10341512137 | PRESSURE RELIEF DEVICE FOR MANIFOLD, P/N.# 029730037 FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | 029730037 | NOS | 1 | 1900 | 518 | 0 | 518 | 0 | FALSE |  |  | NULL | NULL
4.1.20 | 10341512022 | PRESSURE & FLOW DETECTOR SWITCH, P/N.# 028250050 FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | 028250050 | NOS | 1 | 690 | 189 | 0 | 189 | 0 | FALSE |  |  | NULL | NULL
4.1.21 | 10352012025 | STOP MAINTENANCE VALVE, SIZE: DN25, THREAD SIZE: G 1" WITH CARBON STEEL HOUSING AND SS BALL C/W SUPERVISORY SWITCH, 24V DC/240V AC, PW 315BAR, P/N# B05512300-NF - NAFFCO | NAFFCO | B05512300-NF | NOS | 1 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | NULL | NULL
4.2 |  | ELECTRICAL COMPONENTS (OPTIONAL) |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | NULL | NULL
4.2.1 |  | CHEETAH XI CONTROL SYSTEM W/LEXAN INCLUDING: CHEETAH XI CONTROLLER P/N 10-2542 TRANSFORMER 120VAC P/N 02-10881 RED ENCLOSURE P/N 10-2541-R | CHEETAH Xi | 10-068-R-1-L | SET | 1 | 12000 | 3270 | 0 | 3270 | 0 | FALSE |  |  | NULL | NULL
4.2.2 | 13109925229 | REMOTE POWER SUPPLY UNIT WITH ENCLOSURE AND PCB BOARD, 10A, P/N.# 10-2829-1-0-01-0-1-01 - FIKE | FIKE | 10-2829-1-0-01-0-1-01 | NOS | 1 | 2519 | 687 | 0 | 687 | 0 | FALSE |  |  | NULL | NULL
4.2.3 | 10341512541 | RELEASING CIRCUIT DISABLE SWITCH,24V DC, UL LISTED, MODEL: RCDS-1 (POTTER) | POTTER | RCDS-1 | NOS | 1 | 225 | 62 | 0 | 62 | 0 | FALSE |  |  | NULL | NULL
4.2.4 | 13007325531 | REMOTE DISPLAY 10 BUTTONS (FRD), 24VDC, UL/FM APPROVED, P/N.# 10-2631 - FIKE | FIKE | 10-2631 | NOS | 1 | 2125 | 580 | 0 | 580 | 0 | FALSE |  |  | NULL | NULL
4.2.5 | 13101825018 | SMOKE DETECTOR, PHOTOELECTRIC WITH BUILT IN ISOLATORS (ED-PI), MODEL: 63-1058 - FIKE | FIKE | 63-1058 | NOS | 6 | 306 | 84 | 0 | 504 | 0 | FALSE |  |  | NULL | NULL
4.2.6 | 13105025064 | ADDRESSABLE MANUAL PULL STATION WITH ISOLATOR, RED COLOR, P/N.# 20-1064 - FIKE WITH BACKBOX | FIKE | 20-1064 | NOS | 2 | 360 | 99 | 0 | 198 | 0 | FALSE |  |  | NULL | NULL
4.2.7 | 13109938065 | WEATHER PROOF COVER, SURFACE MOUNT, WITH 50MM SPACER AND GASKET SET, UL LISTED, MODEL: STI 3150 - STI | STI | STI-3150 | NOS | 2 | 292 | 80 | 0 | 160 | 0 | FALSE |  |  | NULL | NULL
4.2.8 |  | SYSTEM ABORT SWITCH, MODEL.# 20-1639, UL/FM - FIKE WITH BACKBOX | FIKE | 20-1639 | NOS | 2 | 235 | 65 | 0 | 130 | 0 | FALSE |  |  | NULL | NULL
4.2.9 | 13007138210 | HORN/STROBE, INDOOR, SELECTABLE CANDELA STROBE, WALL MOUNT, RED, UL LISTED, MODEL : SH-HSIR - SHIELD | SHIELD | SH-HSIR | NOS | 2 | 150 | 41 | 0 | 82 | 0 | FALSE |  |  | NULL | NULL
4.2.10 | 13007138220 | HORN/STROBE, OUTDOOR, 75 FIXED CANDELA, WALL MOUNT, SHIPPED WITH GOE ENCLOSURE, RED, UL LISTED, MODEL : SH-HSOR - SHIELD | SHIELD | SH-HSOR | NOS | 2 | 215 | 59 | 0 | 118 | 0 | FALSE |  |  | NULL | NULL
4.2.11 | 13006438060 | FIRE ALARM BELL 6", MOTOR DRIVEN TYPE, RED COLOUR, 24V DC, 20-30MA CURRENT CONSUMPTION, UL LISTED, MODEL: FB1000C6, SHIELD | SHIELD | FB1000C6 | NOS | 2 | 56 | 16 | 0 | 32 | 0 | FALSE |  |  | NULL | NULL
4.2.12 |  | ILLUMINATED WARNING SIGN "DONT ENTER GAS DISCHARGED" - WEATHER PROOF | NAFFCO | SK27202/ Enclosure: 4210-0120 & Fascia Plate: 4210-013 | NOS | 2 | 2950 | 804 | 0 | 1608 | 0 | FALSE |  |  | NULL | NULL
4.2.13 |  | ILLUMINATED WARNING SIGN "DONT ENTER GAS DISCHARGED" | NAFFCO | SK27202/ Enclosure: 4210-0120 & Fascia Plate: 4210-013 | NOS | 2 | 2750 | 750 | 0 | 1500 | 0 | FALSE |  |  | NULL | NULL
4.2.14 | 13108425153 | RELEASING CONTROL MODULE WITH ISOLATOR (EM-1RMI), MODEL.# 55-053 - FIKE WITH BACKBOX | FIKE | 55-053 | NOS | 1 | 1180 | 322 | 0 | 322 | 0 | FALSE |  |  | NULL | NULL
4.2.15 | 13108625050 | ADDRESSABLE MINI MONITOR MODULE WITH BUILT IN ISOLATOR (EM-1MMI), MODEL: 55-050 - FIKE WITH BACKBOX | FIKE | 55-050 | NOS | 2 | 380 | 104 | 0 | 208 | 0 | FALSE |  |  | NULL | NULL
4.2.16 | 13108625046 | ADDRESSABLE SQUARE MONITOR MODULE 4" WITH ISOLATOR (EM-1SMI), MODEL: 55-046 - FIKE WITH BACKBOX | FIKE | 55-046 | NOS | 19 | 375 | 103 | 0 | 1957 | 0 | FALSE |  |  | NULL | NULL
4.2.17 | 13108425015 | SUPERVISED CONTROL MODULE WITH BUILT IN ISOLATOR (EM-1SMI), MODEL: 55-047 - FIKE WITH BACKBOX | FIKE | 55-047 | NOS | 14 | 432 | 118 | 0 | 1652 | 0 | FALSE |  |  | NULL | NULL
4.2.18 |  | POWER SUPPLY UNIT, 24V DC, 6 AMPS |  |  | NOS | 1 | 750 | 205 | 0 | 205 | 0 | FALSE |  |  | NULL | NULL
4.2.19 |  | CRM4 RELAY MODULE WITH ISOLATOR WITH BACKBOX | FIKE | 10-2204 | NOS | 2 | 790 | 216 | 0 | 432 | 0 | FALSE |  |  | NULL | NULL
4.2.20 | 13006392143 | MAIN TO RESERVE TRANSFER SWITCH FOR SYSTEMS, MODEL: 10-1640, UL/FM APPROVED | FIKE | 10-1640 | NOS | 1 | 350 | 96 | 0 | 96 | 0 | FALSE |  |  | NULL | NULL
4.2.21 | 10341512541 | RELEASING CIRCUIT DISABLE SWITCH,24V DC, UL LISTED, MODEL: RCDS-1 (POTTER) WITH BACKBOX | POTTER | RCDS-1 | NOS | 1 | 225 | 62 | 0 | 62 | 0 | FALSE |  |  | NULL | NULL
4.2.22 |  | STATUS PANEL | FIKE | 02-13946 | NOS | 1 | 4750 | 1295 | 0 | 1295 | 0 | FALSE |  |  | NULL | NULL
4.3 |  | VESDA SYSTEM |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | NULL | NULL
4.3.1 | 13001526120 | VESDA-E VES WITH LEDS, PLASTIC ENCLOSURE, MODEL: VES-A00-P - X-TRALIS | X-TRALIS | VES-A00-P | NOS | 1 | 26400 | 7194 | 0 | 7194 | 0 | FALSE |  |  | NULL | NULL
4.3.2 | 13001526315 | POWER SUPPLY UNIT, 24V, 0.5A, MODEL: VPS-215-E5 (OLD MODEL: VPS-251-E) - X-TRALIS | X-TRALIS | VPS-215-E5 | NOS | 1 | 1750 | 477 | 0 | 477 | 0 | FALSE |  |  | NULL | NULL
4.3.3 | 13001525246 | VESDA PIPE 25MM, 3 MTR LONG/ MODEL: PIP 001 - VESDA X-TRALIS | X-TRALIS | PIP 001 | NOS | 1 | 1250 | 341 | 0 | 341 | 0 | FALSE |  |  | NULL | NULL
4.3.4 | 13001525307 | VESDA SOCKET 25MM, MODEL: PIP 002 - VESDA X-TRALIS | X-TRALIS | PIP 002 | NOS | 1 | 150 | 41 | 0 | 41 | 0 | FALSE |  |  | NULL | NULL
4.3.5 | 13001525303 | VESDA SOCKET UNION-1", MODEL: PIP-003 - X-TRALIS | X-TRALIS | PIP 003 | NOS | 1 | 350 | 96 | 0 | 96 | 0 | FALSE |  |  | NULL | NULL
4.3.6 | 13001525262 | VESDA ELBOW 90 DEG, 25MM CPVC EL, MODEL: PIP005 - X-TRALIS | X-TRALIS | PIP 005 | NOS | 1 | 250 | 69 | 0 | 69 | 0 | FALSE |  |  | NULL | NULL
4.3.7 | 13001525317 | VESDA END CAP, MODEL: PIP 007 - X-TRALIS | X-TRALIS | PIP 007 | NOS | 1 | 175 | 48 | 0 | 48 | 0 | FALSE |  |  | NULL | NULL
4.3.8 | 13001525386 | VESDA 25MM PIPE CLIP, MODEL: PIP 009 - X-TRALIS | X-TRALIS | PIP 009 | NOS | 1 | 175 | 48 | 0 | 48 | 0 | FALSE |  |  | NULL | NULL
4.3.9 | 13001525511 | VESDA LABEL SAMPLIMG POINT, (ROLL OF 100) P/N.# 128-014-XTR - X-TRALIS | X-TRALIS | 128-014 | NOS | 1 | 110 | 30 | 0 | 30 | 0 | FALSE |  |  | NULL | NULL
4.3.10 | 13001525515 | VESDA LABEL SMOKE DETECTOR PIPE, (ROLL OF 100 NOS.), P/N.# 128-015 - X-TRALIS | X-TRALIS | 128-015 | NOS | 1 | 110 | 30 | 0 | 30 | 0 | FALSE |  |  | NULL | NULL
4.3.11 | 13001525206 | VESDA FLUSH SAMPLE POINT KIT, MODEL: 059-001 - X-TRALIS | X-TRALIS | 059-001 | NOS | 30 | 110 | 30 | 0 | 900 | 0 | FALSE |  |  | NULL | NULL
4.3.12 | 13001526310 | VESDA HIL PROGRAMMER FOR COMMISSIONING, MODEL: VHX-0200 - XTRALIS | X-TRALIS | VHX-0200 | NOS | 1 | 5500 | 1499 | 0 | 1499 | 0 | FALSE |  |  | NULL | NULL
4.4 |  | MECHANICAL COMPONENTS (RESERVE) |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | NULL | NULL
4.4.1 | 10340512160 | CONTAINER ASSEMBLY 140 LTR (IG100) KIT FILLED WITH MIN 99.9% NITROGEN - 300BAR, MODEL: NFIG100-300-140 FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | NF-IG100-140-300 | SET | 7 | 3830 | 1044 | 0 | 7308 | 0 | FALSE |  |  | NULL | NULL
4.4.2 | 10341512065 | PRESSURE GAUGE, M10 X 1 MALE THREADED WITH SWITCH FOR IG100 INERT GAS SYSTEM WITH 0-6100 PSI, SWITCH POINT 3743 PSI, P.N.# 029720215 FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | 029720215 | NOS | 7 | 340 | 93 | 0 | 651 | 0 | FALSE |  |  | NULL | NULL
4.4.3 | 10341512236 | CONSTANT DISCHARGE PRESSURE REGULATOR WITH 12MM ORIFICE SIZE, MAXIMUM INLET PRESSURE 360 BAR, INLET W 21.8 X 1/14" DIN 477 & OUTLET W 21.8 X 1/14" DIN 477, P/N.# B08400003-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM (REF.# 10341512235) | NAFFCO | B08400003-NF | NOS | 7 | 600 | 164 | 0 | 1148 | 0 | FALSE |  |  | NULL | NULL
4.4.4 | 10341512133 | ELECTRO MAGNETIC DEVICE WITH DIODE, INLET THREADED TO M42 X 1.5, 24V DC, 0.5 A, IP 65 RATED, P/N.# B04425146 FOR UL LISTED FIRE SUPPRESSION SYSTEM (REFER ITEM.# 10341512136) | NAFFCO | B04425148 | NOS | 1 | 790 | 216 | 0 | 216 | 0 | FALSE |  |  | NULL | NULL
4.4.5 | 10349012810 | RESET TOOL FOR ELECTRO MAGNETIC DEVICE FOR INERT GAS SYSTEM, P/N.# 029210064 (OLD P/N.# 023000064) - NAFFCO | NAFFCO | 029210064 (023000064) | NOS | 1 | 110 | 30 | 0 | 30 | 0 | FALSE |  |  | NULL | NULL
4.4.6 | 10341512520 | MONITORING SWITCH FOR ELECTROMAGNETIC DEVICE FOR UL LISTED NAFFCOINERT SYSTEM, PART NO: 029905200-NF - NAFFCO | NAFFCO | 029905200-NF | NOS | 1 | 350 | 96 | 0 | 96 | 0 | FALSE |  |  | NULL | NULL
4.4.7 | 10341512120 | MANUAL / PNEUMATIC RELEASE DEVICE, WP 300 BAR, INLET THREADED TO M42 X 1.5, PNEUMATIC LINE CONNECTION G 1/8", P/N.# B04420065-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B04420065 | NOS | 1 | 120 | 33 | 0 | 33 | 0 | FALSE |  |  | NULL | NULL
4.4.8 | 10341512122 | PNEUMATIC RELEASE DEVICE, WP 300 BAR, INLET THREADED TO M42 X 1.5, PNEUMATIC LINE CONNECTION G 1/8", P/N.# B04420066NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B04420066 | NOS | 6 | 80 | 22 | 0 | 132 | 0 | FALSE |  |  | NULL | NULL
4.4.9 | 10343512025 | DISCHARGE HOSE, DN16, WP 350 BAR, B/P 1400 BAR, 400MM LENGTH, INLET FEMALE THREAD TO W 21.8 X 1/14" TO DIN 477 & OUTLET FEMALE THREAD TO G 3/4", P/N.# B06920225-NF FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM | NAFFCO | B06920225-NF | NOS | 7 | 180 | 50 | 0 | 350 | 0 | FALSE |  |  | NULL | NULL
4.4.10 | 10343012208 | MANIFOLD CHECK VALVE, BRASS, MAX W/P 100 BAR, TP 150 BAR, HOSE CONNECTION THREAD G3/4", MANIFOLD CONNECTION THREAD R1" DN12, P/N.# B04600008-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B04600008 | NOS | 7 | 130 | 36 | 0 | 252 | 0 | FALSE |  |  | NULL | NULL
4.4.11 | 10343512032 | PILOT HOSE, SYNTHETIC RUBBER OIL RESISTANT W/STRAIGHT FITTINGS M12 X 1.5 FEMALE THREAD IN BOTH ENDS, 700MM LONG, W/P 400 BAR, B/P 1600 BAR, TEMP RANGE: -40 C. TO 100 C, P/N.# B06920212 FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B06920212-NF | NOS | 4 | 70 | 20 | 0 | 80 | 0 | FALSE |  |  | NULL | NULL
4.4.12 | 10343512033 | PILOT HOSE, SYNTHETIC RUBBER OIL RESISTANT W/STRAIGHT FITTINGS M12 X 1.5 FEMALE THREAD IN BOTH ENDS, 500MM LONG, W/P 400 BAR, B/P 1600 BAR, TEMP RANGE: -40 C. TO 100 C, P/N.# B06920213 FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | B06920213-NF | NOS | 2 | 70 | 20 | 0 | 40 | 0 | FALSE |  |  | NULL | NULL
4.4.13 | 10349012606 | CONNECTING ADAPTOR, M12 X 1.5 MALE THREADED & G 1/8" MALE THREADED, P/N.# 029510006 FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | 029510006 | NOS | 6 | 20 | 6 | 0 | 36 | 0 | FALSE |  |  | NULL | NULL
4.4.14 | 10346012640 | BLEED VALVE, P/N.# 029730040-NF FOR UL LISTED FIRE SUPPRESSION SYSTEM | NAFFCO | 029730040 | NOS | 1 | 170 | 47 | 0 | 47 | 0 | FALSE |  |  | NULL | NULL
4.4.15 | 10344012322 | MANIFOLD FOR 2 CYLINDER NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM, 360 DIA CYLINDER, P/N.# NFIG-360-SRM2 - NAFFCO | NAFFCO | NFIG-360-SRM2 | NOS | 1 | 630 | 172 | 0 | 172 | 0 | FALSE |  |  | NULL | NULL
4.4.16 | 10344012325 | MANIFOLD FOR 5 CYLINDER NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM, 360 DIA CYLINDER, P/N.# NFIG-360-SRM5 - NAFFCO | NAFFCO | NFIG-360-SRM5 | NOS | 1 | 1060 | 289 | 0 | 289 | 0 | FALSE |  |  | NULL | NULL
4.4.17 | 10344212377 | RACK ASSEMBLY FOR 7 CYLINDERS, DOUBLE ROW, FLOOR MOUNTING TYPE, CYLINDER DIA: 360MM, CAPACITY: 67L, 80L & 140L, PRESSURE RATING: 200 / 300BAR, MODEL: NFIG-RA02-041F FOR NAFFCOINERT UL CLEAN AGENT FIRE SUPPRESSION SYSTEM - NAFFCO | NAFFCO | NFIG-RA02-041F | NOS | 1 | 610 | 167 | 0 | 167 | 0 | FALSE |  |  | NULL | NULL
4.4.18 | 15466240212 | PRESSURE RELIEF DAMPER, SIZE: 1120 X 1120 X 120MM, MODEL: SHXUN1000 - AFP | AFP | SHXUN1000 | NOS | 2 | 4500 | 1227 | 0 | 2454 | 0 | FALSE |  |  | NULL | NULL