## Sheet1
SLNO | ItemCode | ItemName | Model | UOM | Qty | UnitPrice USD | UnitPrice | Margin | Amount | Unitweight | Optional | COO | DeliveryStatus | CRMProductId | CRMProduct
1 |  | FIRE FIGHTING SYSTEM - HYDRANT, MONITORS & FOAM |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0
1.1 |  | 6" x 2 Way wet type fire hydrant with monitor Carbon Steel Fabricated Model: 150 NWHM 1000 (As per the attached drawing ) | UAE | Set | 4 | 3747 | 3747 | 0 | 14988 | 0 | FALSE |  |  | 0
1.2 |  | Crash Bar Assembly (3 Pcs per Set) | UAE | Set | 4 | 681 | 681 | 0 | 2724 | 0 | FALSE |  |  | 0
1.3 |  | NRS Gate Valve 12" Class 150 Flanged, 300 PSI working UL/ULC/FM Approved-SHIELD Model: SD-NRS300FF-D | UK | Nos | 5 | 1318 | 1318 | 0 | 6590 | 0 | FALSE |  |  | 0
1.4 |  | NRS Gate Valve 10" Class 150 Flanged, 300 PSI working UL/ULC/FM Approved-SHIELD Model: SD-NRS300FF-D | UK | Nos | 2 | 838 | 838 | 0 | 1676 | 0 | FALSE |  |  | 0
1.5 |  | NRS Gate Valve 6" Class 150 Flanged, 300 PSI working UL/ULC/FM Approved-SHIELD Model: SD-NRS300FF-D | UK | Nos | 4 | 358 | 358 | 0 | 1432 | 0 | FALSE |  |  | 0
1.6 |  | Fire Hydrant Cabinet Self Standing, complete SS - Brush Finish (As per the attached drawing) Material inside the cabinet: - 2,5"x30Mtrs, Fire Hose, Model: DURALEX65 - Qty: 2 - 2,5" Fog Nozzle, Model: SD-FN65 Qty: 1 - 2.5" Male NST x Male quick coupling adaptor - Hydrant wrench - Lug spanner - Axe | UAE/UK | Set | 4 | 1056 | 1056 | 0 | 4224 | 0 | FALSE |  |  | 0
1.7 |  | Foam Master, Capacity:150 Ltr, S/Steel 316L, Yellow Painted W/Foam Inductor (NF-F160G), Foam Branchpipe (NF17), 2 Nos of 1-1/2"x 15Mtr UL/FM Fire Hose (NF-FH38 PU1), Foam:3% FILMPLUS NF3 AFFF (S.O Delvry), FM Aprovd, Model: NFM 150L- Naffco | UAE | Set | 4 | 6812 | 6812 | 0 | 27248 | 0 | FALSE |  |  | 2
1.8 |  | Foam Concentrate AFFF 3% - NF3F-C6-AFFF | UAE | Ltrs | 600 | 4 | 4 | 0 | 2400 | 0 | FALSE |  |  | 0
1.9 |  | 25KG DRY POWDER TROLLEY FIRE EXTINGUISHER KITEMARK, BSI & LPCB Model: NTP25 | UAE | Nos | 4 | 232 | 232 | 0 | 928 | 0 | FALSE |  |  | 0
1.10 |  | 5 KG CO2 FIRE EXTINGUISHER - CE,KITEMARK & MED, LPCB Model: NC 5 | UAE | Nos | 1 | 58 | 58 | 0 | 58 | 0 | FALSE |  |  | 0
1.11 |  | 9 LTR. FOAM FIRE EXTINGUSHER - CE,KITEMARK & MED Model: NF9 | UAE | Nos | 1 | 49 | 49 | 0 | 49 | 0 | FALSE |  |  | 0
2 |  | SPRAY COOLING SYSTEM AND FOAM SYSTEM - TK-08 & TK-09 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0
2.1 |  | Deluge Valve: 68P-8-ANSI150RF-DE\EL\HRV\PR-MR-PI SIZE: 8" OCV MODEL: DE\EL\HRV\PR-MR-PI FUNCTION: Electrically or Hydraulically Actuated, Anti-Columning, Manual Reset, Pressure Reducing Deluge valve BODY PATTERN: GLOBE END CONNECTION: 150# FE RF BODY/BONNET: DUCTILE IRON COATING: UV-PROTECTED, HIGH BUILT, FB EPOXY TUBING: SS FITTINGS: SS PILOTS: SS ELASTOMERS: NEOPRENE COMPONENTS INCLUDE: SS BALL VALVE; Y-STRAINER; CHECK VALVE; RESTRICTOR; DRIP VALVE; DMR; PRESSURE GAUGES; PRESSURE SWITCH; WATER GONG SOLENOID: ROTEX VOLTAGE: 24VDC ENCLOSURE: EX PROOF BODY: SS |  | Set | 4 | 7493 | 7493 | 0 | 29972 | 0 | FALSE |  |  | 0
2.2 |  | OS&Y Gate Valve 8" Class 125 Flanged, 300 PSI working UL/ULC/FM Approved-SHIELD w/ Supervisory switch Model: SD-OSY300FF-D | UK | Set | 12 | 681 | 681 | 0 | 8172 | 0 | FALSE |  |  | 0
2.3 |  | MV Spray Nozzle 1/2" BSPT/NPT Brass Finish (K-22 Deg Coverage Angle) UL Listed -Shield | UK | Nos | 160 | 10 | 10 | 0 | 1600 | 0 | FALSE |  |  | 0
2.4 |  | MV Spray Nozzle 1/2" BSPT/NPT Brass Finish (K-18 Deg Coverage Angle) UL Listed -Shield | UK | Nos | 320 | 10 | 10 | 0 | 3200 | 0 | FALSE |  |  | 0
2.5 |  | MV Spray Nozzle 1/2" BSPT/NPT Brass Finish (K-35 Deg Coverage Angle) UL Listed -Shield | UK | Nos | 120 | 10 | 10 | 0 | 1200 | 0 | FALSE |  |  | 0
2.6 |  | Pendent Sprinkler Head 1/2" 79 Deg,STD Resp, Brass Finish, UL/ULC Listed/FM Approved Model: SD1010SR | UK | Nos | 400 | 3 | 3 | 0 | 1200 | 0 | FALSE |  |  | 0
2.7 |  | Foam chamber wilth solid deflector, moc: carbon steel, 3" inlet & 6" outlate flange, flow rate: 79.25-269.72 gpm@2.8 to 7bar, orifice assembly, strainer assembly, foam making chamber, doam chamber, inspection cover, discharge pipe, outlet flange & vapour seal assembly, with stud mounting pad - Model: NF-FC80 | UAE | Set | 10 | 1035 | 1035 | 0 | 10350 | 0 | FALSE |  |  | 0
2.8 |  | Deluge Valve: 68P-8-ANSI150RF-DE\EL\HRV\PR-MR-PI SIZE: 8" OCV MODEL: DE\EL\HRV\PR-MR-PI FUNCTION: Electrically or Hydraulically Actuated, Anti-Columning, Manual Reset, Pressure Reducing Deluge valve BODY PATTERN: GLOBE END CONNECTION: 150# FE RF BODY/BONNET: DUCTILE IRON COATING: UV-PROTECTED, HIGH BUILT, FB EPOXY TUBING: SS FITTINGS: SS PILOTS: SS ELASTOMERS: NEOPRENE COMPONENTS INCLUDE: SS BALL VALVE; Y-STRAINER; CHECK VALVE; RESTRICTOR; DRIP VALVE; DMR; PRESSURE GAUGES; PRESSURE SWITCH; WATER GONG SOLENOID: ROTEX VOLTAGE: 24VDC ENCLOSURE: EX PROOF BODY: SS |  | Set | 2 | 7493 | 7493 | 0 | 14986 | 0 | FALSE |  |  | 0
2.9 |  | OS&Y Gate Valve 8" Class 125 Flanged, 300 PSI working UL/ULC/FM Approved-SHIELD w/ Tamperswitch Model: SD-OSY300FF-D | UK | Set | 6 | 698 | 698 | 0 | 4188 | 0 | FALSE |  |  | 0
2.11 |  | OS&Y Gate Valve 10" Class 125 Flanged, 300 PSI working UL/ULC/FM Approved-SHIELD w/ Tamper switch Model: SD-OSY300FF-D | UK | Set | 1 | 988 | 988 | 0 | 988 | 0 | FALSE |  |  | 0
2.12 |  | Y-Strainer 10" Class 150 Both Flanged Ends, 300 PSI working UL/ULC Approved with LISTED - consider 22 mesh - SD-YS300FF-D | UK | Nos | 1 | 817 | 817 | 0 | 817 | 0 | FALSE |  |  | 0
2.13 |  | Bronze OS & Y Gate Vlave, Threaded, 175 Psi, 2", UL/FM - SDOSY-T | UK | Nos | 1 | 174 | 174 | 0 | 174 | 0 | FALSE |  |  | 0
2.14 |  | Fabrication Cost For Manifold |  | Lot | 1 | 851 | 851 | 0 | 851 | 0 | FALSE |  |  | 0
2.15 |  | OS&Y Gate Valve 8" Class 125 Flanged, 300 PSI working UL/ULC/FM Approved-SHIELD w/ Tamper switch Model: SD-OSY300FF-D | UK | Set | 1 | 698 | 698 | 0 | 698 | 0 | FALSE |  |  | 0
2.16 |  | Y-Strainer 8" Class 150 Both Flanged Ends, 300 PSI working UL/ULC Approved with LISTED - consider 22 mesh - SD-YS300FF-D | UK | Nos | 1 | 514 | 514 | 0 | 514 | 0 | FALSE |  |  | 0
2.17 |  | Bronze OS & Y Gate Vlave, Threaded, 175 Psi, 2", UL/FM - SDOSY-T | UK | Nos | 1 | 174 | 174 | 0 | 174 | 0 | FALSE |  |  | 0
2.18 |  | Fabrication Cost For Manifold |  | Lot | 1 | 851 | 851 | 0 | 851 | 0 | FALSE |  |  | 0
2.19 |  | Pipes and fittings, Coating, Supports, Cables, etc. | UAE / INDIA/ UK | Lot | 1 | 124347 | 124347 | 0 | 124347 | 0 | FALSE |  |  | 0
3 |  | FOAM PUMP HOUSE & FIRE ALARM SYSTEM, ELECTRICAL COMPONENT |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0
3.1 |  | Atmospheric foam storage tank- Vertical, Capacity: 2500gal, Material: SS, Make: NAFFCO (2 nos) FOAM PUMP - Bronze UL Listed, 74 GPM at 203 Psi, (Required 50gpm @14 bar) 1500 RPM 1-1/2" x 1-1/2" NPT Threaded Inlet X Outlet, Drive Shaft w/Key, Model NF-FP-75 (2 nos) Diesel Engine- JU6R-UFAA29 (92HP Net @1470RPM) UL-FM Listed Engine, 12V ETS, radiator cooled - CLARKE (2 nos) Diesel foam pump controller Model: NFY-DM1-F; 12 VDC UL/FM Approved NAFFCO NEMA-2 (2 nos) Diesel tank - 100gal (2 nos) Pressure Relief Valve 1" x 1½" (Set pressure 218psi) (2 nos) Pressure sustaining valve- 1-1/2" (1 no) Pressure vacuum vent- 3" (STORGETECH) Set pressure 213psi (2 nos) 8" Inline Balanced Pressure Foam Proportioner Wafer type Without manual override Bronze - UL Listed, Model: NFIBP-B (1 no) Water Powered Ball Valve 2" with Visual indicator SS , 2", Model: NF-WPV (1 no) Skid & Piping (lot) P&ID: NF/IQ/FS/P&ID/452 (As per the attached drawing) | UAE | Set | 1 | 291821 | 291821 | 0 | 291821 | 0 | FALSE |  |  | 0
3.2 |  | Foam Concentrate AFFF 3% |  | Ltrs | 9465 | 4 | 4 | 0 | 37860 | 0 | FALSE |  |  | 0
3.3 |  | DELUGE VALVE: 68P-10-ANSI150RF-DE\EL\HRV\PR-MR-PI SIZE: 10" OCV MODEL: DE\EL\HRV\PR-MR-PI FUNCTION: Electrically or Hydraulically Actuated, Anti-Columning, Manual Reset, Pressure Reducing Deluge valve BODY PATTERN: GLOBE END CONNECTION: 150# FE RF BODY/BONNET: DUCTILE IRON COATING: UV-PROTECTED, HIGH BUILT, FB EPOXY TUBING: SS FITTINGS: SS PILOTS: SS ELASTOMERS: NEOPRENE COMPONENTS INCLUDE: SS BALL VALVE; Y-STRAINER; CHECK VALVE; RESTRICTOR; DRIP VALVE; DMR; PRESSURE GAUGES; PRESSURE SWITCH; WATER GONG SOLENOID: ROTEX VOLTAGE: 24VDC ENCLOSURE: EX PROOF BODY: SS |  | Set | 1 | 8856 | 8856 | 0 | 8856 | 0 | FALSE |  |  | 0
3.4 |  | OS&Y Gate Valve 10" Class 125 Flanged, 300 PSI working UL/ULC/FM Approved-SHIELD w/ Tamperswitch Model: SD-OSY300FF-D | UK | Set | 4 | 988 | 988 | 0 | 3952 | 0 | FALSE |  |  | 0
3.5 |  | OS&Y Gate Valve 6" Class 125 Flanged, 300 PSI working UL/ULC/FM Approved-SHIELD w/ Tamper switch Model: SD-OSY300FF-D | UK | Set | 4 | 477 | 477 | 0 | 1908 | 0 | FALSE |  |  | 0
3.6 |  | Y-Strainer 10" Class 150 Both Flanged Ends, 300 PSI working UL/ULC Approved with LISTED - SD-YS300FF-D | UK | Nos | 1 | 817 | 817 | 0 | 817 | 0 | FALSE |  |  | 0
3.7 |  | Bronze OS & Y Gate Vlave, Threaded, 175 Psi, 1", UL/FM - SDOSY-T | UK | Nos | 44 | 82 | 82 | 0 | 3608 | 0 | FALSE |  |  | 0
3.8 |  | Extinguishing control panel - 2 Loop -Cheetah Xi - FIKE- 10-68-R-2-Lwith 1 set x 24VDC back up battery 1 no x battery enclosure for 75ah - FIKE - 10-2236 1 no x CRM4 Relay module - FIKE - 10-2204 1 no x Network module - FIKE - 10-2482 | USA | Set | 2 | 2980 | 2980 | 0 | 5960 | 0 | FALSE |  |  | 0
3.9 |  | Auto Dialer - Trikidis - G17F |  | Nos | 1 | 290 | 290 | 0 | 290 | 0 | FALSE |  |  | 0
3.1 |  | 2 Loop Card - Fike - 10-2473 | USA | Nos | 1 | 426 | 426 | 0 | 426 | 0 | FALSE |  |  | 0
3.11 |  | ENCLOSURE FOR FACP - ALFANAR - 047-SB705020 | UAE | Nos | 2 | 460 | 460 | 0 | 920 | 0 | FALSE |  |  | 0
3.12 |  | FLAME DETECTOR - REZONTECH - RFD3000X |  | Nos | 12 | 2554 | 2554 | 0 | 30648 | 0 | FALSE |  |  | 0
3.13 |  | H2S GAS DETECTOR - DETECTOR OY - 'DGTec2-ex | FINLAND | Nos | 13 | 2299 | 2299 | 0 | 29887 | 0 | FALSE |  |  | 0
3.14 |  | GAS PANEL ( FOR 6NOS OF H2S) - DETECTOR OY - SCAN200EA | FINLAND | Nos | 1 | 9510 | 9510 | 0 | 9510 | 0 | FALSE |  |  | 0
3.15 |  | GAS PANEL ( FOR 7NOS OF H2S) - DETECTOR OY - SCAN200EA | FINLAND | Nos | 1 | 9510 | 9510 | 0 | 9510 | 0 | FALSE |  |  | 0
3.16 |  | ENCLOSURE FOR GAS PANEL - ALFANAR - 047-SB808030 | UAE | Nos | 2 | 528 | 528 | 0 | 1056 | 0 | FALSE |  |  | 0
3.17 |  | MANUAL CALL POINT - EXPLOSION PROOF - E2S - STEXCP8B-D-D-L-A-S-1-A-1-R | UK | Nos | 7 | 2503 | 2503 | 0 | 17521 | 0 | FALSE |  |  | 0
3.18 |  | PUSH BUTTON - FIKE - '10-2963 | JAPAN | Nos | 19 | 153 | 153 | 0 | 2907 | 0 | FALSE |  |  | 0
3.19 |  | MONITOR MODULE W/ISOLATOR BASE - FOR PUSH BUTTON - CHEETAH XI - 55-046 | JAPAN | Nos | 19 | 154 | 154 | 0 | 2926 | 0 | FALSE |  |  | 0
3.2 |  | W/P ENCLOSURE FOR PUSH BUTTON AND PUSH BUTTON MODULES - RITTAL - WM302406NC |  | Nos | 2 | 494 | 494 | 0 | 988 | 0 | FALSE |  |  | 0
3.21 |  | STROBE HORN w/p Back Box. - SYSTEM SENSOR - P2RK | MEXICO | Nos | 4 | 94 | 94 | 0 | 376 | 0 | FALSE |  |  | 0
3.22 |  | RELEASE CONTROL MODULE W/ISOLATOR BASE - CHEETAH XI - 55-053 | MEXICO | Nos | 19 | 429 | 429 | 0 | 8151 | 0 | FALSE |  |  | 0
3.23 |  | MONITOR MODULE W/ISOLATOR BASE - CHEETAH XI - 55-046 | MEXICO | Nos | 135 | 154 | 154 | 0 | 20790 | 0 | FALSE |  |  | 0
3.24 |  | CONTROL MODULE W/ISOLATOR BASE - CHEETAH XI - 55-047 | MEXICO | Nos | 4 | 153 | 153 | 0 | 612 | 0 | FALSE |  |  | 0
3.25 |  | EX-PROOF ENCLOSURE FOR MODULES - RITTAL - 9301 |  | Nos | 158 | 766 | 766 | 0 | 121028 | 0 | FALSE |  |  | 0
3.26 |  | POWER SUPPLY UNIT, 24V DC ,10 Amps - SHIELD - PSU24-10 | USA | Nos | 3 | 596 | 596 | 0 | 1788 | 0 | FALSE |  |  | 0
3.27 |  | ENCLOSURE FOR POWER SUPPLY - ALFANAR - 047-SB504020 | UAE | Nos | 3 | 426 | 426 | 0 | 1278 | 0 | FALSE |  |  | 0
3.28 |  | BACNET INTERFACE FOR 3000 POINTS - Field Server |  | Set | 1 | 6029 | 6029 | 0 | 6029 | 0 | FALSE |  |  | 0
3.29 |  | MULTI INTERFACE MODULE FOR BACKNET - '10-2583 | USA | Nos | 1 | 725 | 725 | 0 | 725 | 0 | FALSE |  |  | 0
3.3 |  | COMMUNICATION CABLE - '10-1874A | USA | Lot | 1 | 157 | 157 | 0 | 157 | 0 | FALSE |  |  | 0
3.31 |  | GRAPHIC SOFTWER PACKAGE FOR 2 PANEL - FIKE - 06-457 + PC 2 MONITOR |  | Set | 1 | 17096 | 17096 | 0 | 17096 | 0 | FALSE |  |  | 0
3.32 |  | MULTI INTERFACE MODULE FOR GRAPHIC PC - '10-2583 |  | Nos | 1 | 725 | 725 | 0 | 725 | 0 | FALSE |  |  | 0
3.33 |  | 2C *1.5 SQ.MM FIRE RESISTANT CABLE - SHIELD - SH-FRC-215-R500 | UK | Mtr | 1800 | 1 | 1 | 0 | 1800 | 0 | FALSE |  |  | 0
3.34 |  | 2C *2.5 SQ.MM FIRE RESISTANT CABLE - SHIELD - SH-FRC-225-R500 | UK | Mtr | 2500 | 2 | 2 | 0 | 5000 | 0 | FALSE |  |  | 0
4 |  | SPRAY COOLING SYSTEM AND FOAM SYSTEM - TK-010 TO TK-13 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0
4.1 |  | 68P-6-ANSI150RF-DE\EL\HRV\PR-MR-PI SIZE: 6" OCV MODEL: DE\EL\HRV\PR-MR-PI FUNCTION: Electrically or Hydraulically Actuated, Anti-Columning, Manual Reset, Pressure Reducing Deluge valve BODY PATTERN: GLOBE END CONNECTION: 150# FE RF BODY/BONNET: DUCTILE IRON COATING: UV-PROTECTED, HIGH BUILT, FB EPOXY TUBING: SS FITTINGS: SS PILOTS: SS ELASTOMERS: NEOPRENE COMPONENTS INCLUDE: SS BALL VALVE; Y-STRAINER; CHECK VALVE; RESTRICTOR; DRIP VALVE; DMR; PRESSURE GAUGES; PRESSURE SWITCH; WATER GONG SOLENOID: ROTEX VOLTAGE: 24VDC ENCLOSURE: EX PROOF BODY: SS |  | Set | 8 | 6965 | 6965 | 0 | 55720 | 0 | FALSE |  |  | 0
4.2 |  | OS&Y Gate Valve 6" Class 125 Flanged, 300 PSI working UL/ULC/FM Approved-SHIELD w/ Supervisory switch Model: SD-OSY300FF-D | UK | Set | 24 | 494 | 494 | 0 | 11856 | 0 | FALSE |  |  | 0
4.3 |  | MV Spray Nozzle 1/2" BSPT/NPT Brass Finish (K-30 Deg Coverage Angle) UL Listed -Shield | UK | Nos | 320 | 10 | 10 | 0 | 3200 | 0 | FALSE |  |  | 0
4.4 |  | MV Spray Nozzle 1/2" BSPT/NPT Brass Finish (K-18 Deg Coverage Angle) UL Listed -Shield | UK | Nos | 264 | 10 | 10 | 0 | 2640 | 0 | FALSE |  |  | 0
4.5 |  | MV Spray Nozzle 1/2" BSPT/NPT Brass Finish (K-18 Deg Coverage Angle) UL Listed -Shield | UK | Nos | 280 | 10 | 10 | 0 | 2800 | 0 | FALSE |  |  | 0
4.6 |  | Pendent Sprinkler Head 1/2" 79 Deg,STD Resp, Brass Finish, UL/ULC Listed/FM Approved Model: SD1010SR | UK | Nos | 568 | 3 | 3 | 0 | 1704 | 0 | FALSE |  |  | 0
4.7 |  | Foam chamber wilth solid deflector, moc: carbon steel, 3" inlet & 6" outlate flange, flow rate: 79.25-269.72 gpm@2.8 to 7bar, orifice assembly, strainer assembly, foam making chamber, doam chamber, inspection cover, discharge pipe, outlet flange & vapour seal assembly, with stud mounting pad - Model: NF-FC80 | UAE | Set | 20 | 1035 | 1035 | 0 | 20700 | 0 | FALSE |  |  | 0
4.8 |  | Deluge Valve: 68P-8-ANSI150RF-DE\EL\HRV\PR-MR-PI SIZE: 8" OCV MODEL: DE\EL\HRV\PR-MR-PI FUNCTION: Electrically or Hydraulically Actuated, Anti-Columning, Manual Reset, Pressure Reducing Deluge valve BODY PATTERN: GLOBE END CONNECTION: 150# FE RF BODY/BONNET: DUCTILE IRON COATING: UV-PROTECTED, HIGH BUILT, FB EPOXY TUBING: SS FITTINGS: SS PILOTS: SS ELASTOMERS: NEOPRENE COMPONENTS INCLUDE: SS BALL VALVE; Y-STRAINER; CHECK VALVE; RESTRICTOR; DRIP VALVE; DMR; PRESSURE GAUGES; PRESSURE SWITCH; WATER GONG SOLENOID: ROTEX VOLTAGE: 24VDC ENCLOSURE: EX PROOF BODY: SS |  | Set | 4 | 7493 | 7493 | 0 | 29972 | 0 | FALSE |  |  | 0
4.9 |  | OS&Y Gate Valve 8" Class 125 Flanged, 300 PSI working UL/ULC/FM Approved-SHIELD w/ Tamperswitch Model: SD-OSY300FF-D | UK | Set | 12 | 698 | 698 | 0 | 8376 | 0 | FALSE |  |  | 0
4.1 |  | OS&Y Gate Valve 10" Class 125 Flanged, 300 PSI working UL/ULC/FM Approved-SHIELD w/ Tamper switch Model: SD-OSY300FF-D | UK | Set | 1 | 988 | 988 | 0 | 988 | 0 | FALSE |  |  | 0
4.11 |  | Y-Strainer 10" Class 150 Both Flanged Ends, 300 PSI working UL/ULC Approved with LISTED - consider 22 mesh - SD-YS300FF-D | UK | Nos | 1 | 817 | 817 | 0 | 817 | 0 | FALSE |  |  | 0
4.12 |  | Bronze OS & Y Gate Vlave, Threaded, 175 Psi, 2", UL/FM - SDOSY-T | UK | Nos | 1 | 174 | 174 | 0 | 174 | 0 | FALSE |  |  | 0
4.13 |  | Fabrication Cost For Manifold |  | Lot | 1 | 851 | 851 | 0 | 851 | 0 | FALSE |  |  | 0
4.14 |  | OS&Y Gate Valve 8" Class 125 Flanged, 300 PSI working UL/ULC/FM Approved-SHIELD w/ Tamper switch Model: SD-OSY300FF-D | UK | Set | 2 | 698 | 698 | 0 | 1396 | 0 | FALSE |  |  | 0
4.15 |  | Y-Strainer 8" Class 150 Both Flanged Ends, 300 PSI working UL/ULC Approved with LISTED - consider 22 mesh - SD-YS300FF-D | UK | Nos | 2 | 514 | 514 | 0 | 1028 | 0 | FALSE |  |  | 0
4.16 |  | Bronze OS & Y Gate Vlave, Threaded, 175 Psi, 2", UL/FM - SDOSY-T | UK | Nos | 2 | 174 | 174 | 0 | 348 | 0 | FALSE |  |  | 0
4.17 |  | Fabrication Cost For Manifold |  | Lot | 2 | 851 | 851 | 0 | 1702 | 0 | FALSE |  |  | 0
4.18 |  | Pipes and fittings, Coating, Supports, Cables, etc. | UAE / INDIA/ UK | Lot | 1 | 174125 | 174125 | 0 | 174125 | 0 | FALSE |  |  | 0
5 |  | HDPE Fittings | UAE / INDIA/ UK | Lot | 1 | 190759 | 190759 | 0 | 190759 | 0 | FALSE |  |  | 0