## Sheet1
SLNO | ItemCode | ItemName | Brand | Model | UOM | Qty | UnitPrice USD | UnitPrice | Margin | Amount | Unitweight | Optional | COO | DeliveryStatus | CRMProductId | CRMProduct
1 |  | PUMP ROOM |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0
1.1 |  | 1E+1D+1J (PUMP FOR DUTY POINT 750.00 USGPM @ 181.00 PSI) 1) FIRE PUMPS: NAFFCO (UL/FM) HORIZONTAL SPLIT CASE, 2) DRIVERS: ODP MOTOR AND DIESEL ENGINE, 3) JOCKEY PUMP: VERTICAL MULTISTAGE - 50 GPM @ 191 PSI 4) ELECTRIC CONTROLLER: NAFFCO (UL/FM), Y-DELTA OPEN TYPE TRANSITION, ENCLOSURE:NEMA 2 5) DIESEL CONTROLLER: NAFFCO (UL/FM), ENCLOSURE: NEMA 2 6) JOCKEY CONTROLLER: NAFFCO (UL), ENCLOSURE: NEMA 2 7) ACCESSORIES: STANDARD, WASTE CONE | NAFFCO |  | Set | 1 | 45210 | 45210 | 0 | 45210 | 0 | FALSE |  |  | 0
1.2 |  | OS&Y Gate Valve 6" Class 125 Flanged, 200 PSI working UL/FM Approved - SD-OSY200FF-D + Supervisory Switch for OS&Y Gate valve - SD-SVS-OSY | Shield | SD-OSY200FF-D / SD-SVS-OSY | Nos | 2 | 432 | 432 | 0 | 864 | 0 | FALSE |  |  | 0
1.3 |  | OS&Y Gate Valve 2" Class 125 Flanged, 200 PSI working UL/FM Approved - SD-OSY200FF-D + Supervisory Switch for OS&Y Gate valve - SD-SVS-OSY | Shield | SD-OSY200FF-D / SD-SVS-OSY | Nos | 1 | 239 | 239 | 0 | 239 | 0 | FALSE |  |  | 0
1.4 |  | OS&Y Gate Valve 8" Class 125 Flanged, 200 PSI working UL/FM Approved - SD-OSY200FF-D + Supervisory Switch for OS&Y Gate valve - SD-SVS-OSY | Shield | SD-OSY200FF-D / SD-SVS-OSY | Nos | 2 | 665 | 665 | 0 | 1330 | 0 | FALSE |  |  | 0
1.5 |  | OS&Y Gate Valve 6" Class 125 Flanged, 250 PSI working UL/FM Approved - SD-OSY250FF-D + Supervisory Switch for OS&Y Gate valve - SD-SVS-OSY | Shield | SD-OSY250FF-D / SD-SVS-OSY | Nos | 2 | 457 | 457 | 0 | 914 | 0 | FALSE |  |  | 0
1.6 |  | OS&Y Gate Valve 2" Class 125 Flanged, 250 PSI working UL/FM Approved - SD-OSY250FF-D + Supervisory Switch for OS&Y Gate valve - SD-SVS-OSY | Shield | SD-OSY250FF-D / SD-SVS-OSY | Nos | 1 | 259 | 259 | 0 | 259 | 0 | FALSE |  |  | 0
1.7 |  | OS&Y Gate Valve 6" Class 125 Flanged, 250 PSI working UL/FM Approved - SD-OSY250FF-D + Supervisory Switch for OS&Y Gate valve - SD-SVS-OSY | Shield | SD-OSY250FF-D / SD-SVS-OSY | Nos | 4 | 457 | 457 | 0 | 1828 | 0 | FALSE |  |  | 0
1.8 |  | Check Valve 2" Class 125 Flanged, 200 PSI working UL/FM Approved - SD-NRV200FF-D | Shield | SD-NRV200FF-D | Nos | 1 | 100 | 100 | 0 | 100 | 0 | FALSE |  |  | 0
1.9 |  | Check Valve 6" Class 125 Flanged, 200 PSI working UL/FM Approved - SD-NRV200FF-D | Shield | SD-NRV200FF-D | Nos | 2 | 366 | 366 | 0 | 732 | 0 | FALSE |  |  | 0
1.10 |  | Pressure guage - SD-P + 1" Isolation Valve - UL Listed - SDBLVT95 | Shield | SD-P / SDBLVT95 | Nos | 6 | 27 | 27 | 0 | 162 | 0 | FALSE |  |  | 0
1.11 |  | 1) PRV 6 Class 300 Grooved Inlet Presure 300 psi Adj 30-165 psi Globe type - SD-PRV-G - 2 Nos. 2) OS&Y Gate Valve 6" Class 125 Grooved, 300 PSI working UL/ULC/FM Approved-SHIELD - SD-OSY300GG-D - 4 Nos. 3) Tamer Switch -SD-SVS-OSY - 4 Nos. 4) Pressure Guage 300 Psi- SD-P1 - 4 Nos. 5) 1" Ball Valve, BSP Double Female Threaded , Brass Nickel Plated - UL Listed - SDBLVT95 - 4 Nos. 6) Pressure Relief Valve 3/4", Pressure Range100 to 300 Psi, Cast Bronze ASTM B62, UL/ULC Listed / FM Approved, Model: 55L-60 - CLA-VAL - 2 Nos. |  |  | Set | 1 | 5286 | 5286 | 0 | 5286 | 0 | FALSE |  |  | 0
2 |  | SPRINKLER SYSTEM |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0
2.1 |  | Concealed Sprinkler Head 68 Deg,QUK Resp, k-5.6 Chrome Finish, UL/ULC Listed/FM Approved | Shield | SD1055 - QR | Nos | 578 | 7 | 7 | 0 | 4046 | 0 | FALSE |  |  | 0
2.2 |  | Concealed Sprinkler Head 79 Deg,QUK Resp, k-5.6 Chrome Finish, UL/ULC Listed/FM Approved | Shield | SD1055 - QR | Nos | 8 | 8 | 8 | 0 | 64 | 0 | FALSE |  |  | 0
2.3 |  | Sprinkler head, Reliable - RA3412 | Reliable | RA3412 | Nos | 94 | 8 | 8 | 0 | 752 | 0 | FALSE |  |  | 0
2.4 |  | Upright Sprinkler Head 1/2" 68 Deg,QUK Resp, Brass Finish, UL/ULC Listed | Shield | SD1032 QR | Nos | 980 | 5 | 5 | 0 | 4900 | 0 | FALSE |  |  | 0
2.5 |  | Alarm Valve Assembly 6" Flanged, Vertical Mounting, Painted RED - UL/FM - SDH-AVA, Retard Chamber - RC9, Water Motor Alarm Gong, INT 3/4"BSPT, Epoxty Red Powder Coated, UL Listed - SD-GA, Pressure Switch-SD-PS | Shield |  | Set | 1 | 595 | 595 | 0 | 595 | 0 | FALSE |  |  | 0
2.6 |  | OS&Y Gate Valve 6" Class 125 Flanged, 250 PSI working UL/FM Approved - Model: SD-OSY250FF-D, Tamper Switch - SD-SVS-OSY | Shield | SD-OSY250FF-D /SD-SVS-OSY | Set | 1 | 457 | 457 | 0 | 457 | 0 | FALSE |  |  | 0
2.7 |  | Zone Control Valve 4": 1) OS&Y Gate Valve 4" Class 125 Flanged, 250 PSI working UL/FM Approved - SD-OSY250FF-D 2) Flow Switch 4" UL/FM- SD-WFD, 3) Test and Drain Valve 1" UL / FM Approved -SD-TDV50T, 4) Pressure Guage 300 Psi, 90mm, UL Listed/FM Approved - SD-P, 5) 1" Ball Valve, BSP Double Female Threaded , Brass Nickel Plated - UL Listed - SDBLVT95 6) Check Valve 4", UL/FM Approved- SD-NRV200GG-SHIELD |  |  | Set | 8 | 898 | 898 | 0 | 7184 | 0 | FALSE |  |  | 0
2.8 |  | Zone Control Valve 3": 1) OS&Y Gate Valve3" Class 125 Flanged, 250 PSI working UL/FM Approved - SD-OSY250FF-D 2) Flow Switch 3" UL/FM- SD-WFD, 3) Test and Drain Valve 1" UL / FM Approved -SD-TDV50T, 4) Pressure Guage 300 Psi, 90mm, UL Listed/FM Approved - SD-P, 5) 1" Ball Valve, BSP Double Female Threaded , Brass Nickel Plated - UL Listed - SDBLVT95 6) Check Valve 3", UL/FM Approved- SD-NRV200GG-SHIELD |  |  | Set | 5 | 831 | 831 | 0 | 4155 | 0 | FALSE |  |  | 0
2.9 |  | Sprinkler Head Cabinet for 6 Set |  |  | Nos | 2 | 33 | 33 | 0 | 66 | 0 | FALSE |  |  | 0
2.10 |  | Sprinkler Head Cabinet for 12 Set |  |  | Nos | 2 | 33 | 33 | 0 | 66 | 0 | FALSE |  |  | 0
2.11 |  | Fire Department Connection 4"X 2-1/2 x 2-1/2" - UL/FM Approved NAFFCO | Naffco | NF-FDCY | Nos | 1 | 86 | 86 | 0 | 86 | 0 | FALSE |  |  | 0
2.12 |  | Breeching inlet cabinet (As Per Drawing) | Naffco |  | Nos | 1 | 166 | 166 | 0 | 166 | 0 | FALSE |  |  | 0
2.13 |  | Check Vlave - 1-1/2" | Shield | SD-VCV-SS | Nos | 1 | 100 | 100 | 0 | 100 | 0 | FALSE |  |  | 0
2.14 |  | Check Valve 6" Class 125 Flanged, 300 PSI working ULFM Approved-SHIELD | Shield | SD-NRV300FF-D | Nos | 2 | 366 | 366 | 0 | 732 | 0 | FALSE |  |  | 0
2.15 |  | Pressure guage - SD-P + 1" Isolation Valve - UL Listed - SDBLVT95 |  | SD-P / SDBLVT95 | Set | 3 | 27 | 27 | 0 | 81 | 0 | FALSE |  |  | 0
2.16 |  | Automatic Air Release Valve, 1" FNPT Inlet x 1/2" FNPT Outlet, 175 Psi Water, UL/FM Approved, Model: NF-25ARV - 1" Ball Valve, BSP Double Female Threaded , Brass Nickel Plated - UL Listed - SDBLVT95 |  |  | Set | 3 | 33 | 33 | 0 | 99 | 0 | FALSE |  |  | 0
2.17 |  | Gate Vlave, Threaded, 175 Psi, 2", UL/FM | Shield | SDOSY-T | Nos | 3 | 176 | 176 | 0 | 528 | 0 | FALSE |  |  | 0
2.18 |  | Deluge Valve 2" SD-DVH3S (Pneumatic/) SKID Mounted |  | SD-DVH3S | Set | 3 | 3092 | 3092 | 0 | 9276 | 0 | FALSE |  |  | 0
2.19 |  | Deluge Valve 3" SD-DVH3S (Pneumatic/) SKID Mounted |  | SD-DVH3S | Set | 2 | 3158 | 3158 | 0 | 6316 | 0 | FALSE |  |  | 0
2.20 |  | Deluge Valve 4" SD-DVH3S (Pneumatic/) SKID Mounted |  | SD-DVH3S | Set | 1 | 3441 | 3441 | 0 | 3441 | 0 | FALSE |  |  | 0
3 |  | FIREFIGHTING |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0
3.1 |  | Fire Hose Reel Cabinet,Surface Mounted, Complete Stainless Steel (As per Drawing) 1) 2.5" Pressure reducing landing valve, flanged inlet DN65 - NWR122 2) 2.5 X 30 Mtr Fire Hose - NF-DH2 65R 3) Branchpipe 2-1/2" - KITEMARK - NF-FB-320 4) 6Kg DCP fire extinguisher - NP6 | Naffco |  | Nos | 11 | 853 | 853 | 0 | 9383 | 0 | FALSE |  |  | 0
3.2 |  | Fire Hose Rack Cabinet, Surface Mounted, Complete Stainless Steel (As per Drawing) Upper Compartment: 1) Hose Rack Assembly 1-1/2" x 30 Mtr.- NHR-38V Lower Compartment: 2) 2.5 X 30 Mtr Fire Hose - NF-DH2 65R 3) Branchpipe 2-1/2" - KITEMARK - NF-FB-320 4) 5Kg Co2 fire extinguisher - NC5 5) 6Kg DCP fire extinguisher - NP6 7) 2.5" Pressure reducing landing valve, flanged inlet DN65 - NWR122 | Naffco |  | Nos | 19 | 1311 | 1311 | 0 | 24909 | 0 | FALSE |  |  | 0
3.3 |  | 5 KG CO2 FIRE EXTINGUISHER - CE,KITEMARK | Naffco | NC 5 | Nos | 25 | 58 | 58 | 0 | 1450 | 0 | FALSE |  |  | 0
3.4 |  | 6 KG DP FIRE EXTINGUSHER - CE,KITEMARK | Naffco | NP6 | Nos | 26 | 30 | 30 | 0 | 780 | 0 | FALSE |  |  | 0
3.5 |  | 50 LTR. FOAM FIRE TROLLEY CE,KITEMARK | Naffco | NTFC50X | Nos | 1 | 399 | 399 | 0 | 399 | 0 | FALSE |  |  | 0
3.6 |  | Pressure guage - SD-P1 + 1" Isolation Valve - UL Listed - SDBLVT95 |  | SD-P 1/ SDBLVT95 | Set | 3 | 27 | 27 | 0 | 81 | 0 | FALSE |  |  | 0
3.7 |  | Automatic Air Release Valve, 1" FNPT Inlet x 1/2" FNPT Outlet, 175 Psi Water, UL/FM Approved, Model: NF-25ARV - 1" Ball Valve, BSP Double Female Threaded , Brass Nickel Plated - UL Listed - SDBLVT95 |  |  | Set | 3 | 33 | 33 | 0 | 99 | 0 | FALSE |  |  | 0
3.8 |  | Gate Vlave - UL/FM - SDOSY-T | Shield | SDOSY-T | Nos | 3 | 176 | 176 | 0 | 528 | 0 | FALSE |  |  | 0
4 |  | FIRE HYDRANT SYSTEM |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0
4.1 |  | 4" Dry piller fire hydrant (As per drawiing) |  |  | Nos | 3 | 1163 | 1163 | 0 | 3489 | 0 | FALSE |  |  | 0
4.2 |  | NRS Gate Valve 4" Class 125 Flanged, 200 PSI working with wheel UL/FM Approved | Naffco |  | Nos | 3 | 180 | 180 | 0 | 540 | 0 | FALSE |  |  | 0
4.3 |  | FIRE HYDRANT CABINET - SELF STANDING TYPE, COMPLETE E.G SHEET (AS PER DRAWING) 1) 2-1/2"X30M FIRE HOSE WITH INSTANTANEOUS QUICK COUPLING MODEL: NF-FH65 2) 2-1/2" BRANCH PIPE - MODEL: NF-FB320 3) FIRE AXE 4) 2-1/2" COUPLING GASKETS 5) HYDRANT WRANCH 6) LUG SPANNER |  |  | Set | 3 | 582 | 582 | 0 | 1746 | 0 | FALSE |  |  | 0
4.1 |  | Crash Bar Assembly |  |  | Nos | 3 | 731 | 731 | 0 | 2193 | 0 | FALSE |  |  | 0
5 |  | DDP CHARGES TO ERBIL |  |  | Nos | 1 | 61300 | 61300 | 0 | 61300 | 0 | FALSE |  |  | 0