## Sheet1
SLNO | ItemCode | ItemName | Brand | Model | UOM | Qty | UnitPrice USD | UnitPrice | Margin | Amount | Unitweight | Optional | COO | DeliveryStatus | CRMProductId | CRMProduct
1 |  | 1E+1D - NON LISTED (PUMP FOR DUTY POINT 50.00 USGPM @ 6.00 BAR) 1) FIRE PUMPS: NAFFCO HORIZONTAL END SUCTION, 2) DRIVERS: MOTOR AND DIESEL ENGINE, 3) CONTROLLER: COMMON CONTROLLER FOR ELECTRIC / DIESEL 4) 24 LITRE PRESSURE VESSEL, SUCTION AND DISCHARGE MANIFOLD, VALVES AND FITTINGS ARE INCLUDED 5) ALL MOUNTED ON COMMON BASE FRAME | NAFFCO |  | Set | 50 | 2400 | 2400 | 0 | 120000 | 0 | FALSE |  |  | 0
2 |  | 1E+1D - NON LISTED (PUMP FOR DUTY POINT 100.00 USGPM @ 6.00 BAR) 1) FIRE PUMPS: NAFFCO HORIZONTAL END SUCTION, 2) DRIVERS: MOTOR AND DIESEL ENGINE, 3) CONTROLLER: COMMON CONTROLLER FOR ELECTRIC / DIESEL 4) SUCTION AND DISCHARGE MANIFOLD, VALVES AND FITTINGS ARE INCLUDED 5) ALL MOUNTED ON COMMON BASE FRAME | NAFFCO |  | Set | 10 | 6213 | 6213 | 0 | 62130 | 0 | FALSE |  |  | 0
3 |  | 1E+1D+1J - NON LISTED (PUMP FOR DUTY POINT 200.00 USGPM @ 7.00 BAR) 1) FIRE PUMPS: NAFFCO HORIZONTAL END SUCTION, 2) DRIVERS: MOTOR AND DIESEL ENGINE, 3) JOCKEY PUMP: VERTICAL MULTISTAGE - 10 GPM @ 7 BAR, 4) CONTROLLER: COMMON CONTROLLER FOR ELECTRIC / DIESEL / JOCKEY 5) SUCTION AND DISCHARGE MANIFOLD, VALVES AND FITTINGS ARE INCLUDED 6) ALL MOUNTED ON COMMON BASE FRAME | NAFFCO |  | Set | 10 | 8174 | 8174 | 0 | 81740 | 0 | FALSE |  |  | 0
4 |  | 1E+1D+1J - NON LISTED (PUMP FOR DUTY POINT 250.00 USGPM @ 8.00 BAR) 1) FIRE PUMPS: NAFFCO HORIZONTAL END SUCTION, 2) DRIVERS: MOTOR AND DIESEL ENGINE, 3) JOCKEY PUMP: VERTICAL MULTISTAGE - 10 GPM @ 8 BAR, 4) CONTROLLER: COMMON CONTROLLER FOR ELECTRIC / DIESEL / JOCKEY 5) SUCTION AND DISCHARGE MANIFOLD, VALVES AND FITTINGS ARE INCLUDED 6) ALL MOUNTED ON COMMON BASE FRAME | NAFFCO |  | Set | 10 | 9155 | 9155 | 0 | 91550 | 0 | FALSE |  |  | 0
5 |  | Fire Hose Reel Cabinet, Surface Mounted (As per Drawing) 1) 1" x 30Mtr fire hose reel - NFH-C-25M |  |  | Set | 500 | 253 | 253 | 0 | 126500 | 0 | FALSE |  |  | 0
6 |  | Addressable 2-Loop Fire Alarm Control Panel, NEO Series, ETL Listed, Model: NX-FACP-2 - Shield, UK |  |  | Set | 5 | 1157 | 1157 | 0 | 5785 | 0 | FALSE |  |  | 0
7 |  | Addressable 4-Loop Fire Alarm Control Panel, NEO Series, ETL Listed, Model: NX-FACP-4 - Shield, UK |  |  | Set | 5 | 1760 | 1760 | 0 | 8800 | 0 | FALSE |  |  | 0
8 |  | Addressable Photoelectric Smoke Detector, Model: S-A4011E - Shield- UL Listed + Mounting Base for Detector, UL Listed, Model: S-A5001 - Shield |  |  | Set | 400 | 23 | 23 | 0 | 9200 | 0 | FALSE |  |  | 0
9 |  | Addressable Heat Detector, Model: S-A5013 - Shield- UL Listed + Mounting Base for Detector, UL Listed, Model: S-A5001 - Shield |  |  | Set | 50 | 23 | 23 | 0 | 1150 | 0 | FALSE |  |  | 0
10 |  | Addressable Open Area Sounder / Beacon, UL Listed, Model: S-A4025 - SHIELD |  |  | Nos | 100 | 44 | 44 | 0 | 4400 | 0 | FALSE |  |  | 0
11 |  | DUAL MONITOR MODULE - S-A5042 |  |  | Nos | 30 | 65 | 65 | 0 | 1950 | 0 | FALSE |  |  | 0
12 |  | Addressable Dual Action Manual Pull Station, UL Listed, Model: S-A4061- Shield + Back Box for Manual Pull Station, Model: S-A4062 - Shield |  |  | Set | 40 | 40 | 40 | 0 | 1600 | 0 | FALSE |  |  | 0
13 |  | Network Card of Fire Alam Control Panel (Style 7), NEO Series, ETL Listed, Model: NX-FANET7 - Shield, UK |  |  | Nos | 10 | 529 | 529 | 0 | 5290 | 0 | FALSE |  |  | 0
14 |  | Addressable Isolator, UL Listed, Model: S-A4051- Shield + Isolating Base for Modules, Model: S-A4002 - Shield |  |  | Set | 40 | 14 | 14 | 0 | 560 | 0 | FALSE |  |  | 0
15 |  | Fire rated Steel Single Door Complete Set with all Accessories - 15466075100 ( As per attached Drawing) |  |  | Nos | 20 | 314 | 314 | 0 | 6280 | 0 | FALSE |  |  | 0
16 |  | 2" ERW Galvanized Pipe, PLAIN Ends, Conforming to ASTM A-53, Grade B, Sch-40, 5.8 Mtr Length, UL Listed – SHIELD |  |  | Nos | 500 | 35 | 35 | 0 | 17500 | 0 | FALSE |  |  | 0
17 |  | 1" ERW Galvanized Pipe, PLAIN Ends, Conforming to ASTM A-53, Grade B, Sch-40, 5.8 Mtr Length, UL Listed – SHIELD |  |  | Nos | 300 | 16 | 16 | 0 | 4800 | 0 | FALSE |  |  | 0