## Sheet1
SLNO | ItemCode | ItemName | Brand | Model | UOM | Qty | UnitPriceAED | UnitPrice | Margin | Amount | Unitweight | Optional | COO | DeliveryStatus | orgMapID | GroupNumber | orderno | SubItemCount | ParantSlNo
1 |  | ELECTRIC ROOM + UPS AT BASEMENT - MECHANICL COMPONENTS |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
1.1 |  | 45 Kg CO2 Cylinder filled complete with Manual & Solenoid actuator, Head Valve, Bracket and Trimming | NAFFCO | NCS-45M | Nos | 2 | 731 | 659 | 0 | 1318 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
1.2 |  | 45 Kg CO2 Cylinder filled complete with Differential Head Valve, Bracket and Trimming | NAFFCO | NCS-45S | Nos | 12 | 509 | 459 | 0 | 5508 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
1.3 |  | MANUAL & PNEUMATIC RELEASE DEVICE - B04420065-NF | NAFFCO | B04420065-NF | Nos | 1 | 50 | 45 | 0 | 45 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
1.4 |  | PNEUMATIC RELEASE DEVICE - B04420066-NF | NAFFCO | B04420066-NF | Nos | 11 | 33 | 30 | 0 | 330 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
1.5 |  | Flexible Hose (Discharge) w/ Check Valve - | NAFFCO | NHC 18 / B04600008 | Nos | 14 | 83 | 75 | 0 | 1050 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
1.6 |  | Flexible Hose 500MM (Pneumatic Cylinder) with Adaptors | NAFFCO | B06920213-NF | Nos | 8 | 83 | 75 | 0 | 600 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
1.7 |  | Flexible Hose 700MM (Pneumatic Cylinder to Manifold ) with Adaptors | NAFFCO | B06920212-NF | Nos | 4 | 116 | 105 | 0 | 420 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
1.8 |  | Manifold for 3 Cylinder | NAFFCO | 2-267-SRM3 | Nos | 2 | 116 | 105 | 0 | 210 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
1.9 |  | Manifold for 4 Cylinder | NAFFCO | 2-267-SRM4 | Nos | 2 | 332 | 300 | 0 | 600 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
1.11 |  | Rack Assembly for 8 Cylinders | NAFFCO | NFIG-RA02-040F | Nos | 1 | 216 | 195 | 0 | 195 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
1.12 |  | Rack Assembly for 6 Cylinders | NAFFCO | NFIG-RA02-030F | Nos | 1 | 199 | 180 | 0 | 180 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
1.13 |  | Discharge Nozzle | NAFFCO |  | Nos | 9 | 100 | 90 | 0 | 810 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
1.14 |  | Discharge Pressure Switch | NAFFCO | 028250050 - NF | Nos | 1 | 286 | 258 | 0 | 258 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
1.15 |  | Safety Device - 29730039 |  | 29730039 | Nos | 2 | 299 | 270 | 0 | 540 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
1.16 |  | Bleed Valve - 029730040-NF | NAFFCO | 029730040-NF | Nos | 1 | 70 | 63 | 0 | 63 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
1.17 |  | Extinguishing Control Panel (Shield - AXT) - (2) Detection zone. - (1) release area. - 24VDC back-up Battery | Shield | AXT | Set | 1 | 997 | 899 | 0 | 899 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
1.18 |  | Optical Smoke Detector With Base - S-C2011 |  | S-C2011 | Nos | 6 | 15 | 13 | 0 | 78 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
1.19 |  | Ball 6" with Back Box - FB1000C6 | Shield | FB1000C6 | Nos | 1 | 33 | 30 | 0 | 30 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
1.21 |  | Strobe Horn with Back Box – SH-HSIR | Shield | SH-HSIR | Nos | 1 | 57 | 51 | 0 | 51 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
1.22 |  | Xenon/Strobe Light with Back Box - SH-STIR | Shield | SH-STIR | Nos | 1 | 47 | 42 | 0 | 42 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
1.23 |  | Warning Sign | NAFFCO | NF-CO2-SW-01 | Nos | 1 | 66 | 60 | 0 | 60 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
2 |  | ELECTRIC ROOM G & 1st FLOOR - MECHANICL COMPONENTS |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
2.1 |  | 45 Kg CO2 Cylinder filled complete with Manual & Solenoid actuator, Head Valve, Bracket and Trimming | NAFFCO | NCS-45M | Nos | 4 | 731 | 659 | 0 | 2636 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
2.2 |  | 45 Kg CO2 Cylinder filled complete with Differential Head Valve, Bracket and Trimming | NAFFCO | NCS-45S | Nos | 4 | 509 | 459 | 0 | 1836 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
2.3 |  | MANUAL & PNEUMATIC RELEASE DEVICE - B04420065-NF | NAFFCO | B04420065-NF | Nos | 2 | 50 | 45 | 0 | 90 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
2.4 |  | PNEUMATIC RELEASE DEVICE - B04420066-NF | NAFFCO | B04420066-NF | Nos | 2 | 33 | 30 | 0 | 60 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
2.5 |  | Flexible Hose (Discharge) w/ Check Valve - | NAFFCO | NHC 18 / B04600008 | Nos | 8 | 83 | 75 | 0 | 600 | 0 | FALSE
2.6 |  | Flexible Hose 500MM (Pneumatic Cylinder) with Adaptors | NAFFCO | B06920213-NF | Nos | 2 | 83 | 75 | 0 | 150 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
2.7 |  | Flexible Hose 700MM (Pneumatic Cylinder to Manifold ) with Adaptors | NAFFCO | B06920212-NF | Nos | 2 | 116 | 105 | 0 | 210 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
2.8 |  | Manifold for 4 Cylinder | NAFFCO | 2-267-SRM4 | Nos | 2 | 332 | 300 | 0 | 600 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
2.9 |  | Rack Assembly for 4 Cylinders | NAFFCO | NFIG-RA02-004F | Nos | 2 | 173 | 156 | 0 | 312 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
2.11 |  | Discharge Nozzle | NAFFCO |  | Nos | 2 | 100 | 90 | 0 | 180 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
2.12 |  | Discharge Pressure Switch | NAFFCO | 028250050 - NF | Nos | 2 | 286 | 258 | 0 | 516 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
2.13 |  | Safety Device - 29730039 |  | 29730039 | Nos | 2 | 299 | 270 | 0 | 540 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
2.14 |  | Bleed Valve - 029730040-NF | NAFFCO | 029730040-NF | Nos | 2 | 70 | 63 | 0 | 126 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
2.15 |  | Extinguishing Control Panel (Shield - AXT) - (2) Detection zone. - (1) release area. - 24VDC back-up Battery | Shield | AXT | Set | 2 | 997 | 899 | 0 | 1798 | 0 | FALSE
2.16 |  | Optical Smoke Detector With Base - S-C2011 |  | S-C2011 | Nos | 4 | 15 | 13 | 0 | 52 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
2.17 |  | Ball 6" with Back Box - FB1000C6 | Shield | FB1000C6 | Nos | 2 | 33 | 30 | 0 | 60 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
2.18 |  | Strobe Horn with Back Box – SH-HSIR | Shield | SH-HSIR | Nos | 2 | 57 | 51 | 0 | 102 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
2.19 |  | Xenon/Strobe Light with Back Box - SH-STIR | Shield | SH-STIR | Nos | 2 | 47 | 42 | 0 | 84 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
2.21 |  | Warning Sign | NAFFCO | NF-CO2-SW-01 | Nos | 2 | 66 | 60 | 0 | 120 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
3 |  | ELECTRIC ROOM AT SECOND FLOOR - MECHANICL COMPONENTS |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
3.1 |  | 45 Kg CO2 Cylinder filled complete with Manual & Solenoid actuator, Head Valve, Bracket and Trimming | NAFFCO | NCS-45M | Nos | 1 | 731 | 659 | 0 | 659 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
3.2 |  | Flexible Hose (Discharge) w/ Check Valve - | NAFFCO | NHC 18 / B04600008 | Nos | 1 | 83 | 75 | 0 | 75 | 0 | FALSE
3.3 |  | Rack Assembly for 1 Cylinder | NAFFCO | NFIG-RA02-001F | Nos | 1 | 150 | 135 | 0 | 135 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
3.4 |  | Discharge Nozzle | NAFFCO |  | Nos | 1 | 100 | 90 | 0 | 90 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
3.5 |  | Discharge Pressure Switch | NAFFCO | 028250050 - NF | Nos | 1 | 286 | 258 | 0 | 258 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
3.6 |  | Extinguishing Control Panel (Shield - AXT) - (2) Detection zone. - (1) release area. - 24VDC back-up Battery | Shield | AXT | Set | 1 | 997 | 899 | 0 | 899 | 0 | FALSE
3.7 |  | Optical Smoke Detector With Base - S-C2011 |  | S-C2011 | Nos | 2 | 15 | 13 | 0 | 26 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
3.8 |  | Ball 6" with Back Box - FB1000C6 | Shield | FB1000C6 | Nos | 1 | 33 | 30 | 0 | 30 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
3.9 |  | Strobe Horn with Back Box – SH-HSIR | Shield | SH-HSIR | Nos | 1 | 57 | 51 | 0 | 51 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
3.11 |  | Xenon/Strobe Light with Back Box - SH-STIR | Shield | SH-STIR | Nos | 1 | 47 | 42 | 0 | 42 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
3.12 |  | Warning Sign | NAFFCO | NF-CO2-SW-01 | Nos | 1 | 66 | 60 | 0 | 60 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
4 |  | ELECTRIC ROOM AT 3rd FLOOR- MECHANICL COMPONENTS |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
4.1 |  | 45 Kg CO2 Cylinder filled complete with Manual & Solenoid actuator, Head Valve, Bracket and Trimming | NAFFCO | NCS-45M | Nos | 2 | 731 | 659 | 0 | 1318 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
4.2 |  | 45 Kg CO2 Cylinder filled complete with Differential Head Valve, Bracket and Trimming | NAFFCO | NCS-45S | Nos | 4 | 509 | 459 | 0 | 1836 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
4.3 |  | MANUAL & PNEUMATIC RELEASE DEVICE - B04420065-NF | NAFFCO | B04420065-NF | Nos | 1 | 50 | 45 | 0 | 45 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
4.4 |  | PNEUMATIC RELEASE DEVICE - B04420066-NF | NAFFCO | B04420066-NF | Nos | 3 | 33 | 30 | 0 | 90 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
4.5 |  | Flexible Hose (Discharge) w/ Check Valve - | NAFFCO | NHC 18 / B04600008 | Nos | 6 | 83 | 75 | 0 | 450 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
4.6 |  | Flexible Hose 500MM (Pneumatic Cylinder) with Adaptors | NAFFCO | B06920213-NF | Nos | 2 | 83 | 75 | 0 | 150 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
4.7 |  | Flexible Hose 700MM (Pneumatic Cylinder to Manifold ) with Adaptors | NAFFCO | B06920212-NF | Nos | 2 | 116 | 105 | 0 | 210 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
4.8 |  | Manifold for 3 Cylinder | NAFFCO | 2-267-SRM3 | Nos | 2 | 116 | 105 | 0 | 210 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
4.9 |  | Rack Assembly for 3 Cylinders | NAFFCO | NFIG-RA02-003F | Nos | 2 | 126 | 114 | 0 | 228 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
4.11 |  | Discharge Nozzle | NAFFCO |  | Nos | 3 | 100 | 90 | 0 | 270 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
4.12 |  | Discharge Pressure Switch | NAFFCO | 028250050 - NF | Nos | 1 | 286 | 258 | 0 | 258 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
4.13 |  | Safety Device - 29730039 |  | 29730039 | Nos | 1 | 299 | 270 | 0 | 270 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
4.14 |  | Bleed Valve - 029730040-NF | NAFFCO | 029730040-NF | Nos | 1 | 70 | 63 | 0 | 63 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
4.15 |  | Extinguishing Control Panel (Shield - AXT) - (2) Detection zone. - (1) release area. - 24VDC back-up Battery | Shield | AXT | Set | 1 | 997 | 899 | 0 | 899 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
4.16 |  | Optical Smoke Detector With Base - S-C2011 |  | S-C2011 | Nos | 4 | 15 | 13 | 0 | 52 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
4.17 |  | Ball 6" with Back Box - FB1000C6 | Shield | FB1000C6 | Nos | 1 | 33 | 30 | 0 | 30 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
4.18 |  | Strobe Horn with Back Box – SH-HSIR | Shield | SH-HSIR | Nos | 1 | 57 | 51 | 0 | 51 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
4.19 |  | Xenon/Strobe Light with Back Box - SH-STIR | Shield | SH-STIR | Nos | 1 | 47 | 42 | 0 | 42 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
4.21 |  | Warning Sign | NAFFCO | NF-CO2-SW-01 | Nos | 1 | 66 | 60 | 0 | 60 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
5 |  | ELECTRIC ROOM AT 4th FLOOR- MECHANICL COMPONENTS |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
5.1 |  | 45 Kg CO2 Cylinder filled complete with Manual & Solenoid actuator, Head Valve, Bracket and Trimming | NAFFCO | NCS-45M | Nos | 1 | 731 | 659 | 0 | 659 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
5.2 |  | 45 Kg CO2 Cylinder filled complete with Differential Head Valve, Bracket and Trimming | NAFFCO | NCS-45S | Nos | 1 | 509 | 459 | 0 | 459 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
5.3 |  | MANUAL & PNEUMATIC RELEASE DEVICE - B04420065-NF | NAFFCO | B04420065-NF | Nos | 1 | 50 | 45 | 0 | 45 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
5.4 |  | Flexible Hose (Discharge) w/ Check Valve - | NAFFCO | NHC 18 / B04600008 | Nos | 2 | 83 | 75 | 0 | 150 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
5.5 |  | Flexible Hose 700MM (Pneumatic Cylinder to Manifold ) with Adaptors | NAFFCO | B06920212-NF | Nos | 1 | 116 | 105 | 0 | 105 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
5.6 |  | Manifold for 2 Cylinder | NAFFCO | 2-267-SRM2 | Nos | 1 | 100 | 90 | 0 | 90 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
5.7 |  | Rack Assembly for 2 Cylinders | NAFFCO | NFIG-RA02-002F | Nos | 1 | 156 | 141 | 0 | 141 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
5.8 |  | Discharge Nozzle | NAFFCO |  | Nos | 1 | 100 | 90 | 0 | 90 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
5.9 |  | Discharge Pressure Switch | NAFFCO | 028250050 - NF | Nos | 1 | 286 | 258 | 0 | 258 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
5.11 |  | Safety Device - 29730039 |  | 29730039 | Nos | 1 | 299 | 270 | 0 | 270 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
5.12 |  | Bleed Valve - 029730040-NF | NAFFCO | 029730040-NF | Nos | 1 | 70 | 63 | 0 | 63 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
5.13 |  | Extinguishing Control Panel (Shield - AXT) - (2) Detection zone. - (1) release area. - 24VDC back-up Battery | Shield | AXT | Set | 1 | 997 | 899 | 0 | 899 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
5.14 |  | Optical Smoke Detector With Base - S-C2011 |  | S-C2011 | Nos | 2 | 15 | 13 | 0 | 26 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
5.15 |  | Ball 6" with Back Box - FB1000C6 | Shield | FB1000C6 | Nos | 1 | 33 | 30 | 0 | 30 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
5.16 |  | Strobe Horn with Back Box – SH-HSIR | Shield | SH-HSIR | Nos | 1 | 57 | 51 | 0 | 51 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
5.17 |  | Xenon/Strobe Light with Back Box - SH-STIR | Shield | SH-STIR | Nos | 1 | 47 | 42 | 0 | 42 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
5.18 |  | Warning Sign | NAFFCO | NF-CO2-SW-01 | Nos | 1 | 66 | 60 | 0 | 60 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
6 |  | ELECTRIC ROOM AT 5th to 8th FLOOR- MECHANICL COMPONENTS |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
6.1 |  | 45 Kg CO2 Cylinder filled complete with Manual & Solenoid actuator, Head Valve, Bracket and Trimming | NAFFCO | NCS-45M | Nos | 8 | 731 | 659 | 0 | 5272 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
6.2 |  | 45 Kg CO2 Cylinder filled complete with Differential Head Valve, Bracket and Trimming | NAFFCO | NCS-45S | Nos | 8 | 509 | 459 | 0 | 3672 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
6.3 |  | MANUAL & PNEUMATIC RELEASE DEVICE - B04420065-NF | NAFFCO | B04420065-NF | Nos | 4 | 50 | 45 | 0 | 180 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
6.4 |  | PNEUMATIC RELEASE DEVICE - B04420066-NF | NAFFCO | B04420066-NF | Nos | 4 | 33 | 30 | 0 | 120 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
6.5 |  | Flexible Hose (Discharge) w/ Check Valve - | NAFFCO | NHC 18 / B04600008 | Nos | 16 | 83 | 75 | 0 | 1200 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
6.6 |  | Flexible Hose 500MM (Pneumatic Cylinder) with Adaptors | NAFFCO | B06920213-NF | Nos | 4 | 83 | 75 | 0 | 300 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
6.7 |  | Flexible Hose 700MM (Pneumatic Cylinder to Manifold ) with Adaptors | NAFFCO | B06920212-NF | Nos | 4 | 116 | 105 | 0 | 420 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
6.8 |  | Manifold for 4 Cylinder | NAFFCO | 2-267-SRM4 | Nos | 4 | 332 | 300 | 0 | 1200 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
6.9 |  | Rack Assembly for 4 Cylinders | NAFFCO | NFIG-RA02-004F | Nos | 4 | 173 | 156 | 0 | 624 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
6.11 |  | Discharge Nozzle | NAFFCO |  | Nos | 8 | 100 | 90 | 0 | 720 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
6.12 |  | Discharge Pressure Switch | NAFFCO | 028250050 - NF | Nos | 4 | 286 | 258 | 0 | 1032 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
6.13 |  | Safety Device - 29730039 |  | 29730039 | Nos | 4 | 299 | 270 | 0 | 1080 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
6.14 |  | Bleed Valve - 029730040-NF | NAFFCO | 029730040-NF | Nos | 4 | 70 | 63 | 0 | 252 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
6.15 |  | Extinguishing Control Panel (Shield - AXT) - (2) Detection zone. - (1) release area. - 24VDC back-up Battery | Shield | AXT | Set | 4 | 997 | 899 | 0 | 3596 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
6.16 |  | Optical Smoke Detector With Base - S-C2011 |  | S-C2011 | Nos | 8 | 15 | 13 | 0 | 104 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
6.17 |  | Ball 6" with Back Box - FB1000C6 | Shield | FB1000C6 | Nos | 4 | 33 | 30 | 0 | 120 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
6.18 |  | Strobe Horn with Back Box – SH-HSIR | Shield | SH-HSIR | Nos | 4 | 57 | 51 | 0 | 204 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
6.19 |  | Xenon/Strobe Light with Back Box - SH-STIR | Shield | SH-STIR | Nos | 4 | 47 | 42 | 0 | 168 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
6.21 |  | Warning Sign | NAFFCO | NF-CO2-SW-01 | Nos | 4 | 66 | 60 | 0 | 240 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
7 |  | ELECTRIC ROOM AT 9th FLOOR- MECHANICL COMPONENTS |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
7.1 |  | 45 Kg CO2 Cylinder filled complete with Manual & Solenoid actuator, Head Valve, Bracket and Trimming | NAFFCO | NCS-45M | Nos | 1 | 731 | 659 | 0 | 659 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
7.2 |  | 45 Kg CO2 Cylinder filled complete with Differential Head Valve, Bracket and Trimming | NAFFCO | NCS-45S | Nos | 1 | 509 | 459 | 0 | 459 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
7.3 |  | MANUAL & PNEUMATIC RELEASE DEVICE - B04420065-NF | NAFFCO | B04420065-NF | Nos | 1 | 50 | 45 | 0 | 45 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
7.4 |  | Flexible Hose (Discharge) w/ Check Valve - | NAFFCO | NHC 18 / B04600008 | Nos | 2 | 83 | 75 | 0 | 150 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
7.5 |  | Flexible Hose 700MM (Pneumatic Cylinder to Manifold ) with Adaptors | NAFFCO | B06920212-NF | Nos | 1 | 116 | 105 | 0 | 105 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
7.6 |  | Manifold for 3 Cylinder | NAFFCO | 2-267-SRM2 | Nos | 1 | 100 | 90 | 0 | 90 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
7.7 |  | Rack Assembly for 2 Cylinders | NAFFCO | NFIG-RA02-002F | Nos | 1 | 156 | 141 | 0 | 141 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
7.8 |  | Discharge Nozzle | NAFFCO |  | Nos | 1 | 100 | 90 | 0 | 90 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
7.9 |  | Discharge Pressure Switch | NAFFCO | 028250050 - NF | Nos | 1 | 286 | 258 | 0 | 258 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
7.11 |  | Safety Device - 29730039 |  | 29730039 | Nos | 2 | 299 | 270 | 0 | 540 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
7.12 |  | Bleed Valve - 029730040-NF | NAFFCO | 029730040-NF | Nos | 1 | 70 | 63 | 0 | 63 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
7.13 |  | Extinguishing Control Panel (Shield - AXT) - (2) Detection zone. - (1) release area. - 24VDC back-up Battery | Shield | AXT | Set | 1 | 997 | 899 | 0 | 899 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
7.14 |  | Optical Smoke Detector With Base - S-C2011 |  | S-C2011 | Nos | 2 | 15 | 13 | 0 | 26 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
7.15 |  | Ball 6" with Back Box - FB1000C6 | Shield | FB1000C6 | Nos | 1 | 33 | 30 | 0 | 30 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
7.16 |  | Strobe Horn with Back Box – SH-HSIR | Shield | SH-HSIR | Nos | 1 | 57 | 51 | 0 | 51 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
7.17 |  | Xenon/Strobe Light with Back Box - SH-STIR | Shield | SH-STIR | Nos | 1 | 47 | 42 | 0 | 42 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
7.18 |  | Warning Sign | NAFFCO | NF-CO2-SW-01 | Nos | 1 | 66 | 60 | 0 | 60 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
8 |  | SHIELD 200 - CT SCAN ROOM, 1 NO, AT GROUND FLOOR |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
8.1 |  | SHIELD200 106.0L Cylinder Assembly (53.1kg-127.2kg) Complete with 2" Valve and Pressure Gauge Pressure Switch, Cylinder Label & Bracket without LLI | Shield | SD-106HFC-02 | Set | 1 | 1695 | 1528 | 0 | 1528 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
8.2 |  | SHIELD200 (SD-HFC227ea) Agent | Shield |  | Kg | 53 | 33 | 30 | 0 | 1590 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
8.3 |  | Removable Electric Actuator c/w Supervisory Switch, 1 Inch Connection - SD-REA-SS | Shield | SD-REA-SS | Nos | 1 | 515 | 465 | 0 | 465 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
8.4 |  | Manual Actuator with Push to operate - SD-MA0025 | Shield | SD-MA0025 | Nos | 1 | 60 | 54 | 0 | 54 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
8.5 |  | Discharge Pressure Switch - SD-DPS-B6-95-1 | Shield | SD-DPS-B6-95-1 | Nos | 1 | 199 | 180 | 0 | 180 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
8.6 |  | Discharge Hose 2 Inch (50MM) with Female Swivel Fittings | Shield | SD-DH0050 | Nos | 1 | 143 | 129 | 0 | 129 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
8.7 |  | Discharge Nozzle -Brass | Shield |  | Nos | 1 | 98 | 88 | 0 | 88 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
8.8 |  | FM-200 Warning Signage - SD-FM-WARN | Shield | SD-FM-WARN | Nos | 1 | 100 | 90 | 0 | 90 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
8.9 |  | FK-5-1-12 Cylinder Lebel 280x180 - UL/FM Approved - SD-FM-LBL | Shield | SD-FM-LBL | Nos | 1 | 18 | 16 | 0 | 16 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
8.11 |  | Extinguishing Control Panel (Shield - AXT) - (2) Detection zone. - (1) release area. - 24VDC back-up Battery | Shield | AXT | Set | 1 | 997 | 899 | 0 | 899 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
8.12 |  | Optical Smoke Detector With Base - S-C2011 |  | S-C2011 | Nos | 2 | 15 | 13 | 0 | 26 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
8.13 |  | Abort switch w/black box - S111R-AB | Shield | S111R-AB | Nos | 1 | 116 | 105 | 0 | 105 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
8.14 |  | Ball 6" with Back Box - FB1000C6 | Shield | FB1000C6 | Nos | 1 | 33 | 30 | 0 | 30 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
8.15 |  | Strobe Horn with Back Box – SH-HSIR | Shield | SH-HSIR | Nos | 1 | 57 | 51 | 0 | 51 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
8.16 |  | Xenon/Strobe Light with Back Box - SH-STOR | Shield | SH-STOR | Nos | 1 | 66 | 60 | 0 | 60 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
9 |  | SHIELD 200 - CT SCAN ROOM, 1 NO, AT GROUND FLOOR |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
9.1 |  | SHIELD200 106.0L Cylinder Assembly (53.1kg-127.2kg) Complete with 2" Valve and Pressure Gauge Pressure Switch, Cylinder Label & Bracket without LLI | Shield | SD-106HFC-02 | Set | 1 | 1695 | 1528 | 0 | 1528 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
9.2 |  | SHIELD200 (SD-HFC227ea) Agent | Shield |  | Kg | 55 | 33 | 30 | 0 | 1650 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
9.3 |  | Removable Electric Actuator c/w Supervisory Switch, 1 Inch Connection - SD-REA-SS | Shield | SD-REA-SS | Nos | 1 | 515 | 465 | 0 | 465 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
9.4 |  | Manual Actuator with Push to operate - SD-MA0025 | Shield | SD-MA0025 | Nos | 1 | 60 | 54 | 0 | 54 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
9.5 |  | Discharge Pressure Switch - SD-DPS-B6-95-1 | Shield | SD-DPS-B6-95-1 | Nos | 1 | 199 | 180 | 0 | 180 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
9.6 |  | Discharge Hose 2 Inch (50MM) with Female Swivel Fittings | Shield | SD-DH0050 | Nos | 1 | 143 | 129 | 0 | 129 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
9.7 |  | Discharge Nozzle -Brass | Shield |  | Nos | 1 | 98 | 88 | 0 | 88 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
9.8 |  | FM-200 Warning Signage - SD-FM-WARN | Shield | SD-FM-WARN | Nos | 1 | 100 | 90 | 0 | 90 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
9.9 |  | FK-5-1-12 Cylinder Lebel 280x180 - UL/FM Approved - SD-FM-LBL | Shield | SD-FM-LBL | Nos | 1 | 18 | 16 | 0 | 16 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
9.11 |  | Extinguishing Control Panel (Shield - AXT) - (2) Detection zone. - (1) release area. - 24VDC back-up Battery | Shield | AXT | Set | 1 | 997 | 899 | 0 | 899 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
9.12 |  | Optical Smoke Detector With Base - S-C2011 |  | S-C2011 | Nos | 2 | 15 | 13 | 0 | 26 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
9.13 |  | Abort switch w/black box - S111R-AB | Shield | S111R-AB | Nos | 1 | 116 | 105 | 0 | 105 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
9.14 |  | Ball 6" with Back Box - FB1000C6 | Shield | FB1000C6 | Nos | 1 | 33 | 30 | 0 | 30 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
9.15 |  | Strobe Horn with Back Box – SH-HSIR | Shield | SH-HSIR | Nos | 1 | 57 | 51 | 0 | 51 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
9.16 |  | Xenon/Strobe Light with Back Box - SH-STOR | Shield | SH-STOR | Nos | 1 | 66 | 60 | 0 | 60 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
10 |  | SHIELD 200 - ULTRA SOUND AT GROUND FLOOR |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
10.1 |  | SHIELD200 52.0L Cylinder Assembly (26.1kg-62.4kg) Complete with 2" Valve and Pressure Gauge Pressure Switch, Cylinder Label & Bracket without LLI | Shield | SD-52HFC-02 | Set | 1 | 1442 | 1300 | 0 | 1300 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
10.2 |  | SHIELD200 (SD-HFC227ea) Agent | Shield |  | Kg | 48 | 33 | 30 | 0 | 1440 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
10.3 |  | Removable Electric Actuator c/w Supervisory Switch, 1 Inch Connection - SD-REA-SS | Shield | SD-REA-SS | Nos | 1 | 515 | 465 | 0 | 465 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
10.4 |  | Manual Actuator with Push to operate - SD-MA0025 | Shield | SD-MA0025 | Nos | 1 | 60 | 54 | 0 | 54 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
10.5 |  | Discharge Pressure Switch - SD-DPS-B6-95-1 | Shield | SD-DPS-B6-95-1 | Nos | 1 | 199 | 180 | 0 | 180 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
10.6 |  | Discharge Hose 2 Inch (50MM) with Female Swivel Fittings | Shield | SD-DH0050 | Nos | 1 | 143 | 129 | 0 | 129 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
10.7 |  | Discharge Nozzle -Brass | Shield | - | Nos | 1 | 98 | 88 | 0 | 88 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
10.8 |  | FM-200 Warning Signage - SD-FM-WARN | Shield | SD-FM-WARN | Nos | 1 | 100 | 90 | 0 | 90 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
10.9 |  | FK-5-1-12 Cylinder Lebel 280x180 - UL/FM Approved - SD-FM-LBL | Shield | SD-FM-LBL | Nos | 1 | 18 | 16 | 0 | 16 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
10.11 |  | Extinguishing Control Panel (Shield - AXT) - (2) Detection zone. - (1) release area. - 24VDC back-up Battery | Shield | AXT | Set | 1 | 997 | 899 | 0 | 899 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
10.12 |  | Optical Smoke Detector With Base - S-C2011 |  | S-C2011 | Nos | 2 | 15 | 13 | 0 | 26 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
10.13 |  | Abort switch w/black box - S111R-AB | Shield | S111R-AB | Nos | 1 | 116 | 105 | 0 | 105 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
10.14 |  | Ball 6" with Back Box - FB1000C6 | Shield | FB1000C6 | Nos | 1 | 33 | 30 | 0 | 30 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
10.15 |  | Strobe Horn with Back Box – SH-HSIR | Shield | SH-HSIR | Nos | 1 | 57 | 51 | 0 | 51 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
10.16 |  | Xenon/Strobe Light with Back Box - SH-STOR | Shield | SH-STOR | Nos | 1 | 66 | 60 | 0 | 60 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
11 |  | SHIELD 200 - RADIO GRAPHY -1, AT GROUND FLOOR |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
11.1 |  | SHIELD200 52.0L Cylinder Assembly (26.1kg-62.4kg) Complete with 2" Valve and Pressure Gauge Pressure Switch, Cylinder Label & Bracket without LLI | Shield | SD-52HFC-02 | Set | 1 | 1442 | 1300 | 0 | 1300 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
11.2 |  | SHIELD200 (SD-HFC227ea) Agent | Shield |  | Kg | 43 | 33 | 30 | 0 | 1290 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
11.3 |  | Removable Electric Actuator c/w Supervisory Switch, 1 Inch Connection - SD-REA-SS | Shield | SD-REA-SS | Nos | 1 | 515 | 465 | 0 | 465 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
11.4 |  | Manual Actuator with Push to operate - SD-MA0025 | Shield | SD-MA0025 | Nos | 1 | 60 | 54 | 0 | 54 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
11.5 |  | Discharge Pressure Switch - SD-DPS-B6-95-1 | Shield | SD-DPS-B6-95-1 | Nos | 1 | 199 | 180 | 0 | 180 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
11.6 |  | Discharge Hose 2 Inch (50MM) with Female Swivel Fittings | Shield | SD-DH0050 | Nos | 1 | 143 | 129 | 0 | 129 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
11.7 |  | Discharge Nozzle -Brass | Shield |  | Nos | 1 | 98 | 88 | 0 | 88 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
11.8 |  | FM-200 Warning Signage - SD-FM-WARN | Shield | SD-FM-WARN | Nos | 1 | 100 | 90 | 0 | 90 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
11.9 |  | FK-5-1-12 Cylinder Lebel 280x180 - UL/FM Approved - SD-FM-LBL | Shield | SD-FM-LBL | Nos | 1 | 18 | 16 | 0 | 16 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
11.11 |  | Extinguishing Control Panel (Shield - AXT) - (2) Detection zone. - (1) release area. - 24VDC back-up Battery | Shield | AXT | Set | 1 | 997 | 899 | 0 | 899 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
11.12 |  | Optical Smoke Detector With Base - S-C2011 |  | S-C2011 | Nos | 2 | 15 | 13 | 0 | 26 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
11.13 |  | Abort switch w/black box - S111R-AB | Shield | S111R-AB | Nos | 1 | 116 | 105 | 0 | 105 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
11.14 |  | Ball 6" with Back Box - FB1000C6 | Shield | FB1000C6 | Nos | 1 | 33 | 30 | 0 | 30 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
11.15 |  | Strobe Horn with Back Box – SH-HSIR | Shield | SH-HSIR | Nos | 1 | 57 | 51 | 0 | 51 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
11.16 |  | Xenon/Strobe Light with Back Box - SH-STOR | Shield | SH-STOR | Nos | 1 | 66 | 60 | 0 | 60 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
12 |  | SHIELD 200 - RADIO GRAPHY AT GR. FLOOR - ROOM 2 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
12.1 |  | SHIELD200 106.0L Cylinder Assembly (53.1kg-127.2kg) Complete with 2" Valve and Pressure Gauge Pressure Switch, Cylinder Label & Bracket without LLI | Shield | SD-106HFC-02 | Set | 1 | 1695 | 1528 | 0 | 1528 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
12.2 |  | SHIELD200 (SD-HFC227ea) Agent | Shield | - | Kg | 51 | 33 | 30 | 0 | 1530 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
12.3 |  | Removable Electric Actuator c/w Supervisory Switch, 1 Inch Connection - SD-REA-SS | Shield | SD-REA-SS | Nos | 1 | 515 | 465 | 0 | 465 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
12.4 |  | Manual Actuator with Push to operate - SD-MA0025 | Shield | SD-MA0025 | Nos | 1 | 60 | 54 | 0 | 54 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
12.5 |  | Discharge Pressure Switch - SD-DPS-B6-95-1 | Shield | SD-DPS-B6-95-1 | Nos | 1 | 199 | 180 | 0 | 180 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
12.6 |  | Discharge Hose 2 Inch (50MM) with Female Swivel Fittings | Shield | SD-DH0050 | Nos | 1 | 143 | 129 | 0 | 129 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
12.7 |  | Discharge Nozzle -Brass | Shield |  | Nos | 1 | 98 | 88 | 0 | 88 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
12.8 |  | FM-200 Warning Signage - SD-FM-WARN | Shield | SD-FM-WARN | Nos | 1 | 100 | 90 | 0 | 90 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
12.9 |  | FK-5-1-12 Cylinder Lebel 280x180 - UL/FM Approved - SD-FM-LBL | Shield | SD-FM-LBL | Nos | 1 | 18 | 16 | 0 | 16 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
12.11 |  | Extinguishing Control Panel (Shield - AXT) - (2) Detection zone. - (1) release area. - 24VDC back-up Battery | Shield | AXT | Set | 1 | 997 | 899 | 0 | 899 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
12.12 |  | Optical Smoke Detector With Base - S-C2011 |  | S-C2011 | Nos | 2 | 15 | 13 | 0 | 26 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
12.13 |  | Abort switch w/black box - S111R-AB | Shield | S111R-AB | Nos | 1 | 116 | 105 | 0 | 105 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
12.14 |  | Ball 6" with Back Box - FB1000C6 | Shield | FB1000C6 | Nos | 1 | 33 | 30 | 0 | 30 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
12.15 |  | Strobe Horn with Back Box – SH-HSIR | Shield | SH-HSIR | Nos | 1 | 57 | 51 | 0 | 51 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
12.16 |  | Xenon/Strobe Light with Back Box - SH-STOR | Shield | SH-STOR | Nos | 1 | 66 | 60 | 0 | 60 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
13 |  | SHIELD 200 - FLUOROSCOPY AT GR. FLOOR |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
13.1 |  | SHIELD200 106.0L Cylinder Assembly (53.1kg-127.2kg) Complete with 2" Valve and Pressure Gauge Pressure Switch, Cylinder Label & Bracket without LLI | Shield | SD-106HFC-02 | Set | 1 | 1695 | 1528 | 0 | 1528 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
13.2 |  | SHIELD200 (SD-HFC227ea) Agent | Shield |  | Kg | 61 | 33 | 30 | 0 | 1830 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
13.3 |  | Removable Electric Actuator c/w Supervisory Switch, 1 Inch Connection - SD-REA-SS | Shield | SD-REA-SS | Nos | 1 | 515 | 465 | 0 | 465 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
13.4 |  | Manual Actuator with Push to operate - SD-MA0025 | Shield | SD-MA0025 | Nos | 1 | 60 | 54 | 0 | 54 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
13.5 |  | Discharge Pressure Switch - SD-DPS-B6-95-1 | Shield | SD-DPS-B6-95-1 | Nos | 1 | 199 | 180 | 0 | 180 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
13.6 |  | Discharge Hose 2 Inch (50MM) with Female Swivel Fittings | Shield | SD-DH0050 | Nos | 1 | 143 | 129 | 0 | 129 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
13.7 |  | Discharge Nozzle -Brass | Shield | - | Nos | 1 | 98 | 88 | 0 | 88 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
13.8 |  | FM-200 Warning Signage - SD-FM-WARN | Shield | SD-FM-WARN | Nos | 1 | 100 | 90 | 0 | 90 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
13.9 |  | FK-5-1-12 Cylinder Lebel 280x180 - UL/FM Approved - SD-FM-LBL | Shield | SD-FM-LBL | Nos | 1 | 18 | 16 | 0 | 16 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
13.11 |  | Extinguishing Control Panel (Shield - AXT) - (2) Detection zone. - (1) release area. - 24VDC back-up Battery | Shield | AXT | Set | 1 | 997 | 899 | 0 | 899 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
13.12 |  | Optical Smoke Detector With Base - S-C2011 |  | S-C2011 | Nos | 2 | 15 | 13 | 0 | 26 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
13.13 |  | Abort switch w/black box - S111R-AB |  | S111R-AB | Nos | 1 | 116 | 105 | 0 | 105 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
13.14 |  | Ball 6" with Back Box - FB1000C6 |  | FB1000C6 | Nos | 1 | 33 | 30 | 0 | 30 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
13.15 |  | Strobe Horn with Back Box – SH-HSIR |  | SH-HSIR | Nos | 1 | 57 | 51 | 0 | 51 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
13.16 |  | Xenon/Strobe Light with Back Box - SH-STOR |  | SH-STOR | Nos | 1 | 66 | 60 | 0 | 60 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
14 |  | SHIELD 200 - MRI ROOM AT GR. FLOOR |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
14.1 |  | SHIELD200 106.0L Cylinder Assembly (53.1kg-127.2kg) Complete with 2" Valve and Pressure Gauge Pressure Switch, Cylinder Label & Bracket without LLI | Shield | SD-106HFC-02 | Set | 1 | 1695 | 1528 | 0 | 1528 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
14.2 |  | SHIELD200 (SD-HFC227ea) Agent | Shield |  | Kg | 75 | 33 | 30 | 0 | 2250 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
14.3 |  | Removable Electric Actuator c/w Supervisory Switch, 1 Inch Connection - SD-REA-SS | Shield | SD-REA-SS | Nos | 1 | 515 | 465 | 0 | 465 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
14.4 |  | Manual Actuator with Push to operate - SD-MA0025 | Shield | SD-MA0025 | Nos | 1 | 60 | 54 | 0 | 54 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
14.5 |  | Discharge Pressure Switch - SD-DPS-B6-95-1 | Shield | SD-DPS-B6-95-1 | Nos | 1 | 199 | 180 | 0 | 180 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
14.6 |  | Discharge Hose 2 Inch (50MM) with Female Swivel Fittings | Shield | SD-DH0050 | Nos | 1 | 143 | 129 | 0 | 129 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
14.7 |  | Discharge Nozzle -Brass | Shield | - | Nos | 1 | 98 | 88 | 0 | 88 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
14.8 |  | FM-200 Warning Signage - SD-FM-WARN | Shield | SD-FM-WARN | Nos | 1 | 100 | 90 | 0 | 90 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
14.9 |  | FK-5-1-12 Cylinder Lebel 280x180 - UL/FM Approved - SD-FM-LBL | Shield | SD-FM-LBL | Nos | 1 | 18 | 16 | 0 | 16 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
14.11 |  | Extinguishing Control Panel (Shield - AXT) - (2) Detection zone. - (1) release area. - 24VDC back-up Battery | Shield | AXT | Set | 1 | 997 | 899 | 0 | 899 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
14.12 |  | Optical Smoke Detector With Base - S-C2011 |  | S-C2011 | Nos | 2 | 15 | 13 | 0 | 26 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
14.13 |  | Abort switch w/black box - S111R-AB | Shield | S111R-AB | Nos | 1 | 116 | 105 | 0 | 105 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
14.14 |  | Ball 6" with Back Box - FB1000C6 | Shield | FB1000C6 | Nos | 1 | 33 | 30 | 0 | 30 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
14.15 |  | Strobe Horn with Back Box – SH-HSIR | Shield | SH-HSIR | Nos | 1 | 57 | 51 | 0 | 51 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
14.16 |  | Xenon/Strobe Light with Back Box - SH-STOR | Shield | SH-STOR | Nos | 1 | 66 | 60 | 0 | 60 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
15 |  | SHIELD 200 - IT ROOM AT 2ND FLOOR |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
15.1 |  | SHIELD200 106.0L Cylinder Assembly (53.1kg-127.2kg) Complete with 2" Valve and Pressure Gauge Pressure Switch, Cylinder Label & Bracket without LLI | Shield | SD-106HFC-02 | Set | 1 | 1695 | 1528 | 0 | 1528 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
15.2 |  | SHIELD200 (SD-HFC227ea) Agent | Shield |  | Kg | 56 | 33 | 30 | 0 | 1680 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
15.3 |  | Removable Electric Actuator c/w Supervisory Switch, 1 Inch Connection - SD-REA-SS | Shield | SD-REA-SS | Nos | 1 | 515 | 465 | 0 | 465 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
15.4 |  | Manual Actuator with Push to operate - SD-MA0025 | Shield | SD-MA0025 | Nos | 1 | 60 | 54 | 0 | 54 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
15.5 |  | Discharge Pressure Switch - SD-DPS-B6-95-1 | Shield | SD-DPS-B6-95-1 | Nos | 1 | 199 | 180 | 0 | 180 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
15.6 |  | Discharge Hose 2 Inch (50MM) with Female Swivel Fittings | Shield | SD-DH0050 | Nos | 1 | 143 | 129 | 0 | 129 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
15.7 |  | Discharge Nozzle -Brass | Shield | - | Nos | 1 | 98 | 88 | 0 | 88 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
15.8 |  | FM-200 Warning Signage - SD-FM-WARN | Shield | SD-FM-WARN | Nos | 1 | 100 | 90 | 0 | 90 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
15.9 |  | FK-5-1-12 Cylinder Lebel 280x180 - UL/FM Approved - SD-FM-LBL | Shield | SD-FM-LBL | Nos | 1 | 18 | 16 | 0 | 16 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
15.11 |  | Extinguishing Control Panel (Shield - AXT) - (2) Detection zone. - (1) release area. - 24VDC back-up Battery | Shield | AXT | Set | 1 | 997 | 899 | 0 | 899 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
15.12 |  | Optical Smoke Detector With Base - S-C2011 |  | S-C2011 | Nos | 2 | 15 | 13 | 0 | 26 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
15.13 |  | Abort switch w/black box - S111R-AB | Shield | S111R-AB | Nos | 1 | 116 | 105 | 0 | 105 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
15.14 |  | Ball 6" with Back Box - FB1000C6 | Shield | FB1000C6 | Nos | 1 | 33 | 30 | 0 | 30 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
15.15 |  | Strobe Horn with Back Box – SH-HSIR | Shield | SH-HSIR | Nos | 1 | 57 | 51 | 0 | 51 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
15.16 |  | Xenon/Strobe Light with Back Box - SH-STOR | Shield | SH-STOR | Nos | 1 | 66 | 60 | 0 | 60 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
16 |  | SHIELD 200 - SERVER ROMM AT 2ND FLOOR |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
16.1 |  | SHIELD200 52.0L Cylinder Assembly (26.1kg-62.4kg) Complete with 2" Valve and Pressure Gauge Pressure Switch, Cylinder Label & Bracket without LLI | Shield | SD-52HFC-02 | Set | 1 | 1442 | 1300 | 0 | 1300 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
16.2 |  | SHIELD200 (SD-HFC227ea) Agent | Shield |  | Kg | 43 | 33 | 30 | 0 | 1290 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
16.3 |  | Removable Electric Actuator c/w Supervisory Switch, 1 Inch Connection - SD-REA-SS | Shield | SD-REA-SS | Nos | 1 | 515 | 465 | 0 | 465 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
16.4 |  | Manual Actuator with Push to operate - SD-MA0025 | Shield | SD-MA0025 | Nos | 1 | 60 | 54 | 0 | 54 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
16.5 |  | Discharge Pressure Switch - SD-DPS-B6-95-1 | Shield | SD-DPS-B6-95-1 | Nos | 1 | 199 | 180 | 0 | 180 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
16.6 |  | Discharge Hose 2 Inch (50MM) with Female Swivel Fittings | Shield | SD-DH0050 | Nos | 1 | 143 | 129 | 0 | 129 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
16.7 |  | Discharge Nozzle -Brass | Shield | - | Nos | 1 | 98 | 88 | 0 | 88 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
16.8 |  | FM-200 Warning Signage - SD-FM-WARN | Shield | SD-FM-WARN | Nos | 1 | 100 | 90 | 0 | 90 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
16.9 |  | FK-5-1-12 Cylinder Lebel 280x180 - UL/FM Approved - SD-FM-LBL | Shield | SD-FM-LBL | Nos | 1 | 18 | 16 | 0 | 16 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
16.11 |  | Extinguishing Control Panel (Shield - AXT) - (2) Detection zone. - (1) release area. - 24VDC back-up Battery | Shield | AXT | Set | 1 | 997 | 899 | 0 | 899 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
16.12 |  | Optical Smoke Detector With Base - S-C2011 |  | S-C2011 | Nos | 2 | 15 | 13 | 0 | 26 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
16.13 |  | Abort switch w/black box - S111R-AB | Shield | S111R-AB | Nos | 1 | 116 | 105 | 0 | 105 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
16.14 |  | Ball 6" with Back Box - FB1000C6 | Shield | FB1000C6 | Nos | 1 | 33 | 30 | 0 | 30 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
16.15 |  | Strobe Horn with Back Box – SH-HSIR | Shield | SH-HSIR | Nos | 1 | 57 | 51 | 0 | 51 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
16.16 |  | Xenon/Strobe Light with Back Box - SH-STOR | Shield | SH-STOR | Nos | 1 | 66 | 60 | 0 | 60 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
17 |  | SHIELD 200 - BMS ROOM AT 2ND FLOOR |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
17.1 |  | SHIELD200 106.0L Cylinder Assembly (53.1kg-127.2kg) Complete with 2" Valve and Pressure Gauge Pressure Switch, Cylinder Label & Bracket without LLI | Shield | SD-106HFC-02 | Set | 1 | 1695 | 1528 | 0 | 1528 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
17.2 |  | SHIELD200 (SD-HFC227ea) Agent | Shield |  | Kg | 56 | 33 | 30 | 0 | 1680 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
17.3 |  | Removable Electric Actuator c/w Supervisory Switch, 1 Inch Connection - SD-REA-SS | Shield | SD-REA-SS | Nos | 1 | 515 | 465 | 0 | 465 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
17.4 |  | Manual Actuator with Push to operate - SD-MA0025 | Shield | SD-MA0025 | Nos | 1 | 60 | 54 | 0 | 54 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
17.5 |  | Discharge Pressure Switch - SD-DPS-B6-95-1 | Shield | SD-DPS-B6-95-1 | Nos | 1 | 199 | 180 | 0 | 180 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
17.6 |  | Discharge Hose 2 Inch (50MM) with Female Swivel Fittings | Shield | SD-DH0050 | Nos | 1 | 143 | 129 | 0 | 129 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
17.7 |  | Discharge Nozzle -Brass | Shield | - | Nos | 1 | 98 | 88 | 0 | 88 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
17.8 |  | FM-200 Warning Signage - SD-FM-WARN | Shield | SD-FM-WARN | Nos | 1 | 100 | 90 | 0 | 90 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
17.9 |  | FK-5-1-12 Cylinder Lebel 280x180 - UL/FM Approved - SD-FM-LBL | Shield | SD-FM-LBL | Nos | 1 | 18 | 16 | 0 | 16 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
17.11 |  | Extinguishing Control Panel (Shield - AXT) - (2) Detection zone. - (1) release area. - 24VDC back-up Battery | Shield | AXT | Set | 1 | 997 | 899 | 0 | 899 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
17.12 |  | Optical Smoke Detector With Base - S-C2011 |  | S-C2011 | Nos | 2 | 15 | 13 | 0 | 26 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
17.13 |  | Abort switch w/black box - S111R-AB |  | S111R-AB | Nos | 1 | 116 | 105 | 0 | 105 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
17.14 |  | Ball 6" with Back Box - FB1000C6 |  | FB1000C6 | Nos | 1 | 33 | 30 | 0 | 30 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
17.15 |  | Strobe Horn with Back Box – SH-HSIR |  | SH-HSIR | Nos | 1 | 57 | 51 | 0 | 51 | 0 | FALSE |  |  | 0 | 0 | 0 | 0
17.16 |  | Xenon/Strobe Light with Back Box - SH-STOR |  | SH-STOR | Nos | 1 | 66 | 60 | 0 | 60 | 0 | FALSE |  |  | 0 | 0 | 0 | 0