## Sheet1
SLNO | ItemCode | ItemName | Brand | Model | UOM | Qty | UnitPriceAED | UnitPrice | Margin | Amount | Unitweight | Optional | COO | DeliveryStatus | CRMProductId | CRMProduct
1 |  | Fire Fighting Pump Set - Horizontal End Suction - UL/FM Approved [2 Electric + 1 Jockey] Rated Pump Duty: 250 GPM @ 12 Bar Specification as per attached PPS Ref: NAFF-H01-EXP-7692 (1) - Naffco, UAE |  |  | Set | 3 | 0 | 24129 | 0 | 72387 | 0 | FALSE |  |  | 300000002306007 | Fire Pump
2 |  | 3 Years Spare Parts as per attached List |  |  | Set | 3 | 0 | 4499 | 0 | 13497 | 0 | FALSE |  |  | 300000002306007 | Fire Pump
3 |  | OS&Y Gate Valve 4", Ductile Iron Body to AWWA C515, Rising Stem with EPDM Coated Resilient Wedge, Flanged Ends to ANSI B16.1, Class 125, FF Flange, W/P 250 Psi, RED RAL 3000 FBE Coating, UL / FM Approved, Model: SD-OSY250FF-D - Shield with Tamper Switch |  |  | Nos | 6 | 0 | 242 | 0 | 1452 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
4 |  | OS&Y Gate Valve 2", Ductile Iron Body to AWWA C515, Rising Stem with EPDM Coated Resilient Wedge, Flanged Ends to ANSI B16.1, Class 125, FF Flange, W/P 250 Psi, RED RAL 3000 FBE Coating, UL / FM Approved, Model: SD-OSY250FF-D - Shield with Tamper Switch |  |  | Nos | 3 | 0 | 184 | 0 | 552 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
5 |  | OS&Y Gate Valve 6", Ductile Iron Body to AWWA C515, Rising Stem with EPDM Coated Resilient Wedge, Flanged Ends to ANSI B16.1, Class 125, FF Flange, W/P 250 Psi, RED RAL 3000 FBE Coating, UL / FM Approved, Model: SD-OSY250FF-D - Shield with Tamper Switch |  |  | Nos | 3 | 0 | 373 | 0 | 1119 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
6 |  | Y-Strainer 6", Ductile Iron, Flanged Ends ANSI B16.1 Drilled to Class 125, W/P 300 Psi, Red Painted with Stainless Steel Screen AISI 304 Without Paint, UL/ULC Listed, Model: SD-YS300FF-D - Shield |  |  | Nos | 3 | 0 | 313 | 0 | 939 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
7 |  | 4” Axial movement expansion joint, carbon steel flange with SS 304 bellow, EN 1092-2 flanged - Shield |  |  | Nos | 6 | 0 | 353 | 0 | 2118 | 0 | FALSE |  |  | 300000012315339 | Pipes & Fittings
8 |  | 2” Male Threaded end connection metal expansion joint , end connection pipe carbon steel galvanized - Shield |  |  | Nos | 3 | 0 | 230 | 0 | 690 | 0 | FALSE |  |  | 300000012315339 | Pipes & Fittings
9 |  | OS&Y Gate Valve 3", Ductile Iron Body to AWWA C515, Rising Stem with EPDM Coated Resilient Wedge, Flanged Ends to ANSI B16.1, Class 125, FF Flange, W/P 250 Psi, RED RAL 3000 FBE Coating, UL / FM Approved, Model: SD-OSY250FF-D - Shield with Tamper Switch |  |  | Nos | 6 | 0 | 216 | 0 | 1296 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
10 |  | OS&Y Gate Valve 2", Ductile Iron Body to AWWA C515, Rising Stem with EPDM Coated Resilient Wedge, Flanged Ends to ANSI B16.1, Class 125, FF Flange, W/P 250 Psi, RED RAL 3000 FBE Coating, UL / FM Approved, Model: SD-OSY250FF-D - Shield with Tamper Switch |  |  | Nos | 3 | 0 | 184 | 0 | 552 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
11 |  | OS&Y Gate Valve 4", Ductile Iron Body to AWWA C515, Rising Stem with EPDM Coated Resilient Wedge, Flanged Ends to ANSI B16.1, Class 125, FF Flange, W/P 250 Psi, RED RAL 3000 FBE Coating, UL / FM Approved, Model: SD-OSY250FF-D - Shield with Tamper Switch |  |  | Nos | 12 | 0 | 242 | 0 | 2904 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
12 |  | Check Valve 3", Ductile Iron Body to C508, Swing Type, EPDM Seat, Flanged Ends to ANSI B16.1, Class 125, FF Flange, W/P 300 Psi, RED RAL 3000 FBE Coating, UL/FM Approved, Model: SD-NRV300FF-D - Shield |  |  | Nos | 3 | 0 | 138 | 0 | 414 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
13 |  | Check Valve 2", Ductile Iron Body to C508, Swing Type, EPDM Seat, Flanged Ends to ANSI B16.1, Class 125, FF Flange, W/P 300 Psi, RED RAL 3000 FBE Coating, UL/FM Approved, Model: SD-NRV300FF-D - Shield |  |  | Nos | 3 | 0 | 80 | 0 | 240 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
14 |  | 3” Axial movement expansion joint, carbon steel flange with SS 304 bellow, EN 1092-2 flanged - Shield |  |  | Nos | 6 | 0 | 319 | 0 | 1914 | 0 | FALSE |  |  | 300000012315339 | Pipes & Fittings
15 |  | 2” Male Threaded end connection metal expansion joint , end connection pipe carbon steel galvanized - Shield |  |  | Nos | 3 | 0 | 230 | 0 | 690 | 0 | FALSE |  |  | 300000012315339 | Pipes & Fittings
16 |  | Pressure Gauge 0-300 Psi, UL Listed, [with Polycarbonate Back Case], Model: SD-P1 - Shield with Isolation Valve |  |  | Nos | 18 | 0 | 15 | 0 | 270 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
17 |  | OS&Y Gate Valve 2-1/2", Ductile Iron Body to AWWA C515, Rising Stem with EPDM Coated Resilient Wedge, Flanged Ends to ANSI B16.1, Class 125, FF Flange, W/P 250 Psi, RED RAL 3000 FBE Coating, UL / FM Approved, Model: SD-OSY250FF-D - Shield with Tamper Switch |  |  | Nos | 3 | 0 | 194 | 0 | 582 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
18 |  | Two Way Landing Valve - As per attached Drawing: Inlet: 65mm or 75mm. Outlet: 1 ½” Instantaneous. Flange Thickness: 12mm. Flange OD: Standard |  |  | Nos | 60 | 0 | 400 | 0 | 24000 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
19 |  | Fire Hose Cabinet, Surface Mounted, Complete Mild Steel, Material Thickness: 1.5mm, with Clear Glass Door - Naffco, UAE with - 1 Nos., Fire Hose (Two Layers) Single Jacket 2-1/2" x 30 Mtr., Red color W/Aluminium Quick Coupling, Model: SYNTEX series - Naffco - 1 Nos., Branchpipe Jet & Spray Fire Hose Nozzle Inlet 2 1/2" BS336 Male Instantaneous Connection Aluminum, Lever Operated Confirming to BS 15182-1&3 with "BS Kite Mark", Model: NF-FB320 - Naffco |  |  | Set | 60 | 0 | 243 | 0 | 14580 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
20 |  | 650 LBS HFC-227ea Agent Cylinder Filled With 435 Lbs GAS C/W - Impulse Discharge Valve, Nipple, Victaulic Coupling, Mounting Strap, Pressure Gauge |  |  | Set | 2 | 0 | 10935 | 0 | 21870 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
21 |  | Impulse Valve Operation W/ Manual Strike Button Kit + IRM |  |  | Set | 2 | 0 | 389 | 0 | 778 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
22 |  | Low Pressure Switch |  |  | Nos | 2 | 0 | 157 | 0 | 314 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
23 |  | Manifold For 2 X 650 Lbs Container Assembly with Fike Check Valve, Model: Nf 30-0650-2 |  |  | Set | 1 | 0 | 2870 | 0 | 2870 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
24 |  | Discharge Nozzle, 1-1/2" |  |  | Nos | 4 | 0 | 106 | 0 | 424 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
25 |  | Main / Reserve Selector Switch, Model: 10-2967 |  |  | Nos | 1 | 0 | 488 | 0 | 488 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
26 |  | 375 LBS HFC-227ea Agent Cylinder Filled With 339 Lbs GAS C/W - Impulse Discharge Valve, Nipple, Victaulic Coupling, Mounting Strap, Pressure Gauge |  |  | Set | 2 | 0 | 8079 | 0 | 16158 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
27 |  | Impulse Valve Operation W/ Manual Strike Button Kit + IRM |  |  | Set | 2 | 0 | 389 | 0 | 778 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
28 |  | Low Pressure Switch |  |  | Nos | 2 | 0 | 157 | 0 | 314 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
29 |  | Manifold For 2 X 375 Lbs Container Assembly with Fike Check Valve, Model: Nf 30-0375-2 |  |  | Set | 1 | 0 | 2232 | 0 | 2232 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
30 |  | Discharge Nozzle, 1-1/2" |  |  | Nos | 2 | 0 | 106 | 0 | 212 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
31 |  | Main / Reserve Selector Switch, Model: 10-2967 |  |  | Nos | 1 | 0 | 488 | 0 | 488 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
32 |  | 375 LBS HFC-227ea Agent Cylinder Filled With 217 Lbs GAS C/W - Impulse Discharge Valve, Nipple, Victaulic Coupling, Mounting Strap, Pressure Gauge |  |  | Set | 2 | 0 | 6366 | 0 | 12732 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
33 |  | Impulse Valve Operation W/ Manual Strike Button Kit + IRM |  |  | Set | 2 | 0 | 389 | 0 | 778 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
34 |  | Low Pressure Switch |  |  | Nos | 2 | 0 | 157 | 0 | 314 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
35 |  | Manifold For 2 X 375 Lbs Container Assembly with Fike Check Valve, Model: Nf 30-0375-2 |  |  | Set | 1 | 0 | 2232 | 0 | 2232 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
36 |  | Discharge Nozzle, 1-1/2" |  |  | Nos | 2 | 0 | 106 | 0 | 212 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
37 |  | Main / Reserve Selector Switch, Model: 10-2967 |  |  | Nos | 1 | 0 | 488 | 0 | 488 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
38 |  | Addressable Cheetah Xi Control Panel, Model: 10-068-R-2 - Fike |  |  | Nos | 1 | 0 | 2806 | 0 | 2806 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
39 |  | Smoke Detector, Model: 63-1058 - Fike, W/ Base |  |  | Nos | 7 | 0 | 146 | 0 | 1022 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
40 |  | Heat Detector, Model: 60-1040 - Fike, W/ Base |  |  | Nos | 7 | 0 | 120 | 0 | 840 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
41 |  | Flame Detector, Model: RFD-3000X |  |  | Nos | 2 | 0 | 2374 | 0 | 4748 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
42 |  | Strobe Horn W/ Back Box, UL Listed, Model: S-C8056 |  |  | Nos | 2 | 0 | 48 | 0 | 96 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting