## Sheet1
SLNO | ItemCode | ItemName | Brand | Model | UOM | Qty | UnitPriceAED | UnitPrice | Margin | Amount | Unitweight | Optional | COO | DeliveryStatus | CRMProductId | CRMProduct
1 |  | RATED PUMP DUTY: 300 GPM @ 8 BAR - (NON UL) 1 ELECTRIC + 1 DIESEL +1 JOCKEY - NAFFCO HORIZONTAL END SUCTION PUMP COUPLED WITH DRIVERS (MOTOR + DIESEL ENGINE) + 1 VERTICAL MULTISTAGE JOCKEY PUMP AND 1NO. COMMON CONTROLLER FOR 1 ELECTRIC + 1 DIESEL + 1 JOCKEY (Enclosure IP-54), AND STANDARD ACCESSORIES. General Notes for Pump Set: ==================== * Above price includes charges for supply only. * Pump is suitable for fresh water application and suitable for flooded suction only. * Proposed pump set is Naffco standard, not considering any approval. * Pressure Vessel are not included in our offer price. * Standard pump set quoted considering no specification available. Extra accessories/special material may be required with respect to customer's final specifications, this may have a price implication as well. * Charges 15% of order amount in case of order cancellation. |  |  | SET | 1 | 9300 | 9300 | 0 | 9300 | 0 | FALSE |  |  | 300000002306007 | Fire Pump
2 |  | HOSE REEL CABINET SINGLE DOOR , SURFACE MOUNTED, MILD STEEL H-700 X W-720 X D-280 c/w 1"X30 MTR. HOSE REEL, CABINET MOUNTED, AUTOMATIC - CE, KITEMARK 25NFH-020A, Lock Shield Valve 1" BSPT 11 Pitch with Key -NAFFCO, 1" PRV, 25 Bar, BSP Double Female Threaded, Spring Type BSI Kiremarked SD-91430K, Pressure Gauge 0-300 Psi -3-1/2" (90MM) UL Listed/FM Approved Shield SD-P1 |  |  | SET | 9 | 314 | 314 | 0 | 2826 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
3 |  | Pressure Reducing/Regulating Valve, E-Type, DN65 Flanged to PN20 Inlet (Flng.OD185mm, PCD 145mm, 8 Hole) & 2-1/2" Female BS336 Outlet w/Brs Cap &Chain, Gun Metal Body, Paint.RED RAL3000, C.I Blck Wheel, KITEMARK Aprov, Model: NWR 122- Naffco |  |  | NOS | 4 | 314 | 314 | 0 | 1256 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
4 |  | Self Standing Type Fire Hydrant Cabinet, Solid Door, Model: NHC/750 - Naffco 1000X800X250 c/w 2Nos) FIRE HOSE, 2.5",RED COLOUR WITH AL COUPLING - KITEMARK NF-DH2 65R, Branchpipe 2-1/2" with BS Male Inlet - KITEMARK NF-FB-320 |  |  | NOS | 4 | 436 | 436 | 0 | 1744 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
5 |  | Breaching Inlet Cabinet Complete Mild Steel 600 x 400 x 300 c/w 4"X2 WAY BREECHING INLET, KITE MARK, RED, NAFFCO (with matching flanges), NDR095 |  |  | NOS | 1 | 189 | 189 | 0 | 189 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
6 |  | Check Valve 4" Class 125 Flanged, 200 PSI working UL/FM Approved, SD-NRV200FF-D |  |  | NOS | 1 | 167 | 167 | 0 | 167 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting
7 |  | Automatic Air Release Valve, 1" FNPT Inlet x 1/2" FNPT Outlet, 175 Psi Water, UL/FM Approved, Model: NF-25ARV - Naffco c/w 1" Ball Valve, BSP Double Female Threaded , Brass Nickel Plated - UL Listed SDBLVT95 |  |  | NOS | 2 | 89 | 89 | 0 | 178 | 0 | FALSE |  |  | 300000002306003 | Fire Fighting